## Main (hidden)
Company Name | Respondent name and contact details | Does this response contain confidential information? If yes, please specify. | Please provide any specific comments relating to the proposed Provider Eligibility, Registration and Prequalification process for Phase 2 of the Quick Reserve service. | Please provide any specific comments relating to the proposed Service Utilisation & Dispatch Mechanism for Phase 2 of the Quick Reserve service. | Please provide any specific comments relating to the proposed Quick Reserve Service Design Parameters including Notice to Start Ramping, Time to Full Delivery, Cease Time, Activation Periods, Reco... | Please provide any specific comments relating to the proposed Quick Reserve Metering including Operational Baselines, Operational Metering and Performance Metering. | Please provide any specific comments relating to the proposed Quick Reserve Provider Availability, including Baselining, Energy Requirements, Cross-Overs, Aggregation and Availability Declarations. | Please provide any specific comments relating to the proposed Quick Reserve Delivery Assessment including Settlement, ABSVD and Performance Monitoring. | Please provide any specific comments relating to the proposed Procurement Approach including Maximum Bid Size, Service Windows and Locationality. | Please provide any specific comments relating to the proposed Auction Process including Timings, Bid Submissions and Auction Results. | Please provide any specific comments relating to the proposed Quick Reserve Market Design including Sell Order structure (e.g. Baskets, Parent Orders, Child Orders), Overholding, and Clearing Algo... | Please share your feedback on NESO proposal to implement a single, simultaneous, co-optimised auction for the procurement of Frequency Response and Quick Reserve. | Please share your thoughts on the inclusion of an Optional Quick Reserve Service and provide feedback on the proposed requirements for this Optional Service. | Please share any additional feedback on NESO’s proposed delivery of Quick Reserve phase 2 that may fall outside of the questions above.
Conrad Energy | Jamie Clark - jamie.clark@conradenergy.co.uk | Anything specific to Conrad Energy or the nature of our operations & trading is confidential. | We support the inclusion of non-BM participants into the Quick Reserve service. | We support the usage of OBP for non-BM QR dispatch. | We are supportive of removing the previous ramp rate restrictions that were in place. Support maintaining QR as a co-optimised auction with all of the other dynamic services. | We understand that for non-BMs to provide a BM-like service through the QR and optional service, they must have in place BM-similar metering & data arrangements. We strongly support the decision to not require 24/7 submission of metering and baselines and support the now proposed approach of only requiring operational baselines and metering for days of contracted service delivery (+ any crossover days / 1-day before for certain parameters). | Support | Support | Support | Support | Support | Support | Support - now that the metering & data requirements have been relaxed to not require 24/7 data provision to be eligible. | Regarding Service Availability, where you state points 1 & 2 clarifying circumstances where availability payment will be withheld please clarify the following. For point 2 you stated: "Where a provider declares MORE than their contracted MW The declared volume remains available to NESO, however the provider has not met its contracted obligation and will therefore receive no availability payment. It will however receive payment for any utilisation, if instructed." Can you please clarify if "where a provider declares MORE..." should be read as situations of over-delivery? i.e. the wording should be "where a provider delivers MORE..." (respecting the 120% over-delivery cutoff limit. We do not think it makes sense to penalise providers for having more MW available to deliver than they have contracted, but do understand penalising over-delivery in actual utilisation. That is to say, if a provider has contracted 10MW of QR but has 20MW available, this should not be penalised. However if you have contracted 10MW but deliver (at utilisation) >12MW, then you should be penalised as this is over the 120% over-delivery limit. Please clarify this. Maintaining this restriction as worded would mean providers can only ever bid their entire available headroom which limits bid & operational flexibility.
YUSO BV | Tikshala Gothankar, tikshala@yuso.com |  | What is the deadline for service providers to be fully prepared for Phase 2 Quick Reserve performance metering? Is June 2025 still the target go live date for the service providers to be ready with this, or is it subject to Ofgem’s approval? | Regarding the crossover period: The service terms mention that the bid-offer instruction must be capable of continuing a dispatch instruction into the next settlement period. Will such bid-offer instructions during cross-over periods respect the bid/offer volume data and the MEL/MIL data that are applicable for the next settlement period? |  |  |  | Referring to the Performance Monitoring, Service Availability, and Availability Declarations section in the Quick Reserve Phase 2 Service and Procurement Design document, could you please clarify the following: Is Performance Monitoring conducted using the MEL/MIL/SEL/SIL and dynamic parameter data communicated by Service Providers? Are Availability Declarations made through MEL/MIL, Bid Offer Data, and PNs submitted by Gate Closure? Additionally, regarding the second point stating that declaring MORE than the contracted MW results in the loss of availability payments—could you confirm how this applies in the Balancing Mechanism (BM)? Our understanding is that for BM Units, QR can (and must) be stacked with Bid Offer Acceptances (BOAs) in the BM to enable QR utilization. If a Service Provider stacks Positive QR contracted capacity with BM Offer volumes in the export direction, does this mean they forfeit availability payments for Positive Quick Reserve during that settlement period? Regarding Settlements: In QR Phase 2, delivery volume is determined as the difference between second-by-second Metered MW data and a calculated Baseload MW. Could NESO confirm whether the second-based MW values will be converted to MWh using only the BOAI time duration and the expiry of response time, specifically as [(T1 + 1) - (T0 + 1)]? We would like to note that we are currently facing delivery volume penalties under Quick Reserve Phase 1 due to the averaging of BOA-delivered volumes over the entire settlement period. This issue is particularly significant for BOAIs with durations of less than five minutes. We believe that if the BOAI time duration (as in Phase 2) is used to calculate delivery volumes, meter inaccuracies would have minimal impact on availability payments. | [5 empty] | Can you confirm whether QR Phase 2 applies exclusively to Optional Quick Reserve for non-BM QR Units? Additionally, do non-BM units compete with BM units for Firm Reserve (i.e., day-ahead contracts), or is the Daily (day-ahead) QR Contract firm procurement restricted to BM units only?
Flexitricity Limited | Delphine Melotte | No | Flexitricity is a registered service provider for multiple asset types and is already fully registered in NESO’s Single Market Platform for registration and prequalification. We have no concerns over the proposal to utilise SMP for the non-BM assets as part of Phase 2 of the Quick Reserve service registration and prequalification. NESO should continue to provide clear guidelines of the metering data requirements for non-BM Eligible Assets as well as of the data requirements for its review of any conditions applied to an Eligible Asset under its DNO connection agreement. | We would encourage NESO to provide a clear timeline for go-live of Phase 2 so that Service Providers can allocate resources and plan workload accordingly for the integration of non-BM assets into OBP, including the submission of Physical Notifications to OBP for the Eligible Assets participating in Quick Reserve. | We welcome the alignment of Quick Reserve ramp rates for baselines with the Dynamic Response Services. As per above, we encourage early engagement on the implementation of PN submission onto OBP with Service Providers. To reiterate our response from the Phase 1 consultation, whilst we appreciate that NESO has relaxed the requirement for recovery periods from 1 minute to 3 minutes in the Quick Reserve service design, this will still not enable I&C load to participate and will create a barrier to entry. The service should be designed to be technology agnostic and whilst NESO is not explicitly restricting assets from participating, the recovery period parameter does make participation from assets, other than battery storage, particularly challenging. | We understand the NESO intends to retain the 1Hz granularity of metering at a latency of no more than 5s for QR which we believe to be restrictive for non-BM asset classes in Phase 2. We appreciate that NESO is undergoing an independent review of metering standards and currently conducting a 300MW small assets in the BM test case which may show that operational integrity can remain whilst relaxing metering standards. We look forward to the outcome of the independent review, but emphasise that the substantial delay in NESO’s timeline for this review should not necessitate the application of unnecessarily strict metering requirements for QR metering. Our expectation is that the learnings from the review and trial, both of which are well underway, should be incorporated into the QR Phase 2 product, so that metering standards for products not yet launched should be aligned so as not introduce unnecessary barriers to entry. Noting NESO’s requirement for indicative PNs to be submitted for all Settlement Periods of the following operational day, where 1 or more contracts exist, by no later than 2 hours after the publication of auction results, can NESO provide further clarity on the reasoning behind this requirement as well as details on how this should be administered in practice by the provider. | We would recommend the use of existing systems for the submission of data. We take this opportunity to flag the lack of firm timeline for the future of splitting in Quick Reserve which is understood to be caused by current IT limitations. It is anticipated that the implementation of new IT systems for non-BM units will require significant development time from internal IT teams, so it would be prudent to begin this work at the earliest opportunity and NESO should provide clear and timely instructions to Service Providers to that effect. Could NESO also please signpost a link to the new Cross-Overs guidance document which does not appear on the Quick Reserve page. | Our understanding is that NESO is proposing to introduce ABSVD allocation to the Suppliers of non-BM participants, to correct a current distortion with the process for BM participants. We note that in so doing NESO will create a different distortion within Quick Reserve, as non-BM QR participants who access the market through a non-Supplier Provider, most likely an aggregator, will trigger ABSVD payment provisions to or from their Supplier, even when the Supplier is not the Balancing Services Provider. In this situation, similarly identified in the first iteration of the Local Constraints Market settlement process, P412 (Ensuring non-BM Balancing Services providers pay for non-delivery imbalances at a price that reflects the real-time value of energy), and Issue Group 114 (Settlement of ABSVD for ancillary services delivered through independent aggregators), the ABSVD will be received by a Supplier who may not be able or willing to allocate those volumes (or the monetary value of them) to the individual non-BM QR participant. The ABSVD opt-out solution developed for the LCM is a specific solution to an analogous underlying distortion, though in the case of LCM the opt-out is for a time-limited product. For services which are expected to endure for many years, we advocate a holistic, enduring approach which IG114 is tasked to develop. As this is a live issue which stretches across multiple enduring NESO services and has an active solution development process underway in IG114, we think it is not the best use of NESO or industry resources to progress a temporary switch of distortions through an ad-hoc C9. To assess this more fully, we think there is more coordination to do to understand if: a) the proposed change to ABSVD for non-BM QR participants could wait for a more enduring solution through IG114, noting that the outcome of the ad-hoc C9 proposal in this consultation would still need to be addressed after IG114 concluded and/or b) the identified Issues 1 and/or Issue 3 under IG114 could be amended to more explicitly consider improvements to non-BM QR (and DCMR) participants. | We welcome the 30-minute service windows and would encourage NESO to consider this service window sizing for all reserve and response products. This will support stacking/splitting in later phases of the Reserve reform and Response Reform releases. On the point of Locationality and as noted by NESO we support this topic being subject to industry consultation. | Flexitricity is pleased to see that NESO is retaining a single co-optimised auction across both QR and Dx services which is also aligned in its results delivery. | The terms state the following: Linked Buy-Orders issued by NESO state that the submission and/or acceptance of a sell-order is conditional on the submission and/or acceptance of sell orders of identical MW volume for each QR Window. This should be further clarified. If a participant is to bid in the same volume in each service window, this will restrict Service Providers’ options for optimisation across other services and where splitting is not available it becomes restrictive for co-delivery. While we understand this to be under review, we would request further clarity on the implementation of this rule on a permanent and/or ad-hoc basis and how this would be communicated to Service Providers when enforced. | Feedback to this question has been provided in our answer to Question 8 where we applaud the alignment of the QR auctions with that of Dx services. | No specific comments on these points – the proposal has been made clear in the Consultation Draft of the Service Terms. | No further feedback to be provided outside of the comments submitted in the above questions.
Centrica | Oliver Butler - oliver.butler@centrica.com | No | We believe that NESO’s proposed service and procurement design for Quick Reserve (QR) Phase 2 marks a positive step toward increasing market accessibility and competition. In particular, we welcome non-BM units being able to participate in QR using the Open Balancing Platform from Summer 2025. This is a positive step. | We are supportive of the Open Balancing Platform being used for non-BM Quick Reserve Utilisation and Dispatch, as it broadens market access, encourages innovation, and enhances overall system flexibility. | We are supportive of the proposed design parameters. | We note the proposed changes to the service terms to require all providers (both BM and non-BM) to submit data to NESO for real time monitoring of service availability and post-event performance monitoring. We are still reviewing the impact of providing this data within the required 24 hours period. However, we are concerned this may create undue additional burden on virtual lead parties in procuring this information to report. Furthermore, there will be software changes required for market participants to submit the information which may take longer to set up and implementation than the timescales proposed for the QR phase 2 product launch. We therefore request that NESO engages further with market participants to fully assess the requirements and timescales for implementing these reporting changes before implementation. NESO could, for example, look to implement a phased approach to implementation (rather than immediately following Ofgem’s approval). | No comments | As we have previously outlined to NESO in our response to the C9 consultation, to ensure a level playing field among battery storage providers, we acknowledge that ABSVD should be applied consistently to both BMUs and non-BMUs. However, we are concerned that NESO’s application of ABSVD to secondary BMUs delivering Dynamic Frequency Response Services is increasingly unclear and inconsistent. As a result are we currently are unable to reconcile the information provided by NESO and Elexon with observed actions from other VLP market participants. We would like NESO to provide further clarity on how exactly ABSVD is applied and settled for primary and secondary BMU’s. A consistent approach would enhance market transparency and improve the efficiency of the market. | No comments | No comments | No comments | We support the implementation on a single, simultaneous, co-optimised auction for Quick Reserve. | No comments | No comments
Statkraft Markets | Lenka Vesela, lenka.vesela@statkraft.com | Yes, question 6 contains some confidential commercial information which should not be published. |  |  | Please ensure that there is an allowance made for the normal deviation from PN which arises from e.g. Aux load which is coming through the main boundary metering. Furthermore, BOA accuracy check requirements need to consider that the BM operates at minutely and MW resolution. As such, there should be an additional tolerance of +/- 1 minute, +/- 1 MW on the expected volume, then the 95% - 120% test is applied from there. Additionally, the definition of IVC is excessively punitive and should be changed. IVC penalises a contracted unit based on its full contracted volume as opposed to just the shortfall volume. IVC also considers the full activation price, as opposed to the incremental cost from the most expensive balancing action and a median cost. The current implementation of IVC in Balancing Reserve is mostly flagging ‘false positives’, which is creating an unreasonable administrative workload. While we generally support a very punitive tool being available to NESO to ensure contracts are being honoured for commercial reasons. However, NESO should use the discretion in how it is applied to ensure that only defaults for commercial reasons are penalised. |  |  |  |  | It is our understanding that Optional Quick Reserve does not pay Capacity Payments. Please confirm. In the past, there were instances where optional Fast Reserve was instructed out of merit when compared with BM Units. It is important to us, that dispatch through all routes are treated equally and there is no preferential treatment of any service.
Kraken | Pete Noyce, pete.noyce@kraken.tech | No | The Procurement rules include a section on deregistration but it is unclear whether there is an appeals process for this and what that process would look like. We would welcome clarity here. | The consultation should be clearer on when stop instructions will be issued. ‘At a later point’ is too vague. We would also welcome more clarity on dispatch instructions for non-BMUs - when are these required or not? We would also welcome a consistent term for central dispatch of non-BMUs - a BOA equivalent. | No comment | We note the slight proposed differences in approaches between BMUs and non-BMUs providing firm or optional services. Is the plan for optional providers to also provide indicative PNs for windows they have an option for? Or should these providers just submit a PN at gate closure for that period? Separately, we are also unsure about the merits of the general direction of travel towards continuous metering and PN submission, and the extent to which non-BMUs will differ from BMUs. There is a broader question here about the cost benefit of increased NESO visibility and oversight - a conversation that we think is needed in the context of NESO’s new role and before the planned continuous metering changes are taken further. | No comment | No comment | Acknowledging that NESO has to draw the line somewhere, it would be helpful to know why that line is set at 300MW. | No comment | No comment | Based on the information we have available now, we support this proposal. | This new service is a positive introduction. But we would welcome more clarity on how it works: when non-BMUs will be able to bid for these services (e.g. eligibility and chronology) and whether they can submit different prices for different volumes. We are also unsure whether non-BMUs can choose to bid to provide these services only, or if this option is only available when NESO chooses to contract no firm capacity or if bidders are unsuccessful in firm auctions. | It is unclear from the consultation what the implementation process and timelines are for this update beyond a broad plan of introducing the changes in summer this year. NESO has previously sought to implement changes as soon after Ofgem has accepted its recommendations as possible. This creates significant issues for the technology providers (such as Kraken) supporting the market actors delivering these services. These changes can require significant changes to our systems, including new integrations, updates to our optimiser and more. It can be very inefficient and costly to properly start this work before we know what changes will be made. As seen in the frequency response terms update last year, there is no guarantee Ofgem will accept all recommendations. Therefore we urge NESO to allow time for the market to properly prepare for implementation, reducing the likelihood of delivery issues. Based on the changes as proposed at present, this could take somewhere in the region of 3-4 months. We would be very happy to set up a call to talk through this timeline with NESO. As a separate point, it is unhelpful that the consultation questions refer to content that is spread across both consultation documents and supporting documents. It would be helpful to put everything in one place and be clear on which question relates to which document(s).
EDF | Sam Coggins (samuel.coggins@edfenergy.com) and John Turner (john.turner@edfenergy.com) | No. | No comment. | This does not give certainty to energy-limited assets. The terms " at a later point" and "may be sent in advance" are ambiguous. Does NESO anticipate a significant number of instructions being sent without stop instructions or will the majority be sent with both a start and a cease instruction? Will a Non-BMU be given the latitude to generate or import at partial load or is an “all or nothing” approach going to be in operation? Additionally, there is reference to dispatch being via OBP, however there has been discussion of the existing Non-BM dispatch route via ASDP being retired some time later this year and replaced with an OBP-based alternative. Will QR Non-BM go-live with ASDP and then transfer to OBP, or will it go live with OBP? | It would be useful to have more certainty regarding Cease Instructions and when they will be issued, particularly for energy limited assets. Will these be issued at the same time as the start instruction? | The term “Operational Baselines” appears to be used interchangeably with the term “Physical Notifications / PNs”. For consistency and transparency, it would be useful for “PNs” to be used in relation to BMUs and “Operational Baselines” (OBs) to be used in relation to Non-BMUs. | In relation to the Firm Service, it is specified on page 18 that “if there is no (F)PN submitted......then the unit will be dispatchable but will not receive an availability fee.” What assumptions will NESO make where no baseline has been submitted? i.e. at what level of output will NESO assume an asset to have been operating before being utilised? | Page 20 states that “NESO should not have to send an instruction greater than a unit’s contracted capacity due to a limitation of the unit”. Can NESO please clarify the circumstances under which this would be a factor or a possibility? Is it NESO’s intention to only accept full volume from Non-BMUs, i.e. if a 20MW asset was contracted at 10MW in the firm service, can the remaining 10MW not be utilised in the optional service? What level of granularity will be used in delivery assessment? Will this be assessed across the instruction window or is it minute by minute? For example, if the asset generates at 122% for half the instruction window and 93% for half the instruction window, it will still generate within the 95-120% tolerance overall, despite being outside the delivery limits for every minute of the instruction window. Page 24 states that “providers who do not fulfil their contract from the DA auction and do not provide the contracted headroom or footroom may be responsible for covering the costs of alternative actions taken to replace the missing volume”. This alludes to the use of Incremental Volume Cost but the word “may” is very ambiguous. It would be useful to have a strong stance on the circumstances under which IVC (or equivalent) will be applied. Page 9 states that “Non-BM providers will have their energy position corrected through the ABSVD process”. At present, ABSVD does not apply to Non-BMUs. Whilst we are aware that a consultation has recently been launched into the application of ABSVD to Non-BMUs, the outcome has not been formally decided. Is the intention to wait until the A18 consultation on application of ABSVD to Non-BMUs has been completed before launching the QR Phase 2 service? | No comment. | No comment. | With regard to NESO’s decision to introduce Linked Buy-Orders (page 32), does this mean that there may be circumstances in which NESO will look to only procure QR if the contract spans multiple SPs/EFA blocks? Future of Splitting with Quick Reserve (page 33). Whilst it is nice to see future plans, it is quite misleading to include this within this particular document – surely this would require a formal consultation, particularly given the fact that it represents a significant change to the way in which Response services are stacked/split with Reserve services? As a minimum, this will require significantly more baskets within EAC to be made available when tendering for Response services. | This seems like a sensible approach. | We think it is useful to have this type of service available for use by Non-BMUs. However, additional clarity around the operation of the optional service would be very welcome. Other than those points raised above, it would be good to know if multiple prices can be submitted for different volumes of use within-day? | This consultation document is not particularly easy to follow. The way in which Non-BMUs will be instructed (mainly for the optional service), in terms of start and cease instruction timing and the associated target MW values could have been explained with more clarity.
Sembcorp Energy UK | Nikhil Venkateswaran (phone: 07788 389052, email: nikhil.venkateswaran@sembcorp.com) | No | No comments | No comments | The service requirements- particularly 1-minute ramp and 3-minute recovery times – impose constraints on asset types other than batteries from participating in QR, thereby limiting competition in the market. QR is still a challenge for 1-hour batteries (which dominate the non-BMU battery fleet) in particular to maintain State-of-Energy requirements through successive settlement periods, and therefore adds to the risk premium that might be applied to tender pricing. | No comments | We believe that it is helpful that the requirements for non-BM units to provide operational data and baselines at all times has been removed for Phase 2, with data provision only required while in service and subsequent settlement periods. However, the risk of requesting additional information from non-BMUs is disproportionately impactful from a cost and resource perspective on smaller market participants, particularly those with numerous, distributed sites, as is the case with non-BMUs. This deterrent effect could reduce competition overall. | No comments | No comments | We agree that the auction should take place in conjunction with the Frequency Response services on EAC. | No comments | We agree with having a single, simultaneous, co-optimised auction for Quick Reserve and Frequency Response services. | We believe that there needs to be equal transparency around the Optional Service as all other balancing actions, for example, will accepted bids/offers be identified as having been taken (perhaps out-of-merit) for QR purposes rather than normal BOAs? | No comments
SSE generation businesses | Michael-Allan Millar; ancillaryservices@sse.com | yes, Q12 | We are supportive of the inclusion of non-BM assets within quick reserve. | Dispatch of BM assets is via BOA. We have no comments on this. BOAs are made publicly available to view. How will the equivalent data be made available for non-BM providers? Will non-BM utilisation prices be included in cashout prices (if they meet CADL criteria)? Both BM and non-BM actions should be reflected in the cashout calculations. 8.5 of the service terms reads that non-BM will always be utilised to full available capacity. This should be clarified, as this would provide an unfair market advantage to non-BM providers. | We appreciate the need for a fast-acting reserve service. However, we would highlight that many assets will not be able to meet a 0 notice to start ramping. The time to full delivery will also be challenging to meet for assets other than batteries which are not already at a non-zero position. The use of defined parameters is not consistent. Can you please confirm whether Response Time and Time to Full Delivery are the same, the former applicable to BMUs and the latter to non-BMUs. The QR Summary document lists the prequalification parameters. The list contains both Response Time and Time to Full Delivery. The granularity for both is seconds. This does not align with the resolution of the current BM dynamic parameters which is minutes. Will providers be able to submit a Response Time of less than 1 minute? Also, Schedule 2 of the Service Terms lists the QR Service Parameters. Are these only applicable for BMUs? | We are not supportive of the approach to request performance metering from BM providers. It is unclear why this is needed for BM providers when energy delivery will be assessed through Elexon and dynamic data can be used to deem availability (as is already the case for balancing reserve). Our preferred option is for the performance metering requirement to be removed. In addition, BM providers already submit operational metering with the same 1 Hz resolution. If performance metering is kept, then there must be standardisation across services. The quick reserve data format and file frequency is different from other services, requiring additional cost to participate in the service. | We recognise that the non-BM process has been developed to mirror the BM process as closely as possible without over-burdening smaller generators. We are supportive of this approach. QR suffers from the same issues as Balancing Reserve with regard to availability declarations, monitoring and payment.. The NESO EDT system requires assets to ramp over a minimum of one minute. Each minute must have a unique value, meaning instantaneous ramps cannot be submitted despite batteries having this ability. As an example, to achieve a target PN at 02:00 ramp would need to begin 01:59. Alternatively, a delayed ramp beginning at 02:00 would reach target at 02:01. In either scenario, the submitted ramp profile would violate the QR terms, leading to deemed unavailability and penalties. In reality, the asset is capable of changing instantaneously, only NESO’s system will not allow submission of data to support this. Penalties should be withheld on this basis for quick reserve and balancing reserve until NESO can provide a suitable workaround. Alternatively, leniency should be given so that a generator is not penalised for the full 30-minute period when compliant for 29minutes out of 30, and non-compliance is only due to NESO system capabilities. | Answer: We are not supportive of the approach to request performance metering from BM providers. It is unclear why this is needed for BM providers when energy delivery will be assessed through Elexon and dynamic data can be used to deem availability (as is already the case for balancing reserve). Our preferred option is for the performance metering requirement to be removed. In addition, BM providers already submit operational metering with the same 1 Hz resolution. If performance metering is kept, then there must be standardisation across services. The quick reserve data format and file frequency is different from other services, requiring additional cost to participate in the service. |  | The auctions are aligned with the dynamic frequency services. We are supportive of this and would encourage future co-optimisation with balancing reserve, which we are aware NESO is working on. | We have no comments on this as it appears aligned with other EAC services. | We are generally supportive of this approach, though as mentioned above, we would encourage alignment with balancing reserve as well. | We are supportive of non-BM assets participating in the service. However, the optional quick reserve effectively gives non-BM assets a route to the BM, without the need to register for the BM. This provides non-BM an advantage as they cannot be penalised in the same way as BM generators (i.e. through witholding availability payments). | If a unit was not contracted for QR in the SP immediately before the contracted service window and needed to change its PN / ramp to the required PN for the service, when and how would it do this considering PN resolution is a minute but the ramp can be instantaneous. We incurred some availability penalties due to changing PN in the first minute of the contracted service window in the previous months. Response From NESO 13’03’25: Each QR unit shall be capable of delivering the full Contracted Quantity for the full duration of the Contracted Service Period from the start of the Contracted Service Period, which may mean that action is required before the start of the SP to ensure the unit is are compliant (sufficient head/footroom per clause 5 of the QR service terms) from the start of the Contracted Service Period. Background: SSE have been deducted payments under QR and BR for the following situation where the ramp from a PN in the previous SP results in a 1min ramp to 0: The Penalty has been attributed to AVAL ; P30 in the Quick Reserve Guidance Document defines performance monitoring code ‘AVAL’ as “A contracted unit should be able to demonstrate 100% of contracted Positive Quick Reserve (headroom) or Negative Quick Reserve (footroom). Failure to demonstrate the contracted availability will trigger an Event of Default (EoD). When a reserve unit triggers an EOD, it will forfeit Availability Payment for all the relevant Committed Windows”. SSE would put forward that the performance monitoring should not have applied AVAL in this case as the asset was available 100% for the contract delivery because the asset could have been extended from the PN in the previous SP (via BOAi) and the rmap therefore should not trigger a deduction. We would even argue that the situation is more advantageous to NESO given the full contracted QR/BR volume could be at the contracted capacity immediately in the 1st second of the contracted period, whereas other assets would need the upto the 1 min ramping period to get to the contracted capacity: Conclusion We ask for NESO to amend the performance monitoring to remove this PN-ramping scenario from the triggers for AVAL performance penalty and only levy such penalty when the asset truly cannot deliver its contracted capacity.
First Hydro Company | Andrew Rimmer (andrew.rimmer@engie.com) / Jessica Cotton (jessica.cotton@engie.com) | Yes, section 15 discusses plant parameters/operational restrictions. | No comment | No comment | No comment | Please allow time for IS implement the new STAR API connectivity | No comment | No comment | No comment | No comment | No comment |  | No comment | It is worth reviewing whether Clauses 5.5 and 5.7 of the Service Term really deliver the NESO’s intention as the impact is that it will artificially restrict the MWs tendered in the auction. In particular, clauses 5.5 and 5.7 will limit the amount of capacity that we are able to offer from our pump storage station. Clause 5.7 is written in such a way that we can offer only the amount between MEL and SEL, rather than MEL and 0MW. This is despite the fact that the NESO is protected by the dynamic parameters (e.g. the MZT times will mean that its QR requirements are met) and the asset is sufficiently flexible to deliver 300MW of QR in the required timescales. Instead, the clause means that we are restricted to offering only 150MW of negative QR capability. There is a different, albeit related, issue with clause 5.5. It is written in the same manner as 5.7 and limits the potential QR volume as the difference between SIL and MIL. Apart from being a limitation, our pumps are either on or off so the SIL is very close to the MIL; however, if the units are instructed to come off load then it is possible to remain synchronised and, therefore, be able to return back to the FPN within the timescales required by QR, i.e. the NESO can access the required flexibility. Clauses 5.5 and 5.7 will artificially restrict the volume participating in the auction and the wording should be reviewed.

## Q1 Provider Eligibility
Company Name | Question: Please provide any specific comments relating to the proposed Provider Eligibility, Registration and Prequalification process for Phase 2 of the Quick Reserve service. | NESO Response
YUSO BV | What is the deadline for service providers to be fully prepared for Phase 2 Quick Reserve performance metering? Is June 2025 still the target go live date for the service providers to be ready with this, or is it subject to Ofgem’s approval? | The implementation of Quick Reserve Phase 2 is subject to Ofgem approval through this EBR Article 18 consultation, and we expect their decision towards the end of June 2025. Subject to this approval we expect the auction platform to be opened for non-BM participants to submit bids around the middle of July with the first operational day for Quick Reserve non-BM being around the end of July 2025. All providers (BM and non-BM) will need to have their Performance Metering fully compliant and tested prior to providing the Quick Reserve Service from this time. Link to Performance Metering Data Specification Document document: https://www.neso.energy/sites/neso.energy/files/documents/STAR%20Project%20-%20Quick%20Reserve-%20Performance%20Metering%20Data%20file%20Specification%20v0.1.pdf
Flexitricity Limited | Flexitricity is a registered service provider for multiple asset types and is already fully registered in NESO’s Single Market Platform for registration and prequalification. We have no concerns over the proposal to utilise SMP for the non-BM assets as part of Phase 2 of the Quick Reserve service registration and prequalification. NESO should continue to provide clear guidelines of the metering data requirements for non-BM Eligible Assets as well as of the data requirements for its review of any conditions applied to an Eligible Asset under its DNO connection agreement. | All metering data requirements are published in the Quick Reserve Service Terms and supported by the published Operational and Performance Metering supporting documents/specifications; Operational Metering: https://www.neso.energy/document/318361/download Performance Metering Data Specification: https://www.neso.energy/sites/neso.energy/files/documents/STAR%20Project%20-%20Quick%20Reserve-%20Performance%20Metering%20Data%20file%20Specification%20v0.1.pdf
Centrica | We believe that NESO’s proposed service and procurement design for Quick Reserve (QR) Phase 2 marks a positive step toward increasing market accessibility and competition. In particular, we welcome non-BM units being able to participate in QR using the Open Balancing Platform from Summer 2025. This is a positive step.
Kraken | The Procurement rules include a section on deregistration but it is unclear whether there is an appeals process for this and what that process would look like. We would welcome clarity here. | The reasons for deregistration are outlined in section 5 of the service terms. If a unit was to breach any of the clauses, each case would be assessed and fully communicated to the provider. It would be at NESO’s discretion, deregistering the unit/provider as the last resort depending on the outcome of an investigation. The provider would have an opportunity to work with NESO to rectify the underlying issue, before any deregistration takes place.
SSE generation businesses | We are supportive of the inclusion of non-BM assets within quick reserve.
ENWL | There are very significant changes proposed by NESO with the replacement of Fast Reserve with Quick Reserve. This includes registration requirements changing. No specific issues are noted, but it is noted that this contributes to a very high level of change across most aspects of requirements between non-BM OFR and QR. The feedback in this response is based on our understanding of the information presented for QR phase 2 to date. | Thank you for your feedback, we understand that there will be additional registration processes for the market to participate in Quick Reserve. This is a result of aligning all our services with the same registration process utilised in our Frequency and other balancing services within the Single Market Platform (SMP). Going forward, this will make market entry much easier and less time consuming for providers. We are keen to work with providers throughout the journey to ensure that they are registered correctly with all new systems ahead of go live.
Energy UK | As a trade association rather than a market participant this response is on behalf of the association’s members. Energy UK members welcome the service, the design proposals and thank the team for its work in developing the Phase 2 design. Beyond this, we have responded to this consultation to request that the NESO allows sufficient lead-time between service approval and ‘go live’. This will support service providers to implement the required changes their side to deliver the service according to the new design parameters (especially where these require IT changes). We have provided more detail on this on p4 | Thanks for this feedback. We do aim to ensure that the timeline allows sufficient lead-time between service approval and ‘go live’. Via published material and further engagements NESO has been prudent to share our future system requirements and integration specifications as early as possible to give as many Service Providers capable to integrating from day 1 the opportunity to do so. We understand that for some, early systems development may represent a risk of regret spend, however, we do not anticipate that any change or rejection to the Quick Reserve Phase 2 A18 consultation will impact the fundamental systems integrations that will be required for any NESO service going forward. If there is to be any risk, then NESO too carries this with its own systems developments. We also recognise and appreciate the desire of industry participants to be ready for day 1 of any service, which may not always be possible due to required system integrations. Service Providers are reminded that there is no requirement to join the Quick Reserve service from day 1, and encourage providers to participate only when ready.

## Q2 Service Utilisation
Company Name | Question: Please provide any specific comments relating to the proposed Service Utilisation & Dispatch Mechanism for Phase 2 of the Quick Reserve service. | NESO Response
YUSO BV | Regarding the crossover period: The service terms mention that the bid-offer instruction must be capable of continuing a dispatch instruction into the next settlement period. Will such bid-offer instructions during cross-over periods respect the bid/offer volume data and the MEL/MIL data that are applicable for the next settlement period? | Yes, bid/offer instructions should respect unit data but providers will be expected to ensure that such data reflects their contractual obligations.
Flexitricity Limited | We would encourage NESO to provide a clear timeline for go-live of Phase 2 so that Service Providers can allocate resources and plan workload accordingly for the integration of non-BM assets into OBP, including the submission of Physical Notifications to OBP for the Eligible Assets participating in Quick Reserve. | The implementation of Quick Reserve Phase 2 is subject to Ofgem approval through this EBR Article 18 consultation, and we expect their decision towards the end on June 2025. Subject to this approval we expect the auction platform to be opened for non-BM participants to submit bids around the middle of July with the first operational day for Quick Reserve non-BM being around the end of July 2025. These dates are still to be finalised and we will communicate the final dates with as much notice as possible once we have the decision from Ofgem.
Centrica | We are supportive of the Open Balancing Platform being used for non-BM Quick Reserve Utilisation and Dispatch, as it broadens market access, encourages innovation, and enhances overall system flexibility.
Kraken | The consultation should be clearer on when stop instructions will be issued. ‘At a later point’ is too vague. We would also welcome more clarity on dispatch instructions for non-BMUs - when are these required or not? We would also welcome a consistent term for central dispatch of non-BMUs - a BOA equivalent. | Cease instructions for non-BM units will usually not be issued until shortly before the cease time. With a BOA instruction, NESO retains the option to extend the instruction until that time, so in practice this is an equivalent mechnanism. Since units are obligated to be able to provide the full contracted volume for the full contracted period, NESO intends to utilise energy limited assets in the exact same way as other assets. The equivalent term to a Bid-Offer Acceptance is a Dispatch Instruction for non-BMU's.
EDF | This does not give certainty to energy-limited assets. The terms " at a later point" and "may be sent in advance" are ambiguous. Does NESO anticipate a significant number of instructions being sent without stop instructions or will the majority be sent with both a start and a cease instruction? | Cease instructions for non-BM units will usually not be issued until shortly before the cease time. With a BOA instruction, NESO retains the option to extend the instruction until that time, so in practice this is an equivalent mechnanism. Since units are obligated to be able to provide the full contracted volume for the full contracted period, NESO intends to utilise energy limited assets in the exact same way as other assets.
EDF | Will a Non-BMU be given the latitude to generate or import at partial load or is an “all or nothing” approach going to be in operation? | For non-BMUs, any Quick Reserve instructions sent will be for the declared available volume and this volume should match the contracted volume. The non-BM dispatch route is all-or-nothing to simplify the data requirements for providers and the complexity of NESO dispatch systems (to avoid replicating the complexity of the BM). Providers wishing to provide additional flexibility should consider the routes available to join the BM. There is also no requirement for units to be flexible within the Quick Reserve service - this is only achievable by virtue of participating in the BM. However, for clarification, non-BMU's are allowed to stack Quick Reserve volume with the wholesale market. That is to say, a provider can provide Quick Reserve from a non-zero baseline, provided that all terms of the service are met, which includes the available head/footroom.
EDF | Additionally, there is reference to dispatch being via OBP, however there has been discussion of the existing Non-BM dispatch route via ASDP being retired some time later this year and replaced with an OBP-based alternative. Will QR Non-BM go-live with ASDP and then transfer to OBP, or will it go live with OBP? | Quick Reserve non-BM dispatch will be through the Open Balancing Platform (OBP), not the legacy Ancillary Services Dispatch Platform (ASDP).
SSE generation businesses | Dispatch of BM assets is via BOA. We have no comments on this. BOAs are made publicly available to view. How will the equivalent data be made available for non-BM providers? Will non-BM utilisation prices be included in cashout prices (if they meet CADL criteria)? Both BM and non-BM actions should be reflected in the cashout calculations. | Dispatch instructions relating to non-BM units will be published on the data portal, and we are looking at the publication of additional datasets to aid transparency. Non-BM dispatch data will be included in Cashout calculations.
SSE generation businesses | 8.5 of the service terms reads that non-BM will always be utilised to full available capacity. This should be clarified, as this would provide an unfair market advantage to non-BM providers. | For non-BMs, any Quick Reserve instructions sent will be for the declared available volume and this volume should match the contracted volume. The non-BMU dispatch route is all-or-nothing to simplify the data requirements for providers and the complexity of NESO dispatch systems (to avoid replicating the complexity of the BM). Providers wishing to provide additional flexibility should consider the routes available to join the BM. There is also no requirement for units to be flexible within the Quick Reserve service - this is only achievable by virtue of participating in the BM. However, for clarification, non-BMU's are allowed to stack Quick Reserve volume with the wholesale market. That is to say, a provider can provide Quick Reserve from a non-zero baseline, provided that all terms of the service are met, which includes the available head/footroom.
ENWL | It is noted that there are significant changes in these areas. This is one of many very significant changes proposed (particularly for non-BM units) with very limited time proposed by NESO between requirement finalisation and market go-live allowing insufficient time for system development for non-traditional providers, particularly for complex non-traditional technologies such as CLASS. As noted in all previous ENWL QR phase 1 and phase 2 response feedback it would be beneficial for NESO to plan more time between finalising market designs and market go-live. Based on ENWL’s experience of significant IT projects it is unrealistic to forecast around one month between requirements being finalised and delivery of the project as part of critical national infrastructure. Given NESO’s history with significant IT projects it is assumed this aligns with NESO’s understanding. The significant changes proposed in almost all areas of requirements in the move from OFR to QR need to be integrated through IT system changes in complex new technology such as CLASS. NESO has still not documented in several key areas how if expects the draft requirements to be applied to CLASS as highlighted in the answers below. NESO and ENWL have recently agreed the high-level principles of how draft QR requirements for areas such as live metering would be applied, but detail on how all areas of draft requirements are expected to apply (to demand reduction providers including CLASS) need to be published by NESO to allow ENWL to finalise requirements for system development. It is asked that NESO work with ENWL to urgently finalise how requirements are expected to be applied for CLASS (as soon as possible before June 2025) and the OFR market is kept open until June 2026 to allow CLASS benefits to customers and system security to continue to be provided while CLASS IT development projects are delivered. | The requirements for the Quick Reserve service have been publicised through industry documentation packs, legal documentation, webinars and 1-2-1 meetings ahead of, during and after the roll-out of Phase 1. NESO have requested that providers with specific needs for the service organise a 1-2-1 meeting with NESO to discuss their options and assist wherever possible. In general, we want to ensure that as soon as new Phase 2 providers are ready, that they are able to enter the market, and so we don't see value in arbitrarily restricting those providers from entering into the Quick Reserve market by introducing a delayed go-live as that would only limit benefit to consumers, and we are developing Phase 2 at pace to deliver as soon as possible. Over the past months we have published on our website a number of key supporting documents to set out the various requirements for non-BM Quick Reserve, as follows; • For the new Open Balancing Platform, in December 2024 we published the OBP Service Provider - Web Services Specification document detailing the API interface and submitting availability declarations baseline PNs, etc. We also issued additional guidance in the form of a Business Logic Document in March, providing details about the business rules and exceptions around the API which are to be implemented by Quick Reserve service providers. • We also published in October 24 the document setting out Operational Metering for non-transmission connected BM & non-BM Participants document. • For Performance Metering in January 25 we also published the Quick Reserve Performance Metering Data File Specification document. QR homepage 'IT Integrations' : https://www.neso.energy/industry-information/balancing-services/reserve-services/quick-reserve Within the supporting design documents for non-BM Quick Reserve and Slow Reserve we have stated that we recognise some non-BM technology types may wish to discuss how the metering and baseline data should be presented to NESO and offered 1-2-1 sessions to discuss and agree. As you mention in your feedback, we had a session on 30 January 2025 where we agreed the principle of how you would derive your Operational and Performance metering values and how you should present your baseline (PN) value to us and it was agreed that you would write this up in a fully documented proposal that we could, for the avoidance of any doubt, agree between us your method for complying with the requirements. We also suggested we would be happy to formalise this, potentially as a formal letter. We have not yet received this proposal. We continue to be committed to working with all providers to ensure the requirements for the interface with our systems that support non-BM reserve services. Please reach out if you have any specific areas still to cover with us.

## Q3 Service Design Parameters
Company Name | Question: Please provide any specific comments relating to the proposed Quick Reserve Service Design Parameters including Notice to Start Ramping, Time to Full Delivery, Cease Time, Activation Periods, Recovery Period, Ramping Envelope and Ramp rates for Baselines for energy limited assets. | NESO Response
Flexitricity Limited | We welcome the alignment of Quick Reserve ramp rates for baselines with the Dynamic Response Services. As per above, we encourage early engagement on the implementation of PN submission onto OBP with Service Providers. To reiterate our response from the Phase 1 consultation, whilst we appreciate that NESO has relaxed the requirement for recovery periods from 1 minute to 3 minutes in the Quick Reserve service design, this will still not enable I&C load to participate and will create a barrier to entry. The service should be designed to be technology agnostic and whilst NESO is not explicitly restricting assets from participating, the recovery period parameter does make participation from assets, other than battery storage, particularly challenging. | Thanks for the feedback. We will of course engage with industry as early as possible with regards to the implementation of PN submission to OBP. We appreciate that some technology types may not be able to participate in the market. Our requirements for the Quick Reserve service have been prediominantly driven by our system needs but we have tried to open this up where possible to as many technology types as we can, which includes allowing participation from non-zero baselines. We understand that the 3-minute recovery period in particular has generated lots of feedback. This was an area of detailed study, and we had previously published a full 3-minute Recovery Period justification paper along with the Phase 1 A18 documentation which you can find on our website: https://www.nationalgrideso.com/industry-information/balancing-services/reserve-services/quick-reserve#Document-library We appreciate that this requirement may be more onerous than in other services, but it is a direct reflection of the needs of the system. NESO will continue to monitor this requirement throughout the remainder of Quick Reserve Phase 1 and into Quick Reserve Phase 2, along with our other key requirements of the service, to ensure their validity in the future. However, we are pleased that we currently have three technology types participating in the market.
Centrica | We are supportive of the proposed design parameters.
EDF | It would be useful to have more certainty regarding Cease Instructions and when they will be issued, particularly for energy limited assets. Will these be issued at the same time as the start instruction? | Cease instructions for non-BM units will usually not be issued until shortly before the cease time. With a BOA instruction, NESO retains the option to extend the instruction until that time, so in practice this is an equivalent mechnanism. Since units are obligated to be able to provide the full contracted volume for the full contracted period, NESO intends to utilise energy limited assets in the exact same way as other assets.
Sembcorp Energy UK | The service requirements- particularly 1-minute ramp and 3-minute recovery times – impose constraints on asset types other than batteries from participating in QR, thereby limiting competition in the market. QR is still a challenge for 1-hour batteries (which dominate the non-BMU battery fleet) in particular to maintain State-of-Energy requirements through successive settlement periods, and therefore adds to the risk premium that might be applied to tender pricing. | Thanks for the feedback. As our highest specification reserve service, we appreciate that the service terms may be difficult to achieve for some assets. NESO have strived to open up the service requirements wherever possible (for example, allowing non-zero baselines and a 1MW qualified volume) without materially undermining the purpose of the service. Key parameters have been data derived, using historic frequency deviations and fast-acting unit dispatch patterns. From an energy basis, our requirement is for assets to be able to deliver their contracted volume. If an asset cannot do that for all of the periods it has won contracts for, that is not a valuable reserve service for us as replacing that reserve in real-time is often at a much higher cost. Our aim is for less flexible assets to have other routes to market, such as Slow Reserve, where they can deliver consumer benefit. However, we are pleased to see three technology types in the market so far.
SSE generation businesses | 1) We appreciate the need for a fast-acting reserve service. However, we would highlight that many assets will not be able to meet a 0 notice to start ramping. The time to full delivery will also be challenging to meet for assets other than batteries which are not already at a non-zero position. 2) The use of defined parameters is not consistent. Can you please confirm whether Response Time and Time to Full Delivery are the same, the former applicable to BMUs and the latter to non-BMUs. 3) The QR Summary document lists the prequalification parameters. The list contains both Response Time and Time to Full Delivery. The granularity for both is seconds. This does not align with the resolution of the current BM dynamic parameters which is minutes. Will providers be able to submit a Response Time of less than 1 minute? 4) Also, Schedule 2 of the Service Terms lists the QR Service Parameters. Are these only applicable for BMUs? | 1) Thanks for the feedback. As our highest specification reserve service, we appreciate that the service terms may be difficult to achieve for some assets. NESO have strived to open up the service requirements wherever possible (for example, allowing non-zero baselines and a 1MW qualified volume) without materially undermining the purpose of the service. Key parameters have been data derived, using historic frequency deviations and fast-acting unit dispatch patterns. Our aim is for less flexible assets to have other routes to market, such as Slow Reserve, where they can deliver consumer benefit. Whilst we require 0-minutes notice at a minute granularity, we expect that providers will use some of the 1-minute response time as notice to start ramping, and then ramp over the rest of the period. 2) In the Quick Reserve Phase 2 summary documentation, Time to Full Delivery (TTFD) describes the time between an instruction start time and the expected full output of the unit 1-minute later. This would include any notice periods. in the Service Terms, however, NESO have defined the Response Time and Time to Full Delivery, which are slightly different. Response time refers to the total amount of time a unit takes to respond to an instruction, which includes any notice period. Time to Full Delivery only refers to the time taken for a unit to ramp to an instruction and does not account for any notice period. These terms were defined to help with behind-the-scenes processes but we apologise for the confusion caused by the use of different terms. As Quick Reserve has an implied 0 for any notice parameters (NTO/NTB or equivalent), then the above defined Time to Full Delivery and Response Time are effectively equal. This differentiation has been introduced now such that it is consistent with the upcoming Slow Reserve service, where these definitions will make a material and useful difference. 3) Response Time is being updated to seconds in SMP for pre-qualification. Quick Reserve requires this to be no greater than 1-minute. Therefore, providers can elect to put in a lower value if it can reach full registered volume in less than 1-minute. 4) NESO have outlined the required parameters for both BM and non-BM providers. BM units are expected to submit these dynamic parameters, along with other required dynamic parameters (MEL, MIL, etc) in order to be deemed available and recieve availablity payments. Non-BM will have provided these elements during prequalification and are considered static, so there is no need for them to submit these parameters during daily operations - only updating when required.
ENWL | We welcome the potential savings for customers that could be realised by launching the Quick Reserve Service and NESO’s expected benefits of for customers of up to £32.7m per annum. ENWL has identified that the minor amendment of two areas of NESO’s service design (in respect of recovery periods and minimum activation periods) would greatly reduce costs for customers, support CP30 objectives and increase operational security by increasing the flexibility available to NESO via CLASS. NERA were commissioned by ENWL to independently assess the impact of different recovery times in Quick Reserve which could better enable CLASS participation in the market. The headline finding was that amending draft requirements that would better enable CLASS participation could save customers up to £67.6m per year in reduced NESO QR Procurement costs (if 500MWs of CLASS services are operating in Quick Reserve) plus £1.0m per year for customer DUoS reductions and further savings from carbon savings estimated to a value up to £14.0m per year. The level of possible savings depends upon the amount of CLASS capacity developed over time (note that development would be facilitated by requirements better enabling CLASS provision). The NERA report1 estimates that CLASS services could eliminate 87% of the costs of the QR market for customers (not considering carbon reduction value). To date there has been very significant uncertainty in whether NESO will set up markets that enable CLASS market participation in the short or medium term, and there has been uncertainty on how DNOs will be remunerated in future regulatory periods for CLASS, which means that in our view DNOs are unlikely to have been able to invest in developing CLASS provision. This has been the case for ENWL in decisions on whether to roll CLASS out to more of the network in the Northwest. These issues could be resolved quickly to facilitate rapid investment. | NESO have designed the Quick Reserve service to fit a specific operational and financial goal. That is, to help secure the grid against sudden, transitory changes in supply and demand at reduced cost to that historically spent on the optional OFR (where CLASS is a participant) and bilateral services. The Minimum Activation Period (MAP) and Recovery Period have been justified on technical grounds, with decisions on requirements predominantly dictated by historical frequency and fast-acting unit dispatch data. In Phase 1 we presented further analysis that showed the theoretical savings were outweighed by how this would affect our procurement costs (having already made a cost-based decision to move from 1-minute to 3-minutes on the basis of evidence of market participation), and Ofgem ultimately approved the design for Phase 1 for go-live Nov 24. These changes would not be minor updates to the service, with the Recovery Period proposed to be increased to be more than tripled and the MAP increased by 20%. Recovery Period NESO stand by the previously published Recovery Period documentation, which was also submitted to, considered, and ultimately appoved by Ofgem before Phase 1 go-live. To quote Ofgem; "This parameter, along with many others, will be kept under constant review and, if required in the future and following sufficient evidence to do so, may be updated as part of a "Day 2" for QR Phase 2, but at present we do not have evidence that supports a change from our decision in Phase 1." Activation Period We were not aware that the MAP was a limiting factor from our previous discussions and this does appear to indicate that both parameters would needed to be changed for participation, which does lead to a less economic situation compared with our previous analysis which only considered the impact of a recovery period change. We do not agree with the quoted savings, and will outline this is a specific repsonse to the NERA report.
ENWL | NERA Estimated savings by CLASS rollout scenario can be seen in Evidence 1: https://nationalgridplc.sharepoint.com/:i:/r/sites/GRP-MST-INT-ESO-ASR-ReserveReform/Shared%20Documents/05%20Consultations/05.%20QR%20phase%202%20Article%2018%20February%202025/08.%20Responses/ENWL/Evidence%20one%20-%20CLASS%20Deployment.PNG?csf=1&web=1&e=wCSH0y The highly consequential issues with NESO’s analysis of recovery times have been highlighted in all previous ENWL QR responses. NERA’s independent analysis also highlights the significant issues with the NESO recovery time analysis. As highlighted in previous ENWL responses, setting QR recovery time requirements up to 10-minutes should be considered | Please see our separate response to the NERA report.
ENWL | Setting up to 10-Minute Recovery time for non-BM QR Optional Markets would reduce Operational Risk for NESO. Quick Reserve utilisations will be procured in-day from QR units in the ‘Optional’ Non-BM QR Market or from QR capable units in the BM. Both markets together are referred to as the ‘QR Utilisation Markets’ in this response. The key objectives set out by NESO for the move from Fast Reserve to Quick Reserve are to: 1. Lower Operational Risk by allowing NESO to utilise balancing services that can reach full response within one minute (instead of two minutes). 2. Reduce the cost of balancing service provision for customers. The more QR capacity available for dispatch in the QR Utilisation Markets (the ‘Optional’ QR market and the BM) the lower the Operational Risk of QR Unavailability for NESO as all these units could be dispatched if needed and reach full delivery within one minute. The risk of a QR unit not being available for dispatch occurs when all QR units are either dispatched or recovering/unavailable at the same time. Having increased capacity available in the QR Utilisation markets clearly reduces this risk and increases NESO’s ability to respond and cover frequency deviations. Setting recovery time for QR capable units to up to 10-minute recovery time could quickly increase capacity available in the QR Utilisation markets by 2-3GWs, reducing the risk of QR unit unavailability and improving coverage efficiency for NESO. | As we do not regularly dispatch 2-3GW of fast reserve, we do not see how such a volume of investment would be supported as suggested here. With our firm procured volume, we envisage regularly dispatching the full volume, leaving all assets recovering at the same time.
ENWL | The potential Operational Risk reduction impact of setting requirements of up to 10-minute recovery time in the ‘Optional’ QR market can be seen in diagrams one and two (evidence 2): https://nationalgridplc.sharepoint.com/:i:/r/sites/GRP-MST-INT-ESO-ASR-ReserveReform/Shared%20Documents/05%20Consultations/05.%20QR%20phase%202%20Article%2018%20February%202025/08.%20Responses/ENWL/Evidence%20two%20-10%20min%20recovery.PNG?csf=1&web=1&e=aA4gTd Diagram 1: Setting QR requirements for up to 10-minute recovery times allows CLASS to compete on a level playing field with 100% capacity, reducing Operational Risk for NESO in normal market conditions. | In the NERA report, it is stated that ENWL can participate in the Quick Reserve market if it offers 50% capacity and a 5 minute Minimum Activation Period - something that is not considered in the analysis of the report. Therefore, ENWL are not excluded from the service, and are able to compete for utilisation and availablity along with all other market participants.
ENWL | 1) It is noted that in the current Optional Fast Reserve market units are able to set recovery times above 10-minutes but instead often choose to set recovery times at 3 minutes or lower. It is likely that this would continue in Quick Reserve if recovery time requirements of up to 10 minutes were set. 2) If CLASS is able to compete on a level playing field by setting an up to 10-minute recovery time for Optional QR it could reduce Operational risk in normal scenarios (as shown in diagram 1), and very significantly reduce Operational Risk when there is a prolonged period of low wind and low PV generation (as shown in diagram 2). 3) A shortage of generation and QR capacity after a prolonged still and overcast period is one of the highest risk scenarios presented by NESO. It is understood that NESO currently expect that most providers in the QR market will be batteries or other energy-limited assets that would not be able to make a positive contribution to QR capacity in this scenario after discharging initially. | This supports NESO's analysis that there are many units which can meet the proposed parameters. The arguments made here neglect that there is a positive and negative element to the service which can lead to storage providers being able to charge through Quick Reserve dispatches. Indeed, during these periods they are likely to pay NESO for BOAs in these situations, leading to the overall dispatch cost being lower than a Positive Quick Reserve (PQR) only provider. There are currently three technology types participating within Quick Reserve.
ENWL | Setting a 10-Minute Recovery time for Optional QR Could Over Triple Expected Savings for Customers Low marginal cost technologies such as CLASS would be able to participate on a level playing field in the Quick Reserve Utilisation markets if a requirement for up to a 10-minute recovery time was set. NERA estimates that as CLASS offers lower prices than competitors this could over triple NESO’s possible savings for customers of launching QR. | NESO fundamentally disagree with this statement, as previously evidenced in our Recovery Period justification document. A lower utilisation cost for a volume of at maximum 90MW is not enough to offset the significan additional costs associated with additional procurement volumes and sterilisation of the service. Further detail is available in our response to the NERA report.
ENWL | 10-Minute Recovery time for Optional QR would help with Key CP 2030 Challenges Investment to deliver a large amount of CLASS flexibility by 2030 could be possible if units with a 10-minute maximum recovery times are allowed to compete on a level playing field in QR. NESO highlighted that ‘New sources of flexibility are vital for clean power’ as a headline finding in its guidance to Government . Providing stable and attractive market opportunities for CLASS is essential to stimulate the investment in CLASS capacity. | The CP30 scenarios do not require that all flexibility is Quick Reserve capable. We would value working further with ENWL to investigate the potential to offer value from this form of flexibility verses direct consumer engagement or transmission level equivalents.
ENWL | Fixed QR requirements could also be aligned with the suggested amendments to Optional QR recovery times to further increase customer savings further without increasing operational risk. Not allowing QR capacity with a ten-minute recovery time to offer capacity in the Fixed QR market could increase Operational Risk (as well as increasing costs) for NESO in normal market conditions and in some of its highest risk scenarios, as shown in diagram 2 above. However, there are scenarios where NESO may want to use the Fixed QR market to procure most/all QR capacity with a 3-Minute maximum recovery time. | Please see our separate response to the NERA report.
ENWL | Scenarios where NESO may want to secure QR capacity with up to 3-minute recovery time Scenarios can be modelled where NESO may want to only secure QR capacity with up to 3-minute recovery time. NESO have only modelled one scenario in their 2024 Maximum Recovery Period – Justification and analysis paper. In the instance modelled only a single QR unit is available in the market, and it was required to activate (turn on then off) over 200 times per day. Average activation time was 3-5 minutes, and the unit was always reactivated immediately at the end of its recovery time. NESO does not note how likely it considers this scenario to be in the short to medium term. If NESO expects a shortage of QR capacity and this pattern of activations (perhaps including where all QR units turned on and off in this pattern), then the procurement of available Units with a 3-minute recovery time in preference to a similar QR unit with a longer recovery time makes sense. It is important that NESO has Fixed QR available to procure QR units with a 3-minute maximum recovery time if it forecasts a scenario for the next day that aligns with this profile. NESO may have modelled this scenario as the most extreme potential use of the market in the longer term. | Please see our separate response to the NERA report.
ENWL | However, as noted by NERA there are an average of around 4 activations per day per unit in the Fast Reserve Market , and average activation length is around 30 minutes. Average activation lengths have increased. We are not aware of a day where even the cheapest units (who are always used first) have been activated even 20% of the number of times modelled, and for the Unavailability risk modelled by NESO all available units would have to follow this pattern. It is also a very small percentage of time when activations for OFR units are stopped at their Minimum Activation Period (see MAP analysis below), which NESO analysis assumes would happen 100% of the time in this scenario. Evidence 3: https://nationalgridplc.sharepoint.com/:i:/r/sites/GRP-MST-INT-ESO-ASR-ReserveReform/Shared%20Documents/05%20Consultations/05.%20QR%20phase%202%20Article%2018%20February%202025/08.%20Responses/ENWL/Evidence%20three%20-%2010%20min%20recovery%20(2).PNG?csf=1&web=1&e=DfSPFK It is requested that amendments to the recovery time requirements are considered for both Optional QR and/or Firm QR, with impact analysis based on different possible scenarios accompanied by NESO estimation of the likelihood of the scenarios. At present our view is NESO has modelled only an entirely unrealistic scenario of only 1 unit being continually reused which leads to a non-sensical policy position. The second requirement that should be reconsidered by NESO is the changes proposed to Minimum Activation Period in the move from OFR to QR. | Please see our separate response to the NERA report.
ENWL | Minimum activation period (MAP) in Quick Reserve should be reconsidered to ensure customer benefits and system security is optimised NESO has proposed a requirement for up to 5-minutes (including ramping periods) for Quick Reserve minimum activation period. The proposal does not appear to have considered the potential cost for customers of the proposed change, or the potential reduction in operational system security if the potential volume of flexibility available is reduced due to this proposal. NESO have highlighted analysis from 2022 as rationale for the proposal. Several points are noted on the NESO analysis: 1 - NESO Analysis performed has not considered the period from when activations are triggered by NESO to when they are stopped. Instead, analysis only appears to have been performed on the time from 49.9 Hz to 50.1 Hz when frequency is rising. Activations are likely to be triggered as frequency drops, not at the last point frequency crosses 49.9 Hz as frequency rises. This is illustrated below with annotation of a possible actual activation shown on NESO’s explainer of the duration periods considered (evidence 4): https://nationalgridplc.sharepoint.com/:i:/r/sites/GRP-MST-INT-ESO-ASR-ReserveReform/Shared%20Documents/05%20Consultations/05.%20QR%20phase%202%20Article%2018%20February%202025/08.%20Responses/ENWL/Evidence%20four%20-%20Duration%20analysis.PNG?csf=1&web=1&e=sy08VY 2 - Analysis of ENWL activations has been performed for the year to 28 February 2025. Two percent of CLASS activations for this period stopped at CLASS’ Minimum Activation period of 6 minutes. If NESO had wanted to stop half of these activations at a MAP of 4 minutes, this would have reduced CLASS delivered activation volume by less than 0.5%. By reducing the MAP requirement to 4 minutes, NESO could reduce overall operational security significantly by having less Quick Reserve capacity available for over 99.5% of the time. In the remaining <0.5% it would be necessary for NESO to look at each instance to establish whether these contributed to swings to 50.1Hz or not, and if mitigating action could be taken easily by NESO to counteract the effect on these occasions. | NESO has considered the Minimum Activation Period (MAP) requirement and based it's decision on the analysis of historical data. To date, NESO have not received any significant feedback or opposition to the proposed Quick Reserve MAP requirement. 1) Our analysis was done over the ±0.1Hz range as this is the targeted range for Quick Reserve operations, so seemed appropriate. Although it may be correct that an engineer would not wait until the very last second to activate Quick Reserve volumes, this was the most prudent approach to our analysis. If we were to inspect each use-case and individually assess when and how much volume might be dispatched, then this would take a disproportionate amount of time to accomplish. You correctly point out that the diagram depicts a rising frequency profile. We did not only consider this scenario, and this is simply included as a visual aid. As stated, our analysis was considered across the whole 50Hz ±0.1 range, meaning that both directions were of course considered. 2) NESO's proposal is for a MAP of 5-minutes, not 4-minutes. In a situation where multiple assets have been instructed, clearly those with a shorter MAP would be able to be ceased first, and therefore it is unsurprising that usage statistics of an asset with a 6-minute MAP would not provide good evidence for a 5-minute MAP.
ENWL | 1 - Analysis of actual activation patterns for Fast Reserve units with a low MAP also provides relevant data on the potential impact of changes in MAP. In the year to 28 February 2025 for the Fast Reserve units with a MAP below 5 minutes, less than 5% of activations were below 5 minutes, and less than 0.5% of volume procured was from activations lasting less than 5 minutes. In the remaining <0.5% more analysis would be required on a case-bycase basis by NESO to establish whether a longer MAP would have contributed to a swing to 50.1Hz or not, and if mitigating action could be taken easily by NESO to counteract the effect on these occasions. The frequency of activations under 5-minutes seems to be dropping slightly in the latest month of February 2025 with under 4% of activations below 5 minutes and less that 0.3% activated volume of the units related to these activations. 2 - NESO’s analysis7 seems to consider 5-minute MAP periods, but draft requirements for Quick Reserve are 5 minutes including ramping periods which requires a significantly shorter MAP than 5 minutes. 3) It is asked that the MAP requirements for Fast Reserve are continued to ensure as much as possible of Fast Reserve capacity (and suppliers interested in joining) is available in Quick Reserve to reduce system security risk and customer costs. ENWL would be happy to feed into any updated analysis on MAP duration. | 1) As stated elsewhere, OFR is not the only access NESO has to flexible instructions, and a wider look at other instructions would show more instances of this need. It does not need to be the case that every instruction requires a MAP of 5-minutes for it to be the correct parameter to maximise particpation while minimising costs and risk. The definition of MAP, which has been clearly stated in the design documentation, service terms and various industry webinars, includes ramping. ENWL's suggestion here, which uses it's own definition for MAP, requires this requirement to be increased to 6-minutes. 2) It is clearly stated in our design documentation and webinar materials that MAP is inclusive of ramping. 3) Quick Reserve and Optional Fast Reserve are different services. NESO has performed it's own analysis for the requirement setting of this parameter, which it believes to be appropriate, and concluded that 5-minutes at the maximum allowable MAP is acceptable. As Quick Reserve is a different service to Fast Reserve, it follows that the MAPs may be different, as they address different requirements.

## Q4 Operational Baseline
Company Name | Question: Please provide any specific comments relating to the proposed Quick Reserve Metering including Operational Baselines, Operational Metering and Performance Metering. | NESO Response
Flexitricity Limited | 1) We understand the NESO intends to retain the 1Hz granularity of metering at a latency of no more than 5s for QR which we believe to be restrictive for non-BM asset classes in Phase 2. 2) We appreciate that NESO is undergoing an independent review of metering standards and currently conducting a 300MW small assets in the BM test case which may show that operational integrity can remain whilst relaxing metering standards. We look forward to the outcome of the independent review, but emphasise that the substantial delay in NESO’s timeline for this review should not necessitate the application of unnecessarily strict metering requirements for QR metering. Our expectation is that the learnings from the review and trial, both of which are well underway, should be incorporated into the QR Phase 2 product, so that metering standards for products not yet launched should be aligned so as not introduce unnecessary barriers to entry. 3) Noting NESO’s requirement for indicative PNs to be submitted for all Settlement Periods of the following operational day, where 1 or more contracts exist, by no later than 2 hours after the publication of auction results, can NESO provide further clarity on the reasoning behind this requirement as well as details on how this should be administered in practice by the provider. | 1) NESO appreciate that this requirement may be difficult for some technology types. However, this requirement is directly driven by an operational need for real-time reflectivity of an assets output. The Quick Reserve service is inherently very fast acting, so NESO control-room engineers must have clear visibility of how their instructions and an assets output are influencing the system frequency at any given moment. A 5-second maximum latency requirement is key for this, so it is essential that the aggregated Operational Metering feed to NESO is accurate and best reflects a unit's immediate output. 2) This requirement is independant of any metering standard work, and is purely a reflection of the minimum requirements of the service. So, although this independent review work is important, the Quick Reserve metering standard is set specific to its particular needs. 3) Where a unit holds a contract for an operational day (23:00-23:00), then the provider must submit Operational Metering and Operational Baselines for that entire operational day. This requirement applies to both BM and non-BM participants. NESO have implemented these requirements to better align with the BM, thereby aiming to reduce disparity between the two markets. We seek Operational Baselines and metering for the entire day, if contracted, to assist NESO in better forecasting generation and demand, even if these forecasts are indicative, helping to promote greater market transparency and operational visibility. The above will allow more efficient balancing decisions as more of the market will be required to centrally submit their running profiles ahead of time, reducing a current pain point, along with allowing for greater performance monitoring capabilities. BM units already provide day-ahead forecasts, representing the best available prediction of a unit's output at the time, and can be updated any time up to gate closure. NESO plan to introduce the above data submissions as a 24/7 requirement, where prequalified for the service and in line with the Response products, for BM and non-BM units in the future. Details are still to be finalised and will be communicated appropriately when available and, of course, ahead of time.
Centrica | We note the proposed changes to the service terms to require all providers (both BM and non-BM) to submit data to NESO for real time monitoring of service availability and post-event performance monitoring. We are still reviewing the impact of providing this data within the required 24 hours period. However, we are concerned this may create undue additional burden on virtual lead parties in procuring this information to report. Furthermore, there will be software changes required for market participants to submit the information which may take longer to set up and implementation than the timescales proposed for the QR phase 2 product launch. We therefore request that NESO engages further with market participants to fully assess the requirements and timescales for implementing these reporting changes before implementation. NESO could, for example, look to implement a phased approach to implementation (rather than immediately following Ofgem’s approval). | For non-BM units: - A forecasted Operational Baseline or PN is required if units hold one or more contracts in an operational day (23:00-23:00) and a final PN must be in place for each contracted period and the Settlement Period which follows. For each contracted period and the Settlement Period which follows, Performance Metering must also be provided (this requirement applies to both BM and non-BM participants) as this data is required for accurate assessment at settlement. - Where one or more contracts have been awarded in an perational day, Operational Metering is required for that entire operational day. NESO have implemented these requirements to better align with the BM, thereby aiming to reduce disparity between the two markets. We seek non-BM operational baselines and metering for the entire day, if contracted, to assist NESO in better forecasting generation and demand, even if these forecasts are indicative, helping to promote greater market transparency and operational visibility. The above will allow more efficient balancing decisions as more of the market will be required to centrally submit their running profiles ahead of time, reducing a current pain point, along with allowing for greater performance monitoring capabilities. BM units already provide day-ahead forecasts, representing the best available prediction of a unit's output at the time, and can be updated any time up to gate closure. NESO plan to introduce the above data submissions as a 24/7 requirement, where prequalified for the service and in line with the Response products, for BM and non-BM units in the future. Details are still to be finalised and will be communicated appropriately when available and, of course, ahead of time.
Kraken | 1) We note the slight proposed differences in approaches between BMUs and non-BMUs providing firm or optional services. Is the plan for optional providers to also provide indicative PNs for windows they have an option for? Or should these providers just submit a PN at gate closure for that period? 2) Separately, we are also unsure about the merits of the general direction of travel towards continuous metering and PN submission, and the extent to which non-BMUs will differ from BMUs. There is a broader question here about the cost benefit of increased NESO visibility and oversight - a conversation that we think is needed in the context of NESO’s new role and before the planned continuous metering changes are taken further. | 1) For non-BM units that wish to participate in the Optional service, providers are expected to submit their PNs by gate closure for the relevant period plus the immediately following period for crossover purposes. This rule also applies for Operational Metering. Please see clause 20.3 and 20.5 in the Service Terms for clarification on these requirements. 2) Where a unit holds a contract for an operational day (23:00-23:00), then the provider must submit Operational Metering and Operational Baselines for that entire operational day. This requirement applies to both BM and non-BM participants. NESO have implemented these requirements to better align with the BM, thereby aiming to reduce disparity between the two markets. We seek Operational Baselines and Metering for the entire day, if contracted, to assists NESO in better forecasting generation and demand, even if these forecasts are indicative, helping to promote greater market transparency and operational visibility. The above will allow more efficient balancing decisions as more of the market will be required to centrally submit their running profiles ahead of time, reducing a current pain point, along with allowing for greater performance monitoring capabilities. BM units already provide day-ahead forecasts, representing the best available prediction of a unit's output at the time, and can be updated any time up to gate closure. NESO plan to introduce the above data submissions as a 24/7 requirement, where prequalified for the service and in line with the Response products, for BM and non-BM units in the future. Details are still to be finalised and will be communicated appropriately when available and, of course, ahead of time. NESO are more than happy to organise a 1-2-1 with Kraken in order to discuss this direction of travel further.
EDF | The term “Operational Baselines” appears to be used interchangeably with the term “Physical Notifications / PNs”. For consistency and transparency, it would be useful for “PNs” to be used in relation to BMUs and “Operational Baselines” (OBs) to be used in relation to Non-BMUs. | Thanks for the feedback. We agree with your recommendation and will strive to use this methodology going forward.
SSE generation businesses | 1) We are not supportive of the approach to request performance metering from BM providers. It is unclear why this is needed for BM providers when energy delivery will be assessed through Elexon and dynamic data can be used to deem availability (as is already the case for balancing reserve). Our preferred option is for the performance metering requirement to be removed. In addition, BM providers already submit operational metering with the same 1 Hz resolution. 2) If performance metering is kept, then there must be standardisation across services. The quick reserve data format and file frequency is different from other services, requiring additional cost to participate in the service. | 1) The real-time operational metering submitted by BM units includes an unpredictable amount of latency. Therefore, for accurate performance monitoring, we still require providers to submit post-event performance data as captured locally. 2) Whilst we understand the need for consistency across services, it is difficult to specify a single metering frequency because different services will inherently have different requirements. The Operational Metering frequency has been based on the speed of service. 1-second is required for Quick Reserve as there are many fast acting assets participating in the service, so therefore requires a higher sampling rate. Slow Reserve, on the other hand, does not have the same response time requirements, and will typicaly have slower moving units participating. The sampling rate for Slow Reserve was derived from a need to accurately measure the maximum ramp rate, which is defined not to exceed more than 50% contracted volume per 30-second period, therefore leading to a 15-second requirement. Applying a 1Hz requirement to Slow Reserve would seem unnecessary and vastly over-sampled for it's purpose. The converse is true for Quick Reserve and a 15-second sampling rate.
First Hydro Company | Please allow time for IS implement the new STAR API connectivity | We completely understand the need for market participants to require time for implementation of the new STAR API connectivity. We have documented the process, circulated the Data Specification Document (link below) and a number of drop in sessions have either happened or are planned. We are reaching out to providers (via Account Managers) to offer more support and we envisage the API will open for testing at the begining of May 2025. https://www.neso.energy/sites/neso.energy/files/documents/STAR%20Project%20-%20Quick%20Reserve-%20Performance%20Metering%20Data%20file%20Specification%20v0.1.pdf
ENWL | It has not clearly been established how NESO expect operational metering requirements to be applied for CLASS. Guidance was not issued with consultation documents for QR, with ENWL flagging the lack of detail since the start of QR phase 1 consultations. Recent engagement from NESO on this has been appreciated and draft high-level principles on how metering and settlement would work for CLASS have now been agreed with NESO. However, as details were not included in earlier consultation documents ENWL has only just been able to commence working on a significant system development project to allow ENWL to meet the Quick Reserve metering requirements. The delay in provision of detail by NESO has pushed back possible delivery times of development projects that would allow CLASS to participate in Quick Reserve. It is asked that the OFR market is kept open until June 2026 so CLASS can continue to benefit customer cost savings and system security while development projects are delivered, and that NESO continues to work with ENWL to finalise metering requirements for CLASS as soon as possible. | Over the past months we have published on our website a number of key supporting documents to set out the various requirements for non-BM Quick Reserve, as follows; • For the new Open Balancing Platform, in December 2024 we published the OBP Service Provider - Web Services Specification document detailing the API interface and submitting availability declarations baseline PNs, etc. We also issued additional guidance in the form of a Business Logic Document in March, providing details about the business rules and exceptions around the API which are to be implemented by Quick Reserve service providers. • We also published in October 24 the document setting out Operational Metering for non-transmission connected BM & non-BM Participants document. • For Performance Metering in January 25 we also published the Quick Reserve- Performance Metering Data File Specification document QR homepage 'IT Integrations' : https://www.neso.energy/industry-information/balancing-services/reserve-services/quick-reserve Within the supporting design documents for non-BM Quick Reserve and Slow Reserve, we have stated that we recognise some non-BM technology types may wish to discuss how the metering and baseline data should be presented to NESO and offered 1-2-1 sessions to discuss and agree. As you mention in your feedback, we had a session on 30 January 2025 where we agreed the principle of how you would derive your Operational and Performance Metering values and how you should present your baseline (PN) value to us and it was agreed that you would write this up in a fully documented proposal that we could, for the avoidance of any doubt, agree between us your method for complying with the requirements – we also suggested we would be happy to formalise this, potentially as a formal letter. We have not yet received this proposal. We continue to be committed to working with all providers to ensure the requirements for the interface with our systems that support non-BM reserve services. Please reach out if you have any specific areas still to cover with us.

## Q5 Provider Availability
Company Name | Question: Please provide any specific comments relating to the proposed Quick Reserve Provider Availability, including Baselining, Energy Requirements, Crossovers, Aggregation and Availability Declarations. | NESO Response
Flexitricity Limited | 1) We would recommend the use of existing systems for the submission of data. We take this opportunity to flag the lack of firm timeline for the future of splitting in Quick Reserve which is understood to be caused by current IT limitations. 2) It is anticipated that the implementation of new IT systems for non-BM units will require significant development time from internal IT teams, so it would be prudent to begin this work at the earliest opportunity and NESO should provide clear and timely instructions to Service Providers to that effect. 3) Could NESO also please signpost a link to the new Cross-Overs guidance document which does not appear on the Quick Reserve page. | 1) The Ancillary Service Dispatch Platform (ASDP) API is being introduced as the baseline API for the Open Balancing Platform (OBP) to minimise provider changes. Integration will be with OBP with existing services remaining on ASDP until migration to OBP. Thank you for your comments in relation to Splitting. This is still something under development and consideration and we will update in due course. 2) We have previously published the intial web API specs in December 24 with the Business Logic Document in March 25, and will shortly publish the WDSL files to accompany the API specification in order to enable providers to proceed with development. 3) Yes, we have published our crossover guidance document on our website. Please see below for a link: https://www.neso.energy/industry-information/balancing-services/reserve-services/quick-reserve#QR2-EBR-article-18-Consultation-documents
EDF | In relation to the Firm Service, it is specified on page 18 that “if there is no (F)PN submitted......then the unit will be dispatchable but will not receive an availability fee.” What assumptions will NESO make where no baseline has been submitted? i.e. at what level of output will NESO assume an asset to have been operating before being utilised? | If a provider does not submit PNs for a Settlement Period then to facilitate dispatch systems a default value of zero will be used by OBP. This defaulted value will not be supplied to downstream systems for performance monitoring / payment. Any dispatch is based on the declared and accepted MW. Please see the Quick Reserve Business Logic Document for further informtion on defaulting: https://www.neso.energy/document/358096/download
Sembcorp Energy UK | We believe that it is helpful that the requirements for non-BM units to provide operational data and baselines at all times has been removed for Phase 2, with data provision only required while in service and subsequent settlement periods. However, the risk of requesting additional information from non-BMUs is disproportionately impactful from a cost and resource perspective on smaller market participants, particularly those with numerous, distributed sites, as is the case with non-BMUs. This deterrent effect could reduce competition overall. | Thanks for the feedback. For day 1 of Quick Reserve Phase 2, this is going to be the requirement. However, NESO are planning on introducing the 24/7 requirement for submission of Operational Metering and Baselines in the future, as stated in the Design Summary documentation. Any such change will follow a formal EBR Article 18 consultation with industry. We have implemented several requirements designed to better align non-BM with the Balancing Mechanism (BM) system, thereby reducing the disparity between the two markets. We plan on seeking Operational Baselines for the entire day, if contracted, as this assists NESO in better forecasting generation and demand, even if these forecasts are indicative and it helps to promote greater market transparency and operational visibility. The above should mean more efficient balancing decisions as more of the market will be required to centrally submit their Operational Baselines ahead of time reducing a current pain point. Operational Metering is also to be required to assist in settlement processing and data accuracy.
SSE generation businesses | We recognise that the non-BM process has been developed to mirror the BM process as closely as possible without over-burdening smaller generators. We are supportive of this approach. QR suffers from the same issues as Balancing Reserve with regard to availability declarations, monitoring and payment.. The NESO EDT system requires assets to ramp over a minimum of one minute. Each minute must have a unique value, meaning instantaneous ramps cannot be submitted despite batteries having this ability. As an example, to achieve a target PN at 02:00 ramp would need to begin 01:59. Alternatively, a delayed ramp beginning at 02:00 would reach target at 02:01. In either scenario, the submitted ramp profile would violate the QR terms, leading to deemed unavailability and penalties. In reality, the asset is capable of changing instantaneously, only NESO’s system will not allow submission of data to support this. Penalties should be withheld on this basis for quick reserve and balancing reserve until NESO can provide a suitable workaround. Alternatively, leniency should be given so that a generator is not penalised for the full 30-minute period when compliant for 29minutes out of 30, and non-compliance is only due to NESO system capabilities. | This feedback appears to be referencing PN submissions. PN submissions are currently allowed to have two values for the same spot time to represent instantaneous changes of load. If the feedback is related to BOAs, then we expect providers to meet the 60-second Time to Full Delivery (TTFD), even if that is slightly in advance of the BOA ramp. We appreciate this is a feature of instructing the service through BOAs rather than a new dispatch mechanism but believe this is the best approach to minimise additional complexity on NESO and providers.
ENWL | 1) Detail on how QR rules on crossovers would be applied to CLASS have not been provided in QR consultation documents. Based on recent discussions with NESO high-level principles on how metering would work for CLASS have now been agreed with NESO. However, detailed rules are yet to be documented or agreed. 2) Crossover guidance notes: ‘Where an instruction is issued by NESO towards the end of either a Firm (contracted) or Optional Service Window, where the unit would not be able to conclude its Minimum Activation Period by the end of that Service Window, the unit is expected to continue its delivery into the next Service Window up to the end of its Minimum Activation Period - unless contracted for a different Balancing Service in the next Service Window.’ ENWL would like it to be clarified that MAP delivery should be required even if contracted for a different Balancing Service in the next period. It would also be beneficial if the greater of the recovery periods for the two services was allowed to ensure optimal flexibility participation and co-optimisation. | We do not see any reason for the rules on crossovers to be applied differently for CLASS over all other technology types. NESO are more than happy to discuss this further with you directly should you wish. Following our initial discussions on the high-level principles for metering for CLASS, we are still awaiting your formal documented proposals so that we may consider and agree these formally with you. MAP delivery, as clearly stated in the Crossover design documentation, will not be required should a contract transition into another window where a different relevant balancing service contract is held. The Recovery Period used, in the case of crossovers, will be that of the service within which the instruction was initially issued. That is, all requirements of the service should be honoured for that contracted period, including the Recovery Period.
ENWL | Agreed detail will be required to allow it to be built into the dispatch and metering development project. It is asked that NESO work with ENWL to establish a documented metering agreement for how the QR rules will be applied for CLASS, and that the OFR market is kept open until June 2026 to allow time for the development project to be delivered. | Over the past few months we have published on our website a number of key supporting documents to set out the various requirements for non-BM Quick Reserve, as follows; • For the new Open Balancing Platform, in December 2024 we published the OBP Service Provider - Web Services Specification document detailing the API interface and submitting availability declarations baseline PNs, etc. We also issued additional guidance in the form of a Business Logic Document in March, providing details about the business rules and exceptions around the API which are to be implemented by Quick Reserve service providers. • We also published in October 24 the document setting out Operational Metering for non-transmission connected BM & non-BM Participants document. • For Performance Metering in January 25 we also published the Quick Reserve - Performance Metering Data File Specification document QR homepage 'IT Integrations' : https://www.neso.energy/industry-information/balancing-services/reserve-services/quick-reserve Within the supporting design documents for non-BM Quick Reserve and Slow Reserve, we have stated that we recognise some non-BM technology types may wish to discuss how the metering and baseline data should be presented to NESO and offered 1-2-1 sessions to discuss and agree. As you mention in your feedback, we had a session on 30 January 2025 where we agreed the principle of how you would derive your Operational and Performance Metering values and how you should present your baseline (PN) value to us and it was agreed that you would write this up in a fully documented proposal that we could, for the avoidance of any doubt, agree between us your method for complying with the requirements – we also suggested we would be happy to formalise this, potentially as a formal letter. We have not yet received this proposal.

## Q6 Delivery Assessment ABSVD
Company Name | Question: Please provide any specific comments relating to the proposed Quick Reserve Delivery Assessment including Settlement, ABSVD and Performance Monitoring. | NESO Response
YUSO BV | Referring to the Performance Monitoring, Service Availability, and Availability Declarations section in the Quick Reserve Phase 2 Service and Procurement Design document, could you please clarify the following: 1) Is Performance Monitoring conducted using the MEL/MIL/SEL/SIL and dynamic parameter data communicated by Service Providers? Are Availability Declarations made through MEL/MIL, Bid Offer Data, and PNs submitted by Gate Closure? Additionally, regarding the second point stating that declaring MORE than the contracted MW results in the loss of availability payments—could you confirm how this applies in the Balancing Mechanism (BM)? 2) Our understanding is that for BM Units, QR can (and must) be stacked with Bid Offer Acceptances (BOAs) in the BM to enable QR utilization. If a Service Provider stacks Positive QR contracted capacity with BM Offer volumes in the export direction, does this mean they forfeit availability payments for Positive Quick Reserve during that settlement period? 3) Regarding Settlements: In QR Phase 2, delivery volume is determined as the difference between second-by-second Metered MW data and a calculated Baseload MW. Could NESO confirm whether the second-based MW values will be converted to MWh using only the BOAI time duration and the expiry of response time, specifically as [(T1 + 1) - (T0 + 1)]? We would like to note that we are currently facing delivery volume penalties under Quick Reserve Phase 1 due to the averaging of BOA-delivered volumes over the entire settlement period. This issue is particularly significant for BOAIs with durations of less than five minutes. We believe that if the BOAI time duration (as in Phase 2) is used to calculate delivery volumes, meter inaccuracies would have minimal impact on availability payments. | 1) Yes, BM providers are expected to submit their relevant Dynamic Parameters for each relevant contracted Settlement Period. NESO stated that declaring more (or less) than the contracted volume as the only available option to control-room for dispatch would result in a withdrawal of any availablity payments as the provider has not met the terms of the service - that is, to provide the contracted volume. It is stated in the Service Terms that a unit must submit "Bid-Offer Data comprising Bid-Offer Pairs (1 to 5) with a MW range greater than or equal to Contracted Quantity". That is to say, a BM unit's Bid-Offer data must provide at least the contracted volume. However if the data is submitted so that NESO must buy more than the contracted volume to utilise the unit (for example a unit contracted for 100MW of Quick Reserve with a PN of 0 and a SEL of 150MW) then the unit would be failing to provide the contracted volume to NESO. As all non-BM dispatches will be all or nothing we have highlighted this requirement as any declaration not at the contracted value will mean NESO is unable to access the specific contracted amount. NESO expects that the provider still manages State of Charge appropriately at all times. 2) As stated above, it is perfectly acceptable for a BM unit to offer additional volume on top of it's contracted volume so long as State of Charge is still managed appropriately and the contracted MW volume is available for dispatch. 3) The response time check is only undertaken at the point the response time expires. Delivery is computed on a per second basis in respect for the period of the BOA falling within the contracted period (this includes ramping periods). The Inputs into the BM delivery calculation are: 1. Profiled FPN data MW 2. Profiled BOA data MW 3. Response MW 4. Metering data per second in MW For 1 , 2 it is necessary to determine the MW at the second through linear interpolation, and this is then converted into MWH. Expected Delivery is back derived as the difference between 2 and 1.
Flexitricity Limited | Our understanding is that NESO is proposing to introduce ABSVD allocation to the Suppliers of non-BM participants, to correct a current distortion with the process for BM participants. We note that in so doing NESO will create a different distortion within Quick Reserve, as non-BM QR participants who access the market through a non-Supplier Provider, most likely an aggregator, will trigger ABSVD payment provisions to or from their Supplier, even when the Supplier is not the Balancing Services Provider. In this situation, similarly identified in the first iteration of the Local Constraints Market settlement process, P412 (Ensuring non-BM Balancing Services providers pay for non-delivery imbalances at a price that reflects the real-time value of energy), and Issue Group 114 (Settlement of ABSVD for ancillary services delivered through independent aggregators), the ABSVD will be received by a Supplier who may not be able or willing to allocate those volumes (or the monetary value of them) to the individual non-BM QR participant. The ABSVD opt-out solution developed for the LCM is a specific solution to an analogous underlying distortion, though in the case of LCM the opt-out is for a time-limited product. For services which are expected to endure for many years, we advocate a holistic, enduring approach which IG114 is tasked to develop. As this is a live issue which stretches across multiple enduring NESO services and has an active solution development process underway in IG114, we think it is not the best use of NESO or industry resources to progress a temporary switch of distortions through an ad-hoc C9. To assess this more fully, we think there is more coordination to do to understand if: a) the proposed change to ABSVD for non-BM QR participants could wait for a more enduring solution through IG114, noting that the outcome of the ad-hoc C9 proposal in this consultation would still need to be addressed after IG114 concluded and/or b) the identified Issues 1 and/or Issue 3 under IG114 could be amended to more explicitly consider improvements to non-BM QR (and DCMR) participants. | Our proposal is that we will apply ABSVD to non-BM Quick Reserve in the same way that we currently do with Reserve services, this is not a change to our current approach. While we are aware of and particpating in Issue group 114 which will hopefully produce holistic solutions, we do have an obligation to calculate and apply imbalance caused by our dispatch actions. We would note that the Quick Reserve service is primarily aimed at procuring Balancing capacity, and there is no effect from ABSVD in the value of capacity, so we do not see this affecting proviers bids into the auction in a distortive way. Whilst LCM is referenced, this is a Demand Turn-Up only service, whereas Quick Reserve has positive and negative elements to it, with providers able to link these elements together. When considering the impact across a positive and negative service, the net dispatch volume over time can be reduced, mitigating this issue until the Issue Group forms enduring changes.
Centrica | As we have previously outlined to NESO in our response to the C9 consultation, to ensure a level playing field among battery storage providers, we acknowledge that ABSVD should be applied consistently to both BMUs and non-BMUs. However, we are concerned that NESO’s application of ABSVD to secondary BMUs delivering Dynamic Frequency Response Services is increasingly unclear and inconsistent. As a result are we currently are unable to reconcile the information provided by NESO and Elexon with observed actions from other VLP market participants. We would like NESO to provide further clarity on how exactly ABSVD is applied and settled for primary and secondary BMU’s. A consistent approach would enhance market transparency and improve the efficiency of the market. | As previously mentioned, NESO ABSVD process has been consistent over the time, determining and submitting to Elexon ABSVD volumes for both Primary and Secondary BM units for the Applicable Balancing Services mentioned in ABSVD Methodology Statement (including Frequency Response Services). In accordance with C9 Annual Review document located here: https://www.neso.energy/document/352131/download “Providers should be aware of the following inconsistency in adjustment of Suppliers positions for BM units within the Elexon process as outlined in Issue 2 “Inconsistency in whether to adjust Suppliers’ positions for BM Unit ABSVD submitted against Secondary BM Units”, further details can be found here: https://www.elexon.co.uk/bsc/documents/change/issues/101-150/issue-114-proposal-form/ NESO would encourage providers to participate in Issue 114 Group to ensure the inconsistencies identified are addressed. Until the inconsistencies identified as part of Issue 114 Group are amended within BSC, NESO continue to submit to Elexon ABSVD volumes for Primary and Secondary BM Units for BM ABSVD applied services.
EDF | 1) Page 20 states that “NESO should not have to send an instruction greater than a unit’s contracted capacity due to a limitation of the unit”. Can NESO please clarify the circumstances under which this would be a factor or a possibility? 2) Is it NESO’s intention to only accept full volume from Non-BMUs, i.e. if a 20MW asset was contracted at 10MW in the firm service, can the remaining 10MW not be utilised in the optional service? 3) What level of granularity will be used in delivery assessment? Will this be assessed across the instruction window or is it minute by minute? For example, if the asset generates at 122% for half the instruction window and 93% for half the instruction window, it will still generate within the 95-120% tolerance overall, despite being outside the delivery limits for every minute of the instruction window. 4) Page 24 states that “providers who do not fulfil their contract from the DA auction and do not provide the contracted headroom or footroom may be responsible for covering the costs of alternative actions taken to replace the missing volume”. This alludes to the use of Incremental Volume Cost but the word “may” is very ambiguous. It would be useful to have a strong stance on the circumstances under which IVC (or equivalent) will be applied. 5) Page 9 states that “Non-BM providers will have their energy position corrected through the ABSVD process”. At present, ABSVD does not apply to Non-BMUs. Whilst we are aware that a consultation has recently been launched into the application of ABSVD to Non-BMUs, the outcome has not been formally decided. Is the intention to wait until the A18 consultation on application of ABSVD to Non-BMUs has been completed before launching the QR Phase 2 service? | 1) This is a clarification to emphasise that the provider must make the contracted MWs available to NESO. If a provider were only to submit a value that was either greater than or less than the contracted volume, then it would lose its availablity payments for any relevant Settlement Period. This limitation could also arise by some combination of Dynamic Parameters (where applicable) which limits the amount of available MWs a unit can provide - this could be, for example, some combination of a unit's MEL, PN, SEL, etc, which might not have been explicity stated in the Availablity section(s) of the Service Terms. 2) Yes, NESO only expect to see the contracted volume from non-BM units. There is no inherent flexibility for units outside of the BM, so non-BM units are all-or-nothing. There is also no requirement for units to be flexible within the Quick Reserve service design - this is only achievable by virtue of participation in the BM. Non-BM units that declare any MWs that are different to those that are contracted can still be dispatched through OBP but they will not receive any availability payments. For the avoidance of doubt, a non-BM unit cannot be dispatched for 20MW if it were contracted for 10MW and offered 10MW. This would imply that the non-BM unit can stack Optional bids with a Firm contract - something our systems, nor the Service Terms, allow for. 3) Settlements The delivery calculation is per second but is aggregated per instruction/Settlement Period for the delivery % assessment, so yes, the above scenario is possible. It should be noted for non-BM service providers that utilisation payments are made against capped energy delivered and that this capping is undertaken on a per second basis, so the providers utilisation payments would be impacted. 4) Any cost recovery would be in accordance with paragraph 17 'Provision of Other Services' using the IVC calculation to determine the value. Use of this cost recovery would be at NESO’s discretion and would follow consideration of the providers full explanation for unavailability. As Quick Reserve is a new service we wish to observe provider behaviours as the service is embedded and that of Balancing Reserve providers that have moved to the automated use of IVC for certain circumstances before we consider any stronger stance. 5) For Quick Reserve we intend to mirror the current ABSVD arrangements that were introducted to the Service Terms for the existing legacy Fast Reserve and STOR products at the end of 2018 following the Ofgem approval of P354 'ABSVD for non-BM Balancing Services at the metered (MPAN) level'. The introduction of non-BM Quick Reserve to the ABSVD methodology statement, and wider suite of C9 documents, is proposed in the live Ad Hoc C9 and Dynamic Response Article 18 Consultation (link below) running in parallel to this Quick Reserve Article 18 consultation and will be completed before Quick Reserve Phase 2 goes live. https://www.neso.energy/document/356711/download
SSE generation businesses | We are not supportive of the approach to request performance metering from BM providers. It is unclear why this is needed for BM providers when energy delivery will be assessed through Elexon and dynamic data can be used to deem availability (as is already the case for balancing reserve). Our preferred option is for the performance metering requirement to be removed. In addition, BM providers already submit operational metering with the same 1 Hz resolution. If performance metering is kept, then there must be standardisation across services. The quick reserve data format and file frequency is different from other services, requiring additional cost to participate in the service. | To ensure effective performance monitoring of all participants, NESO requires a standardised method of data submission. The 1Hz Operational and Performance Metering is established as the minimum standard for all providers. Providers who wish to participate across multiple services with a higher resolution of data submission may opt to maintain the higher rate. The checks on Dynamic Parameters are necessary, as incorrect Dynamic Parameters prevent compliant instructions from being sent, but correct Dynamic Parameters do not guarantee compliant delivery. Likewise, the settlement data submitted to Elexon does not provide adequate granularity to assess whether the unit's actual delivery profile matches the requirements of the Quick Reserve service. The submission of Performance Metering data enables a more accurate assessment of delivery, accounting for potential latency in real-time data. Given the more stringent service requirements of Quick Reserve, a more precise assessment methodology is necessary.
ENWL | Detail on how QR rules on settlement and performance monitoring would be applied to CLASS have not been provided in QR consultation documents. Based on recent discussions with NESO high-level principles on how QR settlement and performance monitoring rules would be applied have been agreed for CLASS. However, detailed rules are yet to be documented or agreed. This detail needs to be established so the ENWL system development project can build all requirements into the system development projects. It is asked that NESO work with ENWL to establish how the QR rules will be applied for CLASS in these areas, and that the OFR market is kept open until June 2026 to allow time for the development projects to be delivered. | Over the past few months we have published on our website a number of key supporting documents to set out the various requirements for non-BM Quick Reserve, as follows; • For the new Open Balancing Platform, in December 2024 we published the OBP Service Provider - Web Services Specification document detailing the API interface and submitting availability declarations baseline PNs, etc. We also issued additional guidance in the form of a Business Logic Document in March, providing details about the business rules and exceptions around the API which are to be implemented by Quick Reserve service providers. • We also published in October 24 the document setting out Operational Metering for non-transmission connected BM & non-BM Participants document. • For Performance Metering in January 25 we also published the Quick Reserve - Performance Metering Data File Specification document. Within the supporting design documents for non-BM Quick Reserve and Slow Reserve, we have stated that we recognise some non-BM technology types may wish to discuss how the metering and baseline data should be presented to NESO and offered 1-2-1 sessions to discuss and agree. As you mention in your feedback, we had a session on 30 January 2025 where we agreed the principle of how you would derive your Operational and Performance Metering values and how you should present your baseline (PN) value to us and it was agreed that you would write this up in a fully documented proposal that we could, for the avoidance of any doubt, agree between us your method for complying with the requirements – we also suggested we would be happy to formalise this, potentially as a formal letter. We have not yet received this proposal.

## Q7 Procurement Approach
Company Name | Question: Please provide any specific comments relating to the proposed Procurement Approach including Maximum Bid Size, Service Windows and Locationality. | NESO Response
Flexitricity Limited | 1) We welcome the 30-minute service windows and would encourage NESO to consider this service window sizing for all reserve and response products. This will support stacking/splitting in later phases of the Reserve reform and Response Reform releases. 2) On the point of Locationality and as noted by NESO we support this topic being subject to industry consultation. | 1) Thanks for the feedback. Both the Quick Reserve and Balancing Reserve services are 30-minute Service Windows (SW) and reflect the nature of the service. However, reducing the Slow Reserve Service Window requirement to 30-minutes would undermine the need for the Slow Reserve service - that is, to provide enough MWs to cover the largest loss and allow NESO control-room engineers enough time, once activated, to schedule replacement volumes. Reducing the Service Window to 30-minutes could dramatically shorten the amount of time a number of units are available for, thus undermining this specific service's utility. It should be noted that the minimum Slow Reserve Service Window length is less that that currently required for STOR - the legacy service which Slow Reserve acts to replace. It is also worth mentioning that NESO are looking into the feasibility of moving Response Service Windows to 30-minutes, rather than EFA blocks, with updates for industry to be communicated in the near future. 2) Thanks for the positive feedback.
Kraken | Acknowledging that NESO has to draw the line somewhere, it would be helpful to know why that line is set at 300MW. | 300MW was chosen as this aligns with the Grid Code limitation for instantaneous PN changes as a reasonable indicator of an instruction size within operational limits. It therefore acts to protect system frequency stability whilst also allowing for the greatest participation based on industry capabilities. It is also worth noting that under most Grid conditions, a 0.1Hz shift in frequency corresponds to a 300MW activation of Reserve, so any units larger than this would most likely be skipped in utilisation.
ENWL | Locationality: it would optimise customer outcomes if NESO used specific locational data for distributed demand reduction assets to ensure that units are not noted as being constrained off when this may not be the case. | NESO agree with this, and Locational Procurement is a piece of work which in ongoing. This is a large piece of work and spans across all of NESO's Ancilliary Services, not just Quick Reserve. The exact timings for the product(s) of this work are yet to be finalised.

## Q8 Auction Process
Company Name | Question: Please provide any specific comments relating to the proposed Auction Process including Timings, Bid Submissions and Auction Results. | NESO Response
Flexitricity Limited | Flexitricity is pleased to see that NESO is retaining a single co-optimised auction across both QR and Dx services which is also aligned in its results delivery.
Statkraft Markets | 1) It is our understanding that Optional Quick Reserve does not pay Capacity Payments. Please confirm. 2) In the past, there were instances where optional Fast Reserve was instructed out of merit when compared with BM Units. It is important to us, that dispatch through all routes are treated equally and there is no preferential treatment of any service. | 1) Yes, this is correct. There is no availability payment for Optional Quick Reserve. 2) Yes, this is how NESO will continue to operate. Units with a day-ahead Firm contract have no preferential treatment over others, and any instruction will be merit-based, and bringing the market into OBP will help with merit decision making.
Sembcorp Energy UK | We agree that the auction should take place in conjunction with the Frequency Response services on EAC.
SSE generation businesses | The auctions are aligned with the dynamic frequency services. We are supportive of this and would encourage future co-optimisation with balancing reserve, which we are aware NESO is working on.
ENWL | Based on our current understanding the proposed auction time seems reasonable. Publishing auction results as soon as possible after the auction is run would be beneficial.

## Q9 Market Design
Company Name | Question: Please provide any specific comments relating to the proposed Quick Reserve Market Design including Sell Order structure (e.g. Baskets, Parent Orders, Child Orders), Overholding, and Clearing Algorithm. | NESO Response
Flexitricity Limited | The terms state the following: Linked Buy-Orders issued by NESO state that the submission and/or acceptance of a sell-order is conditional on the submission and/or acceptance of sell orders of identical MW volume for each QR Window. This should be further clarified. If a participant is to bid in the same volume in each service window, this will restrict Service Providers’ options for optimisation across other services and where splitting is not available it becomes restrictive for co-delivery. While we understand this to be under review, we would request further clarity on the implementation of this rule on a permanent and/or ad-hoc basis and how this would be communicated to Service Providers when enforced. | The 'Linked Buy-Order' functionality will only apply to very specific Settlement Periods within an operational day. As noted in the explainer document, the requirement here is that consistent units are contracted across 2 (or more) Settlement Periods where a key crossover period exists. The linked nature of the Settlement Periods requires that providers must submit the same MWs across both periods such that any output can be sustained at a constant level across the boundary. Any 'Linked Buy-Order' requirement will be communicated with industry well ahead of time (i.e., prior to auction open) and are expected to be infrequent.
EDF | 1) With regard to NESO’s decision to introduce Linked Buy-Orders (page 32), does this mean that there may be circumstances in which NESO will look to only procure QR if the contract spans multiple SPs/EFA blocks? 2) Future of Splitting with Quick Reserve (page 33). Whilst it is nice to see future plans, it is quite misleading to include this within this particular document – surely this would require a formal consultation, particularly given the fact that it represents a significant change to the way in which Response services are stacked/split with Reserve services? As a minimum, this will require significantly more baskets within EAC to be made available when tendering for Response services. | 1) Yes, NESO may use this functionality in order to secure a consistent number of units (with a consistent number of MWs) across key Settlement Periods. However, if such a requirement arises, NESO will make providers aware ahead of auction opening for any relevant Operational Day and, if instated, they will be regularly linked. This could be at the same time every day of the week or simply the same time on a particular day of the week, as examples. It is unlikely that NESO would link any more than two Settlement Periods at a time for Quick Reserve. 2) It would require a consultation, but we wanted to include the plan for the future as, although not available right now, this is our goal which we have previously described to industry and omitting it might suggest a change of approach.
ENWL | Multi-unit baskets would be useful to optimise customer benefits when dispatching distributed demand reduction that could allocate underlying assets in different unit configuration dependent on where constraint boundaries are expected. If multi-unit baskets were possible then underlying assets could be offered in multiple unit structures for a period (consistently over a longer period if looping is used). NESO could accept the sell offers that optimised system security and minimised costs (which may be by accepting sell orders from unit structures with the highest un-constrained off capacity) based on the detailed constraint data that only NESO is likely to have. NESO dispatch decision systems are likely to need to be aware of the location data for units or underlying assets for dispatch optimisation with constraints to work as effectively as possible. | Thank you for the feedback, we are separately working on a Locational Procurement approach across all our services and will include this in our consideration, however this will not be in place for Phase 2. In the meantime, providers may be able to take advantage of the 1MW minimum threshold to have more, smaller units that are more specifically located geographically.

## Q10 Cooptimisation
Company Name | Question: Please share your feedback on NESO proposal to implement a single, simultaneous, co-optimised auction for the procurement of Frequency Response and Quick Reserve. | NESO Response
Flexitricity Limited | Feedback to this question has been provided in our answer to Question 8 where we applaud the alignment of the QR auctions with that of Dx services.
Centrica | We support the implementation on a single, simultaneous, co-optimised auction for Quick Reserve.
Kraken | Based on the information we have available now, we support this proposal.
EDF | This seems like a sensible approach.
Sembcorp Energy UK | We agree with having a single, simultaneous, co-optimised auction for Quick Reserve and Frequency Response services.
SSE generation businesses | We are generally supportive of this approach, though as mentioned above, we would encourage alignment with balancing reserve as well. | Thanks for the feedback. It is our plan to move Balancing Reserve to the afternoon auction as well in order to maximise co-optimation across the new services. Any change will follow the formal EBR Article 18 consultation process.
ENWL | ENWL welcome this proposal and support the objective of co-optimisation to maximise customer benefit and system security wherever possible.

## Q11 Optional QR
Company Name | Question: Please share your thoughts on the inclusion of an Optional Quick Reserve Service and provide feedback on the proposed requirements for this Optional Service. | NESO Response
Flexitricity Limited | No specific comments on these points – the proposal has been made clear in the Consultation Draft of the Service Terms.
Kraken | 1) This new service is a positive introduction. But we would welcome more clarity on how it works: when non-BMUs will be able to bid for these services (e.g. eligibility and chronology) and whether they can submit different prices for different volumes. 2) We are also unsure whether non-BMUs can choose to bid to provide these services only, or if this option is only available when NESO chooses to contract no firm capacity or if bidders are unsuccessful in firm auctions. | 1) Non-BM units will be able to bid in for the service at the same time as BM units; That is, with auction close at 14:00 day-ahead. Non-BM units must submit availability declarations that are consistent with their contracted MWs along with a single utilisation price. There is no requirement in the Quick Reserve service for providers to be flexible with their contracted MWs and there is no opportunity for non-BM providers to offer any flexible capacity to NESO, like there is in the BM. 2) Yes, non-BM units can offer optional Quick Reserve during periods where they did not bid/were not successful in the day-ahead auction.
EDF | 1) We think it is useful to have this type of service available for use by Non-BMUs. However, additional clarity around the operation of the optional service would be very welcome. 2) Other than those points raised above, it would be good to know if multiple prices can be submitted for different volumes of use within-day? | 1) For the Optional service, non-BM providers who wish to offer their capacity within-day, they must submit availability declarations by no later than gate closure for a specified MW and price. NESO will then choose to use them, or not, depending on how competitive they are, along with other factors such as location, unit characteristics and system needs. 2) Multiple prices can be submitted throughout the operational day. That is to say, a unit can price its offered MW differently throughout the day as it sees fit. However, for clarification, only one declared available MW value and price can be submitted per Settlement Period. These can of course be updated at any time up to gate closure.
Sembcorp Energy UK | We believe that there needs to be equal transparency around the Optional Service as all other balancing actions, for example, will accepted bids/offers be identified as having been taken (perhaps out-of-merit) for QR purposes rather than normal BOAs? | There are no plans to introduce instruction tagging for Optional Quick Reserve, as there are too many edge cases to meaningfully delineate what should and should not be construed as an Optional Quick Reserve instruction.
SSE generation businesses | We are supportive of non-BM assets participating in the service. However, the optional quick reserve effectively gives non-BM assets a route to the BM, without the need to register for the BM. This provides non-BM an advantage as they cannot be penalised in the same way as BM generators (i.e. through witholding availability payments). | NESO have included the Optional service to mirror the capability in the BM. That is, giving providers a second opportunity to offer in capacity if they were unsuccessful at the day-ahead stage. The BM allows providers to offer multiple different percentages of their capacity. The Optional service, on the other hand, only allows for providers to offer a single MW and price in their availability declaration, so they are not offering the same sort of flexibility afforded to BM units. NESO feels that the Optional service forms an important part of an Ancillary Service, offering greater competition - into the market, ultimately only helping to drive consumer benefit. But we retain the Balancing Mechanism as the route for providers who wish to compete on an energy only basis irrespective of service parameters.
ENWL | An Optional Quick Reserve Service is obviously critical as the delivery route for non-BM QR services. System security is delivered through non-BM activations in the equivalent current OFR market, with most customer cost for Fast Reserve incurred in the optional markets. 57% of the cost of NBM FR related to utilisation costs in the 6 months to December 2024. It appears NESO may not have considered in its analysis the impact of requirements proposed in the Firm market on the optional markets. The suggested amendments to Optional QR noted in the answer to question 3 should be considered which could help realise up to £82.6m per year in additional benefits per NERA estimates. | At present, NESO does not procure Firm Fast Reserve due to the legacy nature of the service not being compliant with relevant legislation, as such we would expect Optional costs to be split between Optional availability and utilisation. This therefore does not provide any evidence for what share of costs would be split between Optional and Firm in a future market structure.

## Q12 Additional Feedback
Company Name | Question: Please share any additional feedback on NESO’s proposed delivery of Quick Reserve phase 2 that may fall outside of the questions above. | NESO Response
YUSO BV | Can you confirm whether QR Phase 2 applies exclusively to Optional Quick Reserve for non-BM QR Units? Additionally, do non-BM units compete with BM units for Firm Reserve (i.e., day-ahead contracts), or is the Daily (day-ahead) QR Contract firm procurement restricted to BM units only? | Quick Reserve Phase 2 applies to both BM and non-BM participants. All requirements and rules apply as written in the supporting documentation and Service Terms. Non-BM units are in direct competition with BM units for the Firm service. NESO control-room engineers will send dispatch instructions purely based on situational needs and a units' offered pricing/submitted parameters. There will be no distinction between the BM 'Quick Reserve' bids/offers, Day-ahead Firm or within-day Optional units. They all compete on a level playing field for utilisation in real-time.
Flexitricity Limited | No further feedback to be provided outside of the comments submitted in the above questions.
Kraken | It is unclear from the consultation what the implementation process and timelines are for this update beyond a broad plan of introducing the changes in summer this year. NESO has previously sought to implement changes as soon after Ofgem has accepted its recommendations as possible. This creates significant issues for the technology providers (such as Kraken) supporting the market actors delivering these services. These changes can require significant changes to our systems, including new integrations, updates to our optimiser and more. It can be very inefficient and costly to properly start this work before we know what changes will be made. As seen in the frequency response terms update last year, there is no guarantee Ofgem will accept all recommendations. Therefore we urge NESO to allow time for the market to properly prepare for implementation, reducing the likelihood of delivery issues. Based on the changes as proposed at present, this could take somewhere in the region of 3-4 months. We would be very happy to set up a call to talk through this timeline with NESO. As a separate point, it is unhelpful that the consultation questions refer to content that is spread across both consultation documents and supporting documents. It would be helpful to put everything in one place and be clear on which question relates to which document(s). | Once we receive a decision from the regulator, NESO believe it to be incumbent to maximise welfare to the end consumer, and therefore deliver such value as soon as practicably appropriate. Via published material and further engagements NESO has been prudent to share our future system requirements and integration specifications as early as possible to give as many Service Providers capable to integrating from day 1 the opportunity to do so. We understand that for some, early systems development may represent a risk of regret spend, however, we do not anticipate that any change or rejection to the Quick Reserve A18 consultation will impact the fundamental systems integrations that will be required for any NESO service going forward. If there is to be any risk, then NESO too carries this with its own systems developments. We also recognise and appreciate the desire of industry participants to be ready for day 1 of any service, which may not always be possible due to required system integrations. Service Providers are reminded that there is no requirement to join the Quick Reserve service from day 1, and encourage providers to participate only when ready.
EDF | This consultation document is not particularly easy to follow. The way in which Non-BMUs will be instructed (mainly for the optional service), in terms of start and cease instruction timing and the associated target MW values could have been explained with more clarity. | Thanks for the feedback. We will endeavour to make our future documentation as clear and concise as possible.
ENWL | 1) CLASS competing on a level playing field across markets maximises benefits for customers. It is welcomed that NESO has noted that they think CLASS participation in the Static Firm Frequency Response (SFFR) market would be beneficial. If allowed to compete on a level playing field CLASS capacity would reduce costs greatly for customers in SFFR as well as in Quick Reserve. 2) The price per MWh is currently expected to be higher in the QR market. The impact of CLASS participation will therefore be highest in terms of savings for customers if CLASS is participating in QR compared to if it was competing in SFFR. 3) The report previously commissioned by Ofgem10 estimated that up to 3GWs of CLASS capacity would be possible if all DNOs invested in the CLASS. This level of CLASS capacity would be more than enough to meet the requirements of SFFR, Quick Reserve and Slow Reserve and increase competition very significantly in these markets, resulting in very significant cost savings for customers. If there is more CLASS capacity available than needed by NESO this would be good for customers as it is likely to result in more competition and therefore even lower prices. 4) It is noted the uncertainty around the markets that CLASS can earn revenue in is likely to be a key factor that has stopped other DNOs developing more CLASS capacity to date. It has been a key consideration for us acting to hold back potential investment in additional CLASS capacity because of the uncertainty. NESO have suggested that they think CLASS type capacity would be best operating in the SFFR market, but it has also been announced that the SFFR market is going to be withdrawn or possibly reformed relatively soon. It is likely that it is not possible for a DNO to write a business case for the large upfront investment required to participate with CLASS capacity in SFFR in this scenario. | 1) NESO welcome the participation of ENWL in Static Firm Frequency Response. 2) NESO agrees that any increase in participation in the Quick Reserve market has the potential to reduce prices. Where CLASS assets are able to meet the technical requirements of Quick Reserve, we hope to see them participating in the market. 3) As previously mentioned in the Phase 1 consultation, these savings were mainly reliant (80%) on Dynamic Containment participation in the best case scenario. We have not seen any CLASS assets planning to enter DC, therefore are not convinced this report remains relevant. We note that CLASS particpation in the limited roll-out case was shown as a net cost when only particpating in Optional Fast Reserve. 4) We are engaging with the market about potential improvements to the Static Firm Frequency Response market. We have no specific plans to withdraw the service, but like all markets we may not procure volume if it is not economic to do so. Ancillary Service revenues are typically much lower than wholesale or BM revenues and we have found across many technology types that these revenues may be insufficent alone to support investment cases.
ENWL | Establishing a version of the BM for utilisation of non-BM units would maximise benefit for customers and system security. NESO is responsible for establishing ‘optional’ markets where utilisation is purchased as well as ‘firm’ markets where availability is purchased day ahead. For non-BM units NESO has linked the criteria for Firm markets with the criteria for being able to participate in ‘optional’ markets. This is not the case for units that are registered in the Balancing Mechanism. Utilisation of BM units is not restricted by whether the unit meets narrow subjective criteria of firm markets. This allows optional dispatch (either algorithmically or manually) that optimises operational security and reduces costs for customers. NESO should consider the very significant potential benefits to customer costs, operational security and CP30 objectives of establishing a non-BM version of the Balancing mechanism for utilisation. This could have significant benefits optimising all three elements and would ensure a much more conducive stable environment for investment for non-BM units (as there would not be the ongoing threat of market change stopping all revenues from a unit). This could facilitate the development of up to 3GWs of CLASS capacity as forecast by Ofgem’s report, with potential savings multiplied from the maximum 500MW modelled in the NERA Quick Reserve analysis. | NESO has no plans to establish a version of the BM for utilisation of non-BM units. This not only dilutes markets in the BM, but effectively duplicates what already exists - a fully functioning Balancing Mechanism.
ENWL | Publishing Live Data from BM and Non-BM Utilisation Markets in one place Currently if there is a BM activation in Fast Reserve the details would be published in a different place to Non-BM activations, and in a different format. To facilitate transparent competition, we request that NESO works with Elexon to ensure details of all utilisations for BM and Non-BM QR units are published in one place and in the same format. To obtain complete data required (unit, MWs, time activated and ceased, and price accepted) on market activations for BM units that relate to Firm QR contracts it is necessary to cross reference 3 different data sets without the use of a unique identifier currently. This clearly inhibits the efficiency of competition in the market. ENWL asks that all sell orders and acceptances in relation to QR should be clearly tagged by NESO, and NESO and Elexon should work together to ensure market data is published is a consistent format with an API. | Thank you for the feedback, we appreciate several data manipulations are necessary to marry the two datasets (Elexon/NESO). Currently a NESO publication displaying a combined BM/non-BM dataset would require a similar manipulation.
ENWL | Terminology All Non-BM Quick Reserve utilisations will be procured in-day from units in the ‘Optional’ Non-BM QR Market or from QR capable units in the BM (essentially the ‘Optional’ BM QR market). There are no other options to procure utilisation from QR units. The ‘Optional’ name is therefore likely to cause confusion for stakeholders. It is suggested that ‘Optional’ name is replaced with the ‘Utilisation’ Market terminology used in this response. | The naming of Optional, in reference to available but uncontracted non-BM volume on the day, is a well established terminology which has been used historically on other services. There are no plans to change the use of this terminology as that is likely to create confusion.
Energy UK | Energy UK members welcome the service, the design proposals and thank the team for its work in developing the Phase 2 design. We note, too, that Phase 1 of Quick Reserve has been positively received by members. Beyond this overall support for the design proposals, our only comment is on allowing sufficient lead-in time for providers to implement changes. Members are concerned at what they feel is an emerging trend of NESO services going ‘live’ immediately after Ofgem approval. Where software changes are required, these can often take between one to three months to implement (though some can be done faster). This can also be challenging when the service requires process changes (or performance monitoring). There is an opportunity cost of commissioning the IT changes ahead of need – in case the service is not approved, require amendments or, in case timescales slip from those originally proposed. Given this, there is a reluctance to ‘work at risk.’ Agreeing standard parameters (for example, of one to three months) for lead-times before implementation would support market participants to resource the changes needed. However, we do agree that some changes can be delivered faster than this. Given this, we would support the NESO pushing back where the timeframe proposed by industry are insufficiently ambitious (given CP2030). A way to achieve an appropriate balance might be via a standard ‘check-in’ with relevant stakeholders (especially those processing IT changes for either large or multiple providers). This would ensure that the service-leads understand the complexity of the required change and can allow appropriate lead-time to implement the service after approval. Note: the one-to-three month ‘parameters’ above is a quick example rather than a fully considered response. We would encourage the NESO to engage further with relevant stakeholders if considering setting standard parameters. Note: the notes above were from a discussion with Energy UK’s Storage working group. Most members had a grid-scale battery focus (including non-BM assets). Two comments, however, were from members wanting to use the service for aggregated distributed assets. Both these members confirmed that they were happy with the design for these assets too. | Thanks for the feedback. We will take this into consideration, although it would be useful to gain further insight on the benefits of introducing such a delay after approval and whether it would remove a 'first-to-market' incentive that rewarded faster development.