## Data input
Code Administrator Consultation Responses Summary
GC0166: Introducing new Balancing Mechanism Parameters for Limited Duration Assets
Consultation date: 06 May 2025 - 06 June 2025
Respondent Details |  |  |  | Standard Consultation Questions | [6 empty] | Themes
Response Number | Organisation Type | Name | Organisation | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q2 - Do you have a preferred proposed solution? | Q3 - Do you support the proposed implementation approach? | Q4 - Do you have any other comments? | Q5 - Do you agree with the the impact on Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Q6 - Do you have any comments on the impact of the modification on the EBR Objectives? | Any Legal Text issues? | Key points
1 | Supplier | Richard Davenport | Shell Energy Europe Ltd | (i), (ii), (iii) | Original | No | Yes | Yes | Yes | No | MDO and MDB parameters will enhance NESO's ability to manage energy storage assets in the BM more effectively, improving system efficiency and security.
Better forecasting of energy storage availability will allow NESO to plan and rely on storage assets, enhancing their competitiveness with conventional assets.
A reasonable go-live date should be set to allow sufficient time for necessary system adjustments by all stakeholders.
A post-implementation review should be conducted 6 or 12 months after to evaluate and make improvements if required.
2 | Generator/Storage | Georgina Morris-Rowbottom | Zenobe Energy Limited | (i), (ii), (iii), (iv), (v) | Original | No | Yes | Yes | No | No | Timely implementation must be the focus now as 12 months is excessive and disadvantage batteries.
Addressing the underutilisation of limited duration assets is key
Implementation is critical - each day of delay results in higher balancing costs
3 | Generator/Storage | Mark Steger | EDF Energy | (i), (ii), (III), (iv), (v) | Original | Yes | Yes | Yes | Yes | No | Significantly enhances the efficiency, coordination, and economical operation of the system
Will improve data accuracy for operational and planning purposes, leading to more efficient use of storage assets.
Further amendments may be needed in the future to accommodate hybrid technologies.
Request to NESO to publish detailed requirements to support the FSoE model promptly to make necessary modifications.
Impacts the EBR Objectives by enhancing market efficiency, contributing to security of supply, and facilitating the integration of renewable energy sources.
4 | Storage/Supplier | Sandeep Ghuman | E.ON UK Plc | (iii), (iv) | No preference | No | Yes | Yes | Yes | No | Suppport principle but concerned about unintended consequences regarding competition and efficiency.
Advocacy for allowing redeclaration of MDO/MDB within the BM Window with NESO's monitoring to manage complexities across multiple services.
Concerns about the inability to redeclare MDO/MDB parameters within the BM window which may interfere with asset optimisation and market liquidity
Potential negative mpact of increased obligations on smaller and aggregated assets, potentially limiting market participation and contradicting EBR objections the modification aims to support.
Implementation critiqued for its complexity, particularly the FSoE forecast.
5 | Generator/Supplier | Oliver Butler | Centrica | (i), (ii), (III) | Original | Yes | Yes | Yes | No | No | Support the implementation provided NESO confirms OBP readiness, industry-wide testing is conducted, and clear guidance is issued on data submission and parameter interactions.
Support the proposals, but concerns about the Future State of Energy (FSoE) model due to its complexity and uncertainty.
Need for NESO to improve system capability to handle increased data volumes from MDO/MDB submissions.
Clarification required on the interaction between MDO/MDB and MIL/MEL parameters for dispatch decisions.
Acknowledge the progress made with this modification, but stress the need for NESO to enhance low-carbon flexibility by improving constraint management, developing locational markets, and boosting forecasting and transparency.
6 | Generator/Storage | Andrew Allan | RWE Supply & Trading GmbH | (i), (ii) | Original | No | Yes | Yes | No | Yes | Preferred solution is Original subject to concerns and caveats stated in the response.
Improving the proposed change would enhance system efficiency and market competition, benefiting consumers.
The current legal text lacks clarity, causing confusion about implementation requirements.
Readiness for activation should depend on NESO's comprehensive publication of system and process requirements.
There is a lack of clarity regarding the relationship between MEL/MIL and MDO/MDB parameters, leading to potential future confusion.
7 | Generator/Supplier | Gail Devenny | ScottishPower | (i), (ii), (III) | Original | Yes | No | Yes | No | No | We agree with the Proposer’s assessment against Grid Code objectives.
(Note: No other comments were made in the response)

## Data analysis (hidden)
Count of Industry parties
Consumer body | 0
Demand | 0
Distribution Network Operator | 0
Generator | 5
Industry Body | 0
Interconnector | 0
Storage | 4
Supplier | 4
System Operator | 0
Transmission Owner | 0
Virtual Lead Party | 0
Other | 0
Total | 13
Question 1 Objectives | None | i) | ii) | iii) | iv) | v) | No response
Original | 0 | 6 | 6 | 6 | 3 | 2 | 0
Question 2 Best Option
Original | 6
Baseline | 0
No Preference | 1
No response | 0
| Q3 - Do you support the proposed implementation approach? | Q4 - Do you have any other comments? | Q5 - Do you agree with the the impact on Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Q6 - Do you have any comments on the impact of the modification on the EBR Objectives? | Any Legal Text issues?
Yes | 3 | 6 | 7 | 3 | 1
No | 4 | 1 | 0 | 4 | 6
No response | 0 | 0 | 0 | 0 | 0
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: You will need to update depending on the AO for the code