## Note
Voltage Effectiveness Data Tables
Version | Date | Notes
V1 | 24 March 2025 | Effectivess data for the Voltage Requirements. Initial publication at EOI stage.
V2 | 16 July 2025 | Culham Jet 400kV effectiveness added to HV requirement locations Bramley 400kV, Fleet 400kV and Didcot 400kV. Shurton 400kV effectiveness added to HV requirement locations Minety 400kv, Bramley 400kV and Fleet 400kV Connahs Quay effectiveness added to HV requirement locations Rugeley 400kV and Penwortham 400kV
V3 | 22 August 2025 | Updated Version Published during the ITT window with clarification for split substations added.
V4 | 12 September 2025 | Updated Version Published during the ITT window with site effectiveness factors clarified in the following tabs following clarification queries: Fleet 400kV, Rugely 400kV, Bramley 400kV, Eaton Soccon 400kV.
V5 | 18 November 2025 | Updated Version Published during the ITT window with site effectiveness factors clarified in the following tabs following clarification queries: Capenhurst 275/132kV SGT 1/2/3A tertiary connection effectiveness added to the HV requirement location: Penwortham 400kV. Indian Queens 33kV Grid Park effectiveness added to the HV requirement location Seabank 400kV. Jersey Farm 400kV effectiveness added to the HV requirement locations: Fleet 400kV, Seabank 400kV.
Note
This document providers the effectiveness data for each acceptable substation identified towards each of the reference substations for each of the reactive power requirements NESO has identified.
This document should be read in conjunction with the Long-term 2029 Voltage Technical Specification document.
All values provided in the subsequent sections represent the effectiveness values from each busbar to the specified reference substation.
Separate effectiveness tables for absorption and injection reactive power requirements are provided as explained in the Long-term 2029 Voltage Technical Specification document.
For the purpose of this document, all the red tabs are the effectiveness tables for each of the reactive power absorption requirements. The blue tabs are the effectiveness tables for each of the reactive power injection requirements.
The next tab provides a navigation menu with embedded hyper links for each of navigation. On each tab subsequent tab there is also a return to home page hyper link.
The effectiveness values in this document are intended only for the Long-term 2029 tender and are non-binding and subject to change.
V3 Where substations are run split (This is denoted by multiple busbars having data at one substation) the provider should liase with NESO to understand which dataset to use.

## Menu
Effectiveness Data Menu
Reactive Power Absorption |  |  | Reactive Power Injection
Table | Reference Substation | Region | Table | Reference Substation | Region
1 | Grimsby West 400kV | Humber | 24 | Chesterfield 400kV | South Yorkshire
2 | Harker 400kV | North West England | 25 | Ryhall MC1 400kV | East England
3 | Heysham 400kV |  | 26 | Ryhall 4B 400kV
4 | Penwortham 400kV |  | 27 | Enderby 400kV
5 | Birkenhead 275kV | Mersey | 28 | Stoke Bardolph 400kV | East Midlands
6 | Brinsworth 400kV | South Yorkshire | 29 | Staythorpe 400kV
7 | Chesterfield 400kV |  | 30 | Patford Bridge 4B 400kV | West Midlands
8 | Grendon 400kV | East England | 31 | Patford Bridge 4A 400kV
9 | Enderby 400kV |  | 32 | Amersham Main R 400kV | London
10 | Eaton Socon 400kV |  | 33 | Amersham Main M 400kV
11 | Kitwell 275kV | West Midlands
12 | Feckenham 400kV
13 | Rugeley 400kV
14 | Tilbury 275kV | London
15 | Amersham Main R 400kV
16 | Bramley 400kV | South Central
17 | Didcot 400kV
18 | Fleet 400kV
19 | Hinkley Point 400kV | South Wales and West England
20 | Imperial Park 400kV
21 | Iron Acton 275kV
22 | Minety 400kV
23 | Seabank 400kV

## Sheet1 (hidden)
1 - Grimsby West 400kV | Grimsby West 400kV
2 - Harker 400kV | Harker 400kV
3 - Heysham 400kV | Heysham 400kV
4 - Penwortham 400kV | Penwortham 400kV
5 - Birkenhead 275kV | Birkenhead 275kV
6 - Brinsworth 400kV | Brinsworth 400kV
7 - Chesterfield 400kV | Chesterfield 400kV
8 - Grendon 275kV | Grendon 400kV
9 - Enderby 400kV | Enderby 400kV
10 - Eaton Socon 400kV | Eaton Socon 400kV
11 - Kitwell 275kV | Kitwell 275kV
12 - Feckenham 400kV | Feckenham 400kV
13 - Rugeley 400kV | Rugeley 400kV
14 - Tilbury 275kV | Tilbury 275kV
15 - Amersham Main R 400kV | Amersham Main R 400kV
16 - Bramley 400kV | Bramley 400kV
17 - Didcot 400kV | Didcot 400kV
18 - Fleet 400kV | Fleet 400kV
19 - Hinkley Point 400kV | Hinkley Point 400kV
20 - Imperial Park 400kV | Imperial Park 400kV
21 - Iron Acton 275kV | Iron Acton 275kV
22 - Minety 400kV | Minety 400kV
23 - Seabank 400kV | Seabank 400kV
24 - Chesterfield 400kV (2) | Chesterfield 400kV
25 - Ryhall MC1 400kV | Ryhall MC1 400kV
26 - Ryhall 4B 400kV | Ryhall 4B 400kV
27 - Enderby 400kV (I) | Enderby 400kV
28 - Stoke Bardolph 400kV | Stoke Bardolph 400kV
29 - Staythorpe 400kV | Staythorpe 400kV
30 - Patford Bridge 4B 400kV | Patford Bridge 4B 400kV
31 - Patford Bridge 4A 400kV | Patford Bridge 4A 400kV
32 - Amersham Main R 400kV (I) | Amersham Main R 400kV
33 - Amersham Main M 400kV | Amersham Main M 400kV

## 1 - Grimsby West 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
GRIW4 MC1 | Grimsby West 400kV | 100 | Return to Menu
GRIW4 MC2 | Grimsby West 400kV | 100
SHBA4 M1 | South Humber Bank 400kV | 91
SHBA4 M2 | South Humber Bank 400kV | 91
SHBA4 R1 | South Humber Bank 400kV | 91
SHBA4 R2 | South Humber Bank 400kV | 91
KILL4 M1 | Killingholme 400kV | 78
KILL4 M2 | Killingholme 400kV | 78
KILL4 M3 | Killingholme 400kV | 78
KILL4 M4 | Killingholme 400kV | 78
KILL4 M5 | Killingholme 400kV | 78
KILL4 M9 | Killingholme 400kV | 78
KILL4 R1/2 | Killingholme 400kV | 78
KILL4 R3/4 | Killingholme 400kV | 78
KILL4 R5 | Killingholme 400kV | 78
KILL4 R9 | Killingholme 400kV | 78
KEAD4 M2 | Keadby 400kV | 67
KEAD4 R2 | Keadby 400kV | 67
KEAD4 M3 | Keadby 400kV | 64

## 2 - Harker 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
HARKG M3 | Harker 400kV | 100 | Return to Menu
HARKG M4 | Harker 400kV | 100
HARKG M6 | Harker 400kV | 100
HARKG R3 | Harker 400kV | 100
HARKG R4 | Harker 400kV | 100
HARKG R6 | Harker 400kV | 100
HUTT4 MC1 | Hutton 400kV | 79
HUTT4 MC2 | Hutton 400kV | 79
HUTT4 MC3 | Hutton 400kV | 79
HUTT4 MC4 | Hutton 400kV | 79
HEYS4 M1 | Heysham 400kV | 65
HEYS4 M2 | Heysham 400kV | 65
HEYS4 M3 | Heysham 400kV | 65
HEYS4 M4 | Heysham 400kV | 65
HEYS4 M5 | Heysham 400kV | 65
HEYS4 R1/2 | Heysham 400kV | 65
HEYS4 R3/4 | Heysham 400kV | 65
HEYS4 R5 | Heysham 400kV | 65
MIDL4 M1 | Middleton 400 kV | 65
MIDL4 R1 | Middleton 400 kV | 65

## 3 - Heysham 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
HEYS4 M1 | Heysham 400kV | 100 | Return to Menu
HEYS4 M2 | Heysham 400kV | 100
HEYS4 M3 | Heysham 400kV | 100
HEYS4 M4 | Heysham 400kV | 100
HEYS4 M5 | Heysham 400kV | 100
HEYS4 R1/2 | Heysham 400kV | 100
HEYS4 R3/4 | Heysham 400kV | 100
HEYS4 R5 | Heysham 400kV | 100
MIDL4 M1 | Middleton 400kV | 99
MIDL4 R1 | Middleton 400kV | 99
PEWO4 M1 | Penwortham 400kV | 86
PEWO4 M2 | Penwortham 400kV | 86
PEWO4 M3 | Penwortham 400kV | 86
PEWO4 M4 | Penwortham 400kV | 86
PEWO4 R1/2 | Penwortham 400kV | 86
PEWO4 R3/4 | Penwortham 400kV | 86
HUTT4 MC1 | Hutton 400kV | 78
HUTT4 MC2 | Hutton 400kV | 78
HUTT4 MC3 | Hutton 400kV | 78
HUTT4 MC4 | Hutton 400kV | 78
KIBY2 M1 | Kirkby 275kV | 72
KIBY2 M2 | Kirkby 275kV | 72
KIBY2 R1 | Kirkby 275kV | 72
KIBY2 R2 | Kirkby 275kV | 72
LISD2 M1 | Lister Drive 275kV | 71
LISD2 M2 | Lister Drive 275kV | 71
LISD2 R1 | Lister Drive 275kV | 71
LISD2 R2 | Lister Drive 275kV | 71
RAIN2 MC1 | Rainhill 275kV | 70
RAIN2 MC2 | Rainhill 275kV | 70
RAIN2 MC3 | Rainhill 275kV | 70
RAIN2 MC4 | Rainhill 275kV | 70

## 4 - Penwortham 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
PEWO4 M1 | Penwortham 400kV | 100 | Return to Menu
PEWO4 M2 | Penwortham 400kV | 100
PEWO4 M3 | Penwortham 400kV | 100
PEWO4 M4 | Penwortham 400kV | 100
PEWO4 R1/2 | Penwortham 400kV | 100
PEWO4 R3/4 | Penwortham 400kV | 100
HEYS4 M1 | Heysham 400kV | 93
HEYS4 M2 | Heysham 400kV | 93
HEYS4 M3 | Heysham 400kV | 93
HEYS4 M4 | Heysham 400kV | 93
HEYS4 M5 | Heysham 400kV | 93
HEYS4 R1/2 | Heysham 400kV | 93
HEYS4 R3/4 | Heysham 400kV | 93
HEYS4 R5 | Heysham 400kV | 93
MIDL4 M1 | Middleton 400kV | 93
MIDL4 R1 | Middleton 400kV | 93
KIBY2 M1 | Kirkby 275kV | 83
KIBY2 M2 | Kirkby 275kV | 83
KIBY2 R1 | Kirkby 275kV | 83
KIBY2 R2 | Kirkby 275kV | 83
LISD2 M1 | Lister Drive 275kV | 82
LISD2 M2 | Lister Drive 275kV | 82
LISD2 R1 | Lister Drive 275kV | 82
LISD2 R2 | Lister Drive 275kV | 82
RAIN2 MC1 | Rainhill 275kV | 81
RAIN2 MC2 | Rainhill 275kV | 81
RAIN2 MC3 | Rainhill 275kV | 81
RAIN2 MC4 | Rainhill 275kV | 81
FIDF2 M1 | Fiddlers Ferry 275kV | 80
FIDF2 M2 | Fiddlers Ferry 275kV | 80
FIDF2 M3 | Fiddlers Ferry 275kV | 80
FIDF2 M4 | Fiddlers Ferry 275kV | 80
FIDF2 R1 | Fiddlers Ferry 275kV | 80
FIDF2 R2 | Fiddlers Ferry 275kV | 80
FROD2 MC1 | Frodsham 275kV | 79
FROD2 MC3 | Frodsham 275kV | 79
BIRK2 MC1 | Birkenhead 275kV | 75
BIRK2 MC2 | Birkenhead 275kV | 75
BIRK2 MC3 | Birkenhead 275kV | 75
BIRK2 MC4 | Birkenhead 275kV | 75
HUTT4 MC1 | Hutton 400kV | 75
HUTT4 MC2 | Hutton 400kV | 75
HUTT4 MC3 | Hutton 400kV | 75
HUTT4 MC4 | Hutton 400kV | 75
CAPE2 M1 | Capenhurst 275kV | 74
CAPE2 M2 | Capenhurst 275kV | 74
CAPE2 R1 | Capenhurst 275kV | 74
CAPE2 R2 | Capenhurst 275kV | 74
DINO4 M1 | Dinorwig 400kV | 72
DINO4 M2 | Dinorwig 400kV | 72
DINO4 R1 | Dinorwig 400kV | 72
DINO4 R2 | Dinorwig 400kV | 72
PENT4 M1 | Pentir 400kV | 71
PENT4 M2 | Pentir 400kV | 71
PENT4 R1 | Pentir 400kV | 71
PENT4 R2 | Pentir 400kV | 71
FROD4 M1 | Frodsham 400kV | 71
FROD4 R1 | Frodsham 400kV | 71
WYLF4 M1 | Wylfa 400kV | 71
WYLF4 M2 | Wylfa 400kV | 71
WYLF4 R1 | Wylfa 400kV | 71
WYLF4 R2 | Wylfa 400kV | 71
PADI4 MC1 | Padiham 400kV | 71
PADI4 MC2 | Padiham 400kV | 71
PADI4 MC3 | Padiham 400kV | 71
PADI4 MC4 | Padiham 400kV | 71
FFES2 MC1 | Ffestiniog 275kV | 70
FFES2 MC2 | Ffestiniog 275kV | 70
TRAW2 M1 | Trawsfynydd 275kV | 70
TRAW2 M2 | Trawsfynydd 275kV | 70
TRAW2 R1 | Trawsfynydd 275kV | 70
TRAW2 R2 | Trawsfynydd 275kV | 70
BODE4 M1 | Bodelwyddan 400kV | 70
BODE4 M2 | Bodelwyddan 400kV | 70
BODE4 R1 | Bodelwyddan 400kV | 70
BODE4 R2 | Bodelwyddan 400kV | 70
CAPE2 Tertiary | Capenhurst 33kV 275/132kV SGT 1/2/3A tertiary connection | 70
CONQ4 M1 | Connahs Quay 400kV | 70
CONQ4 M2 | Connahs Quay 400kV | 70
CONQ M3 | Connahs Quay 400kV | 70
CONQ M4 | Connahs Quay 400kV | 70
CONQ4 R1/R3 | Connahs Quay 400kV | 71
CONQ4 R2/R4 | Connahs Quay 400kV | 71
CARR4 M1 | Carrington 400kV | 67
CARR4 M2/4 | Carrington 400kV | 67
CARR4 R1 | Carrington 400kV | 67
CARR4 R1/2 | Carrington 400kV | 67
CARR4 R2 | Carrington 400kV | 67
CARR4 R4 | Carrington 400kV | 67
DAIN4 M1 | Daines 400kV | 66
DAIN4 M2 | Daines 400kV | 66
DAIN4 R1 | Daines 400kV | 66
DAIN4 R2 | Daines 400kV | 66
MACC4 MC1 | Macclesfield 400kV | 57
MACC4 MC2 | Macclesfield 400kV | 57
MACC4 MC3 | Macclesfield 400kV | 57
MACC4 MC4 | Macclesfield 400kV | 57

## 5 - Birkenhead 275kV
Bus Bar Name | Substation Name | Effectiveness (%)
BIRK2 MC1 | Birkenhead 275kV | 100 | Return to Menu
BIRK2 MC2 | Birkenhead 275kV | 100
BIRK2 MC3 | Birkenhead 275kV | 100
BIRK2 MC4 | Birkenhead 275kV | 100

## 6 - Brinsworth 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
BRIN4_M1 | Brinsworth 400kV | 100 | Return to Menu
BRIN4_M2 | Brinsworth 400kV | 100
BRIN4_R1 | Brinsworth 400kV | 100
BRIN4_R2 | Brinsworth 400kV | 100
CHTE4_M1 | Chesterfield 400kV | 97
CHTE4_M2 | Chesterfield 400kV | 97
CHTE4_R1 | Chesterfield 400kV | 97
CHTE4_R2 | Chesterfield 400kV | 97
BRIN2 M2 | Brinsworth 275kV | 85
BRIN2 R2 | Brinsworth 275kV | 85
TINP2 M1 | Tinsley Park 275kV | 85
TINP2 M2 | Tinsley Park 275kV | 85
THUR2 MC1 | Thurcroft 275kV | 83
THUR2 MC2 | Thurcroft 275kV | 83
THUR2 MC3 | Thurcroft 275kV | 83
THUR2 MC4 | Thurcroft 275kV | 83
BRIN2 M1 | Brinsworth 275kV | 78
TEMP2 MC1 | Templeborough 275kV | 78
TEMP2 MC2 | Templeborough 275kV | 78
ALDW2 MC2 | Aldwarke 275kV | 77
ALDW2 MC3 | Aldwarke 275kV | 77
ALDW2 MC4 | Aldwarke 275kV | 77
PITS2 MC1 | Pitsmoor 275kV | 77
PITS2 MC2 | Pitsmoor 275kV | 77
PITS2 MC3 | Pitsmoor 275kV | 77
PITS2 MC4 | Pitsmoor 275kV | 77
TEMP2 MC3 | Templeborough 275kV | 77
WIBA2 MC1 | Wincobank 275kV | 77
WIBA2 MC2 | Wincobank 275kV | 77
WMEL2 MC1 | West Melton 275kV | 77
WMEL2 MC2 | West Melton 275kV | 77
WMEL2 MC3 | West Melton 275kV | 77
WMEL2 MC4 | West Melton 275kV | 77
BRIN2 R1 | Brinsworth 275kV | 76
JORD2 MC1 | Jordanthorpe 275kV | 76
JORD2 MC2 | Jordanthorpe 275kV | 76
NEEP2 M1 | Neepsend 275kV | 75
NEEP2 M2 | Neepsend 275kV | 75
NEEP2 R1/R2 | Neepsend 275kV | 75
SHEC2 MC1 | Sheffield City 275kV | 75
SHEC2 MC2 | Sheffield City 275kV | 75
HIGM2 M1 | High Marnham 275kV | 74
HIGM2 M2 | High Marnham 275kV | 74
HIGM2 M3 | High Marnham 275kV | 74
HIGM2 R1 | High Marnham 275kV | 74
HIGM2 R4 | High Marnham 275kV | 74
HIGM2 R5 | High Marnham 275kV | 74
HIGM2 R6 | High Marnham 275kV | 74
THOM2 M1 | Thorpe Marsh 275kV | 71
THOM2 R1 | Thorpe Marsh 275kV | 71
THOM4 M6 | Thorpe Marsh 400kV | 71

## 7 - Chesterfield 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
CHTE4_M1 | Chesterfield 400kV | 100 | Return to Menu
CHTE4_M2 | Chesterfield 400kV | 100
CHTE4_R1 | Chesterfield 400kV | 100
CHTE4_R2 | Chesterfield 400kV | 100
BRIN4_M1 | Brinsworth 400kV | 85
BRIN4_M2 | Brinsworth 400kV | 85
BRIN4_R1 | Brinsworth 400kV | 85
BRIN4_R2 | Brinsworth 400kV | 85
BRIN2 M2 | Brinsworth 275kV | 76
BRIN2 R2 | Brinsworth 275kV | 76
TINP2 M1 | Tinsley Park 275kV | 76
TINP2 M2 | Tinsley Park 275kV | 76
HIGM2 M1 | High Marnham 275kV | 74
HIGM2 M2 | High Marnham 275kV | 74
HIGM2 M3 | High Marnham 275kV | 74
HIGM2 R1 | High Marnham 275kV | 74
HIGM2 R4 | High Marnham 275kV | 74
HIGM2 R5 | High Marnham 275kV | 74
HIGM2 R6 | High Marnham 275kV | 74
THUR2 MC1 | Thurcroft 275kV | 74
THUR2 MC2 | Thurcroft 275kV | 74
THUR2 MC3 | Thurcroft 275kV | 74
THUR2 MC4 | Thurcroft 275kV | 74
BRIN2 M1 | Brinsworth 275kV | 70
TEMP2 MC1 | Templeborough 275kV | 70
TEMP2 MC2 | Templeborough 275kV | 70
TEMP2 MC3 | Templeborough 275kV | 70

## 8 - Grendon 275kV
Bus Bar Name | Substation Name | Effectiveness (%)
GREN4 M1 | Grendon 400kV | 100 | Return to Menu
GREN4 M2 | Grendon 400kV | 100
GREN4 R1 | Grendon 400kV | 100
GREN4 R2 | Grendon 400kV | 100
MILL4 M1 | Millbrook 400kV | 78
MILL4 R1 | Millbrook 400kV | 78
SUND4 M2 | Sundon 400kV | 67
SUND4 R2 | Sundon 400kV | 67
SUND4 M1 | Sundon 400kV | 66
SUND4 R1 | Sundon 400kV | 66
COTT4 M3 | Cottam 400kV | 62
COTT4 M4 | Cottam 400kV | 62
COTT4 R1/2 | Cottam 400kV | 62
COTT4 R3/4 | Cottam 400kV | 62
WYMO4 M1 | Wymondley 400kV | 62
WYMO4 M2 | Wymondley 400kV | 62
WYMO4 R1 | Wymondley 400kV | 62
WYMO4 R2 | Wymondley 400kV | 62
EASO4 M1 | Eaton Socon 400kV | 61
EASO4 M2 | Eaton Socon 400kV | 61
EASO4 R1 | Eaton Socon 400kV | 61
EASO4 R2 | Eaton Socon 400kV | 61
RYHA4 MC1 | Ryhall 400kV | 61
STAY4 M1 | Staythorpe 400kV | 61
STAY4 M2 | Staythorpe 400kV | 61
STAY4 R1 | Staythorpe 400kV | 61
STAY4 R2 | Staythorpe 400kV | 61

## 9 - Enderby 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
ENDE4 MC1 | Enderby 400kV | 100 | Return to Menu
ENDE4 MC2 | Enderby 400kV | 100
ENDE4 MC3 | Enderby 400kV | 100
ENDE4 MC4 | Enderby 400kV | 100
RATS4 M1 | Ratcliffe-On-Soar 400kV | 79
RATS4 M2 | Ratcliffe-On-Soar 400kV | 79
RATS4 M3 | Ratcliffe-On-Soar 400kV | 79
RATS4 M4 | Ratcliffe-On-Soar 400kV | 79
RATS4 R1/2 | Ratcliffe-On-Soar 400kV | 79
RATS4 R3/4 | Ratcliffe-On-Soar 400kV | 79
WILE4 M1 | Willington East 400kV | 74
WILE4 M2 | Willington East 400kV | 74
WILE4 R1 | Willington East 400kV | 74
WILE4 R2 | Willington East 400kV | 74
STOB4 M1 | Stoke Bardolph 400kV | 72
STOB4 R1 | Stoke Bardolph 400kV | 72
DRAK4 M1 | Drakelow 400kV | 67
DRAK4 M2 | Drakelow 400kV | 67
DRAK4 M3 | Drakelow 400kV | 67
DRAK4 R1/3 | Drakelow 400kV | 67
DRAK4 R2 | Drakelow 400kV | 67
RUGE4 M1 | Rugeley 400kV | 65
RUGE4 M2 | Rugeley 400kV | 65
RUGE4 R1 | Rugeley 400kV | 65
RUGE4 R2 | Rugeley 400kV | 65

## 10 - Eaton Socon 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
EASO4 M1 | Eaton Socon 400kV | 100 | Return to Menu
EASO4 M2 | Eaton Socon 400kV | 100
EASO4 R1 | Eaton Socon 400kV | 100
EASO4 R2 | Eaton Socon 400kV | 100
RYHA4 MC1 | Ryhall 400kV | 84
WYMO4 M1 | Wymondley 400kV | 72
WYMO4 M2 | Wymondley 400kV | 72
WYMO4 R1 | Wymondley 400kV | 72
WYMO4 R2 | Wymondley 400kV | 72
SUND4 M2 | Sundon 400kV | 65
SUND4 R2 | Sundon 400kV | 65
PELH4 M1 | Pelham 400kV | 63
PELH4 M2 | Pelham 400kV | 63
PELH4 R1 | Pelham 400kV | 63
PELH4 R2 | Pelham 400kV | 63
BURW4 MC1 | Burwell 400kV | 61
BURW4 MC2 | Burwell 400kV | 61
BURW4 MC3 | Burwell 400kV | 61
BURW4 MC4 | Burwell 400kV | 61
YAXL4 M1 | Yaxley | 58
YAXL4 R1 | Yaxley | 58
BRFO4 M3 | Bramford 400kV | 57
BRFO4 M5 | Bramford 400kV | 57
BRFO4 M6 | Bramford 400kV | 57
BRFO4 M7 | Bramford 400kV | 57
BRFO4 R3 | Bramford 400kV | 57
BRFO4 R5 | Bramford 400kV | 57
BRFO4 R6 | Bramford 400kV | 57
BRFO4 R7 | Bramford 400kV | 57
M1 | Friston 400kV | 57
M2 | Friston 400kV | 57
R1 | Friston 400kV | 57
R2 | Friston 400kV | 57

## 11 - Kitwell 275kV
Bus Bar Name | Substation Name | Effectiveness (%)
KITW2 MC1 | Kitwell 275kV | 100 | Return to Menu
KITW2 MC2 | Kitwell 275kV | 100
KITW2 MC3 | Kitwell 275kV | 100
KITW2 MC4 | Kitwell 275kV | 100
OCKH2 MC1 | Ocker Hill 275kV | 94
OCKH2 MC2 | Ocker Hill 275kV | 94
OCKH2 MC3 | Ocker Hill 275kV | 94
OCKH2 MC4 | Ocker Hill 275kV | 94
OLDB2 MC1 | Oldbury 275kV | 94
OLDB2 MC2 | Oldbury 275kV | 94
BUSH2 MC1 | Bushbury 275kV | 93
BUSH2 MC2 | Bushbury 275kV | 93
BUSH2 MC3 | Bushbury 275kV | 93
BUSH2 MC4 | Bushbury 275kV | 93
BISW2 MC1 | Bishops Wood 275kV | 83
BISW2 MC2 | Bishops Wood 275kV | 83
BISW2 MC3 | Bishops Wood 275kV | 83
BISW2 MC4 | Bishops Wood 275kV | 83
FECK2 M1 | Feckenham 275kV | 67
FECK2 M2 | Feckenham 275kV | 67
FECK2 R | Feckenham 275kV | 67
BESW2 MC1 | Berkswell 275kV | 64
BESW2 MC2 | Berkswell 275kV | 64
BESW2 MC3 | Berkswell 275kV | 64
BESW2 MC4 | Berkswell 275kV | 64
BESW2 MC6 | Berkswell 275kV | 64
PENN2 MC1 | Penn 275kV | 64
PENN2 MC2 | Penn 275kV | 64
PENN2 MC3 | Penn 275kV | 64
PENN2 MC4 | Penn 275kV | 64

## 12 - Feckenham 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
FECK4 M1 | Feckenham 400kV | 100 | Return to Menu
FECK4 M2 | Feckenham 400kV | 100
FECK4 M3 | Feckenham 400kV | 100
FECK4 R1 | Feckenham 400kV | 100
FECK4 R2 | Feckenham 400kV | 100
FECK4 R3 | Feckenham 400kV | 100
FECK2 M1 | Feckenham 275kV | 78
FECK2 M2 | Feckenham 275kV | 78
FECK2 R | Feckenham 275kV | 78
HAMH4 M1 | Hams Hall 400kV | 75
HAMH4 M2 | Hams Hall 400kV | 75
HAMH4 R1 | Hams Hall 400kV | 75
HAMH4 R2 | Hams Hall 400kV | 75
IRON4 M1 | Ironbridge 400kV | 72
IRON4 M2 | Ironbridge 400kV | 72
IRON4 R1 | Ironbridge 400kV | 72
IRON4 R2 | Ironbridge 400kV | 72
WALH4 MC1 | Walham 400kV | 72
WALH4 MC2 | Walham 400kV | 72
WALH4 MC3 | Walham 400kV | 72
WALH4 MC4 | Walham 400kV | 72
BISW2 MC1 | Bishops Wood 275kV | 71
BISW2 MC2 | Bishops Wood 275kV | 71
BISW2 MC3 | Bishops Wood 275kV | 71
BISW2 MC4 | Bishops Wood 275kV | 71
PENN2 MC1 | Penn 275kV | 70
PENN2 MC2 | Penn 275kV | 70
PENN2 MC3 | Penn 275kV | 70
PENN2 MC4 | Penn 275kV | 70
BESW2 MC1 | Berkswell 275kV | 69
BESW2 MC2 | Berkswell 275kV | 69
BESW2 MC3 | Berkswell 275kV | 69
BESW2 MC4 | Berkswell 275kV | 69
BESW2 MC6 | Berkswell 275kV | 69
PEMB4 M1 | Pembroke 400kV | 69
PEMB4 M2 | Pembroke 400kV | 69
PEMB4 M3 | Pembroke 400kV | 69
PEMB4 M4 | Pembroke 400kV | 69
PEMB4 R1/2 | Pembroke 400kV | 69
PEMB4 R3/4 | Pembroke 400kV | 69
BUSH2 MC1 | Bushbury 275kV | 68
BUSH2 MC2 | Bushbury 275kV | 68
BUSH2 MC3 | Bushbury 275kV | 68
BUSH2 MC4 | Bushbury 275kV | 68
KITW2 MC1 | Kitwell 275kV | 68
KITW2 MC2 | Kitwell 275kV | 68
KITW2 MC3 | Kitwell 275kV | 68
KITW2 MC4 | Kitwell 275kV | 68
OCKH2 MC1 | Ocker Hill 275kV | 68
OCKH2 MC2 | Ocker Hill 275kV | 68
OCKH2 MC3 | Ocker Hill 275kV | 68
OCKH2 MC4 | Ocker Hill 275kV | 68
OLDB2 MC1 | Oldbury 275kV | 68
OLDB2 MC2 | Oldbury 275kV | 68
POAB4 M1 | Pont Abraham 400kV | 68
POAB4 M2 | Pont Abraham 400kV | 68
POAB4 R1 | Pont Abraham 400kV | 68
POAB4 R2 | Pont Abraham 400kV | 68
SWAN4 M3 | Swansea North 400kV | 68
SWAN4 M4 | Swansea North 400kV | 68
SWAN4 R3 | Swansea North 400kV | 68
SWAN4 R4 | Swansea North 400kV | 68
COVE2 MC1 | Coventry 275kV | 67
COVE2 MC2 | Coventry 275kV | 67
COVE2 MC3 | Coventry 275kV | 67
COVE2 MC4 | Coventry 275kV | 67
RASS4 M1 | Rassau 400kV | 67
RASS4 M2 | Rassau 400kV | 67
RASS4 R1 | Rassau 400kV | 67
RASS4 R2 | Rassau 400kV | 67
RHIG4 M1 | Rhigos 400KV | 67
RHIG4 M2 | Rhigos 400KV | 67
RHIG4 R1 | Rhigos 400KV | 67
SWAN2 MC3 | Swansea North 275kV | 67
SWAN2 MC4 | Swansea North 275kV | 67
SWAN4 M1 | Swansea North 400kV | 67
SWAN4 M2 | Swansea North 400kV | 67
MITY4 MC1 | Minety 400kV | 66
MITY4 MC2 | Minety 400kV | 66
MITY4 MC3 | Minety 400kV | 66
MITY4 MC4 | Minety 400kV | 66
UPPB2 MC1 | Upper Boat 275kV | 66
UPPB2 MC4 | Upper Boat 275kV | 66
BAGB2 M1 | Baglan Bay 275kV | 65
BAGB2 M2 | Baglan Bay 275kV | 65
BAGB2 R1 | Baglan Bay 275kV | 65
BAGB2 R2 | Baglan Bay 275kV | 65
BUST2 M1 | Bustleholme 275kV | 65
BUST2 M2 | Bustleholme 275kV | 65
BUST2 R1 | Bustleholme 275kV | 65
BUST2 R2 | Bustleholme 275kV | 65
CILF4 M1 | Cilfynydd 400kV | 65
CILF4 M2 | Cilfynydd 400kV | 65
CILF4 R1 | Cilfynydd 400kV | 65
CILF4 R2 | Cilfynydd 400kV | 65
MAGA2 MC1 | Margam 275kV | 65
MAGA2 MC2 | Margam 275kV | 65
NECH2 MC1 | Nechells 275kV | 65
NECH2 MC2 | Nechells 275kV | 65
NECH2 MC3 | Nechells 275kV | 65
NECH2 MC4 | Nechells 275kV | 65

## 13 - Rugeley 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
RUGE4 M1 | Rugeley 400kV | 100 | Return to Menu
RUGE4 M2 | Rugeley 400kV | 100
RUGE4 R1 | Rugeley 400kV | 100
RUGE4 R2 | Rugeley 400kV | 100
IRON4 M1 | Ironbridge 400kV | 71
IRON4 M2 | Ironbridge 400kV | 71
IRON4 R1 | Ironbridge 400kV | 71
IRON4 R2 | Ironbridge 400kV | 71
DRAK4 M1 | Drakelow 400kV | 69
DRAK4 M2 | Drakelow 400kV | 69
DRAK4 M3 | Drakelow 400kV | 69
DRAK4 R1/3 | Drakelow 400kV | 69
DRAK4 R2 | Drakelow 400kV | 69
PENN2 MC1 | Penn 275kV | 66
PENN2 MC2 | Penn 275kV | 66
PENN2 MC3 | Penn 275kV | 66
PENN2 MC4 | Penn 275kV | 66
BUSH2 MC1 | Bushbury 275kV | 65
BUSH2 MC2 | Bushbury 275kV | 65
BUSH2 MC3 | Bushbury 275kV | 65
BUSH2 MC4 | Bushbury 275kV | 65
BUST2 M1 | Bustleholme 275kV | 64
BUST2 M2 | Bustleholme 275kV | 64
BUST2 R1 | Bustleholme 275kV | 64
BUST2 R2 | Bustleholme 275kV | 64
HAMH4 M1 | Hams Hall 400kV | 64
HAMH4 M2 | Hams Hall 400kV | 64
HAMH4 R1 | Hams Hall 400kV | 64
HAMH4 R2 | Hams Hall 400kV | 64
NECH2 MC1 | Nechells 275kV | 64
NECH2 MC2 | Nechells 275kV | 64
NECH2 MC3 | Nechells 275kV | 64
NECH2 MC4 | Nechells 275kV | 64
OLDB2 MC1 | Oldbury 275kV | 64
OLDB2 MC2 | Oldbury 275kV | 64
BISW2 MC1 | Bishops Wood 275kV | 63
BISW2 MC2 | Bishops Wood 275kV | 63
BISW2 MC3 | Bishops Wood 275kV | 63
BISW2 MC4 | Bishops Wood 275kV | 63
KITW2 MC1 | Kitwell 275kV | 63
KITW2 MC2 | Kitwell 275kV | 63
KITW2 MC3 | Kitwell 275kV | 63
KITW2 MC4 | Kitwell 275kV | 63
LEGA4 M1 | Legacy 400kV | 63
LEGA4 M2 | Legacy 400kV | 63
LEGA4 R1 | Legacy 400kV | 63
LEGA4 R2 | Legacy 400kV | 63
OCKH2 MC1 | Ocker Hill 275kV | 63
OCKH2 MC2 | Ocker Hill 275kV | 63
OCKH2 MC3 | Ocker Hill 275kV | 63
OCKH2 MC4 | Ocker Hill 275kV | 63
WILE4 M1 | Willington East 400kV | 63
WILE4 M2 | Willington East 400kV | 63
WILE4 R1 | Willington East 400kV | 63
WILE4 R2 | Willington East 400kV | 63
CELL4 M1 | Cellarhead 400kV | 60
CELL4 M2 | Cellarhead 400kV | 60
CELL4 R1 | Cellarhead 400kV | 60
CELL4 R2 | Cellarhead 400kV | 60
CONQ4 M1 | Connahs Quay 400kV | 60
CONQ4 M2 | Connahs Quay 400kV | 60
CONQ M3 | Connahs Quay 400kV | 60
CONQ M4 | Connahs Quay 400kV | 60
CONQ4 R1/R3 | Connahs Quay 400kV | 60
CONQ4 R2/R4 | Connahs Quay 400kV | 60
MACC4 MC1 | Macclesfield 400kV | 53
MACC4 MC2 | Macclesfield 400kV | 53
MACC4 MC3 | Macclesfield 400kV | 53
MACC4 MC4 | Macclesfield 400kV | 53

## 14 - Tilbury 275kV
Bus Bar Name | Substation Name | Effectiveness (%)
TILB2 M1 | Tilbury 275kV | 100 | Return to Menu
TILB2 M2 | Tilbury 275kV | 100
TILB2 R1 | Tilbury 275kV | 100
TILB2 R2 | Tilbury 275kV | 100
WARL2 MC1 | Warley 275kV | 90
WARL2 MC2 | Warley 275kV | 90
WARL2 MC3 | Warley 275kV | 90
WARL2 MC4 | Warley 275kV | 90

## 15 - Amersham Main R 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
AMEM4 R | Amersham Main 400kV | 100 | Return to Menu
IVER2 M1 | Iver 275kV | 61
IVER2 M2 | Iver 275kV | 61
IVER2 R1 | Iver 275kV | 61
ECLA4 M1 | East Claydon 400kV | 57
ECLA4 M2 | East Claydon 400kV | 57
ECLA4 R1 | East Claydon 400kV | 57
ECLA4 R2 | East Claydon 400kV | 57
IVER2 R2 | Iver 275kV | 57
AMEM4 M | Amersham Main 400kV | 55
WATS2 MC2 | Watford South 275kV | 52
WATS2 MC3 | Watford South 275kV | 52
WATS2 MC1 | Watford South 275kV | 51
WATS2 MC4 | Watford South 275kV | 51
ELST2 M2 | Elstree 275kV | 50
ELST2 R2 | Elstree 275kV | 50

## 16 - Bramley 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
BRLE4 M1 | Bramley 400kV | 100 | Return to Menu
BRLE4 M2 | Bramley 400kV | 100
BRLE4 R1 | Bramley 400kV | 100
BRLE4 R2 | Bramley 400kV | 100
FLEE4 MC1 | Fleet 400kV | 94
FLEE4 MC2 | Fleet 400kV | 94
FLEE4 MC3 | Fleet 400kV | 94
FLEE4 MC4 | Fleet 400kV | 94
DIDC4 M1 | Didcot 400kV | 84
DIDC4 M2 | Didcot 400kV | 84
DIDC4 M3 | Didcot 400kV | 84
DIDC4 M4 | Didcot 400kV | 84
DIDC4 M5 | Didcot 400kV | 84
DIDC4 M6 | Didcot 400kV | 84
DIDC4 R1/2 | Didcot 400kV | 84
DIDC4 R3/4 | Didcot 400kV | 84
DIDC4 R5 | Didcot 400kV | 84
DIDC4 R6 | Didcot 400kV | 84
MELK4 M1 | Melksham 400kV | 82
MELK4 M2 | Melksham 400kV | 82
MELK4 M3 | Melksham 400kV | 82
MELK4 R1 | Melksham 400kV | 82
MELK4 R2 | Melksham 400kV | 82
MELK4 R3 | Melksham 400kV | 82
CULJ4 M | Culham Jet 400kV | 81
SHUR4 M1 | Shurton 400kV | 80
SHUR4 M2 | Shurton 400kV | 80
SHUR4 M3 | Shurton 400kV | 80
SHUR4 M4 | Shurton 400kV | 80
SHUR4 R1/3 | Shurton 400kV | 80
SHUR4 R2/4 | Shurton 400kV | 80

## 17 - Didcot 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
DIDC4 M1 | Didcot 400kV | 100 | Return to Menu
DIDC4 M2 | Didcot 400kV | 100
DIDC4 M3 | Didcot 400kV | 100
DIDC4 M4 | Didcot 400kV | 100
DIDC4 M5 | Didcot 400kV | 100
DIDC4 M6 | Didcot 400kV | 100
DIDC4 R1/2 | Didcot 400kV | 100
DIDC4 R3/4 | Didcot 400kV | 100
DIDC4 R5 | Didcot 400kV | 100
DIDC4 R6 | Didcot 400kV | 100
CULJ4 M | Culham Jet 400kV | 96
COWL4 M1 | Cowley 400kV | 91
COWL4 M2 | Cowley 400kV | 91
COWL4 R1 | Cowley 400kV | 91
COWL4 R2 | Cowley 400kV | 91
BRLE4 M1 | Bramley 400kV | 80
BRLE4 M2 | Bramley 400kV | 80
BRLE4 R1 | Bramley 400kV | 80
BRLE4 R2 | Bramley 400kV | 80

## 18 - Fleet 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
BRLE4 M1 | Bramley 400kV | 87 | Return to Menu
BRLE4 M2 | Bramley 400kV | 87
BRLE4 R1 | Bramley 400kV | 87
BRLE4 R2 | Bramley 400kV | 87
FLEE4 MC1 | Fleet 400kV | 100
FLEE4 MC2 | Fleet 400kV | 100
FLEE4 MC3 | Fleet 400kV | 100
FLEE4 MC4 | Fleet 400kV | 100
LOVE4 M1 | Lovedean 400kV | 84
LOVE4 M2 | Lovedean 400kV | 84
LOVE4 R1 | Lovedean 400kV | 84
LOVE4 R2 | Lovedean 400kV | 84
BOTW4 MC1 | Botley Wood 400kV | 83
BOTW4 MC2 | Botley Wood 400kV | 83
FAWL4 M1/3_1 | Fawley 400kV | 83
FAWL4 M1/3_2 | Fawley 400kV | 83
FAWL4 M2/4_1 | Fawley 400kV | 83
FAWL4 M2/4_2 | Fawley 400kV | 83
FAWL4 R1/3 | Fawley 400kV | 83
FAWL4 R2/4 | Fawley 400kV | 83
MAWO4 M | Marchwood 400kV | 83
MAWO4 R | Marchwood 400kV | 83
NURS4 MC1 | Nursling 400kV | 83
NURS4 MC2 | Nursling 400kV | 83
MANN4 M5 | Mannington 400kV | 80
MANN4 MC1 | Mannington 400kV | 80
MANN4 MC2 | Mannington 400kV | 80
MANN4 MC3 | Mannington 400kV | 80
MANN4 MC4 | Mannington 400kV | 80
MANN4 R5 | Mannington 400kV | 80
CHIC4 MB1 | Chickerell 400kV | 78
CHIC4 MB2 | Chickerell 400kV | 78
CHIC4 R1/2 | Chickerell 400kV | 78
AXMI4 MC1 | Axminster 400kV | 77
AXMI4 MC2 | Axminster 400kV | 77
EXET4 M1 | Exeter Main 400kV | 75
EXET4 M2 | Exeter Main 400kV | 75
EXET4 R1 | Exeter Main 400kV | 75
EXET4 R2 | Exeter Main 400kV | 75
Jersey Farm | Jersey Farm 400kV | 75
ALVE4 M1 | Alverdiscott 400kV GIS | 74
ALVE4 M2 | Alverdiscott 400kV GIS | 74
ALVE4 M3 | Alverdiscott 400kV GIS | 74
ALVE4 M4 | Alverdiscott 400kV GIS | 74
ALVE4 R1 | Alverdiscott 400kV GIS | 74
ALVE4 R2 | Alverdiscott 400kV GIS | 74
ALVE4 R3 | Alverdiscott 400kV GIS | 74
ALVE4 R4 | Alverdiscott 400kV GIS | 74
INDQ4 MC1 | Indian Queens 400kV | 74
INDQ4 MC2 | Indian Queens 400kV | 74
INDQ4 MC3 | Indian Queens 400kV | 74
INDQ4 MC4 | Indian Queens 400kV | 74
LAGA4 M1 | Langage 400kV | 74
LAGA4 M2 | Langage 400kV | 74
LAGA4 R1 | Langage 400kV | 74
LAGA4 R2 | Langage 400kV | 74
LAND4 MC1 | Landulph 400kV | 74
LAND4 MC2 | Landulph 400kV | 74
LAND4 MC3 | Landulph 400kV | 74
MELK4 M1 | Melksham 400kV | 74
MELK4 M2 | Melksham 400kV | 74
MELK4 M3 | Melksham 400kV | 74
MELK4 R1 | Melksham 400kV | 74
MELK4 R2 | Melksham 400kV | 74
MELK4 R3 | Melksham 400kV | 74
TAUN4 M1 | Taunton 400kV | 74
TAUN4 M2 | Taunton 400kV | 74
SHUR4 M1 | Shurton 400kV | 74
SHUR4 M2 | Shurton 400kV | 74
SHUR4 M3 | Shurton 400kV | 74
SHUR4 M4 | Shurton 400kV | 74
SHUR4 R1/3 | Shurton 400kV | 74
SHUR4 R2/4 | Shurton 400kV | 74
MITY4 MC1 | Minety 400kV | 71
MITY4 MC2 | Minety 400kV | 71
MITY4 MC3 | Minety 400kV | 71
MITY4 MC4 | Minety 400kV | 71
CULJ4 M | Culham Jet 400kV | 71
SHUR4 R2/4 | Shurton 400kV | 74
CULJ4 M | Culham Jet 400kV | 71
EXET4 R1 | Exeter Main 400kV | 75
EXET4 R2 | Exeter Main 400kV | 75
ALVE4 M1 | Alverdiscott 400kV GIS | 74
ALVE4 M2 | Alverdiscott 400kV GIS | 74
ALVE4 M3 | Alverdiscott 400kV GIS | 74
ALVE4 M4 | Alverdiscott 400kV GIS | 74
ALVE4 R1 | Alverdiscott 400kV GIS | 74
ALVE4 R2 | Alverdiscott 400kV GIS | 74
ALVE4 R3 | Alverdiscott 400kV GIS | 74
ALVE4 R4 | Alverdiscott 400kV GIS | 74
SHUR4 M1 | Shurton 400kV | 74
SHUR4 M2 | Shurton 400kV | 74
SHUR4 M3 | Shurton 400kV | 74
SHUR4 M4 | Shurton 400kV | 74
SHUR4 R1/3 | Shurton 400kV | 74
SHUR4 R2/4 | Shurton 400kV | 74
CULJ4 M | Culham Jet 400kV | 71
BOTW4 MC1 | Botley Wood 400kV | 83
BOTW4 MC2 | Botley Wood 400kV | 83

## 19 - Hinkley Point 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
HINP2 M1 | Hinkley Point 275kV | 100 | Return to Menu
HINP2 M2 | Hinkley Point 275kV | 100
HINP2 R1 | Hinkley Point 275kV | 100
HINP2 R2 | Hinkley Point 275kV | 100
HINP4 M1 | Hinkley Point 400kV | 100
HINP4 M2 | Hinkley Point 400kV | 100
HINP4 M3 | Hinkley Point 400kV | 100
HINP4 M4 | Hinkley Point 400kV | 100
HINP4 R1/2 | Hinkley Point 400kV | 100
HINP4 R3/4 | Hinkley Point 400kV | 100
SHUR4 M1 | Shurton 400kV | 100
SHUR4 M2 | Shurton 400kV | 100
SHUR4 M3 | Shurton 400kV | 100
SHUR4 M4 | Shurton 400kV | 100
SHUR4 R1/3 | Shurton 400kV | 100
SHUR4 R2/4 | Shurton 400kV | 100
SAFO4 M1 | Sandford 400kV | 91
SAFO4 M2 | Sandford 400kV | 91
NWLV4 M | New Woolavington 400kV | 87
NWLV4 R | New Woolavington 400kV | 87
SEAB4 M1 | Seabank 400kV | 83
SEAB4 M2 | Seabank 400kV | 83
SEAB4 R1 | Seabank 400kV | 83
SEAB4 R2 | Seabank 400kV | 83
UPPB2 MC1 | Upper Boat 275kV | 69
UPPB2 MC4 | Upper Boat 275kV | 69
WHSO2 R1 | Whitson 275kV | 69
WHSO2 R2 | Whitson 275kV | 69
ABTH2 M1 | Aberthaw 275kV | 68
ABTH2 M2 | Aberthaw 275kV | 68
ABTH2 M4 | Aberthaw 275kV | 68
ABTH2 R | Aberthaw 275kV | 68
CARE2 MC1 | Cardiff East 275kV | 68
CARE2 MC2 | Cardiff East 275kV | 68
CILF4 M1 | Cilfynydd 400kV | 68
CILF4 M2 | Cilfynydd 400kV | 68
CILF4 R1 | Cilfynydd 400kV | 68
CILF4 R2 | Cilfynydd 400kV | 68
IMPP4 MC1 | Imperial Park 400kV | 68
IMPP4 MC2 | Imperial Park 400kV | 68
MELK4 M1 | Melksham 400kV | 68
MELK4 M2 | Melksham 400kV | 68
MELK4 M3 | Melksham 400kV | 68
MELK4 R1 | Melksham 400kV | 68
MELK4 R2 | Melksham 400kV | 68
MELK4 R3 | Melksham 400kV | 68
PYLE2 MC1 | Pyle 275kV | 68
PYLE2 MC2 | Pyle 275kV | 68
SWAN4 M1 | Swansea North 400kV | 68
SWAN4 M2 | Swansea North 400kV | 68
TREM2 MC1 | Tremorfa 275kV | 68
TREM2 MC2 | Tremorfa 275kV | 68
UPPB2 MC2 | Upper Boat 275kV | 68
UPPB2 MC3 | Upper Boat 275kV | 68
USKM2 M1 | Uskmouth 275kV | 68
USKM2 M2 | Uskmouth 275kV | 68
USKM2 R1 | Uskmouth 275kV | 68
USKM2 R2 | Uskmouth 275kV | 68
WHSO2 M1 | Whitson 275kV | 68
WHSO2 M2 | Whitson 275kV | 68

## 20 - Imperial Park 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
IMPP4 MC1 | Imperial Park 400kV | 100 | Return to Menu
IMPP4 MC2 | Imperial Park 400kV | 100

## 21 - Iron Acton 275kV
Bus Bar Name | Substation Name | Effectiveness (%)
IROA2 MC1 | Iron Acton 275kV | 100 | Return to Menu
IROA2 MC2 | Iron Acton 275kV | 100
IROA2 MC3 | Iron Acton 275kV | 100
IROA2 MC4 | Iron Acton 275kV | 100
IROA2 MC5 | Iron Acton 275kV | 100
IROA2 MC6 | Iron Acton 275kV | 100
WHSO2 M1 | Whitson 275kV | 72
WHSO2 M2 | Whitson 275kV | 72
USKM2 M1 | Uskmouth 275kV | 70
USKM2 M2 | Uskmouth 275kV | 70
USKM2 R1 | Uskmouth 275kV | 70
USKM2 R2 | Uskmouth 275kV | 70
WHSO2 R1 | Whitson 275kV | 70
WHSO2 R2 | Whitson 275kV | 70
TREM2 MC1 | Tremorfa 275kV | 66
TREM2 MC2 | Tremorfa 275kV | 66

## 22 - Minety 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
MITY4 MC1 | Minety 400kV | 100 | Return to Menu
MITY4 MC2 | Minety 400kV | 100
MITY4 MC3 | Minety 400kV | 100
MITY4 MC4 | Minety 400kV | 100
MELK4 M1 | Melksham 400kV | 82
MELK4 M2 | Melksham 400kV | 82
MELK4 M3 | Melksham 400kV | 82
MELK4 R1 | Melksham 400kV | 82
MELK4 R2 | Melksham 400kV | 82
MELK4 R3 | Melksham 400kV | 82
IMPP4 MC1 | Imperial Park 400kV | 76
IMPP4 MC2 | Imperial Park 400kV | 76
IROA2 MC1 | Iron Acton 275kV | 76
IROA2 MC2 | Iron Acton 275kV | 76
IROA2 MC3 | Iron Acton 275kV | 76
IROA2 MC4 | Iron Acton 275kV | 76
IROA2 MC5 | Iron Acton 275kV | 76
IROA2 MC6 | Iron Acton 275kV | 76
SEAB4 M1 | Seabank 400kV | 76
SEAB4 M2 | Seabank 400kV | 76
SEAB4 R1 | Seabank 400kV | 76
SEAB4 R2 | Seabank 400kV | 76
SAFO4 M1 | Sandford 400kV | 75
SAFO4 M2 | Sandford 400kV | 75
UPPB2 MC1 | Upper Boat 275kV | 75
UPPB2 MC4 | Upper Boat 275kV | 75
SHUR4 M1 | Shurton 400kV | 74
SHUR4 M2 | Shurton 400kV | 74
SHUR4 M3 | Shurton 400kV | 74
SHUR4 M4 | Shurton 400kV | 74
SHUR4 R1/3 | Shurton 400kV | 74
SHUR4 R2/4 | Shurton 400kV | 74

## 23 - Seabank 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
SEAB4 M1 | Seabank 400kV | 100 | Return to Menu
SEAB4 M2 | Seabank 400kV | 100
SEAB4 R1 | Seabank 400kV | 100
SEAB4 R2 | Seabank 400kV | 100
SAFO4 M1 | Sandford 400kV | 92
SAFO4 M2 | Sandford 400kV | 92
HINP2 M1 | Hinkley Point 275kV | 83
HINP2 M2 | Hinkley Point 275kV | 83
HINP2 R1 | Hinkley Point 275kV | 83
HINP2 R2 | Hinkley Point 275kV | 83
HINP4 M1 | Hinkley Point 400kV | 83
HINP4 M2 | Hinkley Point 400kV | 83
HINP4 M3 | Hinkley Point 400kV | 83
HINP4 M4 | Hinkley Point 400kV | 83
HINP4 R1/2 | Hinkley Point 400kV | 83
HINP4 R3/4 | Hinkley Point 400kV | 83
SHUR4 M1 | Shurton 400kV | 83
SHUR4 M2 | Shurton 400kV | 83
SHUR4 M3 | Shurton 400kV | 83
SHUR4 M4 | Shurton 400kV | 83
SHUR4 R1/3 | Shurton 400kV | 83
SHUR4 R2/4 | Shurton 400kV | 83
TAUN4 M1 | Taunton 400kV | 78
TAUN4 M2 | Taunton 400kV | 78
UPPB2 MC1 | Upper Boat 275kV | 78
UPPB2 MC4 | Upper Boat 275kV | 78
CILF4 M1 | Cilfynydd 400kV | 77
CILF4 M2 | Cilfynydd 400kV | 77
CILF4 R1 | Cilfynydd 400kV | 77
CILF4 R2 | Cilfynydd 400kV | 77
SWAN4 M1 | Swansea North 400kV | 77
SWAN4 M2 | Swansea North 400kV | 77
USKM2 M1 | Uskmouth 275kV | 77
USKM2 M2 | Uskmouth 275kV | 77
USKM2 R1 | Uskmouth 275kV | 77
USKM2 R2 | Uskmouth 275kV | 77
WHSO2 R1 | Whitson 275kV | 77
WHSO2 R2 | Whitson 275kV | 77
ABTH2 M1 | Aberthaw 275kV | 76
ABTH2 M2 | Aberthaw 275kV | 76
ABTH2 M4 | Aberthaw 275kV | 76
ABTH2 R | Aberthaw 275kV | 76
ALVE4 M1 | Alverdiscott 400kV | 76
ALVE4 M2 | Alverdiscott 400kV | 76
ALVE4 M3 | Alverdiscott 400kV | 76
ALVE4 M4 | Alverdiscott 400kV | 76
ALVE4 R1 | Alverdiscott 400kV | 76
ALVE4 R2 | Alverdiscott 400kV | 76
ALVE4 R3 | Alverdiscott 400kV | 76
ALVE4 R4 | Alverdiscott 400kV | 76
BAGB2 M1 | Baglan Bay 275kV | 76
BAGB2 M2 | Baglan Bay 275kV | 76
BAGB2 R1 | Baglan Bay 275kV | 76
BAGB2 R2 | Baglan Bay 275kV | 76
CARE2 MC1 | Cardiff East 275kV | 76
CARE2 MC2 | Cardiff East 275kV | 76
MAGA2 MC1 | Margam 275kV | 76
MAGA2 MC2 | Margam 275kV | 76
PEMB4 M1 | Pembroke 400kV | 76
PEMB4 M2 | Pembroke 400kV | 76
PEMB4 M3 | Pembroke 400kV | 76
PEMB4 M4 | Pembroke 400kV | 76
PEMB4 R1/2 | Pembroke 400kV | 76
PEMB4 R3/4 | Pembroke 400kV | 76
PYLE2 MC1 | Pyle 275kV | 76
PYLE2 MC2 | Pyle 275kV | 76
RHIG4 M1 | Rhigos 400KV | 76
RHIG4 M2 | Rhigos 400KV | 76
RHIG4 R1 | Rhigos 400KV | 76
SWAN2 MC3 | Swansea North 275kV | 76
SWAN2 MC4 | Swansea North 275kV | 76
TREM2 MC1 | Tremorfa 275kV | 76
TREM2 MC2 | Tremorfa 275kV | 76
UPPB2 MC2 | Upper Boat 275kV | 76
UPPB2 MC3 | Upper Boat 275kV | 76
WHSO2 M1 | Whitson 275kV | 76
WHSO2 M2 | Whitson 275kV | 76
IMPP4 MC1 | Imperial Park 400kV | 75
IMPP4 MC2 | Imperial Park 400kV | 75
POAB4 M1 | Pont Abraham 400kV | 75
POAB4 M2 | Pont Abraham 400kV | 75
POAB4 R1 | Pont Abraham 400kV | 75
POAB4 R2 | Pont Abraham 400kV | 75
SWAN4 M3 | Swansea North 400kV | 75
SWAN4 M4 | Swansea North 400kV | 75
SWAN4 R3 | Swansea North 400kV | 75
SWAN4 R4 | Swansea North 400kV | 75
INDQ4 MC1 | Indian Queens 400kV | 74
INDQ4 MC2 | Indian Queens 400kV | 74
INDQ4 MC3 | Indian Queens 400kV | 74
INDQ4 MC4 | Indian Queens 400kV | 74
IROA2 MC1 | Iron Acton 275kV | 74
IROA2 MC2 | Iron Acton 275kV | 74
IROA2 MC3 | Iron Acton 275kV | 74
IROA2 MC4 | Iron Acton 275kV | 74
IROA2 MC5 | Iron Acton 275kV | 74
IROA2 MC6 | Iron Acton 275kV | 74
LAND4 MC1 | Landulph 400kV | 73
LAND4 MC2 | Landulph 400kV | 73
LAND4 MC3 | Landulph 400kV | 73
Jersey Farm | Jersey Farm 400kV | 73
INDQGridPark | Indian Queens 33kV | 72
NWLV4 R | New Woolavington 400kV | 71
NWLV4 M | New Woolavington 400kV | 70

## 24 - Chesterfield 400kV (2)
Bus Bar Name | Substation Name | Effectiveness (%)
CHTE4_M1 | Chesterfield 400kV | 100% | Return to Menu
CHTE4_M2 | Chesterfield 400kV | 100%
CHTE4_R1 | Chesterfield 400kV | 100%
CHTE4_R2 | Chesterfield 400kV | 100%
BRIN4_M1 | Brinsworth 400kV | 70%
BRIN4_M2 | Brinsworth 400kV | 70%
BRIN4_R1 | Brinsworth 400kV | 70%
BRIN4_R2 | Brinsworth 400kV | 70%
RATS4 M1 | Ratcliffe-On-Soar 400kV | 59%
RATS4 M2 | Ratcliffe-On-Soar 400kV | 59%
RATS4 M3 | Ratcliffe-On-Soar 400kV | 59%
RATS4 M4 | Ratcliffe-On-Soar 400kV | 59%
RATS4 R1/2 | Ratcliffe-On-Soar 400kV | 59%
RATS4 R3/4 | Ratcliffe-On-Soar 400kV | 59%
ENDE4 MC1 | Enderby 400kV | 56%
ENDE4 MC2 | Enderby 400kV | 56%
ENDE4 MC3 | Enderby 400kV | 56%
ENDE4 MC4 | Enderby 400kV | 56%
STOB4 M1 | Stoke Bardolph 400kV | 55%
STOB4 R1 | Stoke Bardolph 400kV | 55%
COVE2 MC1 | Coventry 275kV | 52%
COVE2 MC2 | Coventry 275kV | 52%
COVE2 MC3 | Coventry 275kV | 52%
COVE2 MC4 | Coventry 275kV | 52%
BESW2 MC1 | Berkswell 275kV | 51%
BESW2 MC2 | Berkswell 275kV | 51%
BESW2 MC3 | Berkswell 275kV | 51%
BESW2 MC4 | Berkswell 275kV | 51%
BESW2 MC6 | Berkswell 275kV | 51%
BRIN2 M2 | Brinsworth 275kV | 49%
BRIN2 R2 | Brinsworth 275kV | 49%
TINP2 M1 | Tinsley Park 275kV | 49%
TINP2 M2 | Tinsley Park 275kV | 49%
WILE4 M1 | Willington East 400kV | 49%
WILE4 M2 | Willington East 400kV | 49%
WILE4 R1 | Willington East 400kV | 49%
WILE4 R2 | Willington East 400kV | 49%
BUST2 M1 | Bustleholme 275kV | 48%
BUST2 M2 | Bustleholme 275kV | 48%
BUST2 R1 | Bustleholme 275kV | 48%
BUST2 R2 | Bustleholme 275kV | 48%
NECH2 MC1 | Nechells 275kV | 48%
NECH2 MC2 | Nechells 275kV | 48%
NECH2 MC3 | Nechells 275kV | 48%
NECH2 MC4 | Nechells 275kV | 48%
PAFB4A | Patford Bridge 400kV | 46%
PAFB4B | Patford Bridge 400kV | 46%
OCKH2 MC1 | Ocker Hill 275kV | 46%
OCKH2 MC2 | Ocker Hill 275kV | 46%
OCKH2 MC3 | Ocker Hill 275kV | 46%
OCKH2 MC4 | Ocker Hill 275kV | 46%
KITW2 MC1 | Kitwell 275kV | 45%
KITW2 MC2 | Kitwell 275kV | 45%
KITW2 MC3 | Kitwell 275kV | 45%
KITW2 MC4 | Kitwell 275kV | 45%
OLDB2 MC1 | Oldbury 275kV | 45%
OLDB2 MC2 | Oldbury 275kV | 45%
THUR2 MC1 | Thurcroft 275kV | 45%
THUR2 MC2 | Thurcroft 275kV | 45%
THUR2 MC3 | Thurcroft 275kV | 45%
THUR2 MC4 | Thurcroft 275kV | 45%
BISW2 MC1 | Bishops Wood 275kV | 44%
BISW2 MC2 | Bishops Wood 275kV | 44%
BISW2 MC3 | Bishops Wood 275kV | 44%
BISW2 MC4 | Bishops Wood 275kV | 44%
BUSH2 MC1 | Bushbury 275kV | 43%
BUSH2 MC2 | Bushbury 275kV | 43%
BUSH2 MC3 | Bushbury 275kV | 43%
BUSH2 MC4 | Bushbury 275kV | 43%
DRAK4 M1 | Drakelow 400kV | 43%
DRAK4 M2 | Drakelow 400kV | 43%
DRAK4 M3 | Drakelow 400kV | 43%
DRAK4 R1/3 | Drakelow 400kV | 43%
DRAK4 R2 | Drakelow 400kV | 43%
FECK2 M1 | Feckenham 275kV | 43%
FECK2 M2 | Feckenham 275kV | 43%
FECK2 R | Feckenham 275kV | 43%
HAMH4 M1 | Hams Hall 400kV | 43%
HAMH4 M2 | Hams Hall 400kV | 43%
HAMH4 R1 | Hams Hall 400kV | 43%
HAMH4 R2 | Hams Hall 400kV | 43%
HIGMB M1 | High Marnham-B 400kV | 42%
HIGMB M2 | High Marnham-B 400kV | 42%
HIGMB R1 | High Marnham-B 400kV | 42%
HIGMB R2 | High Marnham-B 400kV | 42%
STAY4 M1 | Staythorpe 400kV | 41%
STAY4 M2 | Staythorpe 400kV | 41%
STAY4 R1 | Staythorpe 400kV | 41%
STAY4 R2 | Staythorpe 400kV | 41%
PENN2 MC1 | Penn 275kV | 40%
PENN2 MC2 | Penn 275kV | 40%
PENN2 MC3 | Penn 275kV | 40%
PENN2 MC4 | Penn 275kV | 40%
RUGE4 M1 | Rugeley 400kV | 40%
RUGE4 M2 | Rugeley 400kV | 40%
RUGE4 R1 | Rugeley 400kV | 40%
RUGE4 R2 | Rugeley 400kV | 40%

## 25 - Ryhall MC1 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
RYHA4 MC1 | Ryhall 400kV | 100% | Return to Menu
EASO4 M1 | Eaton Socon 400kV | 47%
EASO4 M2 | Eaton Socon 400kV | 47%
EASO4 R1 | Eaton Socon 400kV | 47%
EASO4 R2 | Eaton Socon 400kV | 47%
RYHA4B | Ryhall 400kV | 36%
GREN4 M1 | Grendon 400kV | 33%
GREN4 M2 | Grendon 400kV | 33%
GREN4 R1 | Grendon 400kV | 33%
GREN4 R2 | Grendon 400kV | 33%
MILL4 M1 | Millbrook 400kV | 32%
MILL4 R1 | Millbrook 400kV | 32%
WYMO4 M1 | Wymondley 400kV | 32%
WYMO4 M2 | Wymondley 400kV | 32%
WYMO4 R1 | Wymondley 400kV | 32%
WYMO4 R2 | Wymondley 400kV | 32%
SUND4 M1 | Sundon 400kV | 31%
SUND4 M2 | Sundon 400kV | 31%
SUND4 R1 | Sundon 400kV | 31%
SUND4 R2 | Sundon 400kV | 31%

## 26 - Ryhall 4B 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
RYHA4B | Ryhall 400kV | 100% | Return to Menu
EASO4 M1 | Eaton Socon 400kV | 46%
EASO4 M2 | Eaton Socon 400kV | 46%
EASO4 R1 | Eaton Socon 400kV | 46%
EASO4 R2 | Eaton Socon 400kV | 46%
RYHA4 MC1 | Ryhall 400kV | 35%
GREN4 M1 | Grendon 400kV | 31%
GREN4 M2 | Grendon 400kV | 31%
GREN4 R1 | Grendon 400kV | 31%
GREN4 R2 | Grendon 400kV | 31%
WYMO4 M1 | Wymondley 400kV | 31%
WYMO4 M2 | Wymondley 400kV | 31%
WYMO4 R1 | Wymondley 400kV | 31%
WYMO4 R2 | Wymondley 400kV | 31%
COTT4 M1 | Cottam 400kV | 30%
COTT4 M2 | Cottam 400kV | 30%
MILL4 M1 | Millbrook 400kV | 30%
MILL4 R1 | Millbrook 400kV | 30%
SUND4 M1 | Sundon 400kV | 30%
SUND4 M2 | Sundon 400kV | 30%
SUND4 R1 | Sundon 400kV | 30%
SUND4 R2 | Sundon 400kV | 30%

## 27 - Enderby 400kV (I)
Bus Bar Name | Substation Name | Effectiveness (%)
ENDE4 MC1 | Enderby 400kV | 100% | Return to Menu
ENDE4 MC2 | Enderby 400kV | 100%
ENDE4 MC3 | Enderby 400kV | 100%
ENDE4 MC4 | Enderby 400kV | 100%
PAF4A | Patford Bridge 400kV | 84%
PAF4B | Patford Bridge 400kV | 84%
COVE2 MC1 | Coventry 275kV | 62%
COVE2 MC2 | Coventry 275kV | 62%
COVE2 MC3 | Coventry 275kV | 62%
COVE2 MC4 | Coventry 275kV | 62%
BESW2 MC1 | Berkswell 275kV | 61%
BESW2 MC2 | Berkswell 275kV | 61%
BESW2 MC3 | Berkswell 275kV | 61%
BESW2 MC4 | Berkswell 275kV | 61%
BESW2 MC6 | Berkswell 275kV | 61%
ECLA4 M1 | East Claydon 400kV | 61%
ECLA4 M2 | East Claydon 400kV | 61%
ECLA4 R1 | East Claydon 400kV | 61%
ECLA4 R2 | East Claydon 400kV | 61%
RATS4 M1 | Ratcliffe-On-Soar 400kV | 59%
RATS4 M2 | Ratcliffe-On-Soar 400kV | 59%
RATS4 M3 | Ratcliffe-On-Soar 400kV | 59%
RATS4 M4 | Ratcliffe-On-Soar 400kV | 59%
RATS4 R1/2 | Ratcliffe-On-Soar 400kV | 59%
RATS4 R3/4 | Ratcliffe-On-Soar 400kV | 59%
AMEM4 M | Amersham Main 400kV | 58%
AMEM4 R | Amersham Main 400kV | 57%
NECH2 MC1 | Nechells 275kV | 57%
NECH2 MC2 | Nechells 275kV | 57%
NECH2 MC3 | Nechells 275kV | 57%
NECH2 MC4 | Nechells 275kV | 57%
BUST2 M1 | Bustleholme 275kV | 56%
BUST2 M2 | Bustleholme 275kV | 56%
BUST2 R1 | Bustleholme 275kV | 56%
BUST2 R2 | Bustleholme 275kV | 56%
OCKH2 MC1 | Ocker Hill 275kV | 56%
OCKH2 MC2 | Ocker Hill 275kV | 56%
OCKH2 MC3 | Ocker Hill 275kV | 56%
OCKH2 MC4 | Ocker Hill 275kV | 56%
BISW2 MC1 | Bishops Wood 275kV | 55%
BISW2 MC2 | Bishops Wood 275kV | 55%
BISW2 MC3 | Bishops Wood 275kV | 55%
BISW2 MC4 | Bishops Wood 275kV | 55%
KITW2 MC1 | Kitwell 275kV | 55%
KITW2 MC2 | Kitwell 275kV | 55%
KITW2 MC3 | Kitwell 275kV | 55%
KITW2 MC4 | Kitwell 275kV | 55%
OLDB2 MC1 | Oldbury 275kV | 55%
OLDB2 MC2 | Oldbury 275kV | 55%
WILE4 M1 | Willington East 400kV | 54%
WILE4 M2 | Willington East 400kV | 54%
WILE4 R1 | Willington East 400kV | 54%
WILE4 R2 | Willington East 400kV | 54%
BUSH2 MC1 | Bushbury 275kV | 53%
BUSH2 MC2 | Bushbury 275kV | 53%
BUSH2 MC3 | Bushbury 275kV | 53%
BUSH2 MC4 | Bushbury 275kV | 53%
FECK2 M1 | Feckenham 275kV | 53%
FECK2 M2 | Feckenham 275kV | 53%
FECK2 R | Feckenham 275kV | 53%
HAMH4 M1 | Hams Hall 400kV | 53%
HAMH4 M2 | Hams Hall 400kV | 53%
HAMH4 R1 | Hams Hall 400kV | 53%
HAMH4 R2 | Hams Hall 400kV | 53%
IVER2 M1 | Iver 275kV | 50%
IVER2 M2 | Iver 275kV | 50%
IVER2 R1 | Iver 275kV | 50%
STOB4 M1 | Stoke Bardolph 400kV | 50%
STOB4 R1 | Stoke Bardolph 400kV | 50%

## 28 - Stoke Bardolph 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
STOB4 M1 | Stoke Bardolph 400kV | 100% | Return to Menu
STOB4 R1 | Stoke Bardolph 400kV | 100%
RATS4 M1 | Ratcliffe-On-Soar 400kV | 39%
RATS4 M2 | Ratcliffe-On-Soar 400kV | 39%
RATS4 M3 | Ratcliffe-On-Soar 400kV | 39%
RATS4 M4 | Ratcliffe-On-Soar 400kV | 39%
RATS4 R1/2 | Ratcliffe-On-Soar 400kV | 39%
RATS4 R3/4 | Ratcliffe-On-Soar 400kV | 39%
ENDE4 MC1 | Enderby 400kV | 35%
ENDE4 MC2 | Enderby 400kV | 35%
ENDE4 MC3 | Enderby 400kV | 35%
ENDE4 MC4 | Enderby 400kV | 35%
WILE4 M1 | Willington East 400kV | 31%
WILE4 M2 | Willington East 400kV | 31%
WILE4 R1 | Willington East 400kV | 31%
WILE4 R2 | Willington East 400kV | 31%
COVE2 MC1 | Coventry 275kV | 29%
COVE2 MC2 | Coventry 275kV | 29%
COVE2 MC3 | Coventry 275kV | 29%
COVE2 MC4 | Coventry 275kV | 29%
NECH2 MC1 | Nechells 275kV | 29%
NECH2 MC2 | Nechells 275kV | 29%
NECH2 MC3 | Nechells 275kV | 29%
NECH2 MC4 | Nechells 275kV | 29%
BUST2 M1 | Bustleholme 275kV | 28%
BUST2 M2 | Bustleholme 275kV | 28%
BUST2 R1 | Bustleholme 275kV | 28%
BUST2 R2 | Bustleholme 275kV | 28%
STAY4 M1 | Staythorpe 400kV | 28%
STAY4 M2 | Staythorpe 400kV | 28%
STAY4 R1 | Staythorpe 400kV | 28%
STAY4 R2 | Staythorpe 400kV | 28%
BESW2 MC1 | Berkswell 275kV | 27%
BESW2 MC2 | Berkswell 275kV | 27%
BESW2 MC3 | Berkswell 275kV | 27%
BESW2 MC4 | Berkswell 275kV | 27%
BESW2 MC6 | Berkswell 275kV | 27%
DRAK4 M1 | Drakelow 400kV | 27%
DRAK4 M2 | Drakelow 400kV | 27%
DRAK4 M3 | Drakelow 400kV | 27%
DRAK4 R1/3 | Drakelow 400kV | 27%
DRAK4 R2 | Drakelow 400kV | 27%
HIGMB M1 | High Marnham-B 400kV | 27%
HIGMB M2 | High Marnham-B 400kV | 27%
HIGMB R1 | High Marnham-B 400kV | 27%
HIGMB R2 | High Marnham-B 400kV | 27%

## 29 - Staythorpe 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
STAY4 M2 | Staythorpe 400kV | 100% | Return to Menu
STAY4 R1 | Staythorpe 400kV | 100%
STAY4 R2 | Staythorpe 400kV | 100%
GREN4 M1 | Grendon 400kV | 63%
GREN4 M2 | Grendon 400kV | 63%
GREN4 R1 | Grendon 400kV | 63%
GREN4 R2 | Grendon 400kV | 63%
COTT4 M1 | Cottam 400kV | 61%
COTT4 M2 | Cottam 400kV | 61%
ENDE4 MC1 | Enderby 400kV | 55%
ENDE4 MC2 | Enderby 400kV | 55%
ENDE4 MC3 | Enderby 400kV | 55%
ENDE4 MC4 | Enderby 400kV | 55%
RYHA4 MC1 | Ryhall 400kV | 54%
MILL4 M1 | Millbrook 400kV | 52%
MILL4 R1 | Millbrook 400kV | 52%
RATS4 M1 | Ratcliffe-On-Soar 400kV | 50%
RATS4 M2 | Ratcliffe-On-Soar 400kV | 50%
RATS4 M3 | Ratcliffe-On-Soar 400kV | 50%
RATS4 M4 | Ratcliffe-On-Soar 400kV | 50%
RATS4 R1/2 | Ratcliffe-On-Soar 400kV | 50%
RATS4 R3/4 | Ratcliffe-On-Soar 400kV | 50%
STOB4 M1 | Stoke Bardolph 400kV | 50%
STOB4 R1 | Stoke Bardolph 400kV | 50%
WBUR4 R1/2 | West Burton 400kV | 50%
WBUR4 R3/4 | West Burton 400kV | 50%
EASO4 M1 | Eaton Socon 400kV | 49%
EASO4 M2 | Eaton Socon 400kV | 49%
EASO4 R1 | Eaton Socon 400kV | 49%
EASO4 R2 | Eaton Socon 400kV | 49%
HIGMB M1 | High Marnham-B 400kV | 49%
HIGMB M2 | High Marnham-B 400kV | 49%
HIGMB R1 | High Marnham-B 400kV | 49%
HIGMB R2 | High Marnham-B 400kV | 49%
COTT4 M3 | Cottam 400kV | 48%
COTT4 M4 | Cottam 400kV | 48%
COTT4 R1/2 | Cottam 400kV | 48%
COTT4 R3/4 | Cottam 400kV | 48%
ECLA4 M1 | East Claydon 400kV | 48%
ECLA4 M2 | East Claydon 400kV | 48%
ECLA4 R1 | East Claydon 400kV | 48%
ECLA4 R2 | East Claydon 400kV | 48%
AMEM4 M | Amersham Main 400kV | 47%
AMEM4 R | Amersham Main 400kV | 47%
SUND4 M1 | Sundon 400kV | 47%
SUND4 R1 | Sundon 400kV | 47%
BESW2 MC1 | Berkswell 275kV | 46%
BESW2 MC2 | Berkswell 275kV | 46%
BESW2 MC3 | Berkswell 275kV | 46%
BESW2 MC4 | Berkswell 275kV | 46%
BESW2 MC6 | Berkswell 275kV | 46%
COVE2 MC1 | Coventry 275kV | 46%
COVE2 MC2 | Coventry 275kV | 46%
COVE2 MC3 | Coventry 275kV | 46%
COVE2 MC4 | Coventry 275kV | 46%
SUND4 M2 | Sundon 400kV | 45%
SUND4 R2 | Sundon 400kV | 45%

## 30 - Patford Bridge 4B 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
PAFB4B | Patford Bridge 400kV | 100% | Return to Menu
PAFB4A | Patford Bridge 400kV | 54%
ENDE4 MC1 | Enderby 400kV | 54%
ENDE4 MC2 | Enderby 400kV | 54%
ENDE4 MC3 | Enderby 400kV | 54%
ENDE4 MC4 | Enderby 400kV | 54%
ECLA4 M1 | East Claydon 400kV | 53%
ECLA4 M2 | East Claydon 400kV | 53%
ECLA4 R1 | East Claydon 400kV | 53%
ECLA4 R2 | East Claydon 400kV | 53%
AMEM4 M | Amersham Main 400kV | 50%
AMEM4 R | Amersham Main 400kV | 49%

## 31 - Patford Bridge 4A 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
PAFB4A | Patford Bridge 400kV | 100% | Return to Menu
PAFB4B | Patford Bridge 400kV | 54%
ENDE4 MC1 | Enderby 400kV | 54%
ENDE4 MC2 | Enderby 400kV | 54%
ENDE4 MC3 | Enderby 400kV | 54%
ENDE4 MC4 | Enderby 400kV | 54%
ECLA4 M1 | East Claydon 400kV | 53%
ECLA4 M2 | East Claydon 400kV | 53%
ECLA4 R1 | East Claydon 400kV | 53%
ECLA4 R2 | East Claydon 400kV | 53%
AMEM4 M | Amersham Main 400kV | 50%
AMEM4 R | Amersham Main 400kV | 49%

## 32 - Amersham Main R 400kV (I)
Bus Bar Name | Substation Name | Effectiveness (%)
AMEM4 R | Amersham Main 400kV | 100% | Return to Menu
IVER2 M1 | Iver 275kV | 64%
IVER2 M2 | Iver 275kV | 64%
IVER2 R1 | Iver 275kV | 64%
IVER2 R2 | Iver 275kV | 60%
WATS2 MC2 | Watford South 275kV | 55%
WATS2 MC3 | Watford South 275kV | 55%
AMEM4 M | Amersham Main 400kV | 54%
ELST2 M2 | Elstree 275kV | 54%
ELST2 R2 | Elstree 275kV | 54%
ECLA4 M1 | East Claydon 400kV | 53%
ECLA4 M2 | East Claydon 400kV | 53%
ECLA4 R1 | East Claydon 400kV | 53%
ECLA4 R2 | East Claydon 400kV | 53%
WATS2 MC1 | Watford South 275kV | 52%
WATS2 MC4 | Watford South 275kV | 52%
ELST2 M1 | Elstree 275kV | 48%
ELST2 R1 | Elstree 275kV | 48%
WWEY2 R1 | West Weybridge 275kV | 46%
WWEY2 R2 | West Weybridge 275kV | 46%
EALI2 MC1 | Ealing 275kV | 43%
EALI2 MC2 | Ealing 275kV | 43%
EALI2 MC3 | Ealing 275kV | 43%
EALI2 MC4 | Ealing 275kV | 43%
LALE2 MC1 | Laleham 275kV | 43%
LALE2 MC2 | Laleham 275kV | 43%
LALE2 MC3 | Laleham 275kV | 43%
LALE2 MC4 | Laleham 275kV | 43%
PAFB4A | Patford Bridge 400kV | 43%
PAFB4B | Patford Bridge 400kV | 43%

## 33 - Amersham Main M 400kV
Bus Bar Name | Substation Name | Effectiveness (%)
AMEM4 M | Amersham Main 400kV | 100% | Return to Menu
IVER2 M1 | Iver 275kV | 58%
IVER2 M2 | Iver 275kV | 58%
IVER2 R1 | Iver 275kV | 58%
LALE2 MC1 | Laleham 275kV | 56%
LALE2 MC2 | Laleham 275kV | 56%
LALE2 MC3 | Laleham 275kV | 56%
LALE2 MC4 | Laleham 275kV | 56%
EALI2 MC1 | Ealing 275kV | 54%
EALI2 MC2 | Ealing 275kV | 54%
EALI2 MC3 | Ealing 275kV | 54%
EALI2 MC4 | Ealing 275kV | 54%
AMEM4 R | Amersham Main 400kV | 53%
ECLA4 M1 | East Claydon 400kV | 53%
ECLA4 M2 | East Claydon 400kV | 53%
ECLA4 R1 | East Claydon 400kV | 53%
ECLA4 R2 | East Claydon 400kV | 53%
IVER2 R2 | Iver 275kV | 45%
WWEY2 R1 | West Weybridge 275kV | 44%
WWEY2 R2 | West Weybridge 275kV | 44%
PAFB4A | Patford Bridge 400kV | 43%
PAFB4B | Patford Bridge 400kV | 43%
WISD2 M1 | Willesden 275kV | 43%
WISD2 M2 | Willesden 275kV | 43%
WISD2 R1 | Willesden 275kV | 43%
WISD2 R2 | Willesden 275kV | 43%
ELST2 M2 | Elstree 275kV | 42%
ELST2 R2 | Elstree 275kV | 42%
WATS2 MC2 | Watford South 275kV | 42%
WATS2 MC3 | Watford South 275kV | 42%
WATS2 MC1 | Watford South 275kV | 40%
WATS2 MC4 | Watford South 275kV | 40%