## Cover Sheet
Long-term 2029 Connections RAG Summary Outcome
This spreadsheet provides a summary outcome of the RAG analysis completed by each TO to inform the bay reservation decisions for the Long-term 2029 tender
This document is a supporting document to the Long-term 2029 Connections Requirements document, specifically Appendix 1.
The RAG Analysis was correct at the time it was conducted but it is subject to change as the connections background changes.
It should be noted the analysis was completed before the implementation of Connection Reform.

## NGET Sites
Substation | Summary RAG Outcome
Enderby 400kV | Red
EATON SOCON 400kV | Red
Sundon 400kV | Red
WYMONDLEY MAIN 400kV | Red
Grendon 400kV | Red
Penn 275kV | Red
Hams Hall 400kV | Red
Bishops Wood | Red
FECKENHAM 400kV | Red
Bustleholme 275kV | Red
Oldbury 275kV | Red
WILLINGTON EAST 400kV | Red
Ryhall 400kV | Red
STAYTHORPE 400kV | Red
Cottam 400kV | Red
High Marnham 400kV | Amber - Opportunity through new High Marnham Substation
Stoke Bardolph 400kV | Red
CELLARHEAD 400kV | Red
Feckenham 400kV | Red
kitwell 275kV | Red
Rugeley 400kV | Red
Ratcliffe On Soar | Red
Feckenham 275kV | Red
Walham 400kV | Red
Drakelow | Amber Opportunity to create a bay
Ironbridge 400kV | Red
Ocker Hill 275kV | Amber Opportunity to create a bay
Humber Refinery 400kV | Red
Grimsby West 400kV | Red
CREYKE BECK 400kV | Red
Keadby 400kV | Red
Killingholme 400kV | Red
SALTEND North 275kV | Red
South Humber Bank | Red
Thornton 400kV | Red
Birkenhead 275kV | Amber - Potential Opportunity in 2037.
Lister Drive 275kV | Red
Kirkby 275kV | Red
Norton 400kV | Red
Lackenby 400kV | Red
Greystones A/B 275kV | Amber - there is opportunity here through old power stations bays. May require refurb works.
CARRINGTON 400kV | Red
Skelton Grange 275kV | Red
Daines 400kV | Red
HEYSHAM 400kV | Red
Middleton 400kV | Red
Harker | Red
Hutton 400kV | Red
Macclesfield 400kV | Red
Monk Fryston 400kV | Red
Penwortham 400kV | Amber - Opportunity to create a bay
Fourstones 275kV | Red
Stella West 275kV | Red
Sheffield City 275kV | Red
BRINSWORTH 400kV | Red
BRINSWORTH 275kV | Red
Eggborough 400kV | Red
JORDANTHORPE 275kV | Red
CHESTERFIELD 400kV | Red
Pitsmoor 275kV | Red
Thurcroft 275kV | Red
Templeborough 275kV | Amber - Opportunity to create a bay
Aldwarke 275kV | Red
East Claydon 400kV | Red
Amersham 400kV | Red
Kemsley 400kV | Amber - Opportunity for a bay at new Kemsley 400kV Substation
Tilbury 275kV | Red
Tilbury 400kV | Red
Warley 275kV | Red
Iver 275kV | Red
Cantebury North 400kV | Red
Cleve Hill 400kV | Red
Sellindge A 400kV | Red
Sellindge B 400kV | Red
Richborough 400kV | Green - there is an opportunity here for reservation
Bramley 400kV | Red
Cowley 400kV | Red
Didcot 400kV | Red
Fleet 400kV | Red
Cilfynydd 400kV | Red
Imperial Park 400kV | Red
Iron Acton 275kV | Red
Minety 400kV | Red
Whitson 275kV | Red
Alverdiscott 400kV | Red
Axminster 400kV | Red
Chickerell 400kV | Red
Exeter Main 400kV | Red
Hinkley Point 400kV | Red
Indian Queens 400kv | Red
Langage 400kV | Red
Landulph 400kV | Green - there is an opportunity here for reservation
Melksham 400kV | Red
Seabank 400kV | Red
Taunton 400kV | Red
Sandford 400kV | Red
Bridgwater 275kV | Amber - There is an oppportunity for a bay at the New Woolavington 400kV Substation as an alternative to Bridgwater
Pont Abham 400kV | Red

## SSEN-T Sites
Substation | Summary RAG Outcome
Kintore 132kV | Potential spare bay opportunity - Details to be confirmed
Kintore 275kV | Red
Loch Buidhe 132kV | Red
Mybster 132kV | Red
New Deer 400kV | Red
Persley 275kV | Red
Peterhead 132kV | Red
Peterhead 400kV | Red
Spittal 275kV | Red
Spittal 400kV | Red
Thurso South 275kV | Red
Arbroath 132kV | Red
Brechin Grid 132kV | Red
Charleston 132kV | Red
Coupar Angus 132kV | Red
Milton of Craigie 132kV | Red
Tealing 132kV | Red
Tealing 275kV | Red
Dounreay 275kV | Red

## SPT Sites
Substation | Summary RAG Outcome
Blackhill 132kV | Red
New Cumnock 275kV | Red
New Cumnock 132kV | Red
Glenglass 132kV | Red