## Q4 Eligibility and Prequal
Company Name | Please provide any specific comments relating to the proposed Provider Eligibility, Registration and Prequalification process for the Slow Reserve service. | NESO Response
EDF Energy | We note the eligibility requirements and recognise NESO’s view on how long onboarding is likely to take. We will endeavour to commence the registration process at the earliest opportunity. | Thank you for the feedback.
Flexitricity Limited | 1. Flexitricity is supportive of the SMP solution and having a single platform for all Reserve and Response unit registration, prequalification and ongoing unit/asset management. 2. Flexitricity is supportive with OBP being utilised for BM and non-BM. We have previously made comments on the OBP implementation for non-BM units in the Quick Reserve service. There is a notable shift from the original plan to go live in January with the service, to the 15th October. As such this leaves a difficult decision for providers to assess importance of readiness for Slow Reserve and increases pressure to development resources during Q3. 3. We appreciate NESO's recent updates on the outlook of OBP. It is critical that NESO continues to provide accurate forecasts on OBP's progress as developing integration with these platforms requires resource from Providers which must be considered in workstream plans. Therefore, as much notice to changes being made to OBP and implementation for other services is key. 4. Flexitricity is pleased to see the reduction in minimum capacity to 1MW, which should lower barriers to entry to the service for a range of asset types. We note in NESO’s Demand Side Flexibility Routes to Markets Review Stage 3 publication (April 2025) that reducing minimum unit size below 1MW (B10.1) and introducing bids in decimals of whole MW (B10.2) are allocated for completion of options assessment by Q4 2025 and then communication of the next steps and roadmap in Q1 2026. We welcome this commitment, but would emphasise that we don’t want resolution of B10.1 and B10.2 to slow down the introduction of Slow Reserve with a 1MW minimum capacity for the time being. 5. Although the change from national aggregation in STOR to GSP aggregation in Slow Reserve is a change and could be seen as a limiting factor for much smaller, demand side flexibility assets, Flexitricity do not foresee any issues in our portfolio as the minimum unit capacity has been reduced to 1MW which aids aggregation of assets. | 1. Thank you for the feedback. 2. It has always been our plan to go live with the service from around October 2025 and we have not communicated a go live date of January 2026. There is no requirement to join the service on day 1, and while we want to make the service available as soon as possible for market participants to start earning revenue and deliver consumer value, we also accept that providers must make their own commercial decisions on when to enter new markets. 3. Thank you for the feedback and we appreciate the need for as much notice as possible. We will certainly keep this in mind for the future of all OBP communications. Thank you for your valuable feedback. We understand the importance of providing as much notice as possible and will make every effort to ensure timely and accurate communication regarding OBP updates. 4. Thank you for the feedback. The sub-MW work is separate to the roll-out of Slow Reserve and will only be introduced once it is available to appropriate services. It therefore has no impact on the delivery of the Slow Reserve service. Thank you for highlighting the reduction in minimum capacity to 1MW, which indeed should lower barriers to entry for various asset types. We are pleased to hear that this change is welcomed and recognised as a positive step. Ensuring that our services are accessible and inclusive is of great importance. We will continue to evaluate and address any barriers to entry, ensuring that our offerings are adaptable and beneficial to a diverse range of participants. The sub-MW work is separate from the roll-out of Slow Reserve and will only be introduced once it is available to appropriate services. We fully support the point that service delivery should not be slowed down in the meantime and we will introduce Slow Reserve with a 1MW minimum capacity continues without delay. We are fully committed to exploring options to enabling sub 1MW and non integer bids across our services, and will communicate how we expect this to happen across our services in Q1 2026, including on any future reforms to Slow Reserve. 5. Thank you for the feedback. We acknowledge that STOR historically allowed for national aggregation, however we have updated this for the new SR service to GSP group aggregation to ensure alignment acrss all our balancing services.
RWE | Provider Eligibility: This seems logical and in line with existing Reserve products. Registration & Prequalification process: This seems logical and in line with existing Reserve products. | Thank you for the positive feedback.
Drax Group plc | We believe the proposals are sensible. | Thank you for the positive feedback.
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | N/A | N/A
Sembcorp Energy UK | N/A | N/A
Octopus Energy | We support the processes set out above - we ask that NESO ensures these processes are widely communicated in order to allow providers to engage at an early stage. | Thank you for the positive feedback. We will be engaging with industry (webinar/drop-in sessions etc) to walk through all the onboarding steps as we move towards service 'go live'. See below helpful links: Eligiblity for the SR service is explained in the Slow Reserve Service and Procurement Design Proposal document https://www.neso.energy/document/360666/download Details for the SMP onboarding can be found on our website https://www.neso.energy/industry-information/balancing-services/single-markets-platform#Market-information Details for OBP and the Metering specifications can be found on our website under the 'IT Integration' tab on the SR webpage https://www.neso.energy/industry-information/balancing-services/reserve-services/slow-reserve#IT-Integrations Thanks for the positive feedback. We will be engaging with industry (webinar/drop-in sessions etc) to walk through all the onboarding steps as we move towards service 'go live'. See below helpful links: Eligiblity for the SR service is explained in the Slow Reserve Service and Procurement Design Proposal document https://www.neso.energy/document/360666/download Details for the SMP onboarding can be found on our website https://www.neso.energy/industry-information/balancing-services/single-markets-platform#Market-information Details for OBP and the Metering specifications can be found on our website under the 'IT Integration' tab on the SR webpage https://www.neso.energy/industry-information/balancing-services/reserve-services/slow-reserve#IT-Integrations
ADE: Demand | We support the proposed processes for provider eligibility, registration and prequalification. Our only concern is how can NESO ensure that these processes are clearly and widely communicated, so that more providers can engage early. | Thank you for the positive feedback. We will be engaging with industry (webinar/drop-in sessions etc) to walk through all the onboarding steps as we move towards service 'go live'. See below helpful links: Eligiblity for the SR service is explained in the Slow Reserve Service and Procurement Design Proposal document https://www.neso.energy/document/360666/download Details for the SMP onboarding can be found on our website https://www.neso.energy/industry-information/balancing-services/single-markets-platform#Market-information Details for OBP and the Metering specifications can be found on our website under the 'IT Integration' tab on the SR webpage https://www.neso.energy/industry-information/balancing-services/reserve-services/slow-reserve#IT-Integrations
Electricity North West Limited | No comments noted. | N/A
First Hydro Company | No comment. | N/A

## Q5 Utilisation and Dispatch
Company Name | Please provide any specific comments relating to the proposed Service Utilisation & Dispatch Mechanism for the Slow Reserve service. | NESO Response
EDF Energy | We are generally supportive of this approach, although there are some clarification points in relation to crossovers, which are included in our response to Q8. | Thank you for the feedback., your queries on crossovers have been addressed in question 8 we will also look to update our Crossover Guidance document where appropriate.
Flexitricity Limited | 1. Flexitricity is supportive of the use of EDT/EDL for BM providers and OBP for non-BM, noting comments above around timelines. 2. On the submission of Operational Data requirements for BM units, can NESO please clarify whether the provider is permitted to submit 1s granularity of data for the BM assets at all times or if this should be amended to 15s for Slow Reserve contracted periods? | 1. Thank you for the feedback. 2. The minimum requirement for SR Operational Metering is a 15 second or better granularity. However, a providers obligation to the BM would take precedence over the balancing service and therefore, in the scenario posed, the unit would need to continue to submit 1 second Operational Metering during any SR contracted period.
RWE | Please ensure that NBM providers are given enough time to onboard through to the OBP and for units to transition away from PAS system. | Our intention is to commence OBP/API onboarding as soon as possible ahead of the launch, these dates will be fully communicated once we have full details of system availability for unit provider testing, along with further guidance and support on the process. Details for OBP and the Metering specifications can be found on our website under the 'IT Integration' tab on the SR webpage https://www.neso.energy/industry-information/balancing-services/reserve-services/slow-reserve#IT-Integrations
Drax Group plc | The Slow Reserve Service and Procurement Design Proposal document published alongside the consultation states SR providers have up to 2 minutes to signal to NESO that they have received and accept the SR instruction. It is standard practice in the Balancing Mechanism (BM) to acknowledge NESO instructions, but there’s no explicit way to accept the instruction. We assume that Slow Reserve (SR) dispatch will not require additional IT functionality and will be consistent with the BM and other services, nonetheless we would welcome clarity from NESO on this point. | This requirement was specified as it applies to all units, both BM and non-BM. Since BM units already accept instructions within this timeframe as standard procedure, they do not need to change their existing processes. For non-BM units in OBP, the process is similar in that there will be a requirement for a unit to accept an instruction by the submission of a confirmation message via the API.
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | N/A | N/A
Sembcorp Energy UK | With regards to clauses 5.12 and 6.7, while we agree with the spirit behind these, we do not believe it is within the remit of NESO to determine what is “excessively” high or low pricing. We believe it is fair for NESO to refer such instances to the Authority as per 5.11.1 but that that there needs to be a clear and objective procedure for actions such as deregistering a unit or provider. | NESO acknowledges the absence of an industry standard or otherwise obvious definition of “excessive pricing”. However, it is not the assessment that the price is ‘excessive’ that constitutes the trigger to invoke the contractual remedies (including making a referral to Ofgem) – rather, the trigger is that the pricing has as its sole or primary purpose been submitted to discourage NESO from issuing an instruction NESO’s judgment that prices are ‘excessive’ will be treated as evidence of that. There is a step in the process whereby NESO shall request an explanation from the provider in reasonable detail of the rationale for such pricing, and on receipt of such explanation NESO will then make its judgement (acting reasonably) on the motivation behind the pricing. In seeking that explanation, NESO will be trying to assess if the prices are genuine in the sense of representing a real interest in being dispatched or instead appear designed to do the opposite by influencing NESO to dispatch a different unit. We have also included the right to refer to Ofgem where we conclude, after the above step, that the price was in our opinion 'excessive'. There are further steps we can take (deregistration) but we would see these as very much a last resort, and hope that this could be avoided by NESO working with providers to address any issues. We believe a clause which links to motivation behind price setting, rather than solely focusing on the numerical value of those prices, is appropriate in these circumstances. It should also be noted that Ofgem has already approved this clause in QR Phase 1 and we believe that these rules should be applied consistently across our new Balancing Services unless we see any significant reason why a particular service should in fact be different.
Octopus Energy | We support the proposed service utilisation and dispatch mechanism. | Thank you for the positive feedback.
ADE: Demand | We support the proposed Service Utilisation and Dispatch Mechanism. | Thank you for the positive feedback.
Electricity North West Limited | MW Offers in Utilisation Markets Draft market rules would not allow SR units to submit additional fully curtailable MWs in the optional market than those contracted in the fixed markets under any circumstances, even if this is available when NESO needs extra flexibility and would reduce costs for customers. NESO could consider a system where firm element would always remain firm and available for dispatch, but would also allow curtailable extra MWs to be offered by the same unit. This would allow NESO to dispatch either just the MWs contracted in the firm market or a higher level if preferable for system conditions. Under some circumstances CLASS units may need to conservatively estimate MWs at the day ahead stage in the firm market to ensure delivery (as external factors such as weather patterns can change load on the network and therefore CLASS response) and could therefore have additional MWs that could be committed on the day in optional markets. Similar scenarios are likely for other dispersed demand reduction or generation assets, so current draft rules that only allow the unit to submit the exact firm contract amount (even when more capacity is available and would be useful to NESO) could discourage development of capacity in these developing technologies too. CLASS and other demand reduction/dispersed generation units could be under-utilised, and NESO would potentially not be able to dispatch all possible flexibility (or the cheapest generation potentially available). It is suggested the following step is taken to avoid this in line with previous slow reserve feedback: • Allow SR units to offer additional fully curtailable optional MWs above firm contract MWs | Under the current non-BM dispatch system, providers can only submit a single declaration at any one time for each balancing service and can only be issued one dispatch for that balancing service at any one time and for the full MW declared. Therefore, such a proposal to allow stacking of Firm and Optional services would require significant IT changes. We appreciate the feedback on this proposal and the potential additional flexibility this may offer and we are happy to look at this as a future enhancement to the existing non-BM dispatch systems. To clarify, for consistency across reserve services, we have replicated the non-BM dispatch requirements of the recently approved QR service. Therefore, where a SR unit has been awarded a contract under the Firm Service, then they must submit a MW value that matches that contract via their Mandatory Availability Declaration. Where additional available MW are declared, the unit would not have its declaration rejected, and the unit may still be dispatched but would forfeit their availability payment for that Settlement Period. Beyond the maximum prequalified MW level, there are no restrictions on the MW a unit can declare for the Optional service (where no firm contract has been awarded). Additionally, providers with aggregated units can also consider if splitting their assets across more than one unit would allow for access to this additional capacity across the firm and optional services.
First Hydro Company | No comment | N/A

## Q6 Design Parameters
Company Name | Please provide any specific comments relating to the proposed Slow Reserve Service Design Parameters including rules for Ramping, Time to Full Delivery, Cease Time, Activation Periods, Recovery Period, and Ramp Rates for Baselines for energy limited assets. | NESO Response
EDF Energy | Will units need to provide bespoke contractual cease times etc, or will all units be measured against the same parameters? Presumably providers will require to sign up to new contracts to provide the SR service? A further presumption is that the generic cease time parameters etc will be included within the terms of the SR contract? Clarification would be appreciated. At the foot of page 14 of the Service Design Document, reference is made to alignment with “the Dynamic Response services which state a Maximum Ramp Rate of 5% of the contracted MW/minute”. Our understanding is that this 5% rate is no longer current. Can NESO please confirm? The ramping rates mentioned are still slightly confusing. We would welcome confirmation of the following (our understanding) please, which is assisted by the graphs on p19 and p20: • All units with a Notice to Start Ramping of ≤10 minutes have no ramp rate restrictions and can move to their contracted capacity at their own rate, provided it is within the required 15 minutes to full delivery. To be clear, this includes instantaneously delivering the full contracted level of MWs if desired and able to do so. • Units with a Notice to Start Ramping of >10 minutes must restrict their ramp rates to the level of their contracted capacity per minute (so a unit with a 20MW contract cannot ramp any faster than 20MW/minute). Units that cannot ramp linearly can only change output by 50% of contracted capacity in any 30 second period. Is this correct? | Through the pre-qualification process (as explained in the SR Procurement Rules at Schedule 2) providers must register their assets with their specific parameters, which include things like the Cease Time. They then asign asset/s to a SR unit and agree to comply with the SR Service Terms and Procurement Rules, with the SR unit also confirming its parameters, which must meet the requirements of the service if they are to be eligible for the service. You are correct. Both the QR and SR services are aligned with the Response markets, in that there is no requirement for any limitation on Ramp Rates for Baselines. Yes, this ramping restriction is correct. Any unit that has a total notice period of ≤10 minutes can ramp unrestricted to its instructed volume. If, however, the unit has a total notice period of > 10 minutes, then the max ramping rules apply as stated. Following informal consultation feedback, the maximum ramping requirement was revised to apply only to units with a notice period greater than 10 minutes. This change was made to avoid placing unnecessary restrictions on faster-acting units, which potentially limits their ability to participate in the market. By updating this rule, we believe this allows the greatest balance between broad market participation and maintaining system security
Flexitricity Limited | 1. Flexitricity is supportive of both a Time to full delivery of 15-minutes and a Notice to Start Ramping of up to 14-minutes from instruction. This opens a route to market to a variety of flexible energy assets which are well suited to provide this form of reserve to the system operator. 2. We note a discrepancy between the removal of maximum ramp rates in frequency response services, Quick Reserve and the proposed introduction of maximum ramp rates for assets capable of instantaneous ramping in Slow Reserve. There are asset types that would not technically be capable of the ramp envelopes proposed, including large industrial and commercial load assets. Whilst Static FFR is better suited for these assets, some cannot respond in the time required, making Slow Reserve (SR) a better fit for these asset types. | 1. Thank you for the positive feedback 2. The Response, Quick Reserve and Slow Reserve services have key differences in their designs directly related to their application. The Response and Quick Reserve services are very fast acting, designed to respond in very short timeframes; It is therefore necessary that they are allowed to ramp very quickly. Slow Reserve, on the other hand, does not have this same requirement, and is required to bring the frequency back to within operational limits within 15 minutes. The speed of ramping is therefore much more relaxed and, because of the volumes involved, needs careful consideration on when and how they are dispatched. NESO have introduced a maximum ramp rate: "For those units with a Notice to Start Ramping period of >10 minutes, the maximum ramp rate limit is set at ≤100% contracted capacity per minute. For instantaneous ramping (for units than cannot ramp up linearly), the unit cannot deliver more than 50% of the contracted capacity in any 30-second period." This requirement is designed to minimize the risk of a secondary frequency event following large-scale activations. In a post-fault scenario, it is reasonable to assume a significant proportion of the ~1,800 MW Slow Reserve volume could be dispatched. If this capacity were to ramp simultaneously and without constraint, the resulting rapid change in combined output could lead to an over-correction in system frequency. Units with shorter notice periods (i.e., less than 10 minutes) allow for more flexible dispatch control and OBP can stagger these activations across the 15-minute delivery window, smoothing the aggregate ramp. However, units with longer notice periods provide less of this flexibility, and if they are capable of ramping quickly once initiated, they could deliver in close succession. The above stated ramp rate restriction ensures a more gradual aggregate response from these units, reducing the risk of sudden system imbalances.
RWE | We recognise that Response Time has a different meaning in the Slow Reserve terms (time to contracted MW level) as it does in the Balancing Reserve terms (time to start ramping). For two co-optimised Reserve products, where providers could in theory be providing both services on multiple different occasions throughout a Service Day; it would seem odd to have this disparity. Is this intentional? The definition of Response Time refers to the time to reach the volume instructed by the BOA – this should be the MW Level – the BOA volume would only be known once the BOA had ceased. | We are proposing to make a change to the BR definition to align with the other reserve services. This is being proposed as part of the current BR Article 18 consultation. To clarify the definition. the volume instructed by the BOA is further explained in the Service Instruction section 8 of the Service Terms by reference to the Contracted Quantity - being the MW value contracted through the daily auction. However we will take this away and review across all reserve services and add further clarification to the definition if required consistently to all Service Terms at a future time.
Drax Group plc | We are comfortable with the design parameters. | Thank you for the positive feedback
Tesla | Would like to confirm that ramp rate rules will not be re-introduced for fast/flexible assets. And that NESO has the option to add ramp-rate constraints for SR and DFR if they want to, but there is no plan for the ramp-rate constraints to be reintroduced. | Both QR and SR services are aligned with the Response markets, meaning no ramp rate limitations are required for baselines. NESO will continue to monitor ramp rates and assess any future limitations in the Response Market for their relevance to QR and SR.
Sembcorp Energy UK | N/A | N/A
Octopus Energy | Ramp Rates We would welcome clarification on the proposed maximum ramp rate of 5% per minute for energy-limited assets. In practice, demand response assets are likely to be capable of ramping within 10 minutes, so this requirement may not significantly constrain participation. However, we are unclear on the rationale for capping ramp rates at this level, particularly as the requirement appears to apply only to longer-notice units. Slower ramps seem counterintuitive when faster responses typically deliver greater system value. If the intent is to mitigate rebound effects or system oscillations, it would be helpful to understand that reasoning in more detail. As it stands, the 5% requirement may require participants to artificially slow their response, which could introduce unnecessary complexity and inefficiency. We would welcome further explanation of the intended system benefits and whether a more flexible approach to ramp rates could better support efficient participation from demand-side assets. | Both the QR and SR services are aligned with the Response markets, in that there is no requirement for any limitation on Ramp Rates for Baselines. The ramp rate limitation (for units with a >10 min notice period) relates to a unit's ramping to and from instruction. So, if a unit has a greater than 10-minute total Notice period, then the maximum ramp rates apply - i.e. that unit cannot deliver >100% contracted capacity per minute, with no instantaneous ramping >50% contracted capacity per 30s period. This is to avoid a situation where a large volume of Slow Reserve with 14 minutes notice ramps instantaneously and causes a frequency risk. Units with lower notice can be staggered in their dispatch to avoid this situation, which is why this cap applies only to longer notice units.
ADE: Demand | We agree with the proposed parameters. | Thank you for the positive feedback
Electricity North West Limited | ENWL welcome the changes proposed from the previous draft for ramp rates in Slow Reserve and appreciate our feedback being acted upon on this point. The new proposals have significant associated benefits compared to the previous version and are likely to result in lower prices for customers. Minimum Activation Length It is unclear why market rules do not allow a minimum activation length of one hour instead of two hours, as two providers dispatched for one hour would have the same effect as one provider being dispatched for two hours. We are confident that CLASS can be developed to allow participation with a minimum two-hour capacity, but it will involve very significant new IT system development for ENWL and may also mean capacity available to be dispatched is halved. If capacity has to be reduced this will have a huge cost for customers and it could also mean other low cost zero/low carbon providers would not be considered. See point 2 in the summary table below. | Thank you for the positive feedback. For clarification, the Minimum Activation Period (MAP) for Slow Reserve is set at up to 30 minutes. The MAP represents a units’ minimum run time and includes all ramping periods. What is being questioned here is the Service Window Block (or Service Window), which is 2 hours - as a minimum - for the firm service, and the requirement around Energy, which states that all providers must be able to deliver their contracted volume for the full contracted period. NESO require this commitment from firm Slow Reserve units such that, in the event of a largest loss, Control Room engineers have enough time to organise and schedule alternative actions. There is a balance between allowing the maximum possible participation of units through shorter windows and the greatest possible system security through longer windows. NESO have chosen this flexible 2 hour + approach as it represents the best compromise between the above. Shorter windows will only act to increase Control Room actions, lower system security and service utility, and potentially increase procurement costs. Should commitment in the day-ahead market prove difficult for certain technologies – given such uncertainty in output at the day-ahead stage – providers may choose to participate in the SR service via the Optional market. Declarations of availability are required by 1-hour ahead of each relevant Settlement Period (i.e. gate closure) with no minimum Service Window Block (or Service Window) requirement. That is to say, a provider only needs to offer its volume in 30-minute Settlement Periods blocks.
| Non-equal market set up for Non-BM Units Units that can compete in the BM can be dispatched based on system need whether or not they fit optional market criteria for specific markets such as Slow or Quick Reserve. If that treatment was applied for non-BM units it would allow the development/use of a large amount of low cost zero/low carbon non-BM capacity. This could save GB customer hundreds of millions of pounds as reflected in previous Ofgem commissioned reports1, increase system security (as more flexibility would be available for dispatch) and facilitate the achievement of key CP30 objectives. DNOs are not able to register BM units under current regulations as previously highlighted to NESO. A non-BM version of the BM (effectively combining the markets and allowing non-BM units to compete on a level playing field with BM units) could provide much more commercial security if this standard market approach was taken, removing the risk that non-BM units could easily be stranded as NESO regularly change markets available for non-BM. It would very significantly increase invest-ability in key low cost zero/low carbon technologies, which in turn is likely to result in the development of significant additional low cost flexibility to the benefit of customers and CP30 objectives. If this approach was taken NESO control engineers/algorithmic semi-automated dispatch systems could then pick the lowest cost units to meet system need. NESO could still publish analysis on the types of response it needs to guide investment to useful provision for NESO/system need. See point 2 in the summary table below. NESO has recently repeated its strategic aim to reduce the barriers and pain points for flexibility providers and for demand reduction providers specifically. The draft criteria published for Slow Reserve and Quick Reserve very significantly increase the barriers for these providers instead of reducing them, compared to current arrangements. We therefore recommend keeping the current OFR market open until June 2026 at least to avoid stranding units while units make the huge changes required to meet the additional barriers and pain points. | NESO created non-BM markets to allow additional volume to participate in it's services addressing key operational needs as a way to increase consumer value through additional competition. It does not make sense to create a non-BM version of the BM and run duplicate markets and systems for the same operational need, when the rules of the BM can be reformed to increase participation. We especially do not want to undermine the rules of the BM such that assets leave the main balancing market to particpate in non-BM markets (underming the efficiency through competition goal) and also recognise that any BM equivalent would likely mean aligning the rules with the BM to the extent that is possible (adding further barriers compared with the requirements needed on a service by service basis). We have requested confirmation of the exact rules governing participation of CLASS assets in the BM in order to understand if there are any restrictions and whether such restrictions could be lifted through code modifications, or indeed, should be extended to cover Balancing Services. We look forward to receiving this from you.
First Hydro Company | No comment | N/A

## Q7 Metering
Company Name | Please provide any specific comments relating to the proposed Slow Reserve Metering including Operational Metering and Performance Metering. | NESO Response
EDF Energy | We have no comment to make on this. | N/A
Flexitricity Limited | 1. Flexitricity welcomes NESO’s positioning in the setting of the metering sample rate at 15 seconds. The proposed requirement is significantly faster than for STOR, providing additional assurance to NESO. Flexitricity has always understood Slow Reserve to be a replacement product for STOR. To that end, the change will require development work to retrofit previous STOR assets to be able to participate in the new service. It remains an achievable metering sample rate for this pool of assets when compared to the previous proposal of 1 second and allows for an appropriate balance between increasing competition and providing sufficient visibility of metering. We appreciate NESOs cooperation with industry to adjust what would have been an unnecessarily high barrier to participation. 2. We have concerns that non-BM assets transferring from STOR to Slow Reserve now face additional data submission requirements. Whilst NESO has relaxed these requirements since the January 2025 survey, it is noted that a unit providing the minimum 2-hour contract for SR will still be required to submit operational metering for the full-service day, i.e. the remaining 22 hours not in contract. This is a reduction from the previous requirement of 24/7/365 operational metering for non-BM assets, but is still a step change from STOR, particularly for demand side flexibility assets which have traditionally participated only in STOR and, perhaps, the Capacity Market. We question whether the data load associated with uncontracted assets serves a valid purpose for NESO. 3. To our understanding BM providers which also hold non-BM units do not require to go via OBP. Should this indeed apply, the additional development work represented by this task should be accounted for. | 1. Thanks for the positive feedback. 2. Where a unit holds a contract for an operational day (23:00-23:00), then the provider must submit Operational Metering and Operational Baselines for that entire operational day. This requirement applies to both BM and non-BM participants. NESO have implemented these requirements to better align with the BM, aiming to reduce disparity between the two markets. We seek Operational Baselines and Metering for the entire day, if contracted, to assists NESO in better forecasting generation and demand, even if these forecasts are indicative, helping to promote greater market transparency and operational visibility. These submissions should always be an accurate representation of the unit's expected output and updated, where appropriate, up to 1-hour ahead of the relevant Settlement Period (gate closure). The above will allow more efficient balancing decisions as more of the market will be required to centrally submit their running profiles ahead of time, reducing a current pain point, along with allowing for greater performance monitoring capabilities. It also allows better understanding of how NESO dispatches affect the running profiles of units outside of a contracted period. BM units already provide day-ahead forecasts, representing the best available prediction of a unit's output at the time, and can be updated any time up to gate closure. NESO intend to propose the introduction of 24/7 Operational Metering and Operational Baselines submissions as a future requiremnet for all prequalified units (BM and non-BM), in line with recent proposals for Response products. Details are still to be finalised and we will engage with industry through the formal article 18 consultation process. It should be noted that the metering requirement is set at the unit level, not at the individual asset level. Therefore, providers may aggregate multiple underlying assets into a single unit and submit metering data that accurately reflects the aggregate performance of that unit. 3. For providers with both BM and non-BM units they should continue to use the EDT/EDL route for their BM units, and non-BM units must use the new OBP route.
RWE | This is a reasonable approach. | Thanks for the positive feedback.
Drax Group plc | There are additional nuances and complications with different assets and metering configurations, but on the face of it we believe that requiring metering data at 0.0667 Hz once every 15 seconds at a latency of no more than 5 seconds is too onerous. It’s likely to exclude some existing BM Short Term Operating Reserve (STOR) providers as well as the majority of non-BM DSR (Demand Side Response). Meeting such requirements could require significant investment and represents a blocker to Slow Reserve market access. Given the ‘slow’ nature of the service and the 15-minute ramping requirement, we are not clear why such granularity of metering is required. We urge the NESO to reconsider this and relax its metering proposals to be more in line with standard BM requirements. | The operational metering requirement for Slow Reserve is set at a minimum once per 15s (0.0667 Hz), with a latency no greater than 5 seconds. This not only aligns with the “slow” nature of the service but is also crucial for accurately monitoring the most onerous requirement- the maximum allowable ramp rate, which must not exceed 50% of the total contracted volume over any 30s period (for assets with a >10 minute notice period). To accurately monitor this requirement, NESO require 2x samples per 30s period, which equates to once every 15s. This requirement also aligns with the Time to Full Delivery (TTFD) standards for NESO’s newly introduced Quick and Slow Reserve services, which is once per second for every minute of ramping. The Quick Reserve service requires metering every 1-second at minimum, reflecting a 1-minute TTFD and the Slow Reserve service proposes metering every 15 seconds at minimum, reflecting a 15-minute TTFD. A 5s latency is also required for situational awareness. NESO must be able to correlate the output of a unit (in relation to an instruction) to any change in frequency. As the Slow Reserve service is open to many technology types – some very fast-acting and/or very large – then it is essential that the aggregated operational metering feed to NESO is accurate and best reflects a unit's immediate output. While NESO acknowledge that these requirements may present greater challenges for certain technology types, we believe they represent a well-balanced compromise between market feasibility and the operational needs of the Control Room. NESO notes that the typical BM requirement is 1s metering, apart from a derogation for up to 300MW of up to 60s metering. It is also worth notiing that the metering NESO requires is specified at the unit level, and it is the provider responsibility to be able to meet that standard. It is therefore possible with staggered polling and a large enough group of assets to achieve the required accuracy and latency with assets that have less granular metering, and so we are specifying the portfolio required accuracy and latancy here.
SSE Renewables & SSE Thermal | We do not agree with the requirement for Performance Metering. This requirement is onerous for conventional generating units, like non pumped storage hydro units, that can’t participate in other day ahead service like Dx and QR. These units have participated in the BM for the last 20 years with existing settlement and operational metering. NESO state the reason for the requirement is to monitor ramping of faster units. Could the performance metering requirement be relaxed for units ramping more slowly? The existing STOR service does not require Performance Metering. | The existing STOR service does require performance metering for non-BM units. The new requirement for Performance Metering for BM and non-BM NESO are proposing will provide consistant assessment across unit types, align with the requirements for Quick Reserve and reflect the faster-acting and more dynamic nature of the SR service, requiring a higher level of operational visibility to ensure effective system management and compliance. The real-time operational metering submitted by BM units includes an unpredictable amount of latency. Therefore, for accurate performance monitoring, we still require providers to submit post-event performance data as captured locally.
Tesla | N/A | N/A
Sembcorp Energy UK | N/A | N/A
Octopus Energy | 1. We are concerned and disappointed to see the metering requirements proposed by NESO. These requirements risk creating a significant barrier to entry for demand side response assets, especially those operated within aggregated portfolios, by imposing technical and commercial burdens that are disproportionate to the scale and nature of demand-side flexibility. NESO’s own ‘Routes to Market Review’ recognises that these metering standards are incompatible with domestic flexibility using SMETS2, CAD, CVSC regs, or COP11-compliant meters, all of which are critical enablers of cost-effective consumer participation. 2. We would particularly welcome clarification on two key points: 2.1. Latency: A 5-second latency requirement will be very challenging for many domestic and smaller non-domestic assets. This latency standard would necessitate bespoke communication infrastructure, significantly increasing costs without clear evidence of system benefit, particularly for a slower product like Slow Reserve. We urge NESO to consider whether such stringent latency is proportionate for this service. 2.2. Portfolio accuracy: The treatment of aggregated portfolios is also unclear. While individual device accuracy is specified, there is little detail on how this will be applied or assessed at the portfolio level. For example, how will accuracy be evaluated across an aggregated response, where individual variability may cancel out at the group level? We encourage NESO to define how accuracy will be treated for portfolios, and ensure that requirements are appropriate for aggregated assets rather than designed around individual large units. | The metering NESO requires is specified at the NESO unit level, and it is the provider responsibility to be able to meet that standard. It is possible with staggered polling and a large enough group of assets to achieve the required accuracy and latency with assets that have less granular metering, and so we are specifying the portfolio required accuracy and latancy here. We hope this clarification reduces the burden of our requirements on latency and granularity by not being at an asset level - noting that accuracy is also set at the NESO unit level to take advantage of randomised error able to reduce over a large sample of individual assets.
| We recommend: - Relaxing the metering requirement to 1-minute resolution, in line with the existing STOR product. This would align with common capabilities across domestic assets and strike a better balance between system visibility and participant accessibility. - Relaxing the latency requirement to 30-60 seconds, as this can be achieved far more cost effectively using standard database-driven methods. It is also important to point out that the requirement for data submission outside of contracted delivery windows, introduces a new barrier for Non-BMUS and will likely significantly reduce their participation in the Slow Reserve Market. International approaches, such as Elia’s mFRR service in Belgium, demonstrate that lower-frequency metering can still enable effective system balancing. Elia uses 15-minute energy data with predefined delivery profiles, showing that it's possible to ensure reliable delivery without burdensome metering standards. To unlock the full potential of consumer-led and aggregated flexibility, we urge NESO to revisit these metering proposals. | The metering requirement for Slow Reserve reflects the need to adapt to the evolving operational characteristics of the service, which differs from STOR - recognising that STOR will no longer be appropriate for the increasingly volatile power system. As a faster-acting and more dynamic service, Slow Reserve requires a higher level of operational visibility to ensure effective system management and compliance. A key driver for this update is the System Operator Guidelines (SOGL) — a component of European network codes. These guidelines highlight the importance of data accuracy and responsiveness for balancing services, particularly those with faster response times. The Operational and Performance metering requirement is the result of a considered compromise: it provides sufficient operational data to enable secure, real-time system operation, whilst remaining proportionate to the capabilities of industry. The introduction of a maximum ramp rate — a safeguard designed to protect the system — would be ineffective without an appropriate metering standard in which to accurately measure and enforce it. The European network has very different needs to the GB network due to the ability for individual system operators to rely on the size of the system and AC interconnection with other TSOs to mitigate frequency risks.
ADE: Demand | While ADE: Demand is pleased to see the relaxation of operational metering requirements to 15s, we still believe that will exclude a large proportion of technologies from taking part in Slow Reserve. We are supportive of other Slow Reserve design parameters, such as those that differ from STOR including the introduction of negative slow reserve and the reduction in the minimum capacity to 1MW but continue to believe that the ability process and dispatch sub-1MW and non-integer bids must be accelerated. | Thanks for the feedback. While NESO acknowledge that these requirements may present greater challenges for certain technology types, we believe they represent a well-balanced compromise between market feasibility and the operational needs of the Control Room. The sub-1MW dispatch work is an ongoing piece that has much wider implications than just QR or SR. NESO appreciate the value this work has to industry participants and will continue to update industry on it's progress where appropriate.
Electricity North West Limited | Operational and Performance Metering Frequency NESO is proposing to co-optimise Slow Reserve and Quick Reserve but not allow the same operational and performance metering frequencies for the two markets (every 1s for QR and every 15s for SR). This would mean a system would need to change operational and performance metering frequency based on which market it’s in, increasing the barriers to co-optimisation significantly. It is suggested that operational and performance metering requirements are amended for SR to allow metering frequency to be either every 15s or every 1s (1s aligns with QR requirements). | Providers are allowed to submit their Operational and Performance metering data at a higher granularity that the stated minimum requirement, which is once per 15s. If providers wish to participate across both the QR and SR services, then it is perfectly acceptable for providers to submit their data at a 1Hz granularity. As already stated in the published SR design document: “Providers must deliver metering data with a minimum granularity of no less than once every 15s at a latency of no more than 5s. This is inclusive of BM and NBM providers. Providers may submit at a higher granularity (i.e., 1Hz) should they wish.”
| Also as noted across previous ENWL responses although high level principles have been agreed for system development purposes (outlined in the email to NESO on 30/1/25 with agreementmade in the recorded meeting on 30/1/25), NESO have not published draft detail to be consulted on for how operational metering and performance measurement requirements are to be applied for CLASS or other demand reduction providers. As standard measurement approaches for traditional providers cannot be applied for demand reduction providers such as CLASS, specific guidance is required for demand reduction providers. After the consultations NESO has noted that they would like ENWL to propose the detail on how NESO’s draft requirements could be applied to demand reduction. In future consultations it would be preferable for this to work in a different way to ensure the process is fair with draft requirements already drafted to be consulted on for all major existing technologies in the balancing services markets that NESO has noted as priority development areas. | We are clear on the operational and performance metering requirements and we have published these on our website, but we acknowledge there are some technology types that need to work with us to agree on how to meet these requirements. As you mention in your feedback, we have engaged directly with ENWL and agreed the principle of how you would derive your Operational and Performance Metering values in order to meet our published requirements and we await your fully documented proposal of your method for complying with the requirements. It is not possible for NESO to develop bespoke guidance to cover every type of technology and see the open and collaberative approach as a more appropriate way to include all technology types recognising the expertise that providers will have with their own asset capabilities. Throughout the development of the new reserve services we have offered 1-2-1 sessions with any provider that wishes to discuss the metering data requirements on their specific technology and we continue to offer this as the new services are embedded.
First Hydro Company | The consistency with the QR requirements is useful. | Thank you for your feedback and acknowledgement that QR consistency is usful to you.

## Q8 Provider Availability
Company Name | Please provide any specific comments relating to the proposed Slow Reserve Provider Availability, including Baselining, Energy Requirements, Crossovers, Aggregation and Availability Declarations. | NESO Response
EDF Energy | We are generally comfortable with most of these elements, although we have some clarification requests in relation to Crossovers: 1. Is it possible to submit a positive FPN in a period immediately following the SR Window or would this be in violation of the crossover rules within the SR contract? From our review of the Service Terms, it would appear that this would be a violation, but this seems somewhat onerous. 2. If an outage is scheduled to start at 21:00, can an SR contract be entered into for the period 19:00-21:00 and then MEL to zero with effect from 21:00 or will this be in breach? 3. For a unit with a 30 minute MAP/MNZT, is NESO expecting 2 hours and 29 minutes of availability whilst only paying for 2 hours? | 1. A positive FPN is acceptable, provided there is sufficient headroom/footroom to demonstrate capability to adhere with crossover requirements 2. In order to comply with the requirements, units need to be able to continue (to their MAP) into the period immediately after a contracted period. Therefore, in this example, you would need to contract from 18:30 to 20:30 (4 contiguous periods). 3. NESO requires that a unit is availble for any and all contracted period. There is also the additional requirement that a unit is able to run up to its MAP into any immediately subsequent uncontracted settlement periods. In this case, a unit is required to be able to run, as part of a crossover instruction, for 29 minutes in addition to the full 2 hours it was contracted, if instucted 1 min before the end of a contracted period. The unit will receive Availabliity payments for all contracted periods (where deemed available for the service through perf monitoring) and paid for any utilisation within this period, plus any subsequent crossover period utilisation. Providers are allowed to price their energy appropriately for any potential crossover period, but not with intent to disuade from instruction. Without crossovers, NESO would be unable to instruct in the final settlement period the unit was contracted for, and so would pay for 2 hours of availablity but only receive an hour and an half.
Flexitricity Limited | As these remain consistent with the current requirements for BM participation we have no comments on the proposal. In question 4 and 5 above we note our concern for additional submission requirements for non-BM assets, such as operational baseline and availability declarations submission. | Thanks for the feedback.
RWE | No comments. | N/A
Drax Group plc | We understand that in order to ensure the service is effective and provides NESO with the relevant data to operate the electricity network, the proposed operational data is being required from non-BM providers during the service windows. However, we do not understand why non-BM providers are required to submit PN’s for the whole day, outside of service windows. Whilst we understand the NESO is not proposing penalties, providing accurate PNs outside of the service windows will be challenging, particularly where the DSR provider doesn’t have direct control of the site/asset. We would welcome clarity from the NESO on why this requirement is important to them. | Where a unit holds a contract for an operational day (23:00-23:00), then the provider must submit Operational Metering and Operational Baselines for that entire operational day. This requirement applies to both BM and non-BM participants. NESO have implemented these requirements to better align with the BM, thereby aiming to reduce disparity between the two markets. We seek Operational Baselines and Metering for the entire day, if contracted, to assist NESO in better forecasting generation and demand, even if these forecasts are indicative, helping to promote greater market transparency and operational visibility. The above will allow more efficient balancing decisions as more of the market will be required to centrally submit their running profiles ahead of time, reducing a current pain point, along with allowing for greater performance monitoring capabilities. It will also show the effect of NESO dispatches on running profiles outside of contracted periods, for example any rebound effect. BM units already provide day-ahead forecasts, representing the best available prediction of a unit's output at the time, and can be updated any time up to gate closure. NESO intend to propose the introduction of 24/7 Operational Metering and Operational Baselines submissions as a future requirement for all prequalified units (BM and non-BM), in line with recent proposals for Response products. Details are still to be finalised and industry will be engaged through the formal EBR Article 18 consultation process. Requiring day-ahead PNs encorporates non-BM assets into NESOs strategic planning cycle, improving the transparency and accuracy of NESOs national demand projections. As the volume of demand-side flexibility is expected to increase dramatically by 2030, NESO must be able to account for this volume through consistent system margin assessments, reserve setting and dispatch risk considerations from both markets. These PNs are to be provided at the unit level, which should allow the maximum participation from all technology types, as assets may be aggregated by GSP group. PNs at the unit level ensure all participants are visible to NESO in advance, and would allow all units to jump seamlessley between markets. This also supports NESOs drive to a more data-driven control room, where decisions can be informed by a more comprehensive visibility of all participating assets, not just those in the BM. A unit which provides day-ahead forecasts of it's output can be more easily scheduled and reprioritised, if required. This therefore allows demand-side flexibility to participate in the markets with greater operational visibility, allowing for more informed decision making, whilst avoiding the introduction of the somewhat more onerous requirements necessary to join the BM. This is an essential step towards NESO operating a secure, cost-effective and further decarbonised system as non-BM flexibility increases.
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | N/A | N/A
Sembcorp Energy UK | N/A | N/A
Octopus Energy | We welcome NESO’s intention to ensure that Slow Reserve resources are genuinely available and a reliable system tool. However, we are concerned that the proposed approach to availability penalties, particularly the “all or nothing” forfeiture of the Availability Payment, may be unduly harsh, especially for smaller or aggregated assets. In particular, the full loss of the Availability Payment in cases where a unit is marginally short of its contracted headroom or foot-room could create disproportionate risk for providers, especially those managing portfolios of small, distributed assets. Small forecasting or operational variances could lead to complete forfeiture, even if the majority of the commitment is met. We would welcome clarification on whether more proportionate, graduated penalties could be considered. For example, a sliding scale based on the extent of under-availability could preserve strong incentives for accuracy and readiness while recognising the inherent variability in distributed asset portfolios. Overall, we support the principle of rewarding genuine availability and delivery, but encourage NESO to adopt a more balanced and proportionate approach to enforcement, particularly in light of the goal to broaden participation and reduce barriers for flexible, distributed assets. In terms of Crossovers - we have some concerns that the proposed rules might make it harder to stack different balancing services across adjacent Settlement Periods. This could reduce flexibility for providers and limit efficient use of assets. We’d like to understand whether NESO has considered the impact on service stacking, and whether a more flexible approach, like that used for Quick Reserve, could be applied here? | NESO believes that it has set out a broad enough operational tolerance (95%-120%) for instructed volumes in the cases where delivered volumes do not quite match the providers best view of availability upon instruction. Further allowing under-delivery through the use of graduated penalties undermines the purpose and reliability of the service from a Control Room and system security perspective, as providers are not incentivised to consistently meet the standards of the service, ultimately undermining the confidence in it's use and potentially increasing costs through the purchase of additional volume to offset any uncertainty in delivery. Penalities, where applicable, would only be applied to the individual 30 minute contract period and not to the entire contracted block (4 or more contiguous contracted periods), whereas under the STOR service a single breach during the 2 hour + contract period would result in payment being withheld for the entire contract period. Slow reserve is designed to recover the system following a large fault, and units shortfalling against their contracted position risks system security in the event of dispatch. NESO is not always able to replace unavailability on a like-for-like basis, as replacement volumes may not exactly match unavailable volumes (for instance if a unit has to be brought on to SEL). This means that even in partial availability cases, the remaining volume may not be of value to NESO (as the replacement has fully offset it. In these cases, both to incentivise meeting the contract and to protect consumers against continuing to pay for something which no longer has value, we have taken the proposed approach. Units are still able to benefit from partial availability by making an optional declaration and benefit from utilisation payment. NESO do not wish to 'reduce flexibility for providers and limit efficient use of assets'. However, to ensure system security, Crossovers have been implemented to ensure there is enough capacity available to the Control Room at Service Window boundaries. There is work underway to understand the end-to-end requirement for Stacking across Reserve and Response Balancing Services. As part of this work and our continued reform of Balancing Services, we will keep all service parameters under review.
ADE: Demand | We support the proposed Slow Reserve Provider Availability. | N/A
Electricity North West Limited | Crossover measurement application for CLASS Although not included in NESO documentation we have agreed high level principles for how NESO are planning response to be measured for CLASS when an activation involves a cross over period if this differs from our proposals. In line with the high level agreement (outlined in the email to NESO on 30/1/25 with agreementmade in the recorded meeting on 30/1/25), we will build a proportionate calculation system based on the principle previously agreed with NESO for OFR that CLASS response can be measured as the average of start and end load response (considering the load change over the time the tap changers are moving), with average load ramp rate taken into account. System calculations will be fully auditable by NESO. | We acknowledge that, due to the unique nature of the CLASS technology, we are working with ENWL to agree the principales for the measurement of delivery in terms of metering and baseline data and this is something we have offered to all providers throughout the development of these new reserve services. We are committed to supporting ENWL to clarify any rules for crossovers. For the avoidance of doubt, these crossover rules will be applied consistently for all market participants regardless of technology.
| SR Service Terms - Paragraph 7.8 There are two different names for submitting utilisation bids/offers depending on whether a firm contract has been won or not. It's unclear why this is the case as it complicates system set up and operation for providers (adding costs and delays for suppliers with added costs for suppliers consequently meaning provision will be at a higher price to cover costs and potential delays inavailability in new markets causing significant customer detriment). | This is not correct. The actual declaration is the 'Non-BM Data Submission' which is either submitted for firm ‘Mandatory Availability Declaration’ or optional ‘Optional Availability Declaration’ but it’s the same single form of declaration and there is no requirement to create 2 versions.
| SR Service Terms - Paragraph 6.7 It should be clarified that this paragraph only applies where the unit has a fixed SR contract, or it needs to be more specific about when and how ‘excessively high or excessively low’ prices would be defined. Vague wording could introduce uncertainty into the market and could introduce the risk of NESO not achieving the outcome it is seeking from the clause. | Clause 6.7 is explicitly clear as appling to contracted units in Contracted Service Periods or the associated potential Cross-Over Period. There is a separate clause that deals with the Optional Service, however the same excessive price rule is not applicable for that. NESO acknowledges the absence of an industry standard or otherwise obvious definition of “excessive pricing”. However, it is not the assessment that the price is ‘excessive’ that constitutes the trigger to invoke the contractual remedies (including making a referral to Ofgem) – rather, the trigger is that the pricing has as its sole or primary purpose been submitted to discourage NESO from issuing an instruction. NESO’s judgment that prices are ‘excessive’ will be treated as evidence of that. There is a step in the process whereby NESO shall request an explanation from the provider in reasonable detail of the rationale for such pricing, and on receipt of such explanation NESO will then make its judgement (acting reasonably) on the motivation behind the pricing. In seeking that explanation, NESO will be trying to assess if the prices are genuine in the sense of representing a real interest in being despatched or instead appear designed to do the opposite by influencing NESO to despatch someone else instead. We have also included the right to refer to Ofgem where we conclude, after the above step, that the price was in our opinion 'excessive'. There are further steps we can take (deregistration) but we would see these as very much a last resort, and hope that this could be avoided by NESO working with providers to address any issues. We believe a clause which links to motivation behind price setting, rather than solely focusing on the numerical value of those prices, is appropriate in these circumstances. It should also be noted that Ofgem has already approved this clause in QR Phase 1 and we believe that these rules should be applied consistently across our new Balancing Services unless we see any significant reason why a particular service should in fact be different.
First Hydro Company | The definition of a “connection indicator” is not clear. | Thanks for the feedback. The “Connection Indicator” is a requirement across both QR and SR and we have mirrored the definition in SR to match that of the recently approved QR service. We will ensure that additional clarification on the requirement is provided within the SR Service supporting guidance documents, but to clarify, for BM providers there is no additional requirement. The Connection Indicator refers to the handshake between NESO systems and control point systems on EDL start up. This handshake establishes a connection exists and is operational, further handshakes to confirm the link is operational are exchanged whenever a message is sent. For further details around EDL connection and interface, please refer to https://www.neso.energy/document/33346/download. For non-BM providers we have added the requirement into the service terms in order to mirror the existing BM EDL requirement to ensure we have visibility that a non-BM unit will be able to receive and respond to a message (instruction/cease). Details of this requirement are set out in the OBP web service specification, please refer to https://www.neso.energy/document/360686/download. Also, the Business Logic Document and API Specification (currently for QR but SR version will be published soon) covers the heartbeat in detail in sections 3.7 and 3.8, please refer to https://www.neso.energy/document/358096/download

## Q9 Delivery Assessment
Company Name | Please provide any specific comments relating to the proposed Slow Reserve Delivery Assessment including Settlement, ABSVD and Performance Monitoring. | NESO Response
EDF Energy | Please confirm what level of granularity will be used in Delivery Assessment. Will this be assessed across the contracted SR Window or will it be minute by minute? For example, if the asset generates at 122% for half the instruction window and 93% for half the instruction window, it will still generate within the 95-120% tolerance overall, despite being outside the delivery limits for every minute of the instruction window. If this does represent successful delivery across the SR Window, will it nonetheless be picked up in NESO’s performance monitoring of service delivery over the longer term, as referenced within p21 of the Slow Reserve Service and Procurement Design Proposal document? | For SR the Expected, Delivered and Capped energy delivered is computed per 15 seconds. This is then aggregated per instruction/settlement period. In your example it is true that that the service providers delivery over the course of the settlement period would be within the acceptable tolerance. However, a service provider that under or over generates at the start of the instruction would would be penalised under the response time check ( over-generation would also be penalised under the ramp rate check).
Flexitricity Limited | As previously noted in relation to the application of ABSVD methodology to non-BM providers, we reiterate that in light of the ongoing work under Issue 114 (Settlement of ABSVD for ancillary services delivered through independent aggregators) we would expect any future solution to be applied to Slow Reserve as appropriate. For the delivery assessment, can NESO please provide further clarity as to how regular performance monitoring will be fed back to Providers ahead of any further penalties or limitations on contracts award is applied? We also note the introduction of the service delivery penalties for under/over deliver with the overall acceptable envelope sitting between 95% and 120%, with any response monitored outside this envelope resulting in zero payment for availability. It is indeed harder to provide accurate availability declarations for aggregated groups where the minimum incremental bid volume is 1MW. This is linked to the above note on the barriers review under NESO’s Demand Side Flexibility Routes to Markets Review Stage 3 which we referred to above in Question 4. | NESO is aware of and are participating in Issue Group 114 which will hopefully produce holistic solutions, and NESO would encourage providers to participate in Issue Group 114 to ensure the inconsistencies identified are addressed. Once the outputs from 114 Group are amended within BSC, NESO will apply to SR where applicable, although noting that ABSVD application changes are done through the ABSVD Methodology Statement and not through BSC amendments. For delivery assessment, aside from the detailed monthly settlement process, we will be monitoring all units performance closer to realtime against the key requirements (including those related to state of energy) of the service to ensure compliance from all participants. This will highlight poor performance to providers at the earliest opportunity, alllowing much earlier correction/intervention. We will proactively engage with providers to accertain the route cause and remedial actions to address and would see the use of any more severe powers under the service terms as a last resort. NESO believes that it has set out a broad enough operational tolerance (95%-120%) for instructed volumes. Any further relaxation undermines the purpose and reliability of the service from a Control Room and system security perspective, as providers are not incentivised to consistently meet the standards of the service. This could undermine confidence in the use of SR and potentially increasing costs through the purchase of additional volume to offset any uncertainty in delivery. Penalities, where applicable, would only be applied to the individual 30 minute contract period and not to the entire contracted block (4 or more contiguous contracted periods), whereas under the STOR service a single breach during the 2 hour + contract period would result in payment being withheld for the entire contract period.
RWE | No comments. | N/A
Drax Group plc | N/A | N/A
SSE Renewables & SSE Thermal | For Delivery Assessment see response to Q7 above. | N/A
Tesla | N/A | N/A
Sembcorp Energy UK | N/A | N/A
Octopus Energy | No Comments. | N/A
ADE: Demand | We agree with the proposed Slow Reserve Delivery Assessment. | Thanks for the positive feedback.
Electricity North West Limited | SR Service terms - Schedule 5 – Payment Provisions Only 10 days to appeal monthly statements is not sufficient when most monthly statements need to be corrected currently due to incorrect data transcribed by NESO or incomplete transfer of data between NESO teams. Our commercial team is very small, performance/settlement measurement for CLASS is complex, and a 10-day period could be entirely covered by a holiday. The overriding principle should be suppliers are paid for services they provide, and correction of NESO errors should not be limited to a 10-day window. It is suggested that a 30-day period would be more appropriate. | The reference to 10 Days is the period between the issuing of the Prelim Monthly Statement, and the issue of the Final Monthly Statement and Invoice. A period when a provider can issue queries that it may be possible to resolve prior to the invoice being issued. After this point any unresolved query, or new query becomes a dispute. In short, any time limit on raising issues would fall under of the Disputes section, and raising any query within a 30 day period would be appreciated.
First Hydro Company | No comment | N/A

## Q10 Procurement
Company Name | Please provide any specific comments relating to the proposed Procurement approach including Maximum Bid Size, Slow Reserve Windows, Service Window Blocks and Locationality. | NESO Response
EDF Energy | 1. It is clearly a difficult balance to strike, ensuring that as many of the pre-existing STOR providers as possible are able to participate in the service, whilst trying to attract new participants. However, the “4 or more contiguous SR Windows” requirement makes the service sub-optimal for a number of energy-limited assets (which admittedly are better able to participate in the QR service than many of the current STOR providers). That apart, we consider the Procurement Approach to be pragmatic. 2. N.B. Clause 9.4.5 of the SR Procurement Rules has a typo resulting in a duplicate reference to clause 9.7. | 1. Thank you for the feedback. While we recognise that the minimum commitment of four contiguous Settlement Periods may pose greater challenges for energy-limited assets participating in the Slow Reserve service, participation still remains possible. The commitment duration for the Firm Service is directly influenced by a system requirement, which is to ensure a consistent number of units are available to maintain system security over an extended period following a loss. This approach provides Control Room engineers with the maximum time and flexibility to respond effectively when faults occur. It is also worth noting that there is no minimum time commitment for the Optional Service. Therefore, energy-limited assets that wish to participate in the Slow Reserve service may do so within-day from as little as just 1 Settlement Period at a time. 2. Thanks for pointing this out to us. The duplicate reference to 9.7 within paragraph 9.4.5 of the SR Procurement Rules has now been removed.
Flexitricity Limited | 1. We note there is a precedent for the application of a Maximum Bid Volume in other reserve and response services which supports the variety of technologies and providers participating in a service. We would kindly ask for further details on the reasoning for the absence of a Maximum Bid volume in Slow Reserve, as this has been a successfully applied principle in other services for ensuring plurality of providers. 2. Flexitricity support the 2-hour minimum windows (which consist of x4 SPs minimum per contract). This aligns with our stance that all balancing services should consistently make use of and reference windows for procurement using Settlement Periods. Following the change in STOR procurement in April 2021 to Day Ahead Fixed windows, a significant amount of capacity was no longer eligible for the service as these assets were no longer able to commit to the afternoon window which became a mandatory requirement. With the ability to bid in 2-hour blocks through SR, these assets will become eligible again and be able to compete in this market, thus removing this barrier to entry. | 1. With Slow reserve we have the benefit of having experience in a similar market (STOR) where we can see historic bid sizes. With the maximum bid size being 290MW, less than 20% of our expected long-term requirement for Slow of up to 1800MW, we don't feel that imposing a maximum bid size is currently necessary to ensure a plurality of units cleared, however this is something that we will continue to keep under review. We note that a maximum bid size is not always imposed for this reason, with Quick Reserve having a maximum bid size additionally imposed to limit the size of any pre-fault dispatch instruction to be manageable in operational limits. 2. Thanks for the positive feedback. We agree that the removal of the legacy STOR requirement for a commitment to both firm window is a positive step change, aligning the service with QR and BR by contracting at a SP granularity.
RWE | No comments. | N/A
Drax Group plc | N/A | N/A
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | We request to maintain the same bidding flexibility currently used in Quick Reserve (QR) and Balancing Reserve (BR), allowing market participants to decide how to link or loop periods based on their delivery capabilities. This allows providers—especially fast-responding assets like batteries—to offer the max availability they can, giving NESO more procurement flexibility & enabling NESO to optimise clearing based on system needs. For slow assets, looping would still occur naturally through bidding behaviour, so there is no need to make this a bidding requirement. We request NESO should remove any mandatory requirement to loop service windows at either the bidding or clearing stage. Providers can then submit unlooped baskets for any/ all 48 settlement periods, with NESO free to clear 4+ contiguous periods where technically required (i.e. only for assets with longer MNZT). This maintains: Flexibility for NESO to select optimal windows, Consistency with QR processes, Lower costs for consumers by maximising auction efficiency. We think this is the best approach. If for some reason this isn’t possible, then we request to remove Looping at the Bidding Stage Only. So if NESO requires a minimum 4-period delivery window for technical reasons (e.g., crossover management), it should enforce this constraint only at the clearing stage, not in how providers submit bids. This is beacuse looping in bidding: Increases complexity for providers, Reduces optionality for NESO during market clearing, Is inefficient, especially for assets with the flexibility to deliver any four periods in the day. | Thank you for your feedback. This strategy ( ""Providers can then submit unlooped baskets for any/ all 48 settlement periods, with NESO free to clear 4+ contiguous periods where technically required "") is largely feasible within the proposed market design. In Slow Reserve, participants are required to submit sell orders as ""Flexible Groups"" rather than as single baskets. Each Flexible Group must comprise consecutive baskets covering at least four service windows, meeting a minimum duration requirement of two hours. All baskets within a Flexible Group must share an identical basket structure (with only price variations allowed). Baskets within a Flexible Group will be cleared for a consecutive minimum duration based on a user-defined parameter called ""Minimum Consecutive Windows."" Under the proposed design, participants can submit a single ""Flexible Group"" consists of 48 baskets covering a full delivery day. By setting the ""Minimum Consecutive Windows"" parameter to 4 (which is also the default value), the algorithm can clear any sequence of four or more consecutive periods (such as baskets covering windows 1-4, 12-26, or 1-48). The clearing rules for Flexible Group are less restrictive than those for Looped Family. In a Looped Family, all baskets must be accepted or rejected together, without partial clearances. Flexible Groups allow for selective acceptance, meaning some baskets within the group can be accepted while others are rejected. For instance, baskets covering windows 10-20 can be accepted, while others are not. The only limitation of this feature is that all accepted baskets within a Flexible Group must be consecutive. For instance, accepting baskets for windows 1-4 and 6-9 while rejecting the basket for window 5 is not allowed. Allowing non-consecutive clearing would introduce an extra layer of complexity into the auction design, and some participants may prefer to be cleared only consecutively. Therefore, this limitation is intentionally maintained in the design.
Sembcorp Energy UK | N/A | N/A
Octopus Energy | We welcome the shift away from EFA block procurement, but still view a two-hour minimum service window as too long. Shorter windows, ideally 30 minutes, would be more suitable for demand-side units. | Thank you for the feedback. While we recognise that the minimum commitment of four contiguous Settlement Periods may pose greater challenges for energy-limited assets participating in the Slow Reserve service, participation still remains possible. The commitment duration for the Firm Service is directly influenced by a system requirement, which is to ensure a consistent number of units are available to maintain system security over an extended period following a loss. This requirement provides Control Room engineers with the maximum time and flexibility to respond effectively when faults occur. It is also worth noting that there is no minimum time commitment for the Optional Service. Therefore, energy-limited assets that wish to participate in the Slow Reserve service may do so within-day from as little as just 1 Settlement Period at a time.
ADE: Demand | We support the proposed procurement approach for Slow Reserve Balancing Services. | Thanks for the positive feedback.
Electricity North West Limited | No comments noted. | N/A
First Hydro Company | A max bid of 300MW is good to allow for inclusivity for larger assets. Locationality needs to be explored further after a period of operation. | To Clarify, there is no maximum bid for Slow Reserve units. This is to allow for the maximum participation as possible from all market participants. The quoted 300MW max bid is likely taken from the Quick Reserve Design Document, where there is a maximum bid in place. Locational Procurement is an ongoing piece of work which is separate to the Quick and Slow Reserve projects. Please see our website for the material we have published to date on this work.

## Q11 Auction Process
Company Name | Please provide any specific comments relating to the proposed Auction Process including Timings, Bid Submissions and Auction Results. | NESO Response
EDF Energy | It seems sensible to have the auction co-optimised with the other services. | Thanks for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services and simplify the auction process for market participants.
Flexitricity Limited | We are pleased to see co-optimisation across Slow Reserve, Quick Reserve, Frequency Response services and Balancing Reserve (subject to approval) and alignment across the procurement process and platforms used. | Thanks for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services and simplify the auction process for market participants.
RWE | No comments. | N/A
Drax Group plc | For the optional service which doesn’t have a specific auction, we would welcome additional clarity on: 1. When the within-day optional service reserve requirement will be published. 2. How much notice NESO will give to providers between bid acceptance and the start of the corresponding service window. We note that large industrial and commercial manual demand interruption typically requires at least 4 hours’ notice. 3. Whether bids for the optional service can be retracted and what, if any, the penalties are for not fully delivering for the optional service. | 1. There is no specific requirement for optional SR. The optional service is additional access to energy for NESO from any SR unit that has either been unsuccessful in the day ahead auction or has elected to just offer their available energy closer to realtime (60 minutes ahead). 2. NESO can dispatch any optional bid as soon as the Settlement Period for which the Optional Availability Declaration has been made. - so there will be no additional notice time. Providers are expected to still respond within 15 minutes on instruction start time. 3. Optional Availability Declarations 'bids' can of course be revised or withdrawn up to 1 hour (gate closure) before the start of the relevant Settlement Period (SR Service Terms clause 7.7). Also where a provider finds that a unit becomes technically unavailable (clause 7.8) after this time, then it must notify NESO within 15 minutes by way of resubmission of the non-BM data submission indicating unavailability. Whilst there are no specific penalties associated with the withdrawal of optional availability, NESO will monitor performance and engage with providers where appropriate to discuss poor performance.
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | See comment on flexible groups in bidding, in 'Slow Reserve Windows' section 10. | Thank you for providing your comments. We have responded to these within section 10 itself.
Sembcorp Energy UK | N/A | N/A
Octopus Energy | We support the proposed 2pm Auction timing - it should allow for greater co-optimisation with other key NESO ancillary service markets. We would strongly support utilisation price and volume data being published to the market as quickly as possible following dispatch, in line with the approach currently used for STOR. Timely publication of this information would allow market participants to incorporate it into cashout price forecasts and support more efficient and responsive trading decisions. Improving transparency around utilisation would also help build confidence in the service and ensure that the price signals from Slow Reserve are fully reflected in wider market behaviour. | Thanks for the positive feedback on the auction timing. We will be publishing (on our Data Portal) all non-BM utilisation price and volume data within 2 minutes and any change / cease also within 2 minutes after instructed in order to allow maximum transparency for the market and alignment with the equivilent BM actions. We will be publishing (on our Data Portal) all non-BM dispatch data within 2 minutes and any change / cease also within 2 minutes after instructed.
ADE: Demand | We support the proposed Auction Processes for SR, specifically the shift to 14:00 will allow for greater visibility of the market and continued co-optimisation with Response, QR and BR. | Thanks for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services and simplify the auction process for market participants.
Electricity North West Limited | Area: Tagging and publishing of all SR activations together including price and MWs accepted (and the same for QR activations) in data shared through Elexon. Draft SR Position: No guidance on how this will be published to facilitate equal competition in the SR (or QR) markets. Suggested Update: Guidance to be issued as soon as possible to be consulted on. Rationale: Efficient and fair market operation requires equal information available to market participants. | We will be publishing (on our Data Portal) all non-BM dispatch data within 2 minutes and any change / cease also within 2 minutes after instructed. We will publish some guidance on how to access the non-BM data outlines above closer to the service go-live. For BM unit dispatch instructions (BOAs) these are also published with a 5 minute SLA of the instruction being issue and published by Elexon. We recognise that non-BM data is tagged against the relevant Balancing Service on our data portal and that is not the same for BOAs as they are not tagged at Elexon publication for a specific Balancing Service. For Balancing Services such as Slow Reserve we are buying the capacity, and not all BM instructions are attributable to a specific service as they can be utilised for balancing actions and so there is not a clean separation of BOAs into different services. In contrast, non-BM routes for dispatch are specified by Balancing Service (i.e. there is no route to dispatch outside of a service for non-BM) and this is why we can break down specifically for publication. However, we are publishing auction results data for SR, confirming which BM and non-BM units have been awarded a firm contract for each 30 minute Settlement Period, which can easily be extracted and linked to the published BM data outlined above (BOA) to derive/match the BM unit to the applicable Balancing Service.
| Area: Bid Curtailment Draft SR Position: SR providers to user define the curtailability of the bid. Suggested Update: NESO to issue guidance as soon as possible on how this is expected to be applied for non-BM units including CLASS and the format of messaging that would be used. Note we think it is essential to retain the ability of providers to set activations as non curtailable. Rationale: Efficient and fair market operation requires equal information available to market participants. | Curtailability for bids into the auction is set by the user to be non-curtailable, partially or fully curtailable, and optional market declaration capacities are set by the provider. We believe the design is already as per the suggested update.
First Hydro Company | We agree with an auction time of 14:00. | Thank you for your support

## Q12 Market Design
Company Name | Please provide any specific comments relating to the proposed Slow Reserve Market Design including Sell Order structure (e.g. Baskets, Parent Orders, Child Orders), Overholding, Clearing Algorithm, and rules for Contract Transfers. | NESO Response
EDF Energy | The SR Market Design seems to be consistent with the approach adopted for other Ancillary Services, such as Dynamic Response and Quick Reserve, which is a sensible methodology. | Thanks for the positive feedback.
Flexitricity Limited | Flexitricity welcomes the familiar structure given to Sell Orders within Slow Reserve and similar treatment across all the auction products. The inclusion of the Contract transfer process is also welcome as part of the broader effort to standardise terms across the platform. With reference to the Technical Design document and the EAC principal Document, we understand that the EAC clearing algorithm handles acceptance ensuring welfare maximisation across all orders (similar to how half-hourly QR orders are valued against EFA-block orders in Dynamic Response services). There is no “preference” for orders of specific durations. That said, can NESO offer any further comment on the scenario where: a single 2-hour commitment with a lower price is evaluated alongside a 24-hour commitment at a higher price (also the inverse). This would aid our understanding in the context of Slow Reserve. | The EAC algorithm has no preference over durations, a single 2-hour commitment is treated equally to a 24-hour commitment. However, please note that there may be extreme cases where a more expensive 2-hour commitment is selected over a cheaper 24-hour commitment, or vise versa. Example 1: Assume the Slow Reserve requirement is a flat 300MW for the entire delivery day, priced at £10. Note that these numbers are for illustration purposes only and do not represent actual requirements or buy order prices. In the market, there are only two sell orders: Order 1 from player A, offering 300MW at £1 for a single 2-hour block from 9AM to 11AM. Order 2 from player B, offering 300MW at £5 for a single 24-hour block from 11PM to 11PM. Accepting order 1 would generate a surplus of (£10-£1) * 300MW * 2 hours = £5,400. Accepting order 2 would generate a surplus of (£10-£5) * 300MW * 24 hours = £36,000. In this example, order 2, although more expensive, would be accepted, and order 1 would be rejected. Example 2: Assume the requirement for Slow Reserve is again a flat 300MW for the entire delivery day, priced at £10. The market presents three sell orders: Order 1 from player A, offering 250MW at £1 for a 24-hour block. Order 2 from player B, offering 250MW at £1.5 for a 24-hour block. Order 3 from player C, offering 50MW at £9.5 for a 2-hour block. In this scenario, order 2 would be rejected, while orders 1 and 3 would be accepted to meet the total requirement of 300MW. These examples represent extreme cases. In practice, the market is competitive and typically involves more participants. With more sell orders, order 2 in Example 1 might be pushed out of the stack. Additionally, there is an "overholding" allowance for each service window to ensure that more than the required volume can be cleared if it is more economical.
RWE | No comments. | N/A
Drax Group plc | N/A | N/A
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | See comment on flexible groups in bidding, in 'Slow Reserve Windows' section 10. | Thank you for providing your comments. We have responded to these within section 10 itself.
Sembcorp Energy UK | N/A | N/A
Octopus Energy | No Comments. | N/A
ADE: Demand | We support the proposed Slow Reserve Market Design. | Thanks for the positive feedback.
Electricity North West Limited | Area: Ability for a non-BM unit to offer multiple linked bid-offer pair equivalents into Quick and Slow reserve optional markets simultaneously. Draft SR Position: We are not aware of any guidance on this currently. Suggested Update: It should be possible for Non-BM units to offer the equivalent of multiple bid offer pairs. Linked bid/offer pairs should be able to be offered into Quick and Slow Reserve Optional Markets simultaneously. Rationale: A unit that could be available in different formats in different markets could be available in both markets simultaneously, allowing NESO to dispatch the unit in line with system need. This would reduce costs for customers by increasing competition and potentially increase system security. | We would welcome further discussion to understand this suggestion, and consider this as a future modification. This would likely add signficant complexity to the optimisation of instructions and would not be possible for the SR service without further development of our control room systems. To clarify, under the SR service proposal non-BM providers are only able to be dispatched for a single service per settlement period.
| Area: Transfer of SR Contracts. Draft SR Position: SR service terms allow a service provider to transfer their SR contract to another unit. Suggested Update: SR service terms allow a service provider to transfer their SR contract other unit/s prequalified for SR. Rationale: This would reduce friction in the operation of markets and potentially increase operational security if contracts are transferred that wouldn’t have been possible otherwise. | Thanks for flagging this. This is something we will take away and consider as a future change and, if appropriate, look to roll out across all services for a consistant approach. SR is currently aligned with QR and the Dynamic Response products where transfers are limited to a single unit.
First Hydro Company | No comment | N/A

## Q13 Co-optimised auction
Company Name | Please share your feedback on NESO’s proposal to implement a single, simultaneous, co-optimised auction for the procurement of Frequency Response, Quick Reserve, Slow Reserve and Balancing Reserve. | NESO Response
EDF Energy | We welcome this approach – it seems like a sensible development which we hope will help to streamline the balancing process and the cost thereof. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
Flexitricity Limited | We are pleased that NESO has taken feedback on board and proposed the auction timing to be in the afternoon for co-optimisation across Slow Reserve, Quick Reserve, Balancing Reserve (subject to approval) and the frequency response services. The co-optimised approach will reduce financial and reputational risk on providers while increasing optionality across services. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
RWE | Yes - we are in favour of a single auction for the procurement of all Reserve and Response products. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
Drax Group plc | We do not have any comments on the co-optimised auction at this time. | Thank you.
SSE Renewables & SSE Thermal | We are supportive of aligning the auction with the other day ahead services. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
Tesla | This is very helpful for becoming more efficient, we appreciate the move to a single auction! | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
Sembcorp Energy UK | We are supportive of having a single co-optimised auction for Frequency Response and Reserve Services. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
Octopus Energy | We welcome the proposal to implement a single, simultaneous, co-optimised auction for the procurement of D*, QR, SR and BR. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
ADE: Demand | ADE: Demand continues to support the co-optimisation of auction services, and agrees with NESO’s plan to make the procurement of FR, QR, SR and BR as simple and clear as possible, along with the capability to stack with these services, the CM and BM. | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
Electricity North West Limited | We support co-optimisation | Thank you for the positive feedback. We believe that bringing the response and reserve products together in a single, simultaneous, day-ahead auction will maximise market welfare across all services.
First Hydro Company | We support co-optimisation. | Thank you for your support

## Q14 Optional service
Company Name | Please share your thoughts on the inclusion of an Optional Slow Reserve Service and provide feedback on the proposed requirements for this Optional Service. | NESO Response
EDF Energy | We cautiously welcome the Optional SR Service and the opportunity it presents for Non-BMUs to pursue opportunities within the Balancing Mechanism. However, we would ask for confirmation of the reasons why NESO doesn’t just insist that, in order to gain access to SR and other Ancillary Services, the units should be BM registered and not Non-BMs; would this not make the system more straightforward for NESO to operate? | Thanks for the feedback. NESO values both the BM and non-BM markets. The non-BM market offers opportunities to certain units who may otherwise struggle to find a route to market, to provide additional volume into markets that serve specific NESO operational needs reducing operational risk and cost. Joining the BM, for certain providers and technology types, can be prohibitively expensive and/or onerous in its requirements. However, as a way to close the gap between the markets, NESO has introduced additional visibility requirements on non-BM units, such as submission of day-ahead baselines and further Operational and Performance monitoring data submissions.
Flexitricity Limited | We have no comments on the proposed requirements for the Optional Service. The inclusion of Optional Slow Reserve mirrors the service design of STOR and we welcome its inclusion. | Thank you for the positive feedback.
RWE | Yes - this is line with the STOR service and a reasonable approach | Thank you for the positive feedback.
Drax Group plc | We are supportive of the Optional Service for non-BM participation. | Thank you for the positive feedback.
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | Optional Slow Reserve, would be useful if included in the real time DX, to keep auctions/services co-optimised. We would encourage planning from the beginning for these services to be bid/cleared at the same time to avoid increased complexity of two different optional services at different times. | Thanks for this suggestion, we will take it on board and look for ways to manage the interaction - noting that neither Optional Slow Reserve nor Real-time Dx are currently proposed to be procured in an auction.
Sembcorp Energy UK | We don't believe that the Optional Service offers any benefit to Service Providers, especially for non-BM assets which would have to provide status information one hour ahead of time. | NESO firmly believes that the Optional market will add significant value to the Slow Reserve service by introducing additional volume and enhancing real-time competition—particularly for units that were either unsuccessful or choose not to submit bids in the day-ahead auctions. The Optional service also offers a valuable opportunity for energy-limited technologies to participate with greater flexibility, as there is no requirement to bid for multiple settlement periods, so the unit may bid in for only a single Settlement Period at a time. This gives greater optionality to participants.
Octopus Energy | Octopus Energy is supportive of an Optional Slow Reserve Service as it provides additional opportunities to provide flexibility services. | Thanks for the positive feedback. NESO firmly believes that the Optional market will add significant value to the Slow Reserve service by introducing additional volume and enhancing real-time competition—particularly for units that were either unsuccessful or choose not to submit bids in the day-ahead auctions. The Optional service also offers a valuable opportunity for energy-limited technologies to participate with greater flexibility, as it there is no minimum time commitment, so the unit may bid in for only a single Settlement Period at a time.
ADE: Demand | We are supportive of the inclusion of the Optional Slow Reserve Service as it provides providers additional opportunities to supply flexibility services. | Thanks for the positive feedback. NESO firmly believes that the Optional market will add significant value to the Slow Reserve service by introducing additional volume and enhancing real-time competition—particularly for units that were either unsuccessful or choose not to submit bids in the day-ahead auctions. The Optional service also offers a valuable opportunity for energy-limited technologies to participate with greater flexibility, as it there is no minimum time commitment, so the unit may bid in for only a single Settlement Period at a time.
Electricity North West Limited | Optional Slow Reserve is clearly essential given the current plans, but it would be much better for customers and system security to have a non-BM version of the BM (combining the markets and allowing non-BM units to compete on a level playing field with BM units) to eliminate the unequal treatment and opportunities for non-BM units. See point 3 in the answer to question 6. | NESO created non-BM markets to allow additional volume to participate in its services addressing key operational needs as a way to increase consumer value through additional competition. It does not make sense to create a non-BM version of the BM and run duplicate markets and systems for the same operational need, when the rules of the BM can be reformed to increase participation. We especially do not want to undermine the rules of the BM such that assets leave the main balancing market to particpate in non-BM markets (underming the efficiency through competition goal) and also recognise that any BM equivalent would likely mean aligning the rules with the BM to the extent that is possible (adding further barriers compared with the requirements needed on a service by service basis). We have requested confirmation of the exact rules preventing participation in the BM for this asset in order to better understand the reasoning behind that restriction and whether that restriction can be lifted through code change or should be extended to cover Balancing Services.
First Hydro Company | No comment | N/A

## Q15 Dataset
Company Name | In addition to the data already published for existing Reserve services, NESO are proposing to broaden the dataset published for Slow Reserve. Please review paragraph 20.12 of the proposed Service Terms and provide your views. | NESO Response
EDF Energy | We welcome the proposed new paragraph and the visibility this will offer to market participants of any actions that NESO has taken on Non-BM assets made available via the SR/QR services. Can you confirm that this data will feed into the NIV & SIP calculation process from day one please? | Thank you for the positive feedback. Non-BM dispatch data for SR will feed into the NIV and SIP calculation from day one, in accordance with the updated BSAD Methodology Statement. In addtion the proposed availability data we intend to publish is for further industry transparency.
Flexitricity Limited | Under the STOR service, capacities and market clearing price are included in the dataset. The addition of utilisation prices is new, similar to inclusion of operational and performance metering data, which we understand is not a new proposal. Flexitricity has concerns that performance metering data may expose operational failings for service providers. This has a reputational risk to service providers and as such we request NESO consider the implications this has with respect to fair market conditions. | The proposal related to publishing Performance Metering data is just to provide NESO with consent to publish amongst a number of other data sets, should we wish to do so. We have no plans to publish Performance Metering data from go live, as we see these as new services that require time to embed. We will monitor provider performance in accordance with the service terms with the applicable penalties applied, but in addition and where appropriate we reserve the right to consider publishing Performance Metering data in the future and would engage with industry before proposing any such publication.
RWE | Yes – we are in support of NESO publishing the additional data sets. | Thank you for the positive feedback.
Drax Group plc | N/A | N/A
SSE Renewables & SSE Thermal | N/A | N/A
Tesla | N/A | N/A
Sembcorp Energy UK | We are happy for the information to come through one dataset. | Thank you for the positive feedback.
Octopus Energy | Yes we support broadening the dataset for slow reserve. | Thank you for the positive feedback.
ADE: Demand | We support the publication of broader datasets by NESO. | Thank you for the positive feedback.
Electricity North West Limited | We would welcome equal data publishing requirements for BM and non-BM units across all elements which must include publication and tagging of activation data at the same time for SR capable BM units as non-BM units in the optional SR markets. Currently the planned design includes an inherent advantage for BM units as they can clearly see live non-BM unit prices on a single feed while this isn’t possible for BM unit activations (this have been confirmed following extensive consultation with NESO and Elexon). Currently BM activation data including pricing details is visible significantly later for BM activations than for non-BM activations. BM activation data is published a significant amount of time after the period has ended, whereas non-BM activation data is published in a live online data feed. Equal information across market participants is a key part of market set up that does not appear to have been considered in detail by NESO, we ask that there is an in-depth review of this as part of market set up to ensure an absence of information or unequal information does not undermine market operation and benefits for customers. We would welcome full alignment on data publication between BM and non-BM units, this should be considered holistically to ensure that the unfair advantages already available to BM units are not exacerbated by the suggested amendments. | We agree that equal data transparency across market participants is important across the new reserve products. For SR non-BM units we are looking to publish (on our Data Portal) available MW, Utilisation Price and FPN, as submitted in their mandatory availability declarations into OBP, close to realtime (exact timing TBC) after gate closure for each Settlement Period. For a BM unit their available MW and price and FPN are required to be published by Elexon in line with the Balancing Mechanism Reporting Agent responsibilities and typically this occurs within 5 minutes of gate closure (published once every 30 mins). We will also publish from go live (on our Data Portal) all non-BM SR dispatch data within 2 minutes and any change / cease also within 2 minutes after instructed. For BM unit dispatch instructions (BOAs) these are required to be published by Elexon in line with the Balancing Mechanism Reporting Agent responsibilities and typically this occurs within 5 minutes of the instruction being issued. We recognise that non-BM data is tagged against the relevant Balancing Service on our data portal and that is not the same for BOAs as they are not tagged at Elexon publication for a specific Balancing Service. For Balancing Services such as Slow Reserve we are buying the capacity, and not all BM instructions are attributable to a specific service as they can be utilised for balancing actions and so there is not a clean separation of BOAs into different services. In contrast, non-BM routes for dispatch are specified by Balancing Service (i.e. there is no route to dispatch outside of a service for non-BM) and this is why we can break down specifically for publication. However, we are publishing auction results data, confirming which BM and non-BM units have been awarded a firm contract for each 30 minute Settlement Period, which can easily be extracted and linked to the published BM data outlined above (BOA) to derive/match the BM unit to the applicable Balancing Service. We welcome your feedback on a review of current arrangements and we will consider the best approach to undertake a review of the data we publish across our services to ensure we have full alignment across BM and non-BM market participants for new and existing services.
First Hydro Company | The publication of performance metering is questionable and does not seem to bring any benefit. This data is for the NESO to assess performance. The important aspect of publishing data would be to place BM and non-BM real time activity on the same basis. This would amount to publishing the non-BM equivalent to BOA instructions and MELs/ MILs (i.e. the indication of availability and activations). Generally, the definition given paragraph 20.12 is quite wide and it should be reviewed as to whether it is too imprecise. | The proposal related to publishing Performance Metering data is just to provide NESO with consent to publish amongst a number of other data sets, should we wish to do so. We have no plans to publish Performance Metering data from go live, as we see these as new services that require time to embed. We will monitor provider performance in accordance with the service terms with the applicable penalties applied, but in addition and where appropriate we reserve the right to consider publishing Performance Metering data in the future and would engage with industry before proposing any such publication. We agree that equal data transparency across market participants is important across the new reserve products and the proposed clause 20.12 is enabling this for realtime availability and dispatch.

## Q16 Additional feedback
Company Name | Please share any additional feedback on NESO’s proposed delivery of Slow Reserve that may fall outside of the questions above. | NESO Response
EDF Energy | When considering the transition plan to move away from STOR to SR, will the first day of SR commence at 05:00 rather than 23:00 to remove any overlap across the 2 services or will the 6 hours overlap between the services be maintained? | We do not intend to make any changes to the start times for either service. As the operational days (Service Day) for STOR and SR start at different times (05:00 and 23:00 respectively), there will be a ~6-hour overlap on the transition day when optional STOR will be permitted to complete the final Optional Window of their declared optional availability for the Service Day. We will shortly be publishing an update to our Slow Reserve/STOR tansition plan to reflect the ~6-hour overlap at the point of Slow Reserve go-live.
Flexitricity Limited | We note there are no specific questions in this consultation on revenue stacking rules, particularly around splitting. We are supportive of the diagram on page 29 of the technical design document which indicates revenue splitting is permitted across most services in the opposite frequency direction. However, with previous releases of reserve services, not all options have been available Day 1, so we would encourage NESO to provide further detail if they believe there to be any delays to these procurement design rules ahead of service go-live. Revenue stacking is also supported by having SR as a co-optimised auction. | NESO recognises the potential benefits of increased liquidity of the market by allowing providers to split their capability into different services. In order to implement this capability, additional work is required across a number of complex processes and systems. Operability, cost and value assessments are currently ongoing leading to service design and then implementation planning. We will share any development or proposals for future splitting and stacking rules with industry at the earliest opportunity and we plan to hold a session with industry to walk through the proposed splitting and stacking rules as part of this process.
RWE | Clause 4 (Records and Audits): our preference would be to provide NESO with an auditor’s certificate. Clause 16 (Third Party Claims) any claims brought by NESO should relate only to an “actual breach” and not an “alleged breach” otherwise this means that NESO could pass a claim on to the Provider even in the event where the breach has not been established thereby making a calculation of potential loss impossible to quantify. | Clause 4. Our firm preference is to leave the provision unaltered. This clause in our view is balanced, and sits in the ENA’s flexibility services standard agreement which was developed after industry consultation. The clause is also applied unaltered to our other balancing services service terms. The rationale for incorporating the ENA’s documentation with respect to these boilerplate provisions was to apply consistency of approach across the range of network services, as well as across our balancing services terms, for the benefit of both NESO and market participants. Clause 16. All claims made against NESO will be related to an “alleged” breach in the first instance, and will only become related to an “actual” breach if the claim is subsequently admitted or determined in the claimant’s favour. The rationale for the clause is that all such claims, even if spurious or ill-founded, will require to be defended, and the indemnity in NESO’s favour (in 16.2) is designed to ensure NESO is held harmless on the basis that the undertaking from the provider at the start of the clause (in 16.1) places the risk of any claim firmly with the provider. We have sought however to ensure that the clause is balanced, by allowing the provider conduct of any claim (in 16.3), and this clause allows the provider to contest any alleged claim if it considers it to be spurious etc, and generally prevents NESO from settling the claim without the provider’s approval acting reasonably. This clause appears in all of our other balancing services service terms, and we see no reason to change it.
Drax Group plc | 1. We would welcome further detail on the interaction with other ancillary services, specifically the Stability Mid-Term product. While we understand that stacking is only allowed with the CM, we believe that the service should also be stackable with Stability Services as these provide inertia at 0MW output. Since there is no active power requirement for such services, the concept of co-delivery (i.e. the same MW paid twice) does not apply. It would be useful to have a more detailed walkthrough of the proposed enduring splitting and stacking rules for all Balancing Services, including allowing unit splitting of SR and response services in the same direction. 2. Mirroring the excessive pricing clause from Quick Reserve (QR) over to SR is sensible given the co-optimisation of all services. However, as we have previously stated in our QR Article 18 consultation response, we still have concerns that the legal text of the service terms does not provide any reference to a clear definition of what constitutes ‘excessive’. As there is no generally accepted definition of ‘excessive pricing’ in either the licencing regime (such as the Transmission Constraint Licence Condition) or industry codes, we question the regulatory or legislative basis that NESO will use to deem pricing as excessive. 3. Finally, we note that the functionality of Linked Service Windows will be enabled from go-live and that NESO will assess the need to utilise such functionality over time. We welcome the commitment to give industry ample notice but would value further clarity on how they would work in practice. | 1. For clarification, from Day 1, units participating in the Slow Reserve service will be allowed to stack their capacity with the BM, Stability and Voltage services. This mirrors the functionality of the Quick Reserve Service (Phase 1 and 2). Note that if the unit was dispatched for Slow Reserve (or Quick Reserve) and was no longer operating at 0MW, then that would forego utilisation payments for stability (but would not affect the unit's availability under that contract). NESO recognises the potential benefits of increased liquidity of the market, by allowing providers to split their capability into different services. In order to implement this capability additional work is required across a number of complex processes and systems. Operability, cost and value assessments are currently ongoing leading to service design and then implementation planning. We will share any development or proposals for future splitting and stacking rules with industry at the earliest opportunity and we plan to hold a session with industry to walk through the proposed splitting and stacking rules as part of this process. 2. NESO acknowledges the absence of an industry standard or otherwise obvious definition of “excessive pricing”. However, it is not the assessment that the price is ‘excessive’ that constitutes the trigger to invoke the contractual remedies (including making a referral to Ofgem) – rather, the trigger is that the pricing has as its sole or primary purpose been submitted to discourage NESO from issuing an instruction. NESO’s judgement that prices are ‘excessive’ will be treated as evidence of that. There is a step in the process whereby NESO shall request an explanation from the provider in reasonable detail of the rationale for such pricing, and on receipt of such explanation NESO will then make its judgement (acting reasonably) on the motivation behind the pricing. In seeking that explanation, NESO will be trying to assess if the prices are genuine in the sense of representing a real interest in being despatched or instead appear designed to do the opposite by influencing NESO to despatch someone else instead. We have also included the right to refer to Ofgem where we conclude, after the above step, that the price was in our opinion 'excessive'. There are further steps we can take (deregistration) but we would see these as very much a last resort, and hope that this could be avoided by NESO working with providers to address any issues. We believe a clause which links to motivation behind price setting, rather than solely focusing on the numerical value of those prices, is appropriate in these circumstances. It should also be noted that Ofgem has already approved this clause in QR Phase 1 and we believe that these rules should be applied consistently across our new Balancing Services unless we see any significant reason why a particular service should in fact be different. 3. Thanks for the positive feedback and we will of course endeavour to ensure providers are aware how linked Service Windows will work in practice. We will give at least 14 days notice (i.e., before the auction opens) if we decide to use the functionality of Linked Service Windows. If an auction contains Linked Service Windows, participants will be able to see a text box in the participants UI listing all Linked Service Windows.
SSE Renewables & SSE Thermal | The terminology concerning service parameters has become very confusing, particularly since the service terms need to cater for BM and non-BM units (e.g. Response Time and Time to Full Delivery). Please ensure that terms are clearly defined for BM and Non-BM and definitions are consistent across different services (e.g. Response Time for BR and SR). Which version of Flexibility Services Standard Agreement applies? There is no definition in Schedule 1. | We are proposing to make a change to the BR Response Time definition to align with the other reserve services. This is being proposed as part of the current BR Article 18 consultation. The live applicable Flexibility Service Standard Agreement is defined in the 'Glossary of General Terms and Rules of Interpretation' https://www.neso.energy/document/346591/download and is currently version 3.0 https://www.energynetworks.org/publications/standard-agreement-for-flexibility-services-ver-3.0
Tesla | N/A | N/A
Sembcorp Energy UK | In general, we are happy that Slow Reserve has similar terms and procurement rules as Quick Reserve. | Thank you for the positive feedback.
Octopus Energy | We are very disappointed that this long-awaited service still includes barriers to demand-side response, including requirements around operational metering and latency, which have been raised by industry several times before. With at least 12GW of consumer flexibility needed to achieve the Clean Power 2030 target, NESO should be prioritising inclusive service design and critically assessing which requirements are truly essential. Other countries, like Belgium, have taken more progressive approaches, there’s a real opportunity here for NESO to follow suit. | We're aware that although we have tried to reduce this requirement as much as we can, that it won't be desireable for all market participants, and we have provided more detail in the responses to Q7 that this is the portfolio required granularity and latency which we believe will help some providers achieve this at the aggregated level.
ADE: Demand | No additional feedback on this item. | N/A
Electricity North West Limited | Area: Detail on what API feed and data structure will be available on which service windows will be linked. Draft SR Position: No guidance on how the data feeds that will be available or the format of the messaging. Suggested Update: Guidance to be issued as soon as possible to be consulted on (by July to give as high a chance as possible of building any requirements into our new dispatch system). MWs offered will be automatically calculated by the system which needs to have information on which windows are linked to be able to do this. Rationale: Service providers need to design systems to match NESO market requirements. There is a minimum 6-month lead time on the significant IT development required. | When the service goes live there are no immedate plans to link any specific service windows. We will give at least 14 days notice (i.e. before the auction opens) if we decide to use the functionality of Linked Service Windows. If an auction contains Linked Service Windows, participants will be able to see a text box in the participants UI in EAC listing all Linked Service Windows and any bids that dont link these windows would not be accepted into the auction and providers would receive notification to that effect, allowing for resubmission of the sell-order. We have no immediate plans to create an automated notification to providers via an API as you have suggested, but we are happy to discuss this as a future enhancement (where appropriate and economic to do so) and would welcome the opportunity to discuss the suggestion in more detail.

## Q17 QR Dataset
Company Name | Quick Reserve. In line with Slow Reserve, we are proposing to broaden the dataset published for Quick Reserve. Please share your thoughts on the proposed new paragraph 20.12 for Quick Reserve Service Terms as outlined in the 'Letter to Industry' that accompanies this consultation. | NESO Response
EDF Energy | We welcome the proposed new paragraph and the visibility this will offer to market participants of any actions that NESO has taken on non-BM assets made available via the SR/QR services. Can you confirm that this data will feed into the NIV & SIP calculation process from day one please? | Non-BM data for QR and SR will feed into the NIV and SIP calculation from day one, in accordance with the updated BSAD Methodology Statement (subject to Ofgem approval). The data we are proposing to publish is just for further industry transparency.
Flexitricity Limited | See answer to Question 15 above. Response to Q15: Under the STOR service, capacities and market clearing price are included in the dataset. The addition of utilisation prices is new, similar to inclusion of operational and performance metering data, which we understand is not a new proposal. Flexitricity has concerns that performance metering data may expose operational failings for service providers. This has a reputational risk to service providers and as such we request NESO consider the implications this has with respect to fair market conditions. | The proposal related to publishing Performance Metering data is just to provide NESO with consent to publish amongst a number of other data sets, should we wish to do so. We have no plans to publish Performance Metering data from go live, as we see these as new services that require time to embed. We will monitor provider performance in accordance with the service terms with the applicable penalties applied, but in addition and where appropriate we reserve the right to consider publishing Performance Metering data in the future and would engage with industry before proposing any such publication.
RWE | Yes – as indicated in the answer to Q15, we are in support of NESO publishing the additional data sets. Response to Q15: Yes – we are in support of NESO publishing the additional data sets. | Thank you for the feedback and support
Drax Group plc | N/A | N/A
SSE Renewables & SSE Thermal | We value transparency and are generally supportive of broadening the dataset for non-BMUs. The published datasets should be consistent across the different services. | Thank you for the feedback and support
Tesla | No Response | N/A
Sembcorp Energy UK | As above with Slow Reserve, we are happy with the combined publication of this data. | Thank you for the feedback and support
Octopus Energy | Yes we support broadening the dataset for Quick Reserve. | Thank you for the feedback and support
ADE: Demand | As with the broadened publication of Slow Reserve datasets, we support the increased data transparency for Quick Reserve. | Thank you for the feedback and support
ENWL | We would welcome equal data publishing requirements for BM and non-BM units across all elements which must include publication and tagging of activation data at the same time for QR capable BM units as non-BM units in the optional QR markets. Currently the planned design includes an inherent advantage for BM units as they can clearly see live non-BM unit prices on a single feed while this isn’t possible for BM unit activations (this have been confirmed following extensive consultation with NESO and Elexon). Currently BM activation data including pricing details is visible significantly later for BM activations than for non-BM activations. BM activation data is published a significant amount of time after the period has ended, whereas non-BM activation data is published in a live online data feed. Equal information across market participants is a key part of market set up that does not appear to have been considered in detail by NESO, we ask that there is an in-depth review of this as part of market set up to ensure an absence of information or unequal information does not undermine market operation and benefits for customers. We would welcome full alignment on data publication between BM and non-BM units, this should be considered holistically to ensure that the unfair advantages already available to BM units are not exacerbated by the suggested amendments. | We agree that equal data transparency across market participants is important across the new reserve products. For QR non-BM units we are looking to publish (on our Data Portal) available MW, Utilisation Price and FPN, as submitted in their mandatory availability declarations into OBP, close to realtime (exact timing TBC) after gate closure for each Settlement Period. We are in the process of finalising when we will be ready to publish this data and hope for it to available soon after go live of the non-BM QR service. For a BM unit their available MW and price and FPN are published with a 5 minute SLA of gate closure (published once every 30 mins). We will also publish from go live (on our Data Portal) all non-BM dispatch data within 2 minutes and any change / cease also within 2 minutes after instructed. For BM unit dispatch instructions (BOAs) these are also published with a 5 minute SLA of the instruction being issue. We recognise that non-BM data is tagged against the relevant Balancing Service on our data portal and that is not the same for BOAs as they are not tagged at Elexon publication for a specific Balancing Service. This is partly due to Elexon and NESO system configuration constraints making it challenging to tag BOA data to a Balancing Service. But also, for Balancing Services such as Quick Reserve we are buying the capacity, and not all BM instructions for QR units are attributable to the service as they can be utilised for balancing actions and so there is not a clean separation of BOAs into different services. In contrast non-BM routes for dispatch are specified by Balancing Service (i.e. there is no route to dispatch outside of a service for non-BM) and this is why we can brake down specifically for publication. However, we are publishing auction results data, confirming which BM and non-BM units have been awarded a firm contract for each 30 minute Settlement Period, which can easily be extracted and linked to the published BM data outlined above (BOA) to derive/match the BM unit to the applicable Balancing Service. We welcome your feedback on a review of current arrangements and we will consider the best approach to undertake a review of the data we publish across our services to ensure we have full alignment across BM and non-BM market participants for new and existing services.
First Hydro Company | The ‘letter to the industry’ was published in the Slow Reserve section of the website and is part of the consultation regarding Slow Reserve. As a question of process, it is not obvious that amending QR service terms in this way is satisfactory. At the very least, there should be a link to this letter on the QR part of the NESO website. Otherwise, QR providers may have missed that the service terms are being altered. | Thank you for your feedback. The publication of additional data to further align transparency across BM and non-BM markets was something both NESO and industry were keen to do as soon as possible. We took the opportunity to propose this as an addition to the Quick Reserve Phase 2 A18 consultation whilst still on-going, and with Ofgem agreement we were able to seek industry feedback on this matter through the Slow Reserve consultation. Acknowledging that NESO wouldn’t normally seek to run a consultation in this way, we believe adopting a flexible and expedient approach in this instance will bring worthwhile benefits to both industry and end-consumer. Whilst we don’t plan to repeat such an approach in future, we will of course reflect on the mechanisms and processes to make improvements should the situation arise.