## Slide 1: Transmission Charging Methodologies Forum and CUSC Issues Steering Group
4 September 2025

## Slide 2: Agenda
1 | Introduction, meeting objectives and review of previous actions - Alastair Owen, NESO | 10:00 - 10:10
2 | CMP456 Cost recovery for Grid Code Modification GC0168 – Tim Ellingham, RWE | 10:10 - 10:30
3 | TNUoS Tariffs 5 Year View Update – Nick Everitt, NESO | 10:30 - 10:50
4 | CUSC Panel update on prioritisation of Modifications – Harriet Harmon, Ofgem | 10:50 – 11:10
5 | Revisiting Schedule 32: Residual Charging Bands - Hakan Feridun, Energunite | 11:10– 11:30
6 | Code Administrator update – Catia Gomes - Code Administrator NESO | 11:30– 11:50
7 | AOB and Meeting Close - Alastair Owen, NESO | 11:50– 12:00

## Slide 3: TCMF Objective and Expectations
Objective
Develop ideas, understand impacts to industry and modification content discussion, related to the Charging and Connection matters.
Anyone can bring an agenda item (not just the NESO!).
Expectations
Explain acronyms and context of the update or change.
Be respectful of each other’s opinions and polite when providing feedback and asking questions
Contribute to the discussion
Language and Conduct to be consistent with the values of equality and diversity
Keep to agreed scope

## Slide 4: Review of previous action
ID | Month | Description | Owner | Notes | Target Date | Status
24-12​ | July​ | Post implementation analysis of CMP376: Inclusion of Queue Management process within the CUSC.​ | DA​ | NESO will reopen this action in April 2025, as that will be 12 months after CMP376 was included in contract terms. | October 2025 | On Hold
24-14​ | October​ | Data post CMP376 implementation on the TEC register around projects moving forward, backward or staying the same.​ | DA​ | ​ | October 2025 | Ongoing
24-15 | May | Consider how to report meaningful connections data following the recent 'Pause' in connections reform activity. | JS | Whilst there is a pause in the new connection data being shared at TCMF, JS to consider how data can be made more accessible to Industry | Pending formed queue | Ongoing

## Slide 5: CMP456 - Cost recovery for Grid Code Modification GC0168
Tim Ellingham, RWE

## Slide 6: Issue
GC0168 enables the NESO to request Electromagnetic Transient Models from Generators where one has not been provided previously
These models are non-trivial to produce, particularly for legacy plant where they may need to be produced by interrogating installed equipment
This can be a specialist task that even OEMs are not prepared to undertake
Modelling costs have been seen into the multiple £ hundreds of thousand
The benefit of the model is purely for the NESO

## Slide 7: Proposal
Allow Generators to recover the cost of EMT model production from the NESO and subsequently BSuoS (subsequent mod required?) in a similar fashion to the ESRS recovery in CMP398
Costs to be recovered
It is proposed that recoverable costs encapsulate:
EMT model production:
  Procurement of a suitable contractor
  Physical interrogation of existing control system
  Production of equivalent model in PSCad (version#)
  Model User guide and report creation
  Liaison with NESO for verification, see below
Model verification physical test runs (when the plant is to be run out-of-merit):
  Out of the money market equalisation (possibly by a pre-arranged BOA/7a trade)
  Contractor on-site fees

## Slide 8
Outline Process to be followed (detail to be developed by workgroup)
NESO request the EMT model and agree the parameters of the model.
Generators assess the cost of providing the EMT model. Generators seek ex ante pre-expenditure approval requests for costs in excess of £[200]k.
Generators develop the EMT model and make ex post claim for costs.
NESO panel assess costs and can request further information if needed.
Dispute resolution process to be discussed by workgroup.
Payment of agreed costs by NESO to generator either in single sum or instalments, in a time frame to be discussed by the workgroup.
There will need to be a cut-off date such that generators connected after a certain date will not be eligible to apply for refund of EMT model costs. This should be determined by the workgroup.

## Slide 9: TNUoS Tariffs 5 Year View Update
Nick Everitt, NESO

## Slide 10: 5 Year View Forecast TNUoS Tariffs (2026/27 to 2030/31)
We have published the 5-year view of TNUoS Tariffs for 2026/27 to 2030/31.
The report and the tables can be accessed through the links below.
Download the Report
Download the Tables File
We are hosting a webinar on Wednesday 17 September to go through the key findings and answer your queries on this publication. Register for the webinar at the link below.
If you would like to ask any questions ahead of the webinar, please email us at TNUoS.queries@neso.energy
Webinar Sign Up Here

## Slide 11: CUSC Panel update on prioritisation of Modifications
Update regarding the Prioritisation of CUSC modifications
Should you require any assistance regarding this going forward, please reach out to a CUSC Panel representatives (details on the next slide)
Harriet Harmon, Ofgem

## Slide 12: Revisiting Schedule 32: Residual Charging Bands
Addressing Clauses Under Section 6
Hakan Feridun, Director, 04.09.2025

## Slide 13: The Problem Explained
In many instances, the Maximum Import Capacity (MIC) levels were set too high a long time ago.
Due to rising Residual charges, applicable Customers will want to reduce their agreed MIC with their DNO / IDNO based on their historical HH data usage.
However existing Commercial Codes are preventing the supplies to move to lower Residual Charging Bands after lower MIC levels are agreed.

## Slide 14: An Example of the Problem
Company A:
Original MIC = 105 kVA
Band = LV2
2025/26 TNUoS Charge = £6.529117/day
vs
Company B:
Original MIC = 200 kVA
Updated Agreed MIC = 105 kVA
Band = LV3
2025/26 TNUoS Charge = £10.251874/day
Despite agreeing a new MIC with the DNO at 105 kVA, Company B will continue to be charged TNUoS at £10.251874/day.
Certain Commercial Code clauses are preventing Company B supply from moving to the lower LV2 Band

## Slide 15: The Issue With Section 6.2
“Where a Customer or its Registrant applies to the DNO/IDNO Party to have a Final Demand Site reallocated as described in Paragraph 6.1(b), such application must be accompanied by:
for Paragraph 6.1(b)(i), a signed Connection Agreement for the Final Demand Site, and a signed letter from the Customer's company director (or equivalent) confirming exceptional and significant changes to the use of the site; or …”
We propose the yellow highlight only in 6.2(a) is removed leaving the rest.
In the example earlier, there was no exception or significant changes to the use of the site. It was simply set too high before when Residual charges were lower.

## Slide 16: The Issue With Section 6.3 (Part 1)
“The exceptional circumstances described in Paragraph 6.1(b) will be subject the following materiality threshold:
a) (subject to Paragraph 6.3(b)) for Final Demand Sites allocated in accordance with Paragraph 4.1(a) or4.1(b)(i), the Maximum Import Capacity at the Final Demand Site must have either increased or decreased by more than 50 percent in comparison to the Maximum Import Capacity of the Final Demand Site at the end of the period used for the purposes of such allocation (and the average Maximum Import Capacity is not to be used as the comparator);
b) for Final Demand Sites allocated in accordance with Paragraph 4.1(a) or 4.1(b)(i) and then re-allocated under Paragraph 6.1, the Maximum Import Capacity at the Final Demand Site must have either increased or decreased by more than 50 percent in comparison to the Maximum Import Capacity of the Final Demand Site at the end of the period used for the purposes of such re-allocation (and the average Maximum Import Capacity is not to be used as the comparator);...”

## Slide 17: The Issue With Section 6.3 (Part 2)
“The exceptional circumstances described in Paragraph 6.1(b) will be subject the following materiality threshold:
…
c) Final Demand Sites allocated in accordance with Paragraph 4.1(b)(ii) may only be re-allocated under Paragraph 6.1 following their re-allocation under Paragraph 6.7, and only if the Maximum Import Capacity at the Final Demand Site has either increased or decreased by more than 50 percent in comparison to the Maximum Import Capacity of the Final Demand Site at the end of the period used for the purposes of such re-allocation (and the average Maximum Import Capacity is not to be used as the comparator); and/or
We propose 6.3(a) and 6.3(b) are both removed entirely.
We also propose the yellow highlight only in 6.3(c) is removed leaving the rest.
In the example earlier, Company B reduced their agreed MIC from 200 kVA to 105 kVA. This is not more that 50 percent and the Band remains unchanged as it stands.

## Slide 18: Implications If No Change
Customer Reduces Their Agreed MIC:
If there is no exceptional or significant change to the use at site, they will be charged higher standing charges than other supplies with the same agreed MIC.
Our proposed changes would result in all supplies being charged fairly the same based on their latest agreed MIC.
Customer Does Not Change Their Agreed MIC:
Despite it being feasible to do so, they will experience higher energy costs with a greater share contributed by their standing charges.
Additionally, less Capacity will be available for others.
Our proposed changes would encourage Customers to reduce their agreed MIC where suitable.

## Slide 19: Final Comments
Key Benefits of Proposed Changes:
Customers are charged more fairly for DUoS & TNUoS.
Available capacity (not in use by Customers) reallocated to those who need.
Clearer Residual charges which are easier to administer.

## Slide 20: Code Administrator Update
Catia Gomes - Code Administrator NESO

## Slide 21: Key Updates since last TCMF
New Modifications / Nominations
Decisions
CMP459 ‘Charging TNUoS on a monthly basis’ proposal received on 07 August. At the Special CUSC Panel held on 14 August 2025, the Panel by majority agreed that CMP459 has substantially the same effect as Pending CUSC Modification Proposal CMP445 and directed the Code Administrator to reject the Proposal under CUSC clause 8.16.6.
CMP458 ‘Prorating of transmission residual demand charges’ proposal received on 06 August and withdrew on 18 August.
  CMP418 ‘Refine the allocation of Dynamic Reactive Compensation Equipment (DRCE) costs at OFTO transfer’ on 04 August the Authority rejected this modification.
  CMP450 ‘Introducing the definition of Dynamic Reactive Compensation Equipment (DRCE) in the CUSC’ on 04 August the Authority rejected this modification.

## Slide 22: Key Updates since last TCMF
Implementations
  CMP455 ‘​Minor Amendments to the CUSC following implementation of CMP434/CMP435’ implemented on 22 July 2025.

## Slide 23: Authority Expected Decision Date
The Authority’s publication on decisions can be found on their website below:
https://www.ofgem.gov.uk/publications/code-modificationmodification-proposals-ofgem-decision-expected-publication-dates-timetable
Modification | FMR submitted | Expected Decision Date
Review’​CMP315 ’TNUoS Review of the expansion constant and the elements of the transmission system charged for’ and CMP375 ‘Enduring Expansion Constant & Expansion Factor Review’​ | 07 February 2024​ | TBC pending update on REMA (previously 07 February 2025)​
CMP316 ‘TNUoS Charging Methodology for Co-located Generation’ | 08 August 2025 | TBC
CMP330 & CMP374 ‘Allowing new Transmission Connected parties to build Connection Assets greater than 2km in length and Extending contestability for Transmission Connections’​ | 10 August 2023​ | TBC subject to CMP414 send back ​
CMP397 ‘Consequential changes required to CUSC Exhibits B and D to reflect CMP316 (Co-Located Generation Sites)’​ | 12 June 2024​ | 30 September 2025 (subject to CMP316 send back)
CMP432 ‘Improve “Locational Onshore Security Factor” for TNUoS Wider Tariffs’ | 15 May 2025 | TBC
CMP444 ‘Introducing a cap and floor to wider generation TNUoS charges’ | 28 March 2025 | TBC (Authority are currently consulting. Closing date 11 August 2025)
CMP448 ‘Introducing a Progression Commitment Fee to the Gate 2 Connections Queue​’ | 14 July 2025 | 

## Slide 24: Key Consultations in September
Workgroup Consultations
Appeals Window
Code Administrator Consultations
  CMP454 ‘CMP434 / CMP435 Section 11 Changes’ opens 11 September and closes 01 October
None.
  CMP447 ‘Removal of designated strategic works from cancellation charges/securitisation’ opens 19 September and closes 03 October.
  CMP453 ‘To Bill BSUoS on a net basis at BSC Trading Units’ opens 29 September and closes 17 October.

## Slide 25: CUSC Panel Elections 2025
CUSC Panel Elections Material

## Slide 26: Useful Links
Updates on all Modifications are available on the Modification Tracker here
The latest CUSC Panel Headline Report and prioritisation stack are available here
Ofgem’s expected decision dates/ date they intend to publish an impact assessment or consultation, for code modifications that are with them for decision are available here
If you would like to receive updates from the Code Administrator on CUSC modifications, please join the distribution list here

## Slide 27
 | Panel Dates | Papers Day | Modification Submission Date | (TCMF) CUSC Development Forum
December | 13 | 5 | 28 November | 21 November (cancelled)
January | 31 | 23 | 16 | 9
February | 28 | 20 | 13 | 6
March | 28 | 20 | 13 | 6
May (April’s Panel) | 02 | 24 April | 15 April | 10 April (cancelled)
May | 23 | 15 | 8 | 8
June | 27 | 19 | 12 | 5
July | 25 | 17 | 10 | 3 (cancelled)
August | 22 | 14 | 7 | 7
September | 26 | 18 | 11 | 4
October | 31 | 23 | 16 | 2
November | 28 | 20 | 13 | 6
December | 12 | 4 | 16 | 20 November
CUSC 2025 - Panel dates

## Slide 28: Your CUSC Panel representatives
Industry is represented at CUSC Panel by representatives, who would love your input. Their contact details can be found here.
Panel members represent their industry segments at Panel; the more input they have, the more your voice can be heard.
Anthony Pygram | Independent Panel Chair |  | Joseph Dunn | Panel Member |  | Camille Gilsenan | NESO Representative
Catia Gomes | Panel Secretary and Code Administrator Representative |  | Kyran Hanks | Panel Member |  | Daniel Arrowsmith | NESO Representative
Ren Walker | Panel Technical Secretary |  | Paul Jones | Panel Member |  | Andy Pace | Consumer Panel Representative
Andrew Enzor | Panel Member |  | Cem Suleyman | Alternate Panel Member |  | Rashmi Radhakrishnan | BSC Representative
Binoy Dharsi | Panel Member |  | Mark Duffield | Alternate Panel Member |  | Nadir Hafeez | Ofgem Representative
Garth Graham | Panel Member |  | Lauren Jauss | Alternate Panel Member |  | Harriet Harmon | Ofgem Representative
Joe Colebrook | Panel Member |  |  |  |  |  | 

## Slide 29
AOB and meeting close

## Slide 30: ORPS methodology review - webinar
Our Innovation project, funded through the Network Innovation Allowance (NIA) is reviewing the Obligatory Reactive Power Service (ORPS) methodology, and is now entering its final phase.
This phase of the project seeks to present to industry the process undertaken to develop a new methodology and gather feedback on the design.
We invite ORPS service providers and industry representatives to join a webinar where they can share their views on the proposed recommendations. This session will also capture feedback to guide our next steps.
NESO’s project partners DNV are hosting the webinar on Thursday 25th September, 13:00 to 14:30
If you are interested in attending, please contact box.futureofbalancingservices@neso.energy