## Slide 1: Scenario A
A single transmission circuit between 2 MITS nodes where there’s no other route for the power to flow between them
MITS Node
Double transmission circuit
Single transmission circuit
Single transmission circuit between 2 MITS nodes where there’s no other route for the power to flow between them

## Slide 2: Scenario B
A chain of single transmission circuits between MITS nodes where there’s no other route for the power to flow between them
Double transmission circuit
Single transmission circuit
MITS Node
Single transmission circuit between 2 MITS nodes where there’s no other route for the power to flow between them

## Slide 3: Scenario C
A single transmission circuit between clusters of MITS nodes where there’s no other route for the power to flow between them
Double transmission circuit
Single transmission circuit
MITS Node
Single transmission circuit between 2 MITS nodes where there’s no other route for the power to flow between them

## Slide 4: Scenario D
2 MITS nodes connected by 2 single circuit transmission circuits enabling two routes for the power to flow between them
Double transmission circuit
Single transmission circuit
MITS Node
Single transmission circuit between 2 MITS nodes where there’s no other route for the power to flow between them

## Slide 5: Scenario E
A double transmission circuit between 2 MITS nodes enabling two routes for the power to flow between them
Double transmission circuit
Single transmission circuit
MITS Node
Single transmission circuit between 2 MITS nodes where there’s no other route for the power to flow between them