| Stage 3: Workgroup Report |  | At what stage is this document in the process? |
| --- | --- | --- |
| CMP320 Mod Title: Island MITS Radial Link Security Factor |  | 01 Proposal Form 02 Workgroup Consultation 03 Workgroup Report 05 Draft CUSC Modification Report Consultation 06 Final CUSC Modification Report 04 Code Administrator Consultation |
| Purpose of Modification: Islands that have a Main Interconnected Transmission System (MITS) Node but are served by a single circuit radial link are exposed to non-cost reflective charging of a 1.8 Security Factor rather than the application of a 1.0 Security Factor. This proposal will apply a 1.0 Security Factor in that situation. |  |  |
|  | This document contains the discussion of the Workgroup which formed on 23 August 2019 to develop and assess the proposal, the responses to the Workgroup Consultation which closed on 27 September 2019, the voting of the Workgroup held on 8 November 2019 and the Workgroup’s final conclusions. |  |
|  | High Impact: Island based Generation |  |
|  | Low Impact: Non-Island based Users |  |
|  | The Workgroup concludes: [To be added] |  |

| Contents 1 About this document 3 2 Original Proposal 4 3 Proposer’s Solution 5 4 Workgroup Discussion 6 5 Workgroup Consultation responses 8 6 Relevant Objectives 10 7 Implementation 11 Annex 1 Terms of Reference 11 Annex 2 Network Circuit Topographies 11 Annex 3 Draft Legal Text 11 Annex 4 Workgroup Attendance Log 12 Annex 5 Workgroup Consultation Responses 13 Timetable The Code Administrator recommends the following timetable:. Initial consideration by Workgroup; 23 August 2019. Publish Workgroup Consultation; 6 September 2019. Workgroup Consultation closes; 27 September 2019. Workgroup Report presented to Panel; 28 November 2019. Code Administration Consultation issued to the Industry; 6 December 2019. Code Administration Consultation closes; 10 January 2020. Draft Final Modification Report presented to the CUSC Panel; January 2020 Panel. Submit Final Modification Report to the Authority; Early February. Authority Decision; March 2020. Implementation into CUSC; 1 April 2020. | Any questions? |
| --- | --- |
|  | Contact: Paul Mullen Code Administrator |
|  | paul.j.mullen@nationalgrideso.com |
|  | 07794537028 |
|  | Proposer: Jennifer Geraghty |
|  | Jennifer Geraghy@sse.com |
|  | 00353 1 655 6619 |
|  | National Grid ESO Representative: Grahame Neale |
|  | Grahame.Neale@nationalgrideso.com |
|  | 07787 261242 |

# About this document

This document contains the discussion of the Workgroup which formed on 23 August 2019 to develop and assess the proposal, the responses to the Workgroup Consultation which closed on 27 September 2019, the voting of the Workgroup held on 8 November 2019 and the Workgroup’s final conclusions.

Workgroup Conclusions

[Details of Workgroup Vote to be added]

Section 2 of this document (Original Proposal) and Section 3 of this document (Proposer’s Solution) are sourced directly from the Proposer and any statements or assertions have not been altered or substantiated/supported or refuted by the Workgroup.

Section 4 of this document contains the discussion by the Workgroup on the Proposal and the potential solution.

The CUSC Panel detailed in the Terms of Reference the scope of work for the CMP320 Workgroup and the specific areas that the Workgroup should consider. The table below details these specific areas and where the Workgroup have covered them or will cover post Workgroup Consultation. The full Terms of Reference can be found in Annex 1.

Table 1: CMP320 Terms of Reference

| Specific Area | Location in the report |
| --- | --- |
| - The extent to which the MITS connection is financially firm | Section 4 |
| b) Consider the origin of the local circuit security factor and whether those principles need to be considered within the Modification | Section 4 |
| - Consider impacts on and interactions with SQSS | Section 4 |
| - Objective criteria for pulling specific circuits out of the treatment of 1.8 security factor and whether or not it impacts on the calculation of the 1.8 security factor | Section 4 |
| - Ensuring proposed solution doesn’t introduce undue discrimination | Section 4 |

# Original Proposal

#### Section 2 (Original Proposal) is sourced directly from the Proposer and any statements or assertions have not been altered or substantiated/supported or refuted by the Workgroup.

#### Section 4 of the Workgroup contains the discussion by the Workgroup on the Proposal and the potential solution.

#### The full Modification Proposal is set out at:

https://www.nationalgrideso.com/codes/connection-and-use-system-code-cusc/modifications/island-mits-radial-link-security-factor

Please click on “Urgency” tab for most current Modification Proposal.

#### Defect

As noted in CMP213 Final Modification Report (Volume 1) at paragraph 6.29 “In the baseline charging methodology, the security factor for circuits classed as “wider” in the transmission network is 1.8. This is multiplied by the zonal location tariff for generators to reflect redundancy in the transmission system. However, as many island connection transmission designs are radial spurs and therefore are connected by a single radial circuit to the mainland, there is effectively no redundancy in the transmission circuit.”

The definition of MITS means that it is possible, in certain circumstances beyond the control of the User, that a MITS node maybe created on an Island (served by a single radial subsea circuit to the mainland).  This results in the single circuit being classified as part of the ‘wider’ system for which a Security Factor of 1.8 is applied; even though only a single circuit (1.0) situation actually arises.  This would result in non-cost reflective charges being applied to Generation based on the relevant Island.

#### What

The application of the Security Factor where a MITS node is located on an island which, in turn, is connected to the mainland on a single radial subsea circuit needs to be changed from 1.8 to 1.0 if the relevant circumstances apply.

#### Why

The change needs to be made to rectify the situation where a Security Factor of 1.8 is applied as part of the current baseline on Islands served by a single radial circuit where the level of security delivered is 1.0 instead of the 1.8 that the Security Factor applies in terms of charges.  This results in relevant charges paid by Generators on those Islands that are 80% more expensive than is cost reflective.   This situation is expected to arise in the near future as transmission connections and MITS nodes extend to the Scottish Island groupings of the Western Isles, Orkney and Shetland.  This matter was explored by NGESO, the relevant TO and relevant stakeholders at an event on 2 May 2019.

#### How

Amend Section 14 of the CUSC to apply a Security Factor of 1.0 (rather than 1.8) where a MITS node is located on an island which, in turn, is connected to the mainland on a single radial subsea circuit.

# Proposer’s Solution

Section 3 (Proposer’s solution) is sourced directly from the Proposer and any statements or assertions have not been altered or substantiated/supported or refuted by the Workgroup.

Section 4 of the Workgroup contains the discussion by the Workgroup on the Proposal and the potential solution.

Amend Section 14 of the CUSC to apply a Security Factor of 1.0 (rather than 1.8) where a MITS node is located on an island which, in turn, is connected to the mainland on a single radial circuit.

The CUSC will be impacted by this change resulting in a change to the calculation of TNUoS charging by National Grid ESO. We do not expect there to be any significant system impacts form this change.

#### Does this modification impact a Significant Code Review (SCR) or other significant industry change projects, if so, how?

This modification is not expected to impact any ongoing SCRs or other significant industry change projects.

#### Consumer Impacts

This change will lead to more cost reflective charges that, in turn, will result in a more competitive market in terms of generation, which will lead to lower costs for end consumers.

# Workgroup Discussion

The Workgroup met once on 23 August 2019.

Proposer provided an overview of the Modification Proposal and stated:

- Proposed solution is to apply a security factor of 1.0 rather than 1.8 where a MITS node is located on an island which, in turn, is connected to the mainland on a single radial circuit;

- Current arrangements for Remote Island generation are discriminatory and not cost effective; and

- CMP320 (by incorporating Remote Island generation) builds on the principles approved by GB-ECM11.

Terms of Reference

Workgroup were happy with the Terms of Reference agreed at Panel on 26 July 2019

Workgroup then addressed each of these Terms of Reference in turn:

- The extent to which the MITS connection is financially firm

- Anyone who has restrictions on availability will have a Bilateral Agreement, which will set out such restrictions on availability and defines which circuits are impacted and impacted and the associated conditions that are applied to those circuits. A Transmission Related Agreement recovers any costs triggered by taking bids in the Balancing Mechanism where the Generator fails to reduce its output as detailed in the Bilateral Agreement. The workgroup was informed that any generators connected to such MITS connections on the Remote Islands would not have financially firm connections and indeed would have such restrictions in their Bilateral Agreements, as would also be the case for local circuits with similar restrictions on availability.

- Consider the origin of the local circuit security factor and whether those principles need to be considered within the Modification

- It was noted that CMP320 (by incorporating Remote Island generation) simply builds on the principles approved by GBECM-11 “Charging arrangements for generator local assets”. This is because GBECM-11 proposed a lower level of security factor to be applied as individual generators are fully exposed to the consequence of access restrictions that result from their design variations.  On the basis that these restrictions applied equally to the Remote Island Connections for the network connecting the island MITS to the mainland MITS, it therefore appeared appropriate to apply the same principle.

- Consider impacts on and interactions with SQSS

- The National Electricity Transmission System Security and Quality of Supply Standard (NETS SQSS) assumes that a Transmission Owner will build to full redundancy. However, when applying to the National Grid ESO for a connection,  Generators can choose a Design Variation, which is a connection which is non-compliant with the NETS SQSS.  System studies would identify which parts of that solution are not compliant with NETS SQSS and restrictions on availability would be set out in the Generator’s Bilateral Agreement with National Grid ESO.

- It was noted that in this case, it is not necessarily the choice of the Generators that the NETS is not compliant with the NETS SQSS – it is the choice of the Transmission Owner supported by the Cost Benefit Analysis.

- Objective criteria for pulling specific circuits out of the treatment of 1.8 security factor and whether or not it impacts on the calculation of the 1.8 security factor

- The question considered by the Workgroup is where a circuit that has no redundancy has a Locational Onshore Security Factor of 1.0, how can we be sure that there is no double counting in calculation of 1.8 for the rest of the circuits.

- The Workgroup examined the wording in CUSC Section 14.15.90 (replicated below) to ascertain if the wording was clear enough that there would be no double counting. The Workgroup agreed that it could be read either way.

“The Locational onshore security factor derived for 2010/11 is 1.8 and is based on an average from a number of sites conducted by The Company to account for future network developments. The security factor is reviewed for each price control period and fixed for the duration”

- Furthermore, a Workgroup member asked National Grid ESO to confirm the process they follow now. National Grid ESO confirmed that the local circuits are excluded from the calculation of 1.8 and therefore it was agreed that additional legal text needs to be added to make it clear that if any circuit is subject to its own security factor then this circuit would not be used in the calculation of the Locational onshore security factor. The legal text agreed is set out in Section 3 of this Workgroup report.

- Ensuring proposed solution doesn’t introduce undue discrimination

- Proposer confirmed that they are seeking to address the issue for Remote Island generation; however, workgroup members challenged this as potentially discriminatory in relation to other sites with similar arrangements and asserted that the solution (and legal text) should look at describing the characteristics of the connection arrangement and the transmission network  rather than being remote island specific.

- Proposer confirmed that this broader approach wasn’t proposed originally for fear of unforeseen consequences; however, they noted from discussions that broadening could appear to make it more acceptable.

- The Workgroup then debated a number of network circuit topographies (set out in Annex 2) to ascertain which should result in a security factor of 1 being applied to the single circuit. After informed discussion, Workgroup agreed that the new arrangements should apply to the single circuits in Scenarios A to B inclusive (shown in red on the diagrams). The Workgroup then updated and agreed draft legal text to support this, which is set out in Annex 3 of this Workgroup Report.

- Since the workgroup meeting on 23 August, the Proposer has confirmed that they would like to leave their Original proposal unchanged to remain focused only on island single circuit situations, although they would be happy to support an alternative which was generic to island and non-island situations alike. The legal text in Annex 3 covers both the solution focused on island single circuit situations and the possible alternative (if this is formally raised as an alternative) which covers island and non-island solutions. An additional workgroup consultation (Q7 in Section 5 of this Workgroup Report) has been added to seek industry views on this matter.

- Another workgroup member has subsequently stated that the proposal appears to be restricted to a solution to a single circuit defect and believes that the Proposer’s solution is to address a problem that may only endure for a short time until the second link is built and therefore there would be some redundancy. A workgroup member is considering a Workgroup Alternative CUSC Modification to address this “second link” scenario. However, another workgroup member argued that CMP320 deals only with the defect of a single radial subsea circuit and does not believe that the situation where there may be more than one subsea circuit(s) would be a valid alternative for CMP320. This is because it would not address the CMP320 defect, but would instead address a different defect, so would be out of scope of CMP320. Double circuits were briefly discussed in the Workgroup. It was assumed for the discussions that a double circuit would be considered as two independently operable ‘single circuits’ and so would be out of scope of the defect – see scenario E in Annex 2.

# Workgroup Consultation responses

Eleven responses were received to the Workgroup Consultation which closed on the 27 September 2019.  One of these responses is to be treated as confidential at respondent’s request. The remaining ten responses are set out in Annex 4 of this Workgroup Report.

Workgroup Consultation respondents were largely supportive of the modification and the majority of respondents believed that:

- The Original better facilitated the CUSC Objectives than the Baseline;

- The Workgroup’s Terms of Reference had been met;

- The proposed legal text was suitable for the proposed solution; and

- Solution should be specific to remote island generation

However, there were a minority who did not agree with the above view

- One respondent believed that the Original will not better facilitate the CUSC Objectives than the Baseline as they believed that the current proposed legal text does not address the main purpose for the Modification which the respondent stated is “to ensure that single circuit radial links are not exposed to non-cost reflective charging if they become part of the MITS”;

- On the Terms of Reference, one respondent believed that “more work needs to be done to ensure the calculation of the locational onshore security factor is consistent”;

- Two respondents proposed small changes to the existing proposed legal text whilst two other respondents did not believe the current legal text was fit for purpose and one of these has proposed a Workgroup Consultation Alternative Requests for the Workgroup to consider; and

- Three respondents were keen that any solution should not be limited to remote island generation and should be extended the solution to cover all connections with the same characteristics. One of these respondents has proposed a Workgroup Consultation Alternative Request for the Workgroup to consider

As noted above, two Workgroup Consultation Alternative Requests have been proposed – note that none of these have yet been formally raised and are therefore not Workgroup Alternative CUSC Modifications (WACMs). These can be summarised as:

- Not limiting the solution to remote island generation and extending the solution to cover all connections with the same characteristics as otherwise this is discriminatory to onshore generation and there is an increased risk of the Original being rejected by the Authority with no viable alternative option to consider. The legal text has already been developed for this scenario; and

- Redefining what a MITS node is in terms of remote islands connected by a single circuit, and to reclassify them as ‘local circuits, thus removing the need to amend the wider TNUoS charging methodology – the proposer of this Workgroup Consultation Alternative Request has suggested legal text to address this.

On 8 October 2019, the Workgroup explored these proposed Workgroup Consultation Alternative Requests

- On the Workgroup Consultation Alternative Request to extend the solution to cover all connections with the same characteristics, the Proposer and another Workgroup member believed this should be raised as a separate Modification as the defect is clearly limited to remote island generation. They also argued that this would not create undue discrimination because it applies to a group of circuits which the CUSC already explicitly treats differently from other circuits and which the CUSC already deals with on a “case by case basis” and that CMP320 will simply adjust the way this existing “case by case basis” is calculated. The view was not shared by three Workgroup Members who argued that CUSC 8.20.1 is clear that any “Workgroup Alternative CUSC Modification can also relate to the issue identified in the CUSC Modification Proposal”. One respondent also read the defect as remote island generation being an example of the defect rather than the defect being worded to be limited to remote island generation. The proposer of the Workgroup Consultation Alternative Request is now considering raising this as a separate Modification proposal noting the Chair’s view that Ofgem would ideally wish to have both Final Modification Reports when making their assessment.

- On the Workgroup Consultation Alternative Request to redefine what a MITS node is in terms of remote islands connected by a single circuit, the majority of the Workgroup believed that this was outside the scope of the defect and would have cross code impacts e.g. MITS Nodes are also defined in the the NETS SQSS and Grid Code and potential unintended consequences. Therefore, the majority view was this needs to be explored wider; however, as this alternative is limited to remote island generation, this could be a different way to address the defect.

- Relevant Objectives

- This section contains the Proposer’s view of the relevant applicable CUSC objectives.

| Impact of the modification on the Applicable CUSC Objectives (Charging): |  |
| --- | --- |
| Relevant Objective | Identified impact |
| (a) That compliance with the use of system charging methodology facilitates effective competition in the generation and supply of electricity and (so far as is consistent therewith) facilitates competition in the sale, distribution and purchase of electricity; | Positive |
| (b) That compliance with the use of system charging methodology results in charges which reflect, as far as is reasonably practicable, the costs (excluding any payments between transmission licensees which are made under and accordance with the STC) incurred by transmission licensees in their transmission businesses and which are compatible with standard licence condition C26 requirements of a connect and manage connection); | Positive |
| (c) That, so far as is consistent with sub-paragraphs (a) and (b), the use of system charging methodology, as far as is reasonably practicable, properly takes account of the developments in transmission licensees’ transmission businesses; | Positive |
| (d) Compliance with the Electricity Regulation and any relevant legally binding decision of the European Commission and/or the Agency. These are defined within the National Grid Electricity Transmission plc Licence under Standard Condition C10, paragraph 1 *; and | None |
| (e) Promoting efficiency in the implementation and administration of the CUSC arrangements. | None |
| *Objective (d) refers specifically to European Regulation 2009/714/EC. Reference to the Agency is to the Agency for the Cooperation of Energy Regulators (ACER). |  |

- This Modification will ensure that Transmission Network Use of System (TNUoS) charges for Islands which have a MITS node, but are connected to the mainland transmission system via a single radial circuit, are more cost reflective than under the current CUSC baseline.  This will better facilitate Applicable Objective (b).  In turn, by having more cost reflective charges, competition between generators will be enhanced, thus better facilitating Applicable Objective (a).  Finally, this change will bring the baseline CUSC up to date as the transmission system evolves with the introduction of single radial spurs and MITS nodes to Island situation, which will better facilitate Applicable Objective (c).

- Implementation

- Legal text to be implemented into CUSC on 1 April 2020 and to be applicable from 1 April 2020.

- Annex 1 Terms of Reference

This is the Terms of Reference agreed at the CUSC Panel on 26 July 2019.

- Annex 2 Network Circuit Topographies

- These are the network circuit topographies discussed by the Workgroup to ascertain which best represented the situation we are trying to resolve.

- Annex 3 Draft Legal Text

- This is the proposed legal text changes for the “Locational Onshore Security Factor” -  CUSC Sections 14.15.88 to 14.15.90 inclusive.

- Annex 4 Workgroup Attendance Log

| Name | Organisation | Role | 23/08/2019 | 08/10/2019 | 08/11/2019 |
| --- | --- | --- | --- | --- | --- |
| Rob Marshall | Code Administrator, National Grid ESO | Chair | Attended | Did not attend |  |
| Paul Mullen | Code Administrator, National Grid ESO | Technical Secretary | Attended | Attended as Chair and Technical Secretary |  |
| Grahame Neale | National Grid ESO | Workgroup member | Attended | Attended |  |
| Jennifer Geraghty | SSE Generation Ltd. | Workgroup member/Proposer | Attended (via webex) | Did not attend |  |
| John Tindal | SSE Renewables Developments (UK) Ltd | Workgroup member | Attended | Attended |  |
| Paul Mott | EDF Energy Limited | Workgroup member | Attended (via webex – part meeting) | Attended |  |
| Guy Nicholson | Statkraft UK Ltd. | Workgroup member | Did not attend | Did not attend |  |
| Alex Savvides | Statkraft UK Ltd. | Workgroup member (Alternate to Guy Nicholson) | Did not attend | Attended |  |
| Robert Longden | Cornwall Insight Ltd | Workgroup member | Attended (via webex) | Did not attend |  |
| Paul Jones | Uniper Energy | Workgroup member | Attended | Attended |  |
| Simon Swiatek | BayWa RE | Workgroup member | Attended (via webex) | Attended (via webex) |  |
| Alan Knight | Hoolan Energy Limited | Workgroup member (Alternate to Lizzie Foot) | Attended (via webex) | Did not attend |  |
| Dennis Gowland | Fairwind Orkney Ltd | Workgroup member | Attended (via webex) | Attended |  |
| Aaron Priest | Viking Energy Windfarm LLP | Observer | Attended (via webex) | Attended (via webex as Proposer) |  |

- Annex 5 Workgroup Consultation Responses

- This sets out the Workgroup Consultation Responses received as part of the Workgroup Consultation which ran from 6 September 2019 to 5pm on 27 September 2019.

https://www.nationalgrideso.com/document/6246/download

A node with either (i) more than 4 Transmission Circuits; or (ii) 2 or more Transmission Circuits and a Grid Supply Point.

Radial circuits are single ‘spurs’ that link generation and/or demand in one location to the wider interconnected transmission network.

https://www.ofgem.gov.uk/ofgem-publications/52524/151208-ecm-11-decision-letter.pdf

8.20.1 If the CUSC Modifications Panel has decided not to proceed directly to wider consultation (or where the provisions of Paragraph 8.19.5 apply), a Workgroup will be established, or an existing Standing Group identified and actioned, by the CUSC Modifications Panel to assist the CUSC Modifications Panel in evaluating whether a CUSC Modification Proposal better facilitates achieving the Applicable CUSC Objectives and whether a Workgroup Alternative CUSC Modification(s) would, as compared with the CUSC Modification Proposal, better facilitate achieving the Applicable CUSC Objectives in relation to the issue or defect identified in the CUSC Modification Proposal……