## 0. Cover Sheet
Strategic Spatial Energy Plan (SSEP) Data Inputs & Assumptions
This workbook is intended to provide additional information about the data inputs and assumptions used in the development of the SSEP. The data and assumptions reflect policies in place and available information when the SSEP modelling was carried out. This will be updated regularly to reflect any new data that is published and may be subject to change. More information can be found on our website
www.neso.energy/strategic-spatial-energy-planning-ssep |  |  | Or get in touch: | box.ssep@neso.energy
Please note: While NESO has not sought to mislead any person as to the contents of this document and whilst such contents represent its best view as at the time of publication, readers of this document should not place any reliance on the contents of this document. The contents of this document must be considered as illustrative only and no warranty can be or is made as to the accuracy and completeness of such contents. Other than in the event of fraudulent misstatement or fraudulent misrepresentation, NESO does not accept any responsibility for any use which is made of the information contained within this document. This workbook contain links to third-party websites that are not owned or controlled by NESO. We have no control over, and assume no responsibility for, the content, privacy policies, or practices of any third-party websites.
Version | Comments | Date |  |  | Date
1 | Initial published version |  |  |  | 2025-11-06
2 | Updated with information on Electricity Network Cost Assumptions - WACC allowance values, Economic and Publication Zones |  |  |  | 2026-02-09
2.1 | Updated the onshore and offshore publication zones, and associated GIS files. |  |  |  | 2026-03-04

## 1. SSEP Inputs and Assumptions
SSEP Data List
Category | Data type | Name | Description | Owner | Publicly available? | Comment | Link to dataset
Geospatial modelling | Input | Spatial Evaluation Framework - Indicator Categorisation | Primary input for the SSEP’s geospatial modelling, helping to identify areas that are potentially suitable for energy infrastructure development. It is applied across four specific spatial pillars; environment, societal, technical engineering design requirements and other spatial uses with categories, subcategories, indicators and their associated metrics sitting within this structure. Indicators are classified as either a spatial exclusion, constraint and/or both an opportunity and exclusion. | NESO | Yes | List of spatial pillars, categories, subcategories and the classification of indicator used in the spatial evaluation framework for input into geospatial modelling. | https://www.neso.energy/document/371256/download
Geospatial modelling | Input | Spatial Evaluation Framework - Datasets | List of the public data sources used to spatially represent indicators within geospatial modelling. Datasets were assessed against specific selection criteria to ensure suitability for inclusion in the SSEP. | NESO | Yes | List of the publicly available data sources used in the Spatial Evaluation Framework. There are other data sources used in the SEF that are not in the public domain, which will be shared in a future release. An update to this was published on 9 February 2026 which included changes to naming conventions for select indicators. | https://www.neso.energy/document/371256/download
Geospatial modelling | Input | Spatial Evaluation Framework - Scoring | Scored datasets representing indicators used in the geospatial model to analyse spatial suitability (a combined view of the most opportune and least spatially constrained areas). Scoring is only applied to constraints and opportunities (not spatial exclusions which are removed from the process). | NESO | To be confirmed | Datasets are scored based on the magnitude of effect and importance of an indicator for each energy infrastructure type. To be published at an aggregated level in line with the draft SSEP publication
Geospatial modelling | Input | Scale of energy infrastructure | Standard project descriptions of each in scope energy technology for the spatial evaluation framework to be used in the geospatial modelling. | NESO | To be published | The standard project descriptions used in the spatial evaluation framework will be published.
Policy | Assumption | Policy assumptions used in economic modelling | List of the government policies that are considered in SSEP pathway assessment process | NESO | Yes | The list of policies considered is published in the SSEP data transparency overview document. | https://www.neso.energy/document/371391/download
Economic modelling | Assumption | Sensitivities | Sensitivities considered in the economic modelling. | NESO | To be published | The sensitivities are being determined in the development of the SSEP and will be published once the modelling phase is completed.
Economic modelling | Input | Baseline | High level overview of what has been included in the SSEP baseline. | NESO | Yes | The high level SSEP baseline is from the Clean Power Action Plan. Baseline description can be found in 3.3.1 SSEP baseline (p. 49). | https://www.neso.energy/document/360501/download
Economic modelling | Input | Detailed baseline | Detailed description of what has been included in the SSEP baseline. | NESO | No | Commercially confidential information.
Economic modelling | Input | Decommissioned plant | Data of plant that will be decommissioned during the time period of the SSEP. | DESNZ/NESO | No | Commercially confidential information.
Economic modelling | Assumption | Carbon emissions and CCC targets | Carbon emissions and Climate Change Committee targets used in the economic modelling. | DESNZ | Yes | Assumptions based on carbon budget 6. | https://www.theccc.org.uk/publication/sixth-carbon-budget/
Economic modelling | Input | Commodities | Gas, coal and oil prices are regularly published. | DESNZ | Yes | The latest values are published in the Energy and Emissions Projections in Annex M. | Energy and emissions projections: 2023 to 2050 - GOV.UK
Economic modelling | Input | Technology Build costs | Build cost (£/MW). | DESNZ | Yes | Cost and technical assumptions published for the majority of electricity generation technologies, though certain costs may remain confidential due to commercially sensitive information. | Electricity generation costs 2025 - GOV.UK
Economic modelling | Input | WACC for electricity sector technologies | Weighted average cost of capital for electricity sector technologies. | DESNZ | Yes | Hurdle rate estimates for electricity sector technologies. | Hurdle rate estimates for electricity sector technologies - GOV.UK
Economic modelling | Assumption | Demand forecasts | Demand volumes per year per economic modelling zone. | DESNZ | To be confirmed
Economic modelling | Assumption | Flexible demand | Flexible demand assumptions used in modelling. | DESNZ | No | Commercially confidential information.
Economic modelling | Assumption | Data centre assumptions | Data centre assumptions used in modelling. | DESNZ | To be published | Data centre growth assumptions are embedded in overall demand forecasts (see line 15). We also spatially optimise 2GW of data centres on top of these demand forecasts, more information can be found in the methodology. | https://www.neso.energy/document/360501/download
Economic modelling | Assumption | Interconnector assumptions | Detailed assumptions on interconnectors. | NESO | No | Commercially confidential information.
Economic modelling | Assumption | Hydrogen assumptions | Detailed assumptions on hydrogen. | DESNZ | No | Commercially confidential information.
Economic modelling | Input | Electricity Network Cost Assumptions - WACC allowance values | Weighted average cost of capital (WACC) for electricity network. | Ofgem | Yes | Weighted average cost of capital (WACC) for electricity network. Data taken as an input to modelling in October 2025. | https://www.ofgem.gov.uk/sites/default/files/2025-06/Draft-Determinations-Finance-Annex.pdf
Economic modelling | Assumption | Generation and storage build rates | The assumptions on new generation and storage capacity installed per unit of time. | DESNZ | To be confirmed
Economic modelling | Assumption | Electricity Network Build Assumptions | Baseline is based on reinforcements required for CP30 or projects with regulatory funding. | NESO | To be confirmed
Economic modelling | Input | Economic zones | A GIS file showing the economic zones. | NESO | Yes | Economic zones are an amalgamation of grid supply points (GSPs) and transmission network boundaries. Changes to GSPs could trigger a change to economic zones. | Strategic Spatial Energy Plan (SSEP) Onshore Publication Zone Shapefile ¦ National Energy System Operator
Policy | Input | Publication zones | A GIS file showing the land and marine publication zones (updated March 2026). | NESO | Yes | Based on Office for National Statistics (ONS) and Scottish Government public data and the Regional Energy Strategic Plan (RESP) zones, further sub-divided by key electricity transmission network boundaries. Contains OS data © Crown copyright and database right 2023 Source: Office for National Statistics licensed under the Open Government Licence v.3.0 | Strategic Spatial Energy Plan (SSEP) Onshore Publication Zone Shapefile ¦ National Energy System Operator