## Version
Date | Version | Details
2025-11-14 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for November 2025. This file will be updated in December 2025 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Legacy 400kV SGT1 | NGET | 2025-11-05 12:17 |  | To be confirmed
Harker - Hutton 1 400KV CIRCUIT & TCSC1 | NGET | 2025-11-05 23:27 |  | To be confirmed
Dunoon - Sloy - Whistlefield - Windyhill 2 (SWW2/GL2/W2) 132kV circuit | SHETL/SPT | 2025-11-08 09:25 |  | To be confirmed
Shin 132/11kV GT1 | SHETL | 2025-11-14 07:34 |  | To be confirmed