## Data input
Workgroup Consultation Responses Summary
CMP423: Generation Weighted Reference Node
Consultation date: 29 May 2025 - 20 June 2025
Respondent Details |  |  |  | Standard Consultation Questions |  |  |  |  | Specific Consultation Questions |  |  |  |  | Themes
Response Number | Organisation | Name | Organisation type | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Any alternatives? | Q5 - Does the draft legal text satisfy the intent of the modification? | Q6 - Do you agree with the modification does not impact the EBR? | Q7 - Is it beneficial that the modification would largely reinstate the gradient of locational Demand charges? | Q8 - Any comments on the change in revenue collection proportions between generation and Demand? | Q9 - Any comments on the interactions between CMP423 with other modifications, including CMP432, CMP440, CMP442 and CMP444? | Q10 - Any comments on whether the assumption that a change in generation will displace generation elsewhere is appropriate both now and, in the future, and how this applies or is relevant to the modification? | Key points
1 | Northland Power | Als Scrope | Generator | d) e) f) | Yes | Yes | No | Yes | Yes | No response | Yes | Yes | Yes | Supportive of the implementation date to give time to make the necessary changes to Section 14 of the CUSC.
Support the solution as better represents how system balancing is undertaken in practice and places UK Generators in a fairer position in the EU.
The current methodology is seen as distorting charges, with this distortion expected to worsen over time.
Supportive of both CMP423 and CMP432 modifications as they correct flaws in the current methodology.
System generation scaling should follow the principle of being balanced by other Generators, not by adjusting Demand.
2 | ScottishPower Renewables | Ryan Ward | Generator/Storage | d) e) | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Supportive as it aims to deliver more effective competition through cost-reflective price signals for both generation and demand.
The proposal would reduce market distortions for generators and increase compliance with EU regulation 838/2010.
Adoption of a generator-weighted reference node aligns with existing standards and planning processes.
CMP423 should be implemented alongside CMP440 to strengthen locational signals for both demand and generation.
Beneficial for the industry if updated projections and sensitivities, ideally extending to 2035, were shared to support a more comprehensive assessment.
3 | West of Orkney Wind Farm | Alan Kelly | Generator | d) e) f) | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Supportive as lowers generator prices and mitigates tariff changes caused by the Targeted Charging Review, improving competition.
Supportive because it reduces dependency on the adjustment tariff, making tariffs more cost reflective.
Generation weighted reference node better models the transition to a low carbon GB transmission system.
Reduction in generation revenue collection results in lower CfD strike prices, benefiting consumers with reduced costs.
Interactions between CMP444, CMP423, and CMP432 compound benefits, leading to more predictability, less volatility, and overall lower TNUoS charges.
4 | EDF | Binoy Dharsi | Generator/Supplier | d) e) f) | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Improves the international competitiveness of GB generators and levels the playing field against small distribution-connected generators.
Most of TNUoS is recovered through demand, and shifting more revenue into demand is considered a more efficient recovery method.
CMP444 does not reflect the change in generation revenue collection associated with the solution identified in CMP423.
CMP423 and CMP440 achieve similar outcomes to each other for demand customers.
On whether the assumption that a change in generation will displace generation elsewhere is appropriate both now and, in the future; A belief that new generation has the potential to displace generation in other locations.
5 | Research Relay Ltd | Dennis Gowland | Other | d) e) f) | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | The move of the reference node used in the transport and tariff model Northwards is reflective of how the transmission system is now being designed and built.
In northern zones (1-4), tariff reductions are modest and within caps, except CMP432 results in higher tariffs.
In central zones (5-14), CMP444 and WACM proposals have minimal impact compared to CMP423.
In southern zones (15-27), CMP423 allows for larger credits, with CMP444 preventing charges from breaching the floor.
Generation change is more likely to displace generation especially as renewable generation becomes a greater part of the generation mix.
6 | Bute Energy | Jamie Druitt | Generator | d) e) | No | Yes | No | Yes | Yes | Yes | No | Yes | No | Positively advances Applicable CUSC Objectives, particularly in competition and cost reflectivity.
Intuitively and reflective of system operation compared to the current demand-weighted approach.
For this proposal's benefits to be realised, it must be assessed alongside other modifications, notably CMP444.
Enduring solution to TNUoS challenges lies in broader strategic reviews like REMA and long-term TNUoS reform
While certain interactions of CMP423 are potentially constructive, the potential combined impact with CMP444 and CMP432 is a key concern.
7 | Ørsted | Chiamaka Nwajagu | Generator | d) e) f) | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Supportive as ensures that charges accurately reflect the incremental transmission system costs or benefits driven by a user's decisions.
Reduces average Generator Wider TNUoS charges, enhancing competition and minimises competitive distortions for transmission-connected generation.
Should be implemented independently of CMP444 to avoid increased distortions among generators and preserve cost reflectivity.
Implementing CMP423 alone results in significant consumer savings while avoiding the highly distortive amendments proposed in CMP444.
Further analysis is needed to assess the practicality of interdependency between generation changes, considering the diverse range of renewable energy sources.
8 | RWE Offshore | Tom Steward | Generator | d) e) | Yes | No | No | No response | Yes | Yes | No | Yes | No | Supportive as the benefits to locational demand signals facilitate greater competition between generation and demand.
Supportive as the benefits to locational demand signals better reflect the underlying costs of the system.
This modification proposal is complimentary to the proposal CMP440.
If approved, it would be necessary to recalculate the floor in CMP444.
9 | Buchan Offshore Wind | Craig Duffy | Generator | d) e) f) h) | Yes | No | No | No response | Yes | No response | No | Yes | Yes | Supportive as the proposal reduces tariff differentials between North and South GB, promoting even competition among generators.
Supportive as it ensures that the charging methodology more accurately reflects the costs incurred by transmission licensees.
Supportive as it results in lower levels of adjustment, promoting efficiency in the system charging methodology.
The cap and floor should be amended to reflect the outcome of CMP423 to avoid using tariffs based on flawed methodology.
On whether the assumption that a change in generation will displace generation elsewhere is appropriate both now and, in the future; Assumes that a change in generation will displace generation elsewhere, aligning with the Clean Power 2030 Action Plan and SSEP.
10 | NESO | Niall Coyle | System Operator | None | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Unsupportive as the proposal may not increase cost-reflectivity of TNUoS charges, especially with significant future electricity demand growth.
Reinstating demand charges in Northern GB can be better achieved by addressing the floor directly, rather than changing the reference node.
Changing the reference node would increase revenue recovery from demand by over £300m per annum, potentially exacerbating cost pressures on consumers.
CMP440 would more efficiently address the floor on demand TNUoS charges than CMP423.
Significant growth in electricity demand is expected, suggesting a demand-weighted reference node is more cost-reflective of the expanding electricity system.
11 | SSE | John Tindal | Generator | d) e) f) g) | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Improved competition: Reduces competitive disadvantage for GB Generators and better allocation of risks between generators at different locations.
Cost reflectivity: A generation-weighted reference node better reflects the drivers of network investment and changes in system response.
Facilitates effective competition: Enhances competition between demand customers, demand side response, and behind-the-meter generation versus grid-connected generation.
Supports economic growth: Reducing TNUoS network charges for GB generators promotes economic growth and international competitiveness.
Regulatory compliance: Aligns with UK and European regulations by keeping generator transmission charges within the specified range.
12 | ESB Generation & Trading | Tony Dicicco | Generator | d) e) f) | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Supportive as the proposal promotes competition and makes charges more cost-reflective.
Supportive of the implementation date to allow changes to CUSC Section 14 and to provide CfD bidders better certainity of TNUoS charges.
NESO analysis indicates CMP423 alone may not sufficiently reduce charges for northern Generators; CMP444 may also be needed.
Ofgem’s TCR decision increased Generator charges; CMP423 would help mitigate this impact.
Interactions of CMP423 with other modifications like CMP444 need holistic consideration to avoid inefficient outcomes.
13 | Galileo Empower | Colin Williams | Generator | d) e) f) h) | Yes | No | No | No response | Yes | No response | No | Yes | Yes | Supportive as aligning tariffs with network expansion can reduce regional price differences and promote fair competition.
Supportive as the proposal makes the charging methodology more consistent with actual network costs incurred.
Supportive as lower tariff adjustments result in a more efficient system charging methodology.
The cap and floor should be amended to reflect CMP423 outcomes to avoid flawed tariff setting.
On whether the assumption that a change in generation will displace generation elsewhere is appropriate both now and, in the future; The implementation of CMP434 and CMP435 limits the capacity of generation technologies connecting to the network.
14 | Centrica | Gregory Edwards | Supplier | None | No | Yes | No | Yes | Yes | No | Yes | Yes | No | Unsupportive as the Proposal may create conflicting locational and operational price signals.
Unsupportive as the increase in Transmission Use of System (TNUoS) revenue from Demand has not been justified.
Assuming Generation will scale to Demand does not align with other industry initiatives.
Changing the reference node is not necessarily the best way to address the zero-price floor issue.
The Proposal's impact on the gradient of locational Demand charges and the proportion of TNUoS revenue from Demand requires further examination.

## Data analysis (hidden)
This will automatically update from the Data input page You will need to make sure that all the specific questions are listed
Count of Industry parties
Consumer body | 0
Demand | 0
Distribution Network Operator | 0
Generator | 11
Industry Body | 0
Interconnector | 0
Storage | 1
Supplier | 2
System Operator | 1
Transmission Owner | 0
Virtual Lead Party | 0
Other | 1
Total | 16
Question 1 | None | d | e | f | g | h
Original | 2 | 12 | 12 | 9 | 1 | 2
| Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Any alternatives? | Q5 - Does the draft legal text satisfy the intent of the modification? | Q6 - Do you agree with the modification does not impact the EBR? | Q7 - Is it beneficial that the modification would largely reinstate the gradient of locational Demand charges? | Q8 - Any comments on the change in revenue collection proportions between generation and Demand? | Q9 - Any comments on the interactions between CMP423 with other modifications, including CMP432, CMP440, CMP442 and CMP444? | Q10 - Any comments on whether the assumption that a change in generation will displace generation elsewhere is appropriate both now and, in the future, and how this applies or is relevant to the modification?
Yes | 12 | 7 | 0 | 11 | 14 | 10 | 8 | 14 | 11
No | 2 | 7 | 14 | 0 | 0 | 1 | 6 | 0 | 3
No response | 0 | 0 | 0 | 3 | 0 | 3 | 0 | 0 | 0
Note on A18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Update depending on AO formating