## Data input
Workgroup Consultation Responses Summary
GC0173:Consistency of Technical and Compliance Requirements between GB and European Users
Consultation date: 20 March 2025 to 20 April 2025
Respondent Details |  |  |  | Standard Consultation Questions | [7 empty] | Specific Consultation Question |  |  | Themes
Response Number | Organisation | Name | Organisation type | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q1 - Mark the Objectives which you believe the Alternative1 solution better facilitates: | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Any alternatives? | Q5 - Does the draft legal text satisfy the intent of the modification? | Q6 - Do you agree with the Workgroup’s assessment that the modification does impact the Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Q7 - Do you have any comments on the impact of the modification on the EBR Objectives? | Q8 - Do you agree with the proposed legal text in ECP.A.6.2.1? If not, please explain your concerns | Q7 | Q8 | Key points
1 | P2 Analysis | Mike Kay | Other | (b), (e) | i) ii) iii) or None or No response | Yes | No | No | Yes | Yes | No | Yes | Yes / No / No response | Yes / No / No response | Supportive of solution
Supportive of implementation approach
Satisfied with draft legal text
2 | Northern Powergrid | Alan Creighton | Distribution Network Operator | (b), (c), (d), (e) |  | Yes | Yes | No | Yes | Yes | No | Yes |  |  | Supportive of solution
Supportive of implementation approach
Identified editorial points in Annex 4 table and submitted marked up version
Identified editorial points in draft legal text and submitted marked up versions
3 | NESO | Antony Johnson | System Operator | (a), (c), (d) |  | Yes | No | No | Yes | Yes | No | Yes |  |  | Supportive of solution because the modification addresses issues, in particular discontinuities between various Grid Code sections.
Supportive of implementation approach
Satisfied with draft legal text and confident with input from SMEs
The respondent states there is a change to Balancing Code 3, which has a small impact on the EBR.
4 | NGED | Andrew Hood | Distribution Network Operator | a) b), c), d), e) |  | Yes | No | No | Yes | Yes | No | Yes |  |  | Supportive of solution
Supportive of implementation approach
Respondent highlighted that there are typographical errors in ECP.A.6.2.1