## Version
Date | Version | Details
2025-12-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for December 2025. This file will be updated in January 2026 to reflect the full data set.
2026-01-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for December 2025. This file is updated is January 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Lovedean 400kV SVC5 | NGET | 2025-12-01 19:25
Highbury 400/132kV SGT4 | NGET | 2025-12-02 04:06
Clyde North SGT2A | SPT | 2025-12-02 20:55 |  | To be confirmed
Fiddlers Ferry 275/132kV SGT3 / Cuerdley 3 circuit | NGET | 2025-12-05 16:22
Windyhill – Whistlefield – Dunoon – Sloy 1 | SPT/SHETL | 2025-12-06 12:01
Iver - West Weybridge 275kV Circuit | NGET | 2025-12-07 12:00
Iver - West Weybridge 275kV Circuit | NGET | 2025-12-07 12:09
Hunterston Converter Station MSR1 | SPT | 2025-12-07 14:38
St Johns Wood 275kV SVC1 | NGET | 2025-12-08 09:47
Walney 1 132kV Filter | OFTO | 2025-12-08 14:11 |  | To be confirmed
Kirkstall Skelton Grange 275kV Cable circuit | NGET | 2025-12-09 08:30 |  | To be confirmed
Inveraray – Ardkinglas 1/ Ardkinglas – Sloy 1/Sloy – Inverarnan 1 | SHETL | 2025-12-10 13:47
Kintore 275kV RBB1 | SHETL | 2025-12-11 12:16
Western HVDC Link | SPT/NGET | 2025-12-16 18:55
Dalmally - Cruachan 2 | SPT | 2025-12-30 16:32
Dunlaw Extension - Toddleburn | SPT | 2025-12-31 22:53