## Version
Date | Version | Details
2026-01-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for January 2026. This file will be updated in February 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Watford South 275/132kV SGT3A/3B | NGET | 2026-01-01 02:45 |  | To be confirmed
Feckenham 275kV SVC6 | NGET | 2026-01-01 16:40 |  | To be confirmed
Feckenham 275kV SVC6 | NGET | 2026-01-03 17:06 |  | To be confirmed
Enderby 400/132kV SGT4 | NGET | 2026-01-04 05:04 |  | To be confirmed
West of Duddon Sands 150kV SVC1B | OFTO | 2026-01-05 07:28 |  | To be confirmed
Feckenham 275kV SVC6 | NGET | 2026-01-07 02:34 |  | To be confirmed
Shrewsbury 132kV BS1 | NGET/DNO | 2026-01-09 |  | To be confirmed
Templeborough 275/33kV SGT3 | NGET | 2026-01-09 22:21 |  | To be confirmed
Beauly - Inverness - Nairn - Elgin - Keith South | SHETL | 2026-01-11 05:46 |  | To be confirmed
Bolney 400kV DRC6 | NGET | 2026-01-13 22:25 |  | To be confirmed