## Version
Date | Version | Details
2026-01-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for January 2026. This file will be updated in February 2026 to reflect the full data set.
2026-02-16 | 2 | This file only contains the indicative reporting associated with data for GC0151 for January 2026. This file is updated in February 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
West of Duddon Sands 150kV SVC1B | OFTO | 2026-01-05 07:28
Shrewsbury 132kV Bus Section 1 | NGET/DNO | 2026-01-09 |  | To be confirmed
Templeborough 275/33kV SGT3 | NGET | 2026-01-09 22:22
Beauly - Inverness - Nairn - Elgin - Keith South 132kV circuit | SHETL | 2026-01-11 05:46
Bolney 400kV DRC6 | NGET | 2026-01-13 22:24 |  | To be confirmed
Dunlaw Extension - Toddelburn 33kV circuit | SPT | 2026-01-19 08:27
Cottam - Keadby 1 400kV circuit | NGET | 2026-01-23 18:10 |  | To be confirmed
An Suidhe - Inveraray (IDW) 132kV circuit | SHETL | 2026-01-27 10:54
Coylton - Auchencrosh / Markhill 275kV circuit | SPT | 2026-01-27 11:12
Ayr – Coylton – Kilmarnock South 2 275kV circuit | SPT | 2026-01-27 14:42
Coylton - New Cumnock 2 275kV circuit | SPT | 2026-01-27 14:42