## Data input
Code Administrator Consultation Responses Summary
GC0103: The introduction of harmonised Applicable Electrical Standards in GB to ensure compliance with the EU Connection Codes
Consultation date: 03 December 2025 -12 January 2026
Respondent Details |  |  |  | Standard Consultation Questions |  |  |  |  | Themes
Response Number | Organisation | Name | Organisation type | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Do you agree with the Workgroup’s assessment of the impact on Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Any Legal Text issues? | Key points
1 | NESO | Frank Kasibante | System Operator | (i)(ii)(iii) | Yes | No | Yes | No | Supportive as harmonising standards across GB will create a level playing field.
Defines a minimum standard for Users to connect to the Tranmssion System within the Busbar protection zone.
2 | Northern Power Grid | Alan Creighton | Distribution Network | (i)(ii)(iii)(iv) | No | Yes | Yes | Yes | Supportive as should facilitate more consistent and efficient connections whilst maintaining the integrity of the NETs.
The short implementation period could undermine contract negitiations that are in the latter stages of development to establish whether their equipment complies with the new standards. 90 calendar days would be more appropriate.
A small number of minor editorial comments and suggestions have been made to the legal text.
Standards listed in the GC Annex do not align with the NESO website and the RES document needs to be removed or updated.
Suggestion made to update Appendix F CUSC Exhibit should be updated to reflect GC0103 changes .
3 | SSE Generation | Garth Graham | Generator | (i)(ii)(iii)(iv)(v) | Yes | Yes | Yes | No | Supportive of the implementation approach.
|  |  | Storage | [5 empty] | A number of examples in the consultation along with the 'harmonisation case' comprehensively evidence the benefit of harmonisation to end consumers.
4 | NGED | Daniel Price | National Grid Electricity Distribution | (i)(ii)(iii)(iv)(v) | Yes | Yes | Yes | No | A number of comments and questions were raised by the respondent on the content in Annex 03 - Applicable Electrical Standards. This is out of scope for GC0103 but has been passed onto the relevant Transmission Owners who collaborated to write the document for their information.