## Version
Date | Version | Details
2026-02-16 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for February 2026. This file will be updated in March 2026 to reflect the full data set.
2026-03-13 | 2 | This file only contains the indicative reporting associated with data for GC0151 for February 2026. This file is updated in March 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Indian Queens 400/132kV SGT2, Mesh Corner 2 & Shunt Reactor 2 | NGET | 2026-02-02 00:30
Greater Gabbard 132kV SVC3 | OFTO | 2026-02-02 14:10 |  | To be confirmed
Burbo Bank Onshore SVC | OFTO | 2026-02-11 22:14
Staythorpe 400kV Reserve Bus Section CB X160 | NGET | 2026-02-12 23:25 |  | To be confirmed
Coylton - Maybole 132kV circuit | SPT | 2026-02-14 07:13
Alverdiscott - Indian Queens - Taunton 1 400kV circuit | NGET | 2026-02-15 16:58
Cilfynydd – Rassau 400kV circuit, Mesh Corner 1 and SGT1 | NGET | 2026-02-16 12:26
Brimsdown 132kV Bus Coupler 1 CB130 | NGET | 2026-02-27 19:07