## Slide 1: GC0182: Metering Polarity
Workgroup 5, 24 February 2025
Online Meeting via Teams

## Slide 2: WELCOME

## Slide 3: Agenda
Topics to be discussed​ | Lead​
Introductions ​ | Chair​
Objectives and Timeline ​ | Chair​
Actions Log Review | Chair​
Implementation Plan (including Guidance Note, Electrical Standard and Legal Text review) | NESO Representative
Workgroup Consultation Document Review | All
Any Other Business | Chair​
Next Steps​ | Chair​

## Slide 4: Workgroup Responsibilities and Membership
Prisca Evans – NESO Code Administrator

## Slide 5: Expectations of a Workgroup Member
Your Roles
Contribute to the discussion
Be prepared - Review Papers and Reports ahead of meetings
Be respectful of each other’s opinions
Complete actions in a timely manner
Keep to agreed scope
Do not share commercially sensitive information
Language and Conduct to be consistent with the values of equality and diversity
Email communications to/cc’ing the .box email
Bring forward alternatives as early as possible
Vote on whether or not to proceed with requests for Alternatives
Help refine/develop the solution(s)
Vote on whether the solution(s) better facilitate the Code Objectives

## Slide 6: Workgroup Membership
Role​ | Name​ | Company​
Proposer | Thomas Goss | NESO
Workgroup Member | Hao Guo | NESO
Workgroup Member | Garth Graham | SSE Generation
Workgroup Member | Alan Creighton | Northern Powergrid
Workgroup Member | Andrew Allan | RWE
Workgroup Member | Harry Burns | EDF
Workgroup Member | Alan Convery | SP Transmission
Workgroup Member | Paul Youngman | Drax
Workgroup Member | Roger Carter | Transmission Investment
Observer | Rhiannon Whitty | NESO
Observer | Angie Gwozdz | NESO
Observer | Aman Sharma | NESO
Observer | Elena Fry | NESO
Observer | Rebecca Coan | NESO
Observer | Pritesh Patel | NESO
Authority Representative | Paul Drew | OFGEM

## Slide 7: Objectives and Timeline
Prisca Evans – NESO Code Administrator

## Slide 8: GC0182 Timeline date 15 September 2025
Milestone​ | Date​ | Milestone​ | Date​
Modification presented to Panel​ | 24/07/25 | Code Administrator Consultation | 06/10/26 - 06/11/26
Workgroup Nominations (15 business days)​ | 29/07/25 - 18/08/25 | Draft Final Modification Report (DFMR) issued to Panel (5 business days)​ | 18/11/26
Workgroups 1, 2, 3, 4 and 5 | 15/09/25 20/10/25 25/11/25 20/01/26 09/02/26 | Panel undertake DFMR recommendation vote ​ | 26/11/26
Workgroup Consultation (21 business days)​ | 02/03/26 - 20/03/26 | Final Modification Report issued to Panel to check votes recorded correctly | 01/12/26 - 08/12/26
Workgroups 6,7,8,9 and 10 | 07/04/26 14/05/26 01/06/26 13/07/26 04/09/26 | Final Modification Report issued to Ofgem ​ | 09/12/26
Workgroup report issued to Panel | 24/09/26 | Ofgem decision needed by | TBC
Panel sign off that Workgroup Report has met its Terms of Reference​ | 24/09/26 | Implementation Date ​ | TBC

## Slide 9: Action Log Review
Prisca Evans – NESO Code Administrator

## Slide 10: Action Log Review
Action | Owner | Status Update
4) Propose a clear and consistent implementation date for the new requirements, ensuring alignment across all relevant documents. | TG/PP | - For New Connection, NESO intends to use the Completion Date which is 540 days after the GC0182 implementation date as the applicability date. - For existing Connection, NESO intends to use the date being 540 days after the GC0182 implementation date for the newly installed or upgraded operational metering to follow the standard.
10) Obtain and provide feedback on the need for a guidance note on the installation of operational metering for non-participants. | PP | PP reported reaching out to the contracts team regarding the inclusion of non-metric PMU metering in the guidance note. Non BMU participants won't be enforced by a guidance note but the plan is to update service terms for example Dynamic response services. Service terms will be updated in the next consultation due end of this year/early next year. PP to speak to Steve Dugmore regarding Quick/Slow reserve services that may have non BMUs providing the service(2/2/26).
11) Review the GC0103 Legal text and determine if it can be built on for GC0182 and identify any Legal text changes needed to GC0182 to ensure alignment with GC0103. | TG | Wording added into the GC0182 Consultation Document to confirm alignment. Propose to close
12) Check Legal text to confirm that obligations for Licence Exemptible Embedded Medium Power Station (LEEMPS) are correctly passed via the Distribution Code and update references if needed. | GV/TG | I do not think we need to make any changes to the GC0182 drafting for LEEMPS as a LEEMPS station is bound by CC/ECC.6.4.4 and CC/ECC.6.5.6 as we have updated CC/ECC.6.5.6 it should work. Propose to close
14) Clarify whether the new metering polarity standard will apply to all connection offers reissued as part of the connections reform process, or only to new offers. | PP | The Connections Reform process is expected to conclude before the decision is made on this GC0182 modification, so all offers should have been re-issued before this metering polarity standard is in the Grid Code. However, any users who have a Completion date after 540 days following the Grid Code implementation date, will be expected to comply to the standard.

## Slide 11: Action Log Review
Action | Owner | Status
19) Clarify the impact of the Modification on Interconnectors in the Workgroup Consultation document, specifying whether and how they benefit or are affected. | PP/HG | "What is the impact if this change is made? The Proposed standard will significantly improve system operability and security by ensuring consistent power flow polarity and enhancing situational awareness for NESO. In addition, NESO has been relying on historical metering data to conduct the forecast for generation, demand and interconnectors in long term and short-term periods and improvement in the quality and accuracy of the metering data can significantly improve the forecasting accuracy for NESO.“ Propose to close
20) Reference and clarify in the Workgroup consultation document how forecasting inaccuracies are a defect being addressed by the Modification. | PP | New statement added to the Workgroup Consultation. Propose to close
23) Add demand representation or clarify diagram limitations. | HC/RC | The following text has been also been included in the Guidance Note and Electrical Standard: It is important to note that the diagram is an example of the most common equipment found on the network and is not suggesting that each substation or voltage level be required to contain the equipment represented. Equally, it is not suggesting that each substation or voltage level be limited to the equipment represented. For any equipment not represented in the diagram, the convention used should be that of the category to which the equipment belongs (as mentioned in Section 3 of this document). Propose to Close

## Slide 12: Action Log Review
Action | Owner | Status
24) It was concluded that the current Grid Code definition did not include embedded customers. An action was taken to review further. | PP/HG | Small embedded generator may not be bound by Grid Code and thus GC0182 will not be applicable to them. NESO is looking into the possibility and alternative approach for applying the meter polarity standard to those small embedded generator but this is beyond the scope of GC0182 and not relevant to the implantation of GC0182. Statement has been added to the Consultation Document. Propose to Close
25) The Authority Representative agreed to seek clarification regarding whether any amendments to the Connection Agreement would require formal approval from the Authority. | CW | 
26) Add wording to guidance note about Ofgem potentially rejecting GC0182. | RC | The following text has been added to the Guidance Note and uploaded onto the Collab Space: Grid Code modification GC0182 and STC Code Modification CM0105 are currently underway to finalise this standard and implement the convention into both the Grid Code and STC. Please note, there is currently no known date of when this convention may be accepted into the Grid Code and STC and there is no guarantee that it will be accepted. For any queries regarding this Guidance Note, please contact the NESO Operational Metering team via opsmetering@neso.energy. Propose to Close

## Slide 13: Action Log Review
Action | Owner | Status
27) Clarify which date should trigger applicability (application / procurement / completion / install‑upgrade) | HG/EF | - For New Connection, NESO intends to use the Completion Date which is 540 days after the GC0182 implementation date as the applicability date. - For existing Connection, NESO intends to use the date being 540 days after the GC0182 implementation date for the newly installed or upgraded operational metering to follow the standard. NESO Compliance process typically starts 18 months (540 days) before the Completion Date and using the 540 days after GC0182 implementation date can ensure the obligation to follow the meter polarity will be captured at the beginning of the compliance process, even though the Connection Agreement (signed before the implementation of GC0182) did not include this requirement. Propose to Close
28) Investigate whether polarity can be corrected via software rather than physical rewiring. | All | Software updates can be used to correct polarity. This requires the database supplier to make the changes at site and sometimes remotely.
29) NESO SME agreed to take an action to determine if and how guidance notes have previously been referenced in Connection Agreements, and what process was followed, before deciding whether to include a guidance note link in new agreements. | HG/PP | NESO determine not to put the link of the Guidance Note into the Connection Agreement but would like to add the statement "Grid Code Modification GC0182 is currently underway to create a unified metering polarity standard for power flow data submitted to NESO. The operational metering of the EU Code User will need to follow the standard, if GC0182 is approved. A guidance note has been published on the NESO website highlighting the key principles of the proposed metering polarity standard. Please note that the key principles are not mandatory unless the GC0182 is approved and implemented". This is to inform as much stakeholder as possible of the polarity convention used by NESO. Propose to Close

## Slide 14: Action Log Review
Action | Owner | Status
30) Reword “when solution comes into effect” once date logic is agreed. | HG | Clarity needed, DC to check the recording
31) Ensure consistency between legal text and consultation doc re: implementation trigger date. | HG | Both documents have been reviewed and are now aligned to make it clear that the implementation of the standard into the Grid Code will be 10 working days after OFGEM approval, with compliance mandatory 540 days after the implementation date.
32) Confirm which connection agreements need updating after implementation. | HG/TG | BCA, BEGA, BELLA The template will be amended for future connections. Propose to Close
33) Confirm previous implementation plan versions are adequately reflected in Workgroup Considerations. | HG/TG | The Implementation Discussion section (under Workgroup Considerations) has been updated to more clearly show the conversations that took place during each Workgroup.

## Slide 15: Implementation Plan (including Guidance Note, Electrical Standard and Legal Text)
Pritesh Patel / Rebecca Coan / Elena Fry - NESO

## Slide 16: Refined Implementation Plan for GC0182
  Step 1: To publish a Guidance Note on Meter Polarity on NESO Website, before approval of GC0182
  (1.1) Diagram + Explanatory Text in the Guidance Note to help industry stakeholders when setting up their operational metering
  Sites being covered
  Offshore Generator S/S
  OFTO Offshore and Onshore S/S
  TO S/S
  Network Operator S/S
  Apparatus being covered
  Connections between GB substations: OHL, Cable, LV feeder, Transformer
  Shunt Connected Reactive apparatus: Shunt Capacitor, Shunt Reactor, Harmonic Filter, SVC, DRC
  Series Connected Reactive apparatus: Series Reactor, Series Capacitor, Quad Booster
  Generator and Demand Connections including all assets from the User up to the connection point: Wind Turbine, Embedded Generator, Sync Comp, Aux Transformer, Energy Storage, Directly Connected Demand
  International Interconnectors
  Sign (+/-) and Arrow to indicate flow direction of each Apparatus
  (1.2) State that the principles outlined in this guidance are not mandatory and corresponding Grid Code and STC Modifications may not be approved, however, it indicates the best practice approach and will be beneficial for all to ensure correct and efficient operation of the network.
  NB: The purpose of publishing the Guidance Note is to notify as many industry stakeholders as possible, as early as possible, that there could be a unified meter polarity standard that needs to be followed and it is undergoing a Grid Code and STC modification process.
Guidance Note - Metering Polarity Standard for Power Flow Data - 17 Feb 2026.docx

## Slide 17: Refined Implementation Plan for GC0182
  Step 2: To add statement of ongoing GC0182 into Bilateral
  Agreement templates, before approval of GC0182
  (2.1) To add the following statement to the Bilateral Agreement (BCA, BEGA and BELLA) templates
  “Grid Code Modification GC0182 is currently underway to create a unified metering polarity standard for power flow data submitted to NESO. The operational metering of the GB Code User and EU Code User will need to follow the standard, if GC0182 is approved. A guidance note has been published on the NESO website highlighting the key principles of the proposed metering polarity standard. Please note that the key principles are not mandatory unless the GC0182 is approved and implemented.”
  NB: The purpose of adding the statement into Bilateral Agreement templates is to notify as many industry stakeholders (who will enter connection agreements with NESO in the future) as possible, as early as possible, that there could be a unified meter polarity standard that needs to be followed and it is undergoing a Grid Code modification process.
Type of Agreement | Template | Location
BCA | EU Onshore Generation Template | Appendix F5 - Schedule 2
BCA | EU Onshore Demand Template | Appendix F5 - Schedule 1
BCA | EU Offshore Generation Template | Appendix F5 - Schedule 2
BCA | EU Offshore (OFs) Template | Appendix OF5 - Schedule 2
BCA | EU LEEMPS Template | Appendix E - Schedule 2
BCA | EU Interconnector Template | Appendix F5 - Schedule 2
BCA | Storage Template | Appendix F5 - Schedule 2
BELLA | EU Onshore Generation Template | Appendix F5 - Schedule 2
BEGA | EU Onshore Generation Template | Appendix F5 - Schedule 2

## Slide 18: Refined Implementation Plan for GC0182
  Approval of GC0182  Step 3 (A): Grid Code Mod GC0182
  (3.A.1) To publish Metering Polarity Standard for Power Flow Data as a new Electrical Standard and add reference to Part II (b) of Annex to the General Condition of Grid Code. Note that Part II will only exist once GC0103 is implemented, and it is assumed it will be implemented before GC0182 and CM0105.
Metering Polarity Standard for Power Flow Data
Electrical Standard Website
GC0182 Metering Polarity Standard for Power Flow Data - 17 Feb 2026.docx

## Slide 19: Refined Implementation Plan for GC0182
  Approval of GC0182  Step 3 (A): Grid Code Mod
  GC0182
  (3.A.2) To add New ECC6.5.6.4(f)(g) clauses to Grid Code
  ECC6.5.6.4 (f) For a new connection, with a Completion Date on or after DD/MM/YYYY [this being 540 days after the GC0182 implementation date], the EU Code User shall ensure the operational metering of this new connection conforms to the Metering Polarity Standard for Power Flow Data as provided in the Applicable Electrical Standards. The EU Code User shall provide the list of metering points being installed to The Company and these metering points will be checked and validated by The Company and agreed with the EU Code User.
  ECC6.5.6.4 (g) For an existing connection, with a Completion Date before DD/MM/YYYY [this being 540 days after the GC0182 implementation date], the EU Code User shall ensure any operational metering installed or upgraded on or after DD/MM/YYYY [this being 540 days after the GC0182 implementation date] conforms to the Metering Polarity Standard for Power Flow Data as provided in the Applicable Electrical Standards. The EU Code User shall provide the list of metering points being installed or upgraded to The Company and these metering points will be checked and validated by The Company and agreed with the EU Code User..
NB:
Completion Date is typically when User is expected to connect to or start using the National Electricity Transmission System (EON issued).
NESO Compliance process typically starts 18 months before the Completion Date and the legal text will specify a date that is 540 days after the GC0182 implementation date so that the obligation to follow the meter polarity will be captured at the beginning of the compliance process even though the Bilateral Agreement (signed before the implementation of GC0182) did not include this requirement
Grid Code 07_European_Connection_Conditions_I6R33.docx

## Slide 20: Refined Implementation Plan for GC0182
  Approval of GC0182  Step 3 (A): Grid Code Mod GC0182
  (3.A.3) To add New CC6.5.6(f) clause to Grid Code
  CC6.5.6 (f) The GB Code User shall ensure any operational metering installed or upgraded on or after DD/MM/YYYY [this being 540 days after the GC0182 implementation date] conforms to the Metering Polarity Standard for Power Flow Data as provided in the Applicable Electrical Standards. The GB Code User shall provide the list of metering points being installed or upgraded to The Company and these metering points will be checked and validated by The Company and agreed with the GB Code User.
Grid Code 06_Connection_Conditions_I6R32.docx

## Slide 21: Refined Implementation Plan for GC0182
  Approval of GC0182 -> Step 3(A): Action for Guidance Note, Bilateral Agreement templates and NESO Compliance process
  (3.A.4) To remove Guidance Note from NESO Website on the Implementation Date (10 working days after OFGEM approval)
  (3.A.5) To update the Bilateral Agreement templates (BCA, BEGA and BELLA) on the Implementation Date:
  To add link to the newly published Electrical Standard (see Step 3.1)
  To change the statement (from Step 2.1) to “All meters shall conform to the Metering Polarity Standard for Power Flow Data in accordance with ECC.6.5.6”. These New templates will be used by all new connections entering/signing Bilateral Agreements after the GC0182 implementation date
Type of Agreement | Template | Location
BCA | EU Onshore Generation Template | Appendix F5 - Schedule 2
BCA | EU Onshore Demand Template | Appendix F5 - Schedule 1
BCA | EU Offshore Generation Template | Appendix F5 - Schedule 2
BCA | EU Offshore (OFs) Template | Appendix OF5 - Schedule 2
BCA | EU LEEMPS Template | Appendix E - Schedule 2
BCA | EU Interconnector Template | Appendix F5 - Schedule 2
BCA | Storage Template | Appendix F5 - Schedule 2
BELLA | EU Onshore Generation Template | Appendix F5 - Schedule 2
BEGA | EU Onshore Generation Template | Appendix F5 - Schedule 2

## Slide 22: Refined Implementation Plan for GC0182
  Approval of GC0182 -> Step 3(A): Action for Guidance Note, Bilateral Agreement templates and NESO Compliance process
  (3.A.6) NESO Compliance will take following actions on the Implementation Date (10 working days after OFGEM approval):
  NESO will send out a letter and memo to inform the industry of the new requirement for the Metering Polarity Standard for Power Flow Data
  NESO will update the ONCC checklist (used during Compliance process) to capture the new requirement for Op Metering Polarity
  NB: NESO Compliance process typically starts 18 months before the Completion Date and the obligation to follow the meter polarity will be captured at the beginning of the compliance process, even though the Bilateral Agreement (signed before the implementation of GC0182) did not include this requirement

## Slide 23: Refined Implementation Plan for GC0182
  Rejection of GC0182 -> Step 3(B): Action for Guidance Note and Bilateral Agreement templates
  (3.B.1) To keep Guidance Note on NESO Website and remove the statement “Grid Code modification GC0182 and STC Code Modification CM0105 are currently underway to finalise this standard and implement the convention into both the Grid Code and STC. Please note, there is currently no known date of when this convention may be accepted into the Grid Code and STC and there is no guarantee that it will be accepted”.
  (3.B.2) To update Bilateral Agreement templates (including BCA, BEGA and BELLA)
  To change the statement (from Step 2.1) to “In order to help the power flow measurement data received by NESO be consistent with the convention used by the NESO SCADA system, a guidance note has been published on NESO website for use when setting up operational metering polarity. The convention used in this guidance is not mandatory, however, it indicates the best practice approach and will be beneficial for all to ensure correct and efficient operation of the network.”

## Slide 24: Workgroup Consultation Document Review
All

## Slide 25: Questions?

## Slide 26: Any Other Business
Prisca Evans – NESO Code Administrator

## Slide 27: Next Steps
Prisca Evans – NESO Code Administrator