## Data input
Workgroup Consultation Responses Summary
CMP460: Improving Transmission Connection Asset Charging
Consultation date: 28 January 2026 - 18 February 2026
Respondent Details |  |  |  | Standard Consultation Questions |  |  |  |  | Specific Consultation Questions |  | Themes
Response Number | Name | Organisation | Organisation type | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Any alternatives? | Q5 - Do you agree with the Workgroup’s assessment that the modification does not impact the Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Q6 - Do you agree with the Proposer’s view on when the new definition of Infrastructure Assets and Connection Assets should be applied to new and existing connection agreements, and therefore amend the connection charges in a User’s agreement? | Q7 - Is moving the cost to Transmission Demand Residual (TDR) reasonable? | Key points
1 | Morgan Donnelly | RDP | Generator | d, h | Yes | Yes | No | Yes | Yes | Yes | Supportive of solution
Supportive of implementation approach
Implementation may not line up with G2 offers.
An interim measure could be if G2 offers clearly show current TCA items and which may shift to Infrastructure next year.
2 | Peter Ford | Mercia Power Response Limited | Generator | d, e, h | Yes | Yes | No | Yes | Yes | Yes | Supportive of solution
Supportive of implementation approach
The solution needs clarity and queried if this is a DNO scheme connecting in 2026 under Tech Limits but getting firm access in 2030+ and if this is considered ‘connected’?
The proposal is needed to unlock investment in embedded generation by removing transmission cost issues that unfairly burden single projects
Delaying renewable and storage connections will cost customers more
3 | Aishwarya Harsure | NESO | System Operator | None | No | Yes | No | Yes | No | No | Not supportive of solution
Not supportive of implementation approach because the timeline is unrealistic and risks regulatory misalignment.
Significant legal text changes are required, including creating new definitions and revising terms used many times in the CUSC.
A single DNO connection being “shareable” is not enough to justify reclassifying assets as Infrastructure.
The proposal overlaps with upcoming Reformed National Pricing and wider policy reforms.
The proposal may be decided before Ofgem/DESNZ complete reviews on charging depth and system boundaries, risking reversal or re‑work.
Early implementation could create misalignment between transmission and distribution charging, distorting investment and competition.
Shared reinforcement costs can become unfair and unpredictable if users drop out.
DCP461 offers a cleaner, more appropriate fix without shifting costs to uninvolved parties.
Calling a sole DNO connection “shareable” is not enough to justify reclassifying assets as Infrastructure.
CMP328 applies polluter‑pays, while CMP460 socialises costs, creating an inconsistency.
Transmission‑connected users would face new, non‑cost‑reflective charges they don’t trigger or benefit from.
CMP460 would likely raise TDR charges (~7%), increasing household standing charges. NESO sees this as against consumer interests.
4 | Holly Thomas | Nadara | Generator | d, h | Yes | Yes | No | Yes | Yes | Yes | Supportive of solution because current methodology is inefficient for generators, this solution supports investments, DNO cost certainty, reduces risk, protects competition and in line with other regulatory shifts
Supportive of implementation approach as urgent clarity is needed as the modification could affect project feasibility and Gate 2 decisions
5 | Jack Purchase | NGED | Distribution Network Operator | None | Yes | Yes | No | Yes | No | No | Not supportive of solution because it weakens cost reflectivity by removing locational signals. Socialisation leaves DUoS and TNUoS customers funding these reinforcement costs.
Supportive of implementation approach because it allows DNOs time to successfully deliver the change.
CMP460 must consider interactions with DCP461 and DCP464, as both are progressing related changes that could influence each other’s outcomes
Definitions improve consistency but remain gameable and legal text needs tighter clarity.
Large customers could trigger costly reinforcement.
Ofgem’s assessment of needs cases approach needs transparency.
Risk of cost shift to DUoS/TNUoS users.
Agree with category 1 and 2 that have been identified for retrospective application
Category 3 needs clarity on what counts as an allowable CMP460 change, whether connected projects can trigger it, and how staged projects are treated when only some stages are connected.
Socialising costs risks reducing cost‑reflectivity, increasing burdens on embedded demand customers, concentrating additional charges on Demand Users, and adding pressure to bill payers even if Annex 5 shows impacts are small.
6 | Matthew Paige-Stimson | NGET | Transmission Owner | None | No | Yes | No | Yes | No | No | Not supportive of solution because shifting transmission costs to consumers via the TDR weakens cost‑reflective signals. Embedded generators would trigger transmission works but avoid paying, increasing costs for others. Shared‑use reclassification complicates contestability, contracting, and securities processes. Moving local transmission works into TNUoS misaligns costs with actual system drivers. The proposal adds complexity to an already volatile TNUoS methodology. DNOs may need to take on local TNUoS liabilities to maintain cost‑reflective behaviour. Compared to current connection‑value charging, the proposal creates more uncertainty for CUSC Users.
Not supportive of implementation approach because respondent does not agree there is a demonstrated need for the solution proposed
DNOs passing high transmission related costs to customers is already being looked at under DCUSA DCP461
Two different issues have been merged together in the proposal, but they should be handled separately
CUSC already provides mechanisms to avoid large upfront payments through annualised charging and optional capital contributions
There is no evidence that current transmission charging at shared substations is a barrier for embedded users. Moving to fully socialised charging (no connection costs) before Ofgem’s wider review could conflict with Ofgem’s direction of travel, which suggests the need for deeper, more locational charging, not less.
Reclassifying more assets as shared use would reduce opportunities for contestable transmission construction, which could harm competition and efficiency.
Changing sole‑use asset replacement works into shared Infrastructure removes important User commitment signals (like securities and capital recovery). Without additional changes (e.g., to Section 15 User Commitment), consumers could face greater financial exposure if Users disconnect or change requirements.
Allowing assets required for only one User to be classed as shared creates opportunities for gaming (e.g., embedded users avoiding charges). This could drive further TNUoS cost socialisation and avoidance of charges for transmission connection costs
Underlying defects are in DCUSA CCCM and in RIIO ED funding uncertainties
Refining CUSC 14.3.12 to lower the minimum capital contribution (10% to 1%) could better support proportional DNO charging under DCP461, avoiding disproportionate costs for small customers and preventing delays from needing a new CUSC modification
Proposal unlikely to create investment issues as removing connection charges reduces User risk. Applying changes only to new agreements would create volatile, uncertain TDR impacts for consumers. Transition only for new connection agreements increase regulatory/admin burden and reduce consumer certainty. Ending DNO connection charges would require major RIIO‑ED adjustments to avoid residual funding issues. A single, complete implementation is needed to avoid consumer disbenefit.
Shifting connection costs to consumers removes cost-causal signals. It risks inefficient transmission development. Consumers may end up subsidising industrial connections. Ofgem should prioritise protecting demand users from rising TDR.
7 | Helen Stack | Centrica | Supplier | d, h | Yes | No | No | Yes | Yes | Yes | Supportive of solution because it aligns generation rules, removes connection barriers, cuts process complexity and resolves ambiguities.
Supportive of implementation approach
Would like to see an alternative proposal to include capacity‑based proportional cost sharing, aiming to limit consumer cost impacts, and seeking to reduce escalating cost risk for embedded distribution if SGT reinforcement work triggering customers withdraw. Note the Workgroup Consultation’s discussion of the Proposer’s Option 3.
8 | Grahame Neale | Lightsource bp | Generator | d, f, h | Yes | Yes | No | Yes | Yes | No response | Supportive of solution and agree with the rationale but view the proposal as mixed, with potential to become positive as industry changes evolve.
Supportive of implementation approach, but while an earlier decision would help Gate 2 offers reflect it, we accept this may not be feasible.
Proposal clarifies Transmission Connection Asset costs, benefiting consumers and supporting Clean Power 2030.
Change alone is insufficient and may not meet regulatory approval without wider TNUoS reform to be considered alongside Reformed National Pricing
Current version shifts costs to demand customers, creating political and consumer‑impact concerns.
Unlikely to influence wholesale prices enough to offset added demand‑side costs.
Regulator may resist approving an isolated, imminent change without certainty of complementary reforms.
Believe an alternative based around Option 3 may mitigate some of the concerns, but are not in a position to further develop a solution
Clarification needed on the exact cut‑off condition for which projects the proposal applies to (e.g., Ofgem decision date vs 1 April 2027).
Clarification needed on how the proposal applies to existing connected projects undergoing asset replacement
Proposal is beneficial but must be considered alongside wider charging reforms to ensure fair and reasonable cost transfers
9 | Claire Witty | SP Manweb / SP Distribution | Distribution Network Operator | d, h | Yes | No | No | Yes | Yes | Yes | Supportive of solution as the proposal should promote greater consistency between distribution and transmission charging frameworks, while also enhancing overall transparency of charging arrangements
Supportive of implementation approach applying to existing contracted but not yet connected projects.
Agree that the new definitions of Infrastructure Assets and Connection Assets should apply to both new projects and existing projects
Approach reasonable, as using the TDR is the established mechanism currently used to recover costs associated with Infrastructure Assets
10 | Jonathan Oguntona | BayWa r.e UK Limited | Generator | d | Yes | No | No | Yes | Yes | Yes | Supportive of solution because Users at GSP SGTs removes cost distortions and supports fair competition; Option 2 is not supported, Option 3 is preferred.
Supportive of implementation approach and agree with the timing. Bilateral contracts between Users, NESO, and embedded generators/DNOs will need updating to reflect charging methodology changes to support progress toward CP30 targets.
Bilateral contracts between Users, NESO, and embedded generators/DNOs will need updating to reflect charging methodology changes to support progress toward CP30 targets.
Most connection costs should sit with TDR due to system benefits, but Users must show commitment and contribute a fair share. A degree of cost should be levied against each connecting User, linked to maximum contracted import or export
11 | Andrew Sherry | SP Electricity North West | Distribution Network Operator | d, f, h | Yes | No | No | Yes | No | Yes | Supportive of solution because this modification should provide more consistency and standardisation of charging for connections and improve the process
Supportive of implementation approach but needs clearer definition.
Agree with proposed outcomes but are unsure as to whether changing the definitions of Infrastructure Assets and Connection Assets is the best approach
Understand that moving cost to TDR is existing treatment for the 60% of GSPs that are Infrastructure Sites and therefore seems reasonable that this approach is extended
12 | Emma McSharry | Exagen | Generator | d | Yes | Yes | No | Yes | Yes | Yes | The respondent believes the proposal better facilitates competition in the sale, distribution, and purchase of electricity by ensuring cost parity between transmission and distribution customers, spreading costs more fairly, and reducing barriers for smaller generation projects.
The respondent supports the proposed approach, noting that the recent delay to Gate 2 offers increases the benefit of progressing the modification quickly.
The respondent is concerned that removing ‘zombie’ projects could result in viable projects facing new, unknown costs, potentially making them unviable. They stress the importance of timely reform and clear cost allocation for investors from Q1 2026.
The respondent believes the new definitions should apply to new agreements, with careful treatment for contracted but not yet connected users, and no retrospective application. This avoids indefinite avoidance of charging changes and protects legitimate sunk cost investments.
The respondent states that moving eligible Connection Asset costs to TDR is reasonable and proportionate if the assets are genuinely shareable or provide wider system benefit, as this ensures consistency and transparency in cost allocation.
13 | Greg Stevenson | Green Cat Renewables Ltd | Other | d, f | Yes | No response | No | Yes | Yes | Yes | The respondent believes the Original Proposal better facilitates Objective d (effective competition in generation and supply) and Objective f (long-term certainty for investment planning and improved cost allocation). They marked "d" and "f" as positive, and "e" and "g" as neutral.
The respondent noted the importance of allowing all parties enough time to update agreements and the need for alignment with related funding arrangements.
The respondent agrees that the new definitions should apply to new and existing connection agreements, but not to already connected users due to complexity.
The respondent states that moving costs to the TDR is the most sensible approach for recovery via TNUoS.
14 | Drew Johnstone | Northern Powergrid | Distribution Network Operator | d, h | Yes | No | No | Yes | Yes | Yes | The respondent agrees the Original Proposal better facilitates Objectives (d) and (h) compared to the baseline, citing customer concerns about competition and the benefit of reducing ambiguity in the methodology.
The respondent broadly agrees the new definitions should apply to new agreements for predictability and transparency, and to existing agreements only where it does not retrospectively disadvantage customers and genuinely improves fairness.
The respondent considers moving costs to the TDR is reasonable in the short term but notes a review of cost recovery is overdue and expects Ofgem’s review to address this.
15 | Meghan Hughes | SSEN Transmission | Transmission Owner | None | No | No | No | Yes | Yes | No | The respondent does not believe the Original Proposal better facilitates any of the Applicable CUSC Charging Objectives compared to the baseline. They argue that Option 1 introduces uncertainty in Transmission Owner cost recovery and may cause unintended cross-subsidies, moving away from cost-reflective charging and weakening the link between Users and assets.
The respondent does not support the proposed implementation approach, as it is tied to Option 1 (Full Socialisation), which they do not support. They prefer a more balanced and cost-reflective approach, such as Option 2, and welcome further engagement on alternative or hybrid approaches.
The respondent supports the intent of CMP460 to clarify the classification of multi-user Transmission Connection Assets, especially the introduction of the Shared Connection Asset definition, which is timely given the rise of shared-connection arrangements.
The respondent does not wish to raise an Alternative at this stage, preferring to allow the Workgroup process to continue assessing options. They remain open to engaging constructively if a refined or hybrid approach emerges.
The respondent agrees that CMP460 does not impact EBR Article 18 terms and conditions, as the modification concerns asset classification and connection charges, which are outside the scope of balancing service procurement or market participation.
Yes (for application of definitions), No (for associated charging changes). The respondent agrees that updated definitions should apply to new agreements for clarity and consistency, but urges caution for existing agreements, as retrospective application could increase costs and risk disputes. They support definitional clarity but not the associated charging changes proposed under Option 1.
The respondent does not consider moving Shared Connection Asset costs to the TDR reasonable, as it would shift away from cost-reflective principles, introduce uncertainty in cost recovery, and increase cross-subsidy risks. They prefer approaches that allocate costs among current users for predictability and proportionality.
16 | Charles Deacon | Eclipse Power Networks | Distribution Network Operator | d, e, f, h | Yes | Yes | No | Yes | Yes | Yes | The respondent believes the Original Proposal better facilitates objectives d, e, f, and h compared to the current baseline.
The respondent notes support for the proposed implementation approach, stating that quicker implementation would be welcome to avoid unnecessary attrition from the distribution Gate 2 queue due to high TCA costs, which could threaten Clean Power 2030 progress.
The respondent states this modification is long overdue and a known defect since at least 2022, emphasising the need for prompt implementation. Clarifies that ECCR is available to embedded customers and DNOs contributing to TCA works triggered by distribution system connections.
The respondent believes treating DNO Users as a group is pragmatic, and fairness should be maintained across all Users. Notes ongoing reviews on HV asset ownership and suggests clear definitions and guidance are needed for future sharing and equipment specification.
The respondent states that moving the cost to TDR is reasonable given regulatory limits, though it may be politically challenging due to rising bills. Highlights the net positive economic benefits of increased renewable generation and suggests further analysis post Gate 2 offer period.
17 | Hector Perez | ScottishPower Renewables | Generator | d, h | Yes | No response | No | Yes | Yes | Yes | The respondent believes the proposal better facilitates Objective (d) by providing certainty to Users connecting to GSPs regarding connection costs and removes the disincentive of high upfront costs. Objective (h) is also better facilitated by introducing clarity into the CUSC on how transmission costs at GSPs should be recovered from Users.
The respondent states the proposed implementation date seems reasonable.
In relation to the definitions of Infrastructure Assets and Connection Assets, the respondent noted no comment at this time and would like to see more information on the impacts to new and existing connection agreements.
The respondent believes it is reasonable to move these costs into the TDR, as the assets will benefit multiple Users.
18 | Philip Bale | Roadnight Taylor | Other | d, h | Yes | Yes | No | Yes | Yes | Yes | The respondent believes the proposal broadly improves the Code Objectives compared to the current baseline, particularly by addressing the “postcode” lottery issue and supporting both generation and demand connections. It is seen as an improvement for both customer types and helps resolve differences between Distribution and Transmission connections.
The respondent states support for the implementation approach, noting it upholds the contractual position of connecting customers. However, they note a small number of customers may be incentivised to delay their connection until after the implementation dates.
The respondent notes a risk of inefficiency if system upgrades are not strategically planned, especially if funded via Transmission Demand Residual. They recommend earlier Needs Case / CBA by the Transmission Owner to ensure economic and efficient solutions, potentially through Regional Development Programmes. They also highlight that some Generation customers are forced to fund upgrades when an enduring ANM solution would be preferable.
The respondent states they are exploring an Alternative that would follow the original proposal but include economic safeguards, such as earlier Needs Case / CBA by the Transmission Owner, potentially informed by other consultation responses.
The respondent agrees that changes should be retrospective for assets which could be shared.
The respondent believes moving costs to TDR is probably the most appropriate approach, but expresses concern that lack of strategic planning could result in inefficient costs being passed on. They recommend earlier Needs Case / CBA by the Transmission Owner to ensure appropriate solutions, making the move to TDR reasonable as investment ahead of need.
19 | Damian Clough | SSE Generation | Generator | d, e | Yes | Yes | No | Yes | Yes | Yes | The respondent believes the Original Proposal better facilitates Objectives D and E, stating that removing the cost burden from a single distribution connectee improves competition and cost reflectivity, as future network reinforcements will benefit multiple users.
The respondent supports the approach, noting it is a pragmatic short-term solution to address the current defect, while recognising that future reforms (RNP) may provide a long-term solution. They emphasise the need for a level playing field among generators, regardless of connection voltage or date.
The respondent states that Option 1 would halt work on DCP461, but supports all three options being considered, favouring a hybrid of Option 1. They highlight the need for proportional and lifetime-based charging, rather than upfront costs for the first user, and suggest temporary classification of assets as Infrastructure until reforms are finalised.
The respondent does not wish to raise an alternative request, but refers to comments in Question 3 about potential ways forward. They stress the importance of solving the defect without creating permanent winners and losers, as inefficiencies ultimately impact consumers.
The respondent agrees with the EBR assessment, noting this is consistent with other CUSC modifications.
The respondent agrees with the definition of Infrastructure Assets and Connection Assets, stating that without this change, competition would be negatively affected. They believe users should face similar costs based on usage, not connection date.
The respondent believes moving to TDR is reasonable as a short-term measure to remove the defect of all costs being charged to one distribution connectee, noting that Option 1 would make DCP461 obsolete.
20 | Rohan Sachdev | SSEN Distribution | Distribution Network Operator | d, h | Yes | Yes | No | Yes | No | Yes | The respondent believes the proposal would align charging incentives for Transmission and Distribution, eliminating upfront payments for triggered Transmission Owned Assets. It offers a clear framework for Transmission Reinforcement cost recovery, supporting equitable treatment of all customers.
The respondent notes that a quick decision will likely help ensure that DCP461 & CMP461 result in an aligned approach for the industry.
The respondent states that while they agree with the need for a uniform system to classify SGT reinforcement at GSPs, they only support Option 1 (aligning Transmission and Distribution charging methodologies). They do not support Options 2 & 3, nor retrospective application to already connected users, emphasising a ‘no-detriment’ approach for contracted but not yet connected users to avoid legal challenges.
The respondent notes that the impact on TDR is expected to be minor and accepts that moving costs to TDR is reasonable, with minimal impact on domestic customers.
21 | Joe Colebrook | Innova | Generator | d, h | Yes | No | No | Yes | Yes | Yes | The respondent states the proposal aligns charging incentives between distribution and transmission, reduces financial risk, improves transparency, and increases competition by making connection costs more equitable. Positive against Objectives d and h; neutral against e, f, and g.
In relation to TDR, the respondent believes this is reasonable, noting the impact assessment suggests a small increase in TDR is a fair trade-off for investment certainty and equity in connection costs. Increased embedded renewable generation could reduce wider transmission works and lower wholesale energy costs, with no impact on consumer bills.