## Number of legacy Plants
Area | Technology | Number of Plants * | Average cost per Model (£) (000’sK) | Total Value (£) (000’sK) | Higher side total Cost (£) (000’sK)
E&W (includes medium BEGA generators) | Synchronous Generators | 47 | 25 | 1175 | Assuming 3 times of Average cost= 54300
| Non-Synchronous Generators | 49 | 100 | 4900
Scotland (includes medium BEGA) | Synchronous Generators | 31 | 25 | 775
| Non-Synchronous Generators | 110 | 100 | 11000
Interconnectors |  | 5 | 50 | 250
18100
* Reference - Based on Tec-Registry -10-March-2026

## What if legacy models not avail
Issues | Impact | Assumptions of the cost | Indicative cost £ (000’sK) | Remarks
Unavailability of Wider models for new connection studies | New Generation could be disconnected until issues resolved. | 1000 MW of generation switched off for a week with £100/MWH | 16,800 | This is only one incident for year and cost is associated with one generator
| Defensive mechanism to manage system stability | 1000 MW of balacing services £100/MWH | 16,800
| Damage of the existing plant & Apparatus as well new plant & apparatus. | Depending up on the damage of the equipment | 20,000
Unable to carry out required system stability studies for different operational scenarios | Defencive mechanism to manage the system stability | 1000 MW of balancing services £100/MWH | 16,800
| lead to system blackout and it could be reputational damage to the industry | It’s difficult to estimate the security system impact cost. | (Recent Black out in Spain for 10 hours - €1.6 billion estimated cost.)