## Data
Black Text - Baseline Grid Code Legal Text
Red Text - GC0139Proposed Legal Text Amendments
Response ID | Company name | Legal Text (Exhibit, Schedule, Section) | Query | Code Provisionally Updated ahead of Panel approval | Provisional Response | Panel Discussion/ agreed action | Updated Post Panel
1 | Northern Powergrid | Planning Code.9.3.2.3 | In PC.9.3.2.3 there is a requirement for DNOs to provide Power System Difference Models (PSDM). It would help users if, in Appendix G of the Planning Code, there was more detailed description of a PSDM for example: a) whether PSMDs are required for committed projects with a commissioning date more than 10 years in the future. b) whether each PSDM is i) specific to a particular development project or accepted generation/demand connection or ii) should relate to a particular year and include all projects and connections anticipated to be completed in that particular year. | N/A | NESO response: We believe PC.G.3 is detailed enough as an example of what should be contained in a PSDM. PC.G.3 is an example only, not a requirement. PSDMs are only to be as detailed as the DNOs have information about, if there is very little data about the future of a network connection, then the PSDM will not have to contain a lot of data. It is a best endeavours scenario, and there is flexibility for the Network Operator to provide what they believe to be relevant in the most appropriate way. (a) DNOs are only asked to provide info up to 10 years in the future (b) (i) PSDMs can be structured as the DNO sees fit. For example , it could be per year or per project. | Panel agreed that no legal text change was required for this action | N/A
2 | Northern Powergrid | Planning Code.G.1.4.4 (b) (i) and Planning Code.G.1.4.5 (b) (i) | In PC.G.1.4.4 (b) (i) and PC.G.1.4.5 (b) (i) there is a requirement to provide information on ‘Stored energy’. DNO’s do not have access to real time data relating to the amount of stored energy from generators, so will not be able provide this information. This item should be removed or caveated by ‘where available’ to cater for where this information may be available in the future. | No | NESO response: Stored energy is an optional variable to be provided if the DNO has access to it. We agree with the query that the legal text should be adjusted to include the term "where available" or something similar | Panel asked the GC0139 members to have a Workgroup to change the legal text to include the term "where avaiable" in PC.G.1.4.4 (b) (i) and PC.G.1.4.5 (b) (i). | Yes
3 | Northern Powergrid | Planning Code.G.1.4.4 (b) (ii) and Planning Code.G.1.4.5 (b) (ii) | In PC.G.1.4.4 (b) (ii) and PC.G.1.4.5 (b) (ii) there is a requirement to provide information on ‘Storage status’. It is unclear what this means. The requirement should be clarified and potentially removed or caveated by ‘where available'. | No | NESO response: Storage status is an optional variable to be provided if the DNO has access to it. We agree with the query that the legal text should be adjusted to include the term "where available" or something similar | Panel asked the GC0139 members to have a Workgroup to change the legal text to include the term "where avaiable" in PC.G.1.4.4 (b) (ii) and PC.G.1.4.5 (b) (ii) | Yes
4 | Northern Powergrid | Glossary and Definitions | Suggest moving the PSM Implementation Date to 1st January 2028 in the G&D legal text. | No | NESO response: Agree to amend date to 2028 | Panel asked for GC0139 members to have a workgroup to agree if the PSM Implementation Date should be altered to 01/01/2028 | Yes