## Sheet1
NESO Short-term Reactive Power Market Webinar Questions and Answers
Question | Answer
Can you please post a link to last years webinar that has just been referred to? | https://players.brightcove.net/6415851838001/default_default/index.html?videoId=6359090089112
What capability would you in theory be buying from assets in the short term market? Is it just capability in excess of that currently mandated under the Grid Code? | We anticipate that, if a short-term reactive power market was implemented, an asset with no capability in excess of the minimum Grid Code requirements would not be able to participate, as the short-term market would be to procure additional capability. That said, if we do decide after revisiting the effectiveness of a short-term market to implement it, we will look to review all options for eligibilty.
Have NESO only considered the current market makeup when considering the viability/benefit of a short-term market? Considering these markets take time to implement, it would be useful to consider future technology buildout, particularly the growth in BESS increasing liquidity. | Thank you for this question. We considered the current market make up for an assessment of whether a short-term reactive power market should be implemented today. We fully appreciate that these markets take time to develop, but we would need to see more evidence that there is sufficient liqudity for a robust market to be developed. As shown by our metrics, we will keep abreast of how liquidity is developing.
How does NESO consider future proofing the Grid Code compliance process for reactive power and how will work for this enhanced capability to ensure industry is ready to participate in the market if beneficial in the future? | Compliance processes are currently in place and these will be continued, as technologies develop so will the compliance processes to ensure they remain fit for purpose.
Do you have an update on dates for the mid term market? | This question is out of scope for this webinar. The latest information on the Mid-term Reactive Power Market can be found on our website and any further updates will be shared through the usual channels.
At times high embedded generation reduces transmission system demand, leading to voltage control issues. Are NESO considering the routes to exploit the under-utilised reactive capability of distribution connected generation to address this issue. For example as a component of this market. | In terms of DER participation, if the short-term market were to be implemented, we would look to align with other Reactive Power Markets. For reference: At this time, in order to participate in both the Long- and Mid-term reactive power markets, solutions must be directly connected to the transmission system. This typically means 275kV and above in England and Wales or 132kV and above in Scotland. For clarity, anyone connecting to the transmission system through direct 132kV connections in England and Wales, tertiary and/or grid park connections would meet this criteria.
What is the current progress on the acceleration of Grid Code changes to mandate expanded reactive power provision from existing and new IBRs, e.g. wind farms, batteries (irrespective of their active power output level)? Would this help liquidity? | In addition to our markets, we take a holisitc view on how best to meet our system requirements in a way which is of value to our consumers. This includes exploring Grid Code options to help keep the system secure. However, the development of these are best to be discussed during the Grid Code Development Forum as the owners of these modifications would be best place to answer.
Comment rather than question. As this is just for additional capability in excess of the Grid Code, this is unlikely to be sufficiently commercially attractive to providers in my opinion | Thank you for the comment. We are always seeking to ensure the viability of our markets, so we welcome your feedback. Would you please expand upon this into an email which you can see on the screen here?
What went into NESO's view on the market costs in the CBA? How did they determine that the costs would be the same as the counterfactual? | The market only provides benefits when it unlocks additional supply at lower prices, or in other words, it increases competition. For the analysis, NESO didn’t identify additional supply at transmission level that would be been unlocked by the market deployment. In this sense, competition remains the same and prices are not being reduced.
Thanks Vicci, we've faced challenges with agreeing the process with NESO compliance teams on providing enhanced reactive power capability so I don't there is a clear NESO process for how this is assessed. I recommend NESO investigate this further internally and look at how they can future proof both for this short-term market and also the mid-term market. | Apologies for this Hannah - we will ensure this is picked up with the appropriate teams. If you have any more detailed information you can share, please sen that into the FoBS.Box
Do you anticipate the same liquidity issues with the mid-term reactive market as you have mentioned regarding the short-term market? If not, what sort of different bidders do you expect to be able to participate in the mid-term that wouldn't participate in the day-ahead market? | We anticipate that liquidity within the Mid-Term reactive power market would be higher when compared to the Short-Term market. This primarily stems from the attractiveness of a longer-term contract which we anticipate would be seen as a more attractive route to market as it gaurentees a set income for months, if not years. It is also of note that within the Mid-Term market, we do retain the right to offer 'direct awards' when there is insifficient liquidity for competition. This helps to ensure grid security at times when there is a network, or generator outage.
Thanks Tom. How did NESO determine whether they could access the reactive power capability at a lower cost? Was it by talking to industry or internal views? And was it because you're looking for it at 0MW? There is currently not a market so providers might not have done anything to offer it, if there is a market NESO may be able to access the liquidity they want to. | Potential additional supply on the analysis was assessed using the TEC register to identify units to be connected on areas with high synchronisation costs. Appreciate this question which presents the uncertainty of bidding or pricing behaviour for a Short-term reactive power market, and this is one of the reasons that we would like to revisit the decision after the Mid-term market is delivered as we will get more information from it. And for 0MW providers, the Mid-term and Long-term markets are routes to access this capability.
Thanks for the webinar, will the slides be uploaded onto the website? | Yes the slides and recording will be uploaded to the Short-term Reactive Power pages of the website