## Version
Date | Version | Details
2026-04-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for April 2026. This file will be updated in May 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
ECCL - GALA 132kV 2 circuit | SPT | 2026-04-01 05:57 |  | To be confirmed
Monk Fryston - Padiham 400kV Mesh Corner 2 & SGT2 | NGET | 2026-04-01 09:19 |  | To be confirmed
Monk Fryston - Padiham 400kV Mesh Corner 3 & SGT3 | NGET | 2026-04-01 09:25 |  | To be confirmed
Pentir - Wylfa 1 400kV circuit | NGET | 2026-04-04 20:07 |  | To be confirmed
Beauly - Fyrish 2, Fyrish - Loch Buidhe 2 & Fyrish SGT2 275kV circuits | SHETL | 2026-04-04 23:50 |  | To be confirmed
Connagill - Dounreay 1 Circuit, Gordonbush - Connagill 1 Circuit, Gordonbush - Strathbrora 275kV circuits | SHETL | 2026-04-05 00:05 |  | To be confirmed
Connagill - Dounreay 1 Circuit, Gordonbush - Connagill 1 Circuit, Gordonbush - Strathbrora 275kV circuits | SHETL | 2026-04-05 00:52 |  | To be confirmed
Beauly - Fyrish 2, Fyrish - Loch Buidhe 2 & Fyrish SGT2 275kV circuits | SHETL | 2026-04-05 00:54 |  | To be confirmed
Blackhillock - Dallas - Knocknagael 275kV circuit (AH1, CA1) & Dallas SGT1 | SHETL | 2026-04-05 02:28 |  | To be confirmed
Loch Buidhe - Mybster 132kV 1 circuit | SHETL | 2026-04-05 02:15 |  | To be confirmed
Loch Buidhe - Brora - Dunbeath 132kV circuit, Brora GT1 132/33kV | SHETL | 2026-04-05 02:33 |  | To be confirmed
Penwortham 400kV Static Synchronous Series Compensator 6 | NGET | 2026-04-06 19:20 |  | To be confirmed
Caergeiliog - Wylfa 2 132kV circuit | NGET | 2026-04-11 17:18 |  | To be confirmed
Melgarve 400 kV Statcom 1 | SHETL | 2026-04-13 05:12 |  | To be confirmed