## Version
Date | Version | Details
2026-04-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for April 2026. This file will be updated in May 2026 to reflect the full data set.
2026-05-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for April 2026. This file is updated in May 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Eccles - Galashiels 2 132kV Circuit | SPT | 2026-04-01 05:57
Pentir - Wylfa 1 400kV Circuit | NGET | 2026-04-04 20:07
Fasnakyle 33kV Circuit Breaker 10L5 | SHETL | 2026-04-04 23:01
Beauly - Fyrish 2 (BFY2), Fyrish - Loch Buidhe 2 275kV Circuit (FYL2) & Fyrish SGT2 | SHETL | 2026-04-04 23:49
Connagill - Dounreay 1 (NGU1); Gordonbush - Connagill 1 (DNG1); Gordonbush - Strathbrora 275kV Circuit (TD1) | SHETL | 2026-04-05 00:05
Beauly - Fyrish 1 (BFY1), Fyrish - Loch Buidhe 1 275kV Circuit (FYL1) & Fyrish SGT1 | SHETL | 2026-04-05 00:54
Blackhillock - Dallas - Knocknagael 275kV Circuit (AH1, CA1) & Dallas SGT1 | SHETL | 2026-04-05 01:54
Loch Buidhe - Mybster 132kV Circuit (LM1) | SHETL | 2026-04-05 02:15
Loch Buidhe - Brora - Dunbeath 132kV Circuit (LD2), Brora GT1 132/33kV | SHETL | 2026-04-05 02:33
Caergeiliog - Wylfa 2 132kV Circuit | NGET | 2026-04-11 17:18 |  | To be confirmed
Brora 132/33kV GT1 | SHETL | 2026-04-17 09:42
Gwynt-y-Mor 400kV Circuit SVC1 | OFTO | 2026-04-23 14:16 |  | To be confirmed
Gwynt-y-Mor 400kV Circuit SVC1 | OFTO | 2026-04-24 06:28 |  | To be confirmed
An Suidhe - Crossaig (DPR); An Suidhe (ANSU1); Port Ann (PORA1) 132kV Circuit | SHETL | 2026-04-24 10:50
Tealing - Arbroath (TAS) 132kV circuit | SHETL | 2026-04-28 05:18
Landulph 400kV Circuit RSVC-H | NGET | 2026-04-29 13:52 |  | To be confirmed
Gwynt Y Mor 400kV Circuit SVC1 | OFTO | 2026-04-29 14:35 |  | To be confirmed