## Data Input
Workgroup Consultation Responses Summary
G0168: Submission of Electro Magnetic Transient (EMT) Models
DELETE AHEAD OF ISSUING | Consultation date: 23 January 2025 to 21 February 2025
| Respondent Details |  |  |  | Standard Consultation Questions | [5 empty] | Specific Consultation Questions | [7 empty] | Themes
| Response Number | Organisation | Name | Organisation type | Q1 - Do you believe that the Original Proposal and/or any potential alternatives better facilitate the Applicable Objectives? | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Do you wish to raise a Workgroup Consultation Alternative request for the Workgroup to consider? | Q5 - Do you agree with the Workgroup’s assessment that GC0168 does not impact the European Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Grid Code? | Q6 - Do you have any comments on the impact of GC0168 on the EBR Objectives? | Q7 - Do you believe it is reasonable to require those Users identified in the draft legal text in PC.A.9.2.2 to provide an EMT model when requested by the NESO noting the importance of accurate modelling on power system design, operation and post event analysis? | Q8 - Do you believe the timelines proposed for the submission of an EMT model as drafted in PC.A.9.2.2.1 are appropriate.? | Q9 - Do you believe that it is appropriate to set out the renumeration and cost recovery provision of the models in the CUSC? | Q10 - Do you believe it is appropriate to define the detail of the model submission in an Electrical Standard rather than in a specific part of the Grid Code, or as a separate guidance note. If you do not believe this to be the case, please state why you would support an alternative approach? | Q11 - As part of the electrical standard, it is expected that an EMT model would be submitted in PSCAD Version 5. Do you have any views on this approach and if so, please state what they are? | Q12 - Do you believe that the timeline proposed for the Workgroup meetings and target date of September 2025 are reasonable? | Q13 - Does this proposal deal adequately with LEEMPs? | Q14 - Please could you share your rationale for a cost-recovery mechanism to be put in place supported by evidence, where available. If no cost recovery mechanism were available, what do you believe the implications would be? | Key points
| 1 | NESO | Frank Kasibante | System Operator | a, c | Yes | No | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No response | The Original Proposal better facilitates Grid Code objectives A and C due to the increasing complexity of the Transmission System and the need for advanced models to ensure safe, secure, affordable, and clean system operation
The Workgroup's assessment that GC0168 does not impact the European Electricity Balancing Regulations (EBR) Article 18 terms and conditions is agreed upon
It is reasonable to require Users to provide an EMT model when requested by NESO for accurate power system modelling, including planning, operation, and post-event analysis
It is appropriate to set out a cost recovery mechanism for existing Users where an EMT model is requested, to avoid significant costs leading to premature closure of older plants
Defining the detail of the model submission in an Electrical Standard is preferred as it allows for stakeholder comments without the burden of a full Grid Code modification
Supporting the requirement for EMT models to be submitted in PSCAD Version 5, as it aligns with the model format used by NESO for assessment
The proposal adequately deals with LEEMPs, requiring them to provide an EMT model where requested, though there could be issues with cost recovery as they are not a CUSC Party
NESO acknowledges the significant cost of providing EMT models for older plants and expresses concern that without a cost recovery mechanism, the requirements could lead to premature plant closures
| 2 | Northern Powergrid | Alan Creighton | Distribution Network Operator | a, c | Yes | Yes | No | Yes | No | Yes | No response | Yes | No response | No | Yes | No | No response | The original proposal better facilitates Objectives A and C. Requiring generators to provide EMT models is reasonable if provisions are in place for situations where models are not available
Support for the implementation approach is conditional on NESO only requesting EMT models when reasonably required and having appropriate compensation arrangements
Additional comments are embedded in the attached versions of the draft legal text for General Conditions and Planning Code
It is generally reasonable to require EMT models from Users identified in the draft legal text, but clarity is needed on which Users need to provide models by default and which need to provide them when requested by NESO
No specific view on the timescales, but additional time might be needed for LEEMPS due to the involvement of an additional party (the DNO)
| 3 | [17 empty] | It is important to have a cost recovery framework in place before GC0168 is implemented to compensate parties incurring unexpected costs
Guidance on EMT model submission should have appropriate governance and be either embedded within the Grid Code or be an Electrical Standard
The timeline for finalizing the Grid Code modification by September 2025 is reasonable, but consideration is needed for the timeline of associated CUSC (and potentially DCUSA) modifications
The arrangements for obtaining EMT models from LEEMP owners/operators are not clear in the draft legal text
A cost recovery mechanism is necessary to avoid discrimination against older plants and potential non-compliance issues
| 3 | SP Energy Networks | Graeme Vincent | Distribution Network Operator | a, c | Yes | No response | No | Yes | No | Yes | No response | Yes | Yes | Yes | Yes | No response | No response | The original proposal better facilitates objectives A and C by ensuring NESO has access to appropriate EMT models, aiding in efficient, coordinated, and economic development of the GB transmission system
SPEN supports the proposed implementation approach, emphasizing the need for an appropriate compensation mechanism for users providing models retrospectively
It is reasonable to require users to provide an EMT model when requested by NESO, though the drafting could be clearer regarding user identification
Timelines for EMT model submission may need to be agreed on a bilateral basis, considering technology and plant age
It is important to set out remuneration and cost recovery provisions in the CUSC, especially for users affected retrospectively
Defining model submission details in an Electrical Standard is appropriate for governance and flexibility, rather than in the Grid Code or a separate guidance note
While PSCAD Version 5 is currently appropriate, there are concerns about future compatibility with newer software versions
The proposed timeline for workgroup meetings and the target date of September 2025 are reasonable, but should align with corresponding CUSC and STC modifications
The proposal could be clearer regarding the responsibility for providing data for Embedded Medium Power Stations not subject to a Bilateral Agreement
A cost recovery mechanism is necessary due to the retrospective nature of the modification, to avoid users needing derogations or risking disconnection for non-compliance
| 4 | RWE Generation UK plc | Tim Ellingham | Generator | c | No | No response | No | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | The Original Proposal better facilitates Objective C, but NESO needs to appreciate the significant cost involved for legacy plants, which could lead to plant closures.
The proposed implementation approach is not supported due to the potential financial impact on low merit plants during the validation period.
It is reasonable to require EMT models, but NESO underestimates the difficulty and cost of creating models for legacy plants.
It is appropriate to set out remuneration and cost recovery provisions in the CUSC due to the significant costs for legacy generators.
Defining the model submission detail in an Electrical Standard is preferred over guidance notes, but ideally, everything should be in the Grid Code.
NESO should not define specific software, as it adds expense and complication. A single software for both model regimes would be more cost-efficient.
The proposal deals adequately with LEEMPs, but cost recovery mechanisms need clarification for non-CUSC parties.
A cost-recovery mechanism is necessary due to the high costs of EMT modelling for legacy plants, which could otherwise lead to plant closures and impact system stability.
| 5 | SSE Generation | John Harrower | Generator | a, c | Yes | No response | No | No response |  | Yes | No | Yes | Yes | Yes | Yes | No response | No response | The Original Proposal better facilitates objectives A and C, and is neutral with respect to objectives B, D, and E.
Support for the proposed implementation approach is conditional on clear guidance for obtaining EMT models of legacy plant and a sufficient cost recovery mechanism.
It is reasonable to require Users to provide an EMT model, but the approach must consider the difficulties in obtaining models from legacy plants.
The proposed timelines for EMT model submission are not appropriate without acknowledging potential practical impediments outside the User's control.
[9 empty] | No response selected | No | [8 empty] | It is appropriate to set out the remuneration and cost recovery provision of the models in the CUSC, ensuring transparency and sufficient cost recovery.
|  |  |  | Generator | [14 empty] | Defining the detail of the model submission in an Electrical Standard strikes the correct balance between administrative burden and governance.
A transparent and suitable cost recovery mechanism is imperative to ensure legitimate costs are recoverable, especially for existing plants that did not forecast these costs.
| 6 | ESB Generation and Trading | Paraic Higgins | Generator | a, b, c, d, e | Yes | Yes | No | Yes | No | Yes | No | Yes | Yes | Yes | No | No | Yes | Supports the proposed implementation approach, noting no system changes are required, but concerns about the collection of models
Believes it is reasonable to require Users to provide EMT models when requested, stressing the importance of accurate modelling for power system design, operation, and post-event analysis
Does not believe the proposed timelines for EMT model submission are appropriate, citing experience of a 2.5-year timeline for an older CCGT plant in Ireland
Supports setting out remuneration and cost recovery provisions in the CUSC, referencing CUSC Mod CMP398 as a relevant example
Agrees that defining model submission details in an Electrical Standard provides appropriate governance, but notes the guidance has not yet been published
Does not believe the proposed timeline for Workgroup meetings and target date of September 2025 are reasonable, suggesting cost recovery mechanisms should be decided and implemented first
Does not believe the proposal deals adequately with LEEMPs, stating that pre-September 2022 LEEMPS generators should receive the same compensation as other plants
Supports a cost recovery mechanism, citing significant costs for procuring EMT models for older plants and the impact on competitiveness if no mechanism is available
| 7 | EDF Renewables | Ross Strachan | Generator/Storage | a, b, c | Yes | No | No | No | No | Yes | Yes | Yes | Yes | No | Yes | No response | Yes | Supports the proposed implementation approach, highlighting the need for NESO to accommodate Users where accurate EMT models are challenging to deliver, especially at older sites. They also suggest establishing a cost recovery mechanism
EDF Renewables considers it reasonable for NESO to require relevant Users to provide EMT models as per PC.A.9.2.2, given the importance of accurate modelling in enabling the secure connection of future Inverter Based Resources (IBR)
EDF Renewables agrees with the proposed timelines, provided NESO is flexible in administering timelines and open to working with Users to agree on reasonable timelines on a case-by-case basis
EDF Renewables believes it is appropriate to set out a cost recovery mechanism because the requirement applies retrospectively to sites that have already achieved Final Operational Notification (FON)
EDF Renewables prefers that GC0168 EMT model requirements are captured in the Grid Code but supports the use of Electrical Standards where details are subject to regular change
Sites connected before September 2022 were not required to develop an EMT model by the Connection Agreement or Grid Code. A cost recovery mechanism is required because Users should not bear the cost of requirements introduced retrospectively by NESO. Without a cost recovery mechanism, EDF Renewables would not support the introduction of this Grid Code modification
REMOVE THIS TEXT BOX BEFORE SHARING EXTERNALLY.
1) Add/remove columns from the specific consultation responses section as appropriate.
2) Use Yes/No/N/A format in the dark orange columns - this is just to get the overall picture.
3) Use the Key Points column to draw out the 5 main points raised in the response - try to summarise down the text to make it more concise if possible. Try to keep it limited to 5 main areas, as we are summarising - also the spreadsheet doesn't add merged rows too easily.
4) Delete Column A