## Sheet 1
Response ID | Company name | Legal Text Document | Legal Text Clause | Query | Proposer's view on legal text comment | Further information
2 | NPG | Operating Code 2 | Contents page | Issue wth alignment within contents page | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | Contents page | Comment that 'Redraft' needs to be removed from the final legal text | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.1.4 | Remove 'also' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.1.5 | Queried whether Restoration Contractor needs to be referred to | Proposer believes this needs review | Discussed by Workgroup
2 | NPG | Operating Code 2 | OC2.1.8 | Removal of word 'is' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.1.8 | Change from 'Generator and Interconnector Owner and Restoration Contractor' to 'Generator, Interconnector Owner and Restoration Contractor | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.1.8 | Add full stop at end of clause | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.1.9 | Removal of 'a' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.2.1 | Comment regarding consistency over whether items in a list end with . or ; | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.2.1f) | Add 'under their User role' after 'provided' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.2.1 | Replace full stop with colon | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.2.1 | Removal of brackets around a list at end of clause | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.1 | Unbold comma | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.1c) | Remove additional space | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.2 | Contractor should be plural in two places | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.3 | Ensure consistent spacing between paragraphs | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.4 | Change 'which are' to 'which have generating Plant' | Proposer believes this needs review | Discussed by Workgroup
2 | NPG | Operating Code 2 | OC2.3.1.2.6a) | Change 'and' to a comma | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6a) | Contractor should be plural | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6a) | Change 'and' to a comma in two places | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6b)v. | his' should be 'this' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6b) | Reference to OC2.3.1.2.6 under ii should refer to OC2.3.1.2.6b) | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6b) | Change 'and' to a comma | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6b) | Consistent parargraph spacing | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6c) | Change from 'Generator or Interconnector Owner or a Network Operator or Restoration Contractor' to 'Generator, Interconnector Owner, Network Operator or Restoration Contractor' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6c) | Deletion of additional spaces | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6c) | or' replaced by a comma | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.2.6d) | Bold 'Owners' in 'Interconnector Owners' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.1 | Interconnector Owners' should be 'Interconnector Owner's' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2 | Remove additional space between sentences | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2 | matrix' should be 'tables' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2 | Remove 'navigate and' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2 | Delete 'more' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2 | the text prevails' should be changed to 'the obligations as described in the text prevails' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | Figure 11 | Restoration Contractor should be singular | Proposer believes this is a typographical change | Figure 1
2 | NPG | Operating Code 2 | OC2.3.1.3.2a)ii | Ensure consistency in document - e.g. Years 2-5 vs Years 2 - 5 | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2a)iii | Consistency on capitalisation of first letters in a list | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2b)I and OC2.3.1.4a) | Should this refer to Generators and Interconnectors Owners in line with Fig 2 and 4? | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2b)ii | Ensure consistent spacing between paragraphs | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.3.2d) | Incorrect reference to OC2.3.1.2.2 | Proposer believes this is a typographical change | OC2.4.1.3.2 (d) - OC2.4.1.2.1 (d) does not exist. Reference context was found in GC0156 notes. NESO believe that the correct reference should be to OC2.3.1.2.6 (c) and (d)
2 | NPG | Operating Code 2 | OC2.3.1.4 | Ensure consistent font for headings | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4 | Removal of additional space | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | Figure 33 | Comments on sizing of key and column width | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4a) | Unbold 'shall' and remove additional space | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4a) | Unbold full stop | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4a) | Grid Entry Point' should read as 'Grid Supply Point' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4c) | Unbold colon | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4c) | Consistency on punctuation at end of bullets, and capitalisation of first word | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4c)iv | Unbold 'may' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4d) | Delete 'the' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4e)i | Unbold comma, and comment on consistency of capitalisation | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4e)ii | Change (c) to c) | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4g) | Consistency of Week or week throughout document | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4h)iii | Query on whether reference to OC2.3.2.3 is correct | Proposer believes this is a typographical change | OC2.4.1.3.3 (h) (iii) in current OC2. Agree. Propose to replace with OC2.3.1.5
2 | NPG | Operating Code 2 | OC2.3.1.4i) | Unclear referencing to other paragraphs, formatting needs checking | Proposer believes this needs review | Discussed by Workgroup
2 | NPG | Operating Code 2 | OC2.3.1.4i)i | Systems should be bolded as a defined term, deletion of additional space | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4i)iii | Delete carriage return and change comma to colon | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.4i)iii2 | Query on whether the text has been intentionally combined | Proposer believes this needs review by Workgroup | Discussed by Workgroup
2 | NPG | Operating Code 2 | OC2.3.1.4i)iii3 | Query on whether reference to OC2.3.1.4 is correct | Proposer believes this is a typographical change | Agree. OC2.4.1.3.3 (z)3. Does not contain any reference. Propose to delete from OC2.3.1.4i)iii3 in the redrafted version
2 | NPG | Operating Code 2 | OC2.3.1.5 | Ensure consistent spacing and remove indent | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.5b) | Unbold full stop | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.5d) | Multiple queries on referencing on whether it is correct or clear enough | Proposer believes this needs review | Discussed by Workgroup
2 | NPG | Operating Code 2 | OC2.3.1.5e) | Replace 'and each' with a comma | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.1.6b) | Incorrect or unclear referencing, Operational Intertripping should be bolded | Proposer believes this is a typographical change | OC2.4.1.3.5(a). Operational Intertripping should be bolded. Propose to replace references…....
2 | NPG | Operating Code 2 | OC2.3.2 | Heading font needs changing | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.2.1 | Change comma to colon | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.2.1g)iv | Delete space | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.2.1i) | Query on boxes in diagram | Proposer believes this is a typographical change | Agree. Propose to re-size the boxes to smaller ones
2 | NPG | Operating Code 2 | OC2.3.2.1j) | Remove section breaks | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.2.1l) | Move text under diagram, change titles for figures, remove red underlining in box | Proposer believes this needs review | Discussed by Workgroup
2 | NPG | Operating Code 2 | OC2.3.2.1l)ii | Unbold full stop | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.2.1m) | Possible repetition; bold Generator | Proposer believes this is a typographical change | Agree. Propose to remove duplicated word 'Level' as well as to bold the word 'Generator'
2 | NPG | Operating Code 2 | OC2.3.3 | Change heading font | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.3.2b) | Change 'liaise' to 'shall raise' | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.3.2b)ii | Missing punctuation, one word has moved to start of next bullet by mistake | Proposer believes this is a typographical change | Agree. It's the two words 'inflexible and'. Propose to re-locate the words and punctuate
2 | NPG | Operating Code 2 | OC2.3.3.2c) | Consistent parargraph spacing; unbold full stop | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.3.2d) | Remove spacing | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.4 | Check font consistency | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.4.2 | Remove spacing | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.3.6b) | Font consistency | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.A.2.1 | Should this have lettered bullets? | Proposer believes this is a typographical change | Agree. Mirrors existing text but happy if Workgroup prefer bullets. No requirements will have changed in either case.
2 | NPG | Operating Code 2 | OC2.A.2.2 | Remove section break | Proposer believes this is a typographical change
2 | NPG | Operating Code 2 | OC2.A.2.10 | Should this have lettered bullets? | Proposer believes this is a typographical change
2 | NPG | Data Registration Code | Throughout | References to clauses in OC2 followed by letters should have a bracket removed - e.g. (a) should be changed to a) | Proposer believes this is a typographical change
2 | NPG | Data Registration Code | PC.G1.1 | Chart is incorrect as the title references the ECCs | Proposer believes this needs review as it may have been unclear to stakeholders at CAC | Agree. Contradiction in Chart (GB Code User/ECC) needs correcting
2 | NPG | Data Registration Code | PC.G.2 | Removal of additional space in +5% of Rated MW output | Proposer believes this is a typographical change
2 | NPG | Planning Code | PC.G.2 | Missing lines F and G on diagram | Proposer believes this needs review as it may have been unclear to stakeholders at CAC | Agree. Propose to update to include F & G on the diagram
3 | SPEN | Planning Code | PC.G.2 | Missing lines F and G on diagram | Proposer believes this needs review as it may have been unclear to stakeholders at CAC | Agree. Propose to update to include F & G on the diagram
3 | SPEN | Planning Code | Between Appendix D and E | Suggested removal of additional spacing | Proposer believes this is a typographical change
3 | SPEN | Planning Code | PC.F.2.4.1 | Addition of a page break following PC.F.2.4.1 | Proposer believes this is a typographical change
3 | SPEN | Planning Code | PC.G.2 | Comment that the diagram is prescriptive compared to 1.1 and 1.2, querying if that aligns with existing CC/ECC requirements or if it should be included within those sections | Proposer believes this needs review as it may have been unclear to stakeholders at CAC | Discussed by Workgroup
3 | SPEN | Planning Code | PC.G.2 | Queried whether the checkbox should be placed in the planning code or within the DRC | Proposer believes this needs review by Workgroup | Discussed by Workgroup and an amendment to the DRC has been added
4 | Drax | Planning Code | PC.G.2 | Missing lines F and G on diagram | Proposer believes this needs review as it may have been unclear to stakeholders at CAC | Agree. Propose to update to include F & G on the diagram
4 | Drax | Operating Code 2 |  | Change to paragraph numbering format makes the text more difficult to read and may not be consistent throughout the document | Proposer believes this needs review by Workgroup | Agree. Propose to return to original numbering format. WG had initially discussed the amended one as potentially better.
4 | Drax | Operating Code 2 | OC2.2.1 | Last sentence has one open bracket and 3 closing brackets; this needs amending | Proposer believes this is a typographical change
4 | Drax | Operating Code 2 | OC2.3.1.2.1 | Comment that the previous version of the text was easier to understand | Proposer believes this needs review by Workgroup | Discussed by Workgroup
4 | Drax | Operating Code 2 | OC2.3.1.2.6(b)(v) | the first word in the brackets should be “this” not “his” | Proposer believes this is a typographical change
4 | Drax | Operating Code 2 | OC2.3.1.4(a) | in the last line the term “Grid Entry Point” should be “Grid Supply Point” | Proposer believes this is a typographical change
4 | Drax | Operating Code 2 | OC2.3.1.4i | this paragraph has a number of references to paragraphs first we have an i) which is the letter i then i which is the roman numeral along with ii, iii and then we have a c) the references need to be clearer as to which specific paragraph they are referring to. | Proposer believes this needs review | Agree. References discussed is the sections above
N/A | NESO Technical Codes | Operating Code 2 | OC2.3.1.3 | Check consistent formatting of line spacing after headings | Proposer believes this is a typographical change
N/A | NESO Technical Codes | Operating Code 2 | OC2.3.1.4 | Should Information Provision to Each Network Operator and Non-Embedded Customer have a clause number? | Proposer believes this is a typographical change
N/A | NESO Technical Codes | Operating Code 2 | OC2.3.2.3 | Remove space after Assimilated | Proposer believes this is a typographical change
N/A | NESO Code Administrator | Operating Code 2 | All | Baseline legal text | Legal text needs to be baselined onto I6R27 | Agree. To request Code Administrator for updated baseline versions
N/A | NESO Code Administrator | General Conditions | All | Rebaseline legal text | Legal text needs to be rebaselined onto I6R28 | Agree. To request Code Administrator for updated baseline versions
N/A | NESO Code Administrator | Balancing Code 1 and Balancing Code 2 | Various | Change to paragraph referencing within regulated sections | This requires Panel review under GR.18.9 | Areas of regulated section (BC1.4.2 (f) (ii),BC1.6.2, BC2.5.2.5,BC2 APPENDIX 3 - ANNEXURE 2, BC2 APPENDIX 3 - ANNEXURE 3) No longer requires Panel review for EBR impact under GR.18.9 as modification Governance Route has been changed to Standard Governance