## CMP417 Summary Table
Workgroup Consultation Responses Summary
CMP417: Extending principles of CUSC Section 15 to all Users
Consultation date: 19 January 2026 - 09 February 2026
Respondent Details |  |  |  | Standard Consultation Questions |  |  |  |  | Specific Consultation Questions | [5 empty] | Themes
Response Number | Organisation | Name | Organisation type | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Any alternatives? | Q5 - Does the draft legal text satisfy the intent of the modification? | Q6 - do you agree with the Workgroup’s assessment that the modification does not impact the Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Q7 - do you support the inclusion of wider cancellation liability for Demand projects? | Q8 - Do any parts of the solution require additional clarification? | Q9 - Is it clear how the Demand Capacity figure should be calculated and provided to NESO? | Q10 - Do you believe any projects could be adversely impacted by this proposal? | Q11 - Do you agree with the proposal to have one security statement for hybrid sites (combined generation and demand), and do you see this posing any potential issues? | Key points
1 | Statkraft | Kirsty Dawson | demand | (ii) (iv) | No | No response | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Generally supportive of the principle.
|  |  | generator | [11 empty] | Timing is the key issue. They want this mod to be implemented before gate 2 offers are sent out
Concerns about the implementation process not being aligned to gate 2
2 | National Grid Energy Transmission | Matthew Paige-Stimson | transmission owner | No response | No | Yes | No | No | Yes | Yes | No | No | No | Yes | Supportive in principle but areas of concern
Concerns: potential for increased demand queue length; reduced investment; increase impact on consumers if larger number of demand queue terminations
Supportive of simplified administration
Concern that implementation timetable is too short for large number of contractual changes to be made
Concerns over drafting of legal text, directly connected distribution systems are not included
3 | Eclipse Power Networks | Charles Deacon | distribution network operator | No response | Yes | No response | No | Yes | Yes | Yes | No | Yes | No | Yes | Supportive of levelling of the playing field.
Single security method will be easier to manage
Support for quick implementation
Including demand in wider charge, means less for generators to secure and net benefit to consumers
Unhappy with solution for hybrid sites, use of highest MW figure
4 | UK Power Networks | Steve Halsey | distribution network operator | (iv) | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Yes | Supportive of end to two-tier system and quick implementation
Supportive of single method and simplification of CUSC, with benefits to consumers
There needs to be clear communication about the implementation so customers will have a clear understanding of how and when the new method will apply to their projects
Small drafting errors need to be corrected in the legal text, but overall support it
5 | NESO | Martin Cahill | system operator | (ii) (iv) | Yes | No | No | Yes | Yes | Yes | No | Yes | No | Yes | Supportive - NESO proposed modification
Key issue - level playing field for all users
Improved administration and flexibility for the future
Strong commitment to January 2027 implementation of solution
6 | SSEN Transmission | Harriet Eckweiler | transmission owner | No response | No | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Supportive -parity between demand users and generators
Need two months notice to meet implementation deadline
Further clarification needed on hybrid schemes for cancellation or reduction in capacity
More work needed on the impact in Scotland
7 | Green Cat Renewables | Greg Stevenson | other | (ii) (iv) | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Supportive - creates a level playing field
Simplified securities run
Challenge for TOs to provide data in a timely way, especially relating to timing during a design/offer window
Concerns about how process will work across DNOs - need for consistent method and guidance
8 | Scottish Power Energy Networks Holdings | Gareth Williams | distribution network operator | (ii) (iv) | Yes | No | No | Yes | Yes | Yes | No | yes | No | Yes | Supportive - it is fairer for demand users and simpler to administer
Require Ofgem approval by end of October to meet January implementation deadline
Supportive of key issues raised by Proposer e.g. cancellation, treatment of hybrid sites etc
9 | National Grid Electricity Distribution | Oliver Easterbrook | distribution network operator | (ii) (iv) | No | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | Supportive with caveats. Concerns about higher volumes of schemes leading to great administrative burden. Also, less effective competition if more speculative projects are proposed.
Require 3 months notice to manage implementation
Co-ordination with phase 2 gate 2 offers is needed, and alignment with first securities run past gate 2. Viable pipeline of strategically aligned demand projects needed to minimise these risks
Directly connected distribution systems need to be added to the legal text
Clarity required on: application of cancellation charge; point of time to use for demand for load forecasts; how load forecasts are used in assessments; and how one statement for hybrid projects will work
10 | Innova Renewables | Joe Colebrook | demand | (i) (ii) (iv) | No | Yes | No | No | Yes | Yes | No | No | Yes | Yes | Supportive - avoids TOs over securing for projects, removes barrier to entry for demand projects and increase competition, secured cancellation charges will be more reflective of lost sunk costs
Important it is implemented by end of September 2026. Before Oct 26-March 27 securities period starts. If implemented later, it will be inefficient and damage investment. If not done by this time, would like securities freeze extending for a further 6 months
DNOs should not have to pay securities for forecast demand growth
Workgroup should provide evidence on the impact on the Zonal Unit Amount (tariff) and how this would impact wider cancellation charges
Clarity needed on situation where NESO and User cannot agree a value for Demand Capability. Special offer needed for hybrid projects
11 | RWE | Tim Ellingham | generator | (ii) (iv) | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Yes | Supportive - it will level the playing field and simplify the process
Concern that modification does not go far enough. It may need revisiting as the demand queue grows.
More clarity needed in the final report on total and wider Capex figures, to avoid the risk of double counting
Would like a fuller illustration of how the wider zonal amount accounts for demand and generation works
More clarity needed on how demand capacity figure would be calculated for existing projects and mod apps. And more transparency on make-up of Hybrid statements would be needed