STCP 17-2 Issue 001 Network Services Feasibility Studies

STC Procedure Document Authorisation

| Party | Name of Party Representative | Signature | Date |
| --- | --- | --- | --- |
| The Company |  |  |  |
| National Grid Electricity Transmission plc |  |  |  |
| SP Transmission plc |  |  |  |
| Scottish Hydro-Electric Transmission plc |  |  |  |
| Offshore Transmission Owners |  |  |  |
| Competitively Appointed Transmission Owners |  |  |  |

STC Procedure Change Control History

| Issue 001 |  | New procedure |
| --- | --- | --- |

# Introduction

## Scope

### This procedure applies to The Company, as defined in the System Operator – Transmission Owner Code (STC) and meaning the licence holder with system operator responsibilities, and each Transmission Owner (TO).

### This procedure describes the process for a TO providing a feasibility study in response to a request by The Company. This feasibility study shall be used to support The Company in carrying out a network services (NS) procurement exercise (a “Network Services Feasibility Study or NS Feasibility Study”). It defines the tasks, formal documentation, interface requirements, timescales and responsibilities between the Parties.

### For the purposes of this document, TOs are:

### NGET;

### SPT;

### SHETL;

### All Offshore Transmission Licence holders as appointed from time to time by Ofgem; and

### All Competitively Appointed Transmission Licence holders as appointed from time to time by Ofgem.

## Objectives

### The objective of this procedure is to detail how NS Feasibility Studies shall be addressed across The Company - TO interface. It is designed to enable Parties to discharge their responsibilities under the STC and to ensure that these responsibilities are clear.

### The objective of this procedure is to deal with feasibility studies for The Company’s network services procurement exercises, but it is not intended for this process to be followed for every request, e.g. where minor information is required from another Party. The STCP Information Request Form (STCP 12-1 Data Exchange) can be used for circumstances where this STCP is not deemed appropriate.

## Background

### To support an NS Exercise, The Company may request an NS Feasibility Study Report from a TO.

### The scope of the study will reflect the requirements and needs of the NS Exercise but may include for example a request for a high-level assessment of connection feasibility, works, connection costs and connection dates and fault level, voltage and/or thermal system studies.

### This process covers the initial project discussions, agreeing the scope of works, carrying out the study work and preparing and issuing the NS Feasibility Study Report.

# Key Definitions

## For the purposes of STCP 17-2:

### NS Exercise is a network services procurement exercise, typically carried out to procure stability services, reactive power services, constraint management intertrip services (CMIS), and / or electricity system restoration services, following the identification of needs by The Company.

### NS Feasibility Indicative Costs are the indicative costs agreed between The Company and a TO for the undertaking of an NS Feasibility Study.

### NS Feasibility Final Costs are the final costs payable by The Company to the TO for work to carry out the NS Feasibility Study.

### NS Feasibility Programme is the programme agreed between The Company and a TO for the undertaking of an NS Feasibility Study, which includes the timings for completing the NS Feasibility Study.

### NS Feasibility Request Form is a request in the form set out in Appendix B from The Company to a TO for an NS Feasibility Study.

### NS Feasibility Services are the services a TO has agreed to provide to The Company for an NS Feasibility Study.

### NS Feasibility Steering Group is a group formed of equal representatives from The Company and the TO of no less than one (1) employee but not more than two (2) employees for each party, who will be responsible for ensuring both parties comply with the terms of this procedure and can amicably agree the Specific NS Feasibility Terms within the timeframes outlined in this procedure.

### NS Feasibility Study is a feasibility study used to assist The Company with an NS Exercise.

### NS Feasibility Study Report is the report a TO has agreed to provide to The Company in respect of an NS Feasibility Study.

### Specific NS Feasibility Terms the form (substantially in the format outlined in Appendix C) setting out the NS Feasibility Services, NS Feasibility Programme, NS Feasibility Indicative Costs and any other specific matters as agreed between The Company and the TO for the provision of a specific NS Feasibility Study.

# Procedure

## Nuclear Site Licence Provision

### When following this process where this may interact with, impact upon or fall within the boundary of a Nuclear Site Licence holder's site, or may otherwise have any form of effect and/or implication for a nuclear power station, consideration must be given to the relevant provisions of the applicable Nuclear Site Licence Provisions Agreement, the CUSC Bilateral Connection Agreement for that site, paragraph 6.9.5 of the CUSC and Section G3 of the STC to ensure compliance with all of these obligations.

## The Company Request

### The Company shall (where and to the extent practical) reasonably endeavour to give the TO prior notice of any upcoming request for an NS Feasibility Study and the likely scope and timescales for the same, along with reasonable supporting documents to outline the requirement for the NS Feasibility Study. Such requests for an NS Feasibility Study are expected to follow from The Company making a planning request for Reservation (as defined in the STC) as per STCP 16-1 Investment Planning 4.3. The Company shall reasonably endeavour to give the TO prior notice, where the Company is aware of any anticipated increase in volume of upcoming requests for NS Feasibility Studies.

### The Company shall send the formal request for an NS Feasibility Study to a TO in the format exhibited in Appendix B.

### Without prejudice to the agreed timescales at 3.3.1, 3.3.2, 3.3.3 and 3.3.4, the parties acknowledge that the NS Feasibility Study may be subject to various detailed requirements within the request, however the Company and the TO agree that they will endeavour to carry out the NS Feasibility Study as soon as reasonably possible.

## NS Feasibility Study and NS Feasibility Study Report

### Within 1 month of receipt of the NS Feasibility Study Request, The Company and the TO shall establish the NS Feasibility Steering Group.

### Within 2 months of receipt of the NS Feasibility Study Request, the Company and the TO will agree the following:

### the data required from The Company to carry out the NS Feasibility Study;

### the output required from the NS Feasibility Study and what will be covered in the NS Feasibility Study Report;

### the NS Feasibility Programme (including the start date and the NS Feasibility Study Report issue date) for the NS Feasibility Study;

### the scope and extent of the NS Feasibility Services being key activities/milestones required (including progress and review meetings and issues of the draft report) and the target dates for the steps agreed in the NS Feasibility Programme to meet the NS Feasibility Study Report issue date;

### the format and content of the NS Feasibility Study Report;

### the NS Feasibility Indicative Costs payable by The Company to the TO for the NS Feasibility Study.

### The above terms will form the Specific NS Feasibility Terms.

### No later than 1 month after agreeing the Specific NS Feasibility Terms at 3.3.2 the Company and the TO must record the agreement reached by completing and formally signing the Specific NS Feasibility Terms.

### If the Company and the TO are unable to agree the Specific NS Feasibility Terms within 3 months of receipt of the NS Feasibility Study Request, the NS Feasibility Steering Group must meet as soon as reasonably possible after the 3 month period, in order to resolve any disagreements amicably and without undue delay, prior to any dispute resolution or arbitration action taken by the Company or the TO as per the terms of the STC. Upon reaching an agreement, the Company and the TO will sign the Specific NS Feasibility Terms and the process shall continue as per the terms of this procedure.

### The Specific NS Feasibility Terms (which includes the NS Feasibility Programme) together with the terms expressly referred to within (or incorporated by reference in) this STCP shall comprise the terms agreed between The Company and the TO for the undertaking of the specific NS Feasibility Services and NS Feasibility Study (the “NS Feasibility Study Agreement”).

### The Company shall make available any information agreed to be required in accordance with the timescales agreed in the NS Feasibility Programme so that the TO may undertake the NS Feasibility Study.

### The TO shall use reasonable endeavours to faithfully and diligently perform those duties which are from time to time necessary in connection with the NS Feasibility Services.

### The TO shall undertake the agreed NS Feasibility Study in accordance with the NS Feasibility Programme and provide the NS Feasibility Study Report to The Company by the date specified in the NS Feasibility Study Agreement, unless such other timescale has been specified in advance by the Company in writing. The TO shall prepare and issue a draft of the NS Feasibility Study Report to The Company in accordance with the NS Feasibility Programme.

### The Company and the TO may need to meet to discuss the draft NS Feasibility Study Report and if so the TO will attend upon reasonable request and provide further detail/clarification to The Company as required.

### Following review of the draft NS Feasibility Study Report, The Company may request updates and changes to the draft and the final NS Feasibility Study Report reflecting any updates which shall then be provided by the TO to The Company in accordance with the NS Feasibility Programme.

### The NS Feasibility Programme shall contain the NS Feasibility Study Report issue date which will also be the date at which the NS Feasibility Study Agreement will be deemed to have expired.

### Any data and information exchanged between The Company and the TO shall be subject to the general obligations of confidentiality as provided for in Section F of the STC. The NS Feasibility Study Report can be shared by The Company with bidders participating in the NS Exercise.

### The provisions of STC Section G, Paragraphs 4 (Limitation of Liability), 5 (Third Party Rights), 6 (Transfer and Sub-Contracting), 7 (Intellectual Property), 8 (Force Majeure), 10 (Waiver), 12 (Communications), 14 (Severance of Terms), 15 (Language), 16 (Data Protection Act), 17 (Jurisdiction) and 18 (Governing Law)  shall be incorporated into the Specific NS Feasibility Terms.

### The Company may by written notice at any time during the term of the NS Feasibility Study Agreement elect to terminate it, subject to agreement between The Company and the TO regarding settlement of any outstanding NS Feasibility Final Costs.

### Where the NS Feasibility Steering Group cannot resolve the disagreement under 3.3.4, The Company or the TO may refer a failure to agree the terms of an NS Feasibility Study Agreement, or any other dispute relating to the NS Feasibility Study, to arbitration as a Dispute in accordance with STC Section H, paragraph 5.1.

## Costs and Invoicing and Payment

### Invoicing and payment of the NS Feasibility Final Costs shall be carried out in accordance with STC Section E and STCP 13-1 Invoice and Payment.

### Any dispute about the NS Feasibility Final Costs or late payment of these shall be dealt with as provided for in STC Section E.

# Appendix A: NS Feasibility Study Flow Diagram

Note that the Process Diagram shown in this Appendix A is for information only.  In the event of any contradiction between the process represented in this Appendix and the process described elsewhere in this STCP, then the text elsewhere in this STCP shall prevail.

# Appendix B: NS Feasibility Study Request Form

NS Exercise: [set out details of the specific NS Exercise]

TO: [TO to whom request is directed]

NS Feasibility Study: [details of study required and reasonable supporting documents to outline the requirement for the NS Feasibility Study]

NS Feasibility Study Report issue date: [indicative date by which The Company would like the final NS Feasibility Study Report]

NS Feasibility Study template	[attach template as to how The Company wants the study to be presented]

As provided for in STCP 17-2, The Company requests that the TO undertake the NS Feasibility Study, the details of which are set out above.

# Appendix C: Specific NS Feasibility Terms

NS Exercise: [set out details of the specific NS Exercise]

TO: [insert the TO who is fulfilling the request]

NS Feasibility Steering Group: [details of the steering group members]

NS Feasibility Study: [details of study required]

The specific terms agreed between The Company and the TO for the NS Feasibility Study are set out below.

NS Services

Regularity of any progress / review meetings:

Data and Information required from The Company:

NS Feasibility Programme

Date by which the draft NS Feasibility Study Report is to be provided:

Date by the which the final NS Feasibility Study Report is to be provided:

NS Feasibility Indicative Costs:

Cost Breakdown

[Rates, resource, time as appropriate]

Total indicative cost based on the above

[£]

Once the NS Feasibility Study is complete and the NS Feasibility Study Report produced, or where The Company wishes to terminate the NS Feasibility Study Agreement, the indicative costs will be finalised between The Company and the TO.

Signatures

# Appendix D: Abbreviations & Definitions

Abbreviations

| NGET | National Grid Electricity Transmission plc |
| --- | --- |
| OFTO | Offshore Transmission Owner |
| SHETL | Scottish Hydro-Electric Transmission plc |
| SPT | SP Transmission plc |
| STC | System Operator –Transmission Owner Code |
| STCP | System Operator –Transmission Owner Code Procedure |
| TO | Transmission Owner |

Definitions

STC definitions used:

Business Day

Code

CUSC

National Electricity Transmission System

Offshore

Party

Reservation

The Company

Transmission Licence

Transmission Owner

CUSC definitions used:

Bilateral Connection Agreement

Nuclear Site Licence Provisions Agreement