v1.17 – 9 March 2022

CUSC v1.17

CUSC - EXHIBIT B

THE CONNECTION AND USE OF SYSTEM CODE CONNECTION APPLICATION

DIRECTLY CONNECTED POWER STATION
NON EMBEDDED CUSTOMER
DISTRIBUTION SYSTEM DIRECTLY CONNECTED TO THE
NATIONAL ELECTRICITY TRANSMISSION SYSTEM

v1.17 – 9 March 2022

CUSC v1.17

PLEASE STUDY THE FOLLOWING NOTES BEFORE COMPLETING AND SIGNING THE APPLICATION FORM.

Please note that certain terms used in the application form are defined in the Interpretation and Definitions (contained in Section 11 to the CUSC) and when this occurs the expressions have capital letters at the beginning of each word and are in bold. If the Applicant has any queries regarding this application or any related matters then the Applicant is recommended to contact The Company where our staff will be pleased to help.

- The Company requires the information requested in this application form for the purpose of preparing an Offer (the “Offer”) to enter into an agreement for connection to and in the case of a directly connected power station, use of the National Electricity Transmission System. It is essential that the Applicant supplies all information requested in the application form and that every effort should be made to ensure that such information is accurate.

- Where The Company considers that any information provided by the Applicant is incomplete or unclear, or further information is required, the Applicant will be requested to provide further information or clarification. The provision/clarification of this information may impact on The Company’s ability to commence preparation of an Offer.

- Should there be any change in the information provided by the Applicant then the Applicant should immediately inform The Company of such a change. Where this is a change in the information provided for Sections B to D then the Applicant should contact The Company to see if such a change can be accommodated as it is unlikely that material changes could be accommodated. If The Company cannot accommodate such a change bearing in mind the timescales within which the Offer must be made then the application will be processed on the original information although it is open to the Applicant to withdraw the application.

- The Company shall charge the Applicant, and the Applicant shall pay to The Company, The Company’s Engineering Charges in relation to the application. A fee will be charged by The Company in accordance with the Charging Statements. No application will be considered until such payment has been received.

- The effective date upon which the application is made shall be the later of the date when The Company has received the application fee pursuant to paragraph 4 above or the date when The Company is reasonably satisfied that the Applicant has completed Sections A-D. The Company shall notify the Applicant of such date.

- The Company will make the Offer in accordance with the terms of Paragraphs 2.13, 6.9 (Modifications) and Paragraph 6.10 (New Connection Sites) of the CUSC and the Transmission Licence.

v1.17 – 9 March 2022

CUSC v1.17

- The Company will make the Offer as soon as is reasonably practicable and, in any event, within three (3) months of the effective date of the application or such later period as the Authority may agree. The Offer may, where it is necessary to carry out additional extensive system studies to evaluate more fully the impact of the proposed development, indicate the areas that require more detailed analysis. Before such additional studies are required, the Applicant shall indicate whether it wishes The Company to undertake the work necessary to proceed to make a revised Offer within the three (3) month period or, where relevant the timescale consented to by the Authority. To enable The Company to carry out any of the above mentioned necessary detailed system studies the Applicant may, at the request of The Company, be required to provide some or all of the Detailed Planning Data listed in Part 2 of the Appendix to the Planning Code which is part of the Grid Code.

- In the course of processing the application it may be necessary for The Company to consult the appropriate Public Distribution System Operator(s) on matters of technical compatibility of the National Electricity Transmission System with their Distribution System(s) or to consult the Relevant Transmission Licensees to establish the works required on the National Electricity Transmission System or to release information to The Authority in accordance with the Transmission Licence. On grounds of commercial confidentiality The Company shall need authorisation for the release to the Public Distribution System Operator(s) or Relevant Transmission Licensees or The Authority of certain information contained in the application. Any costs incurred by The Company in consulting the Public Distribution System Operator(s) or Relevant Transmission Licensees would be included in The Company Charges for the application. If it is found by the Public Distribution System Operator(s) that any work is required on their Distribution System(s) (except in the case of an Application for a New Connection Site located in Offshore Waters), then it will be for the Public Distribution System Operator(s) and the Applicant to reach agreement in accordance with Paragraph 6.10.3 of the CUSC.

- In accordance with Paragraph 6.30.3 of CUSC The Company will need to disclose details of Bilateral Agreements entered into and shall need authorisation from the Applicant in respect of this.

- If the Applicant is not already a CUSC Party the Applicant will be required as part of this application form to undertake that they will comply with the provisions of the Grid Code for the time being in force. Copies of the Grid Code and the CUSC are available on The Company’s Website1 and the Applicant is advised to study them carefully. Data submitted pursuant to this application shall be deemed submitted pursuant to the Grid Code.

v1.17 – 9 March 2022

CUSC v1.17

- The Company’s Offer will be based upon its standard form terms of Connection Offer and the Charging Statements issued by The Company under Standard Conditions C4 and C6 of the Transmission Licence. The Applicant should bear in mind The Company’s standard form terms of Offer when making this application. In the case of The Company’s Offer for a New Connection Site located in Offshore Waters, the Offer will identify the Onshore Construction Works based on specified assumptions about the Offshore Construction Works and these assumptions will be set out in the Offer but (subject to paragraph 24) the Offshore Construction Works will not be identified at that stage.

- In particular, and subject to paragraphs 24 – 27 below The Company prepares Offers upon the basis that each party will design, construct, install, control, operate and maintain, in the case of the User, the Plant and Apparatus which they will own and, in the case of The Company, Transmission Plant and Transmission Apparatus usually but not necessarily applying the ownership rules set out in Paragraph 2.12 of the CUSC (Principles of Ownership). If the Applicant wishes to build Contestable Assets, please indicate in the relevant question in the Application Form. If the Applicant wishes The Company to carry out any of these matters on the Applicant’s behalf (including where, should the Transmission substation at which the Applicant is to be connected be of a Gas Insulated Switchgear design, the Applicant would wish that The Company undertake the works but subsequently transfer the Gas insulated Switchgear to the Applicant) please contact The Company for further details.

- Applicants of a type set out in Grid Code CC 8.1, Generators and DC Converter Station Owners, should appreciate that they will be required to perform Mandatory Ancillary Services to ensure that System Operational Standards can be achieved. This requirement may have implications towards Plant specification. You should be satisfied that before an application is made that your intended Plant design can meet the requirements.

- Under Special Condition M of the Transmission Licence The Company has additional requirements in respect of information on Offers where an Applicant has applied for connections in Scotland as well as in England and Wales and the Applicant doesn’t intend to connect at all locations, but intends to choose which location or locations to connect at on the basis of the offers it receives. Question 6 in Section A is intended to assist

The Company in early identification of this situation arising.	The
Company’s Website contains a statement that describes the means by which The Company shall ensure compliance with Special Condition M of its Transmission Licence.

- Applicants have the option to request a Connection Offer on the basis of a Design Variation. In requesting such an Offer, the Applicant acknowledges that the connection design (which provides for connection to the National Electricity Transmission System) will fail to satisfy the deterministic criteria detailed in paragraphs 2.5 to 2.13 or 7.7 to 7.19, as appropriate, of the NETS SQSS. In making such an Offer, in accordance

v1.17 – 9 March 2022

CUSC v1.17

with its obligations under Paragraphs 2.13.2 and 2.13.7 or 2.13.11 of CUSC, The Company may include Restrictions on Availability. If Applicants require further assistance on this option they are recommended to contact The Company before completing this application form.

- The Company will include Offshore Restrictions on Availability in any Offer made for New Connection Sites located in Offshore Waters which meet the Offshore Standard Design and Design Variation but not where the design is of a standard equivalent to or higher than the deterministic criteria detailed in paragraphs 2.5 to 2.13 of the NETS SQSS.

- In the case of New Connection Sites located in Offshore Waters the Offer will be based on an assumption of connection to an Offshore Transmission System rather than an ET Offshore Transmission System. Consideration may be given as to whether the connection should be to an ET Offshore Transmission System and as a result it may be necessary for The Company to consult the appropriate Public Distribution System Operator(s). Where the New Connection Site is to be connected to an ET Offshore Transmission System this will be reflected in the variations to the Bilateral Connection Agreement and Construction Agreement referred to in CUSC Paragraph 2.13.9. The Company will include ET Restrictions on Availability in any Offer made for New Connection Sites located in Offshore Waters which are connected or to be connected to an ET Offshore Transmission System.

- The Applicant has the ability to pay a fixed price application fee in respect
of their application or pay the actual costs incurred (variable price application fee). The fixed price application fee is derived from analysis of historical costs of similar applications. The variable price application fee is based on an advance of the Transmission Licensee’s Engineering and out of pocket expenses and will vary according to the size of the scheme and the amount of work involved. The Applicant is requested to indicate their preferred basis of application fee in Section A question 5. The Applicant is advised that further information can be obtained from the Charging Statements which can be found on The Company’s Website.

- The Company will provide an Offer based upon the National Electricity Transmission System Security and Quality of Supply Standards (NETS SQSS). The criteria presented in the NETS SQSS represent the minimum requirements for the planning and operation of the National Electricity Transmission System. The NETS SQSS allows for a generation or demand Applicant to request a variation to the connection design. For example, such a connection design variation may be used to take account of the particular characteristics of a power station, the nature of connection of embedded generation or particular load cycles.

- Any variation to connection design must not reduce the security of the MITS (Main Interconnected Transmission System) to below the minimum

v1.17 – 9 March 2022

CUSC v1.17

planning standard, result in any additional costs to any particular customer and compromise a transmission licensee’s ability to meet other statutory obligations or licence obligations. Further details of these conditions and standards can be found on The Company’s Website.

- Applicants in respect of New Connection Sites located in Offshore Waters should be aware that their Connection will be dependent on the appointment of an Offshore Transmission Owner in respect of such Connection Site by the Authority. Applicants should indicate their earliest date for entry into the Offshore Tender Process as part of their Connection Application.

- Entry into the Offshore Tender Process is conditional on the Applicant having procured the appropriate lease(s) from the Crown Estate or having secured an appropriate option on such lease or leases. Applicants should provide evidence of such leases or options as part of this Application or evidence reasonably satisfactory to The Company that such leases or options will be obtained prior to the Applicant’s desired entry date into the Offshore Tender Process.

- Applicants in respect of New Connection Sites located in Offshore Waters should also be aware that except where the Offshore Construction Works are being progressed as Offshore Transmission System Development User Works the Onshore Construction Works will not generally be progressed in advance of the outcome of the Offshore Tender Process and acceptance of the variations envisaged in CUSC Paragraph 2.13.9. There may be some occasions however where The Company considers it better for specific elements of the Onshore Construction Works to be undertaken earlier and where this is the case this will be specified in the Construction Agreement. The Company may also consider a request to undertake specific elements of the Onshore Construction Works such as engineering design and preliminary consents works subject to agreement of terms to cover this situation.

- Applicants in respect of New Connection Sites located in Offshore Waters should indicate at Section A if they are not interested in undertaking Offshore Transmission System Development User Works. In such case the Onshore Construction Works will be based on assumptions about the Offshore Construction Works and these assumptions will be set out in the Construction Agreement. The Offshore Construction Works will not themselves be identified at that time.

- The OTSDUW Arrangements allow the Applicant to undertake Offshore Transmission System Development User Works that is: activities and works in respect of the Offshore Construction Works which would otherwise be undertaken by an Offshore Transmission Licensee.

- Whilst not compulsory, and recognising that until the Applicant receives the Offer it will not have received the assumptions referred to in paragraph

v1.17 – 9 March 2022

CUSC v1.17

11, the Applicant may wish to indicate the scope of the Offshore Transmission Development User Works that it is interested in undertaking.

- Any Offer made to the Applicant in respect of New Connection Sites located in Offshore Waters (other than an Applicant who has indicated at Section A that they are not interested in undertaking Offshore Transmission System Development User Works) will be made on the basis of the OTSDUW Arrangements and, unless the Applicant has requested otherwise, the Construction Agreement will be framed on the basis of OTSDUW Build although this can be reviewed prior to acceptance. The scope and extent of the Offshore Transmission System User Assets and the Offshore Transmission System Development User Works will be considered and agreed prior to acceptance.

- Applicant’s should note that any assets resulting from the OTSDUW Build will not be available for use for the purposes of transmission (except during the OTSUA Commissioning Period) until they have been transferred to an Offshore Transmission Licensee.

- Please complete this application form in black print and return it together with the appropriate application fee to The Company. In addition to returning the application form to the Customer Services Manager an electronic copy of the application form may be e-mailed to The Company.

- For the most up to date contact details applicants are advised to visit The Company’s Website.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

SECTION A. DETAILS OF APPLICANT (in respect of this application)

1.	Registered Company

Name:

Address (of Registered Office in the case of a Company)

Company Number:

Parent Company Name (if applicable):

- Company Secretary or person to receive CUSC notices

Name:

Email:

Telephone:

Fax:

- Commercial Contact/Agent (person to receive Offer if different from  Company Secretary or person to receive CUSC notices identified in 2 above)

Name: Title:

Address:

Email: Telephone: Fax:

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

- Please confirm whether you agree to us sending the Offer in electronic form instead of hard copy and, if so, confirm the address for this as follows.

Yes [ ] No [ ]

Email address

- Please identify which application fee basis you wish to use for this application.

Fixed price application fee	[ ]

Variable price application fee	[ ]

- If this is an application for connection to the National Electricity Transmission System Onshore in England and Wales please complete 6a. If this is an application for connection to the National Electricity Transmission System Onshore in Scotland please complete 6b.

- Have you made any applications for connection to the National Electricity Transmission System Onshore in Scotland which are being processed prior to Offer by The Company or where an Offer has been made that Offer has not yet been accepted by you but remains open for acceptance?

If so, are such applications intended as alternatives to this one i.e. you intend to choose which of this or those other applications to proceed with on the basis of the offer made.

Yes – please list the applications.

No	[ ]

Not sure [ ]

(The Company will contact you to clarify)

- Have you made any applications for connection to the National Electricity Transmission System Onshore in England and Wales which are being processed prior to Offer by The Company or where an Offer has been made that Offer has not yet been accepted by you but remains open for acceptance?

If so, are such applications intended as alternatives to this one i.e. you intend to choose which of this or those other applications to proceed with on the basis of the offer made.

Yes – please list the applications.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

No	[ ]

Not sure [ ] (The Company will contact you to clarify)

7.	Where the New Connection Site is located in Offshore Waters please complete

the confirmation below if you are not interested in undertaking Offshore Transmission Development User Works.

Confirm [ ]

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

SECTION B. THE PROPOSED POINT OF CONNECTION

- Please identify (preferably by reference to an extract from an Ordnance Survey
Map for Onshore locations, or with the latitude and longitude or some other corresponding equivalent for Offshore locations) the intended location (the “Connection Site”) of the Plant and Apparatus (the “User Development”) which it is desired should be connected to the National Electricity Transmission System and where the application is in respect of a proposed New Connection Site other than at an existing sub-station. Please specify the proposed location and name of the New Connection Site (which name should not be the same as or confusingly similar to the name of any other Connection Site) together with details of access to the Connection Site including from the nearest main road.

- Please provide a plan or plans of the proposed Connection Site indicating (so
far as you are now able) the position of all buildings, structures, Plant and Apparatus and of all services located on the Connection Site.

- Give details of the intended legal estate in the Connection Site (to include
leasehold and freehold interests and in the case of Connection Sites in Scotland legal interests and heritable or leasehold interests including servitudes or other real rights and in the case of Connection Sites located Offshore leaseholds granted by the Crown Estate) in so far as you are aware.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

- Who occupies the Connection Site in so far as you are aware?

- If you believe that a new sub-station will be needed, please indicate by
reference to the plan referred to in Section B question 2 above the Applicant’s suggested location for it - giving dimensions of the area.

- If you are prepared to make the land necessary for the said sub-station
available the Relevant Transmission Licensee for New Connection Sites Onshore or Offshore, make the land or Offshore, make the land or Offshore Platform available to the Relevant Transmission Licensee ` please set out brief proposals for their interest in it including (if relevant) such interest and the consideration to be paid for it.

- Is space available on the New Connection Site for working storage and
accommodation areas for the contractors of the Relevant Transmission Licensee? If so, please indicate by reference to the plan referred to in Section B question 2 above the location of such areas, giving the approximate dimensions of the same.

- For Connection Sites located Onshore, please provide details (including
copies of any surveys or reports) of the physical nature of land in which you have a legal estate or legal interest at the proposed Connection Site including the nature of the ground and the sub-soil.

- Please give details and provide copies of all existing relevant planning and
other consents (statutory or otherwise) relating to the Connection Site and the User Development and/or details of any pending applications for the same.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

- Is access to or use of the Connection Site for the purposes of installing,
maintaining and operating Plant and Apparatus subject to any existing restrictions? If so, please give details.

- If you are aware of them, identify by reference to a plan (if possible) the
owners and (if different) occupiers of the land adjoining the Connection Site. To the extent that you have information, give brief details of the owner's and occupier's estates and/or interests in such land.

- If the New Connection Site is located in Offshore Waters, please indicate of
the earliest date for entry of this project into the Offshore Tender Process. If no date is provided it will be assumed to be for entry into the first Offshore Tender Process following acceptance of the Offer.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

SECTION C. TECHNICAL INFORMATION

1.	Summary of Application (brief description of plant to be connected):

- Please provide full details of the proposed application together with the relevant Standard Planning Data as listed in Part 1 of the appendix to the Planning Code which are applicable to you. Note: the data concerned forms part of the Planning Code and Data Registration Code. Applicants should refer to these sections of the Grid Code for an explanation.

- Please provide a copy of your Safety Rules if not already provided to The Company.

Included	[ ]

Already provided	[ ]

Will be provided later [ ]

- Please indicate if your plant may be able to provide (or you could consider providing) the following technical capability):-

- Generation from Auxiliary Units (Reserve Services)	[ ]

- Spinning Generation	[ ]

- Fast Start capability	[ ]

- Frequency Response above Mandatory requirements	[ ]

- Demand Reduction / Management	[ ]

- Reactive capability above Mandatory requirements	[ ]

- Synchronous Compensation	[ ]

- Black Start Capability	[ ]

- Emergency Maximum Generation	[ ]

- Intertrip	[ ]

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

k.	Other (please detail below)	[ ]

The Company’s Website5 provides more information on the terms it offers for such technical capability.

5.	Please confirm your intended Connection Entry Capacity (MW)

Connection Site	[	]
Generating Unit(s) (if applicable)

| Generating Unit 1 | [ | ] |
| --- | --- | --- |
| Generating Unit 2 | [ | ] |
| Generating Unit 3 | [ | ] |
| Generating Unit 4 | [ | ] |

Details of additional Generating Units are to be provided here

- Please state the required Transmission Entry Capacity	MW

- Please confirm if:

a.	You would like an offer that is compliant with the deterministic criteria

detailed, in the case of Onshore Connection Sites, in paragraphs 2.5 to 2.13 and, in the case of Offshore Connection Sites, in paragraphs 7.7 to 7.19 of the NETS SQSS

YES/NO

and/or

b	You would like an offer on the basis of a Design Variation.

YES/NO

If yes, please provide any information relevant to such an offer below:

If yes, please confirm if you require information from The Company in relation to the probability of Notification of Restrictions on Availability being issued.

YES/NO

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

- 8.	Do you wish to suggest an ownership boundary different from that set out in CUSC

Paragraph 2.12?

Yes	[ ]

No	[ ]

If yes please give details:

- 9. Please confirm which ownership boundary at CUSC Paragraph 2.12.1 (f) you would want in the event that the Transmission substation at which the Applicant is to be connected is to be of a Gas Insulated Switchgear design:

- CUSC Paragraph 2.12.1 (f) (i)	[ ]

- CUSC Paragraph 2.12.1 (f) (ii)	[ ]

Please note that in the case where the ownership boundary is in accordance with CUSC Paragraph 2.12.1 (f) (i) restrictions on availability as described within CUSC Schedule 2 Exhibit 1 will apply in the event of a GIS Asset Outage.

- 10.	Are you considering building any assets that would be identified as

Contestable Assets? If you indicate yes, The Company will contact you to discuss further details.

Yes	[ ]

No	[ ]

- 11.	For New Connection Sites located in Offshore Waters please indicate

whether you are including any of the following items of additional information alongside your application. Applicants should note that though these items are not compulsory The Company will supply such information into the Offshore Tender Process in order that it may be expedited and may use the information in developing assumptions prior to the identification of Construction Works required Offshore.

Feasibility Studies	[ ]

Crown Estate Lease	[ ]

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

| Identified sub-sea cable routes | [ ] |
| --- | --- |
| Identified cable landing points | [ ] |
| Other (please specify) | [ ] |

- 12.	Applicants should note that for Generating Units proposed to be connected to

an Offshore Transmission System certain requirements in respect of Reactive Power capability (contained within the STC, Section K and in the case of Offshore Transmission System Development User Works, the Grid Code) are placed upon the owner of the Offshore Transmission System. However the Grid Code also permits part or all of this requirement to be met by the Generating Units connected to the Offshore Transmission System should it be more efficient to do so. In order that an assessment of the most efficient method of providing Reactive Power capability may be made by an owner of an Offshore Transmission System an Applicant for a New Connection Site located Offshore is required to indicate (where known) the expected Reactive Power capability of the Generating Units expected to be connected at the New Connection Site. Where applicable please also reference in Section C, part 4f above.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

SECTION D. PROGRAMME

Please provide a suggested development and construction programme in bar chart form for the work necessary to install the User Development (not the Transmission Connection Assets needing to be installed) indicating the anticipated date when the connection will be required to be made and any other key dates such as back feed date.

If not already included in the above bar chart please provide details of when the Applicant expects to be completing the substantive works that lead to the completion of the following phases of the User Development or reach the following relevant key milestones below and other additional milestones as necessary (working backwards from expected connection date at ‘year 0’). This information is expected to provide the anticipated project overview at the time of application:-

- In the case of a Connection Site located in Offshore Waters, procurement of Crown Estate lease

- Planning Application Submitted (Town & Country Planning*, S36,S37)

- Earliest date of entry into the Offshore Tender Process

- Planning Consent Awarded

- Plant Ordered (i.e. Power Station or substation)

- Construction Started (site mobilisation)

- Construction Completed

Notes

*	The consent for the User's Power Station granted under Section 36 of the

Electricity Act or planning permission for the User's Power Station granted under the Town and Country Planning Act 1990 or any amendment thereto in England and Wales or the Town and Country Planning (Scotland) Act 1997 or any amendment thereto in Scotland.

v1.17 – 9 March 2022

APPLICATION FOR A NEW CONNECTION

PLEASE ENSURE THAT YOU HAVE STUDIED THE NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM

SECTION E. Enabling Works [Directly Connected Power Station or Distribution System where associated with Distributed Generation only]

- We confirm we do not/do want the Enabling Works to be greater in scope than the MITS Connection Works.

- If you want the Enabling Works to be greater in scope than the MITS Connection Works specify the concerns, reasons or technical requirements that you are seeking to address by this.

v1.17 – 9 March 2022

CONNECTION APPLICATION

- We hereby apply to connect our Plant and Apparatus to the National Electricity Transmission System at a New Connection Site. We agree to pay The Company’s Engineering Charges on the terms specified in the Notes to the Connection Application.

- We will promptly inform The Company of any change in the information given in this application as quickly as practicable after becoming aware of any such change.

- If we are not already a CUSC Party we undertake for the purposes of this application to be bound by the terms of the Grid Code from time to time in force and to sign a CUSC Accession Agreement.

- We authorise the release of certain information, on the grounds of commercial confidentiality, to the appropriate Public Distribution System Operator(s) or to the Relevant Transmission Licensee, or to the Authority in order to comply with The Company’s obligations with respect to the Offshore Tender Process, should it be considered necessary.

- We confirm that we:

meet The Company Credit Rating	[ ]

do not meet The Company Credit Rating.	[ ]

- We confirm our agreement to the disclosure in the manner set out in Paragraph 6.30.3 of CUSC of the information specified in such Paragraph.

- We confirm that we are applying in the category of:

Directly Connected Power Station	[ ]

Non-Embedded Customer	[ ]

Distribution System Directly Connected to the

National Electricity Transmission System	[ ]

[Please tick correct option]. SIGNED BY

For and on behalf of the Applicant

Date:

END OF EXHIBIT B