## Sheet1
Workgroup Consultation Responses Summary
CM097: Electromagnetic Transient (EMT) and Root Mean Square (RMS) Model Submission for Transmission Owners (TOs)
Consultation date: 28 March 2025 - 25 April 2025
Respondent Details |  |  |  | Standard Consultation Questions |  |  |  |  | Specific Consultation Questions |  | Themes
Response Number | Organisation | Name | Organisation type | Q1 - Do you believe that the Original Proposal better facilitate the Applicable Objectives versus the baseline? | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Do you wish to raise a Workgroup Consultation Alternative request for the Workgroup to consider? | Q5 - Does the draft legal text satisfy the intent of the modification? | Q6 - Please could you share your rationale for a cost-recovery mechanism to be put in place supported by evidence, where available. If no cost-recovery mechanism were available, what do you believe the implications would be? | Q7 - As part of the consequential modification for GC0168, it is proposed to prepare an Electrical Standard detailing how an EMT model would be submitted in PSCAD Version 5. Do you believe with appropriate signposting to the Grid Code from the STC, this would be an appropriate and cost-effective method of providing this guidance to transmission licences. If you do not believe this to be the case, what alternative would you suggest and add the rationale for your view. | Key points
1 | National Energy System Operator (NESO) | Frank Kasibante | System Operator | a, b, c, e, g, h | Yes | Yes | No | Yes | The respondent stated that they supported a cost recovery mechanism for TOs in respect of provision of EMT models for already connected equipment. For the established TOs the price control could be used for this purpose. However, for OFTOs it is unclear how the cost recovery mechanism would work. We do not believe it would be necessary for a cost recovery for new plant going forward. As CATOs are a new concept, we do not believe a cost recovery mechanism will be needed. | The respondent stated that they agreed with the proposed approach, for PSCAD Version 5 or higher. | The respondent confirmed that they support the proposed implementation approach.
The respondent stated that more accurate models, together with those provided by Users, are essential and will overall enhance the modelling capability. This will result in greater system optimisation and system security, which will overall result in lower customer bills.
The respondent confirmed that the draft legal text satisfies the intent of the modification.
2 | SP Energy Networks | Graeme Vincent | Distribution Network Operator / Transmission Owner | c, e | Yes | Not answered | No | Yes | The respondent stated that for all new plant, SPEN already requires the delivery of RMS and EMT models as part of the specification. However, the costs associated with obtaining EMT models for existing plant are very high. Based on work that is ongoing, the total cost to SPEN is estimated to be in the order of £500k, not including the engineering time to test such models before submitting them to NESO. For TOs with a higher number of FACTS devices and other active plant, this cost will be substantially higher. The absence of a cost recovery mechanism would, as a minimum, slow down the process of acquiring validated EMT models for GB plant. | The respondent favours an approach based on open standards and interoperability between simulation platforms, rather than binding the industry to a single vendor and simulation platform. They mention existing standards such as Functional Mock-up Interface (FMI) and the approach developed by IEEE and Cigre. | The respondent confirmed that they support the proposed implementation approach, but notes that detailed requirements will be included in a separate STCP (proposed STCP 12-2), making a full assessment difficult. They also highlight significant costs and timescales for obtaining EMT models for existing plants and support a cost recovery mechanism.
The respondent confirmed that the draft legal text satisfies the intent of the modification, however they note that the majority of the detail will be contained in the proposed STCP 12-2.
3 | Transmission Capital | Mike Lee | Transmission Owner | e, g | No | No | Yes | Yes | The respondent noted that he cumulative impact of many small changes is gradually affecting the belief that the OFTO regime is low-risk. Implementing this modification without funding will result in a longer and less technically competent process. There should be a cost-benefit analysis for providing the data, as NESO's assumption that this comes at no cost will not lead to the best decision for the whole industry. The decision should consider the impact on the entire industry, rather than focusing solely on individual transmission owners. | The respondent confirmed that this proposal is in line with a number of read across situations from STC to Grid Code. The only issue to bear in mind, is that the governance of the Grid Code is independent to the STC and there have been issues in the past with the GC panel making changes to GC documents which impact on the STC, without input from the STC community. | The respondent confirmed that they do not support the proposed implementation approach, for the following reasons - Data Availability: Most OFTO sites lack necessary data, especially older assets. Time Commitment: Significant time needed, can't be done immediately. Resource Diversion: Diverts resources from other important work. Necessity: Requirement should be justified based on need and cost. Existing Data: NESO may already have much of this data. Cost Recovery: Costs should be recoverable, but high threshold may not be met. Technical Challenges: OFTOs need resources they were never funded for.
The respondent confirmed that they wish to raise a Workgroup Consultation Alternative Request, based on the following points - Review Existing Data: NESO should review data available from the OTSDUW process. Model Justification: NESO should explain why specific models are needed. Cost/Time vs. Benefit: NESO should provide a cost/time versus benefit assessment. Progressive Completion: Data/model requirements should be completed progressively over time. Cost Recovery Mechanism: NESO should establish a cost recovery mechanism for TOs.