## Version
Date | Version | Details
2026-05-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for May 2026. This file will be updated in June 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Fort Augustus - Fort William - Kinlochleven (FFE/FV1) 132kV circuit | SHETL | 2026-05-01 08:21 |  | To be confirmed
Offerton 275/33kV SGT2 | NGET | 2026-05-01 14:11 |  | To be confirmed
Uskmouth 275/132kV SGT4A | NGET | 2026-05-07 10:14 |  | To be confirmed
Kingsnorth - Northfleet East 400KV circuit | NGET | 2026-05-08 17:22 |  | To be confirmed
Kilmarnock South 275kV MBB2 | SPT | 2026-05-11 16:13 |  | To be confirmed
Bradford West 275kV Shunt Reactor 1 | NGET | 2026-05-12 10:41 |  | To be confirmed
West Bolden 275kV SGT3 | NGET | 2026-05-12 12:02 |  | To be confirmed
Fiddes - Brechin - Bridge of Dun (FB) 132kV circuit, and 33kV GT1 | SHETL | 2026-05-13 17:55 |  | To be confirmed