CUSC SECTION 15

USER COMMITMENT METHODOLOGY

CONTENTS

Part One	Introduction

Part Two	Calculation of Cancellation Charge

Part Three	Calculation of Cancellation Charge Secured Amount and Credit Requirements

Part Four	Reconciliation of Actual Attributable Works Cancellation Charge

Part Five	Activation and administration of the Progression Commitment Fee

Part Six	Activation and administration of the Oversubscribed Technologies Commitment Fee

PART ONE	INTRODUCTION

1	Where (a) a Construction Agreement and/or a Bilateral Connection Agreement or Bilateral Embedded Generation Agreement between a User in respect of the categories specified below and The Company is terminated or (b) there is a reduction in Transmission Entry Capacity by or in respect of such User or (c) there is a reduction in Developer Capacity in a Construction Agreement prior to the Charging Date, or (d) there is a reduction in Interconnector User Commitment Capacity by or in respect of such User, such User shall pay to The Company the Cancellation Charge calculated and applied in accordance with Part Two of this Section 15

- The Cancellation Charge is payable by Users on termination of agreements with and reductions in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity in respect of Users in the categories of

- a Power Station directly connected to the National Electricity Transmission System in respect of which there is a Bilateral Connection Agreement with The Company;

- an Embedded Power Station in respect of which there is a Bilateral Embedded Generation Agreement with The Company;

- a Distribution System directly connected to the National Electricity Transmission System in respect of which there is a Construction Agreement associated with Distributed Generation

- an Interconnector directly connected to the National Electricity Transmission System in respect of which there is a Bilateral Connection Agreement with The Company

and reference to User in this Section 15 shall be interpreted accordingly.

For the avoidance of doubt this schedule does not apply to Users other than those described above.

For the avoidance of doubt in respect of Users in the case of category (b) above where The Company has an associated Construction Agreement with a User in the category of (c) above, the Cancellation Charge payable by a User in category (b) above will not include the Attributable Works Cancellation Charge,  (from the PCF Activation Date) the Progression Commitment Fee, or (from the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date), the OTCF Project Floor components of the Cancellation Charge. In such case the Attributable Works Cancellation Charge , Progression Commitment Fee, and the OTCF Project Floor components of the Cancellation Charge will be payable by the associated User in category (c) above.

For the avoidance of doubt in the case of:

  - Users in the case of category (c) above; and

  - Distributed Generation (other than an Embedded Power Station which is the subject of a Bilateral Embedded Generation Agreement),

the Cancellation Charge does not apply for reductions in Developer Capacity on or after the Charging Date or termination on or after the Charging Date.

For information, for Users other than Users in the categories to which this Section 15 applies, the liability for and security requirements in respect of Final Sums, which are due on termination of a Construction Agreement are as set out in the Construction Agreement (and in the proforma attached at CUSC Schedule 2, Exhibit 3).

From the PCF Activation Date, the Cancellation Charge shall include the Progression Commitment Fee payable in accordance with this Section 15. For the avoidance of doubt, the Progression Commitment Fee is not payable before the PCF Activation Date.

From the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date, the Cancellation Charge shall not be less than the OTCF Project Floor calculated in accordance with Part Six of this Section 15. For the avoidance of doubt, the OTCF Project Floor shall not apply before the OTCF Technology Activation Date or after the OTCF Technology Deactivation Date save for any Cancellation Charge amounts due in respect of the OTCF Project Floor that remains unpaid after the OTCF Technology Deactivation Date.

For the avoidance of doubt, in addition to the Cancellation Charge, Termination Amounts also apply in respect of Transmission Connection Assets.

3	The Company shall apply and calculate the Cancellation Charge in accordance with Part Two of this Section 15.

The Cancellation Charge is made up of a number of components: the “Pre Trigger Amount”, “Attributable Works Cancellation Charge”, “Wider Cancellation Charge”,  (from the PCF Activation Date) the “Progression Commitment Fee” and (from the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date) the “OTCF Project Floor” which apply at different stages.

4	As provided for at Paragraph 3.5, the Attributable Works Cancellation Charge can be (at the User’s election in accordance with Paragraph 7) on the basis of the Fixed Cancellation Charge (Paragraph 3.6) rather than the Actual Attributable Works Cancellation Charge (Paragraph 3.7).

5	This Section 15 also sets out in Part Three the level of, and arrangements for, security required in respect of the Cancellation Charge.

6	The Company shall apply and calculate the Cancellation Charge Secured Amount in accordance with this Section 15 Part Three.

7	This Section 15 also sets out in Part Four the reconciliation process in respect of the Actual Attributable Works Cancellation Charge.

7A	This Section 15 also sets out in Part Five the detail on the activation and administration of the Progression Commitment Fee.

7B	This Section 15 also sets out in Part Six the detail on the activation (and deactivation) and administration of the OTCF Project Floor.

8	For reference a number of terms used in this Section 15 are defined within this Section 15.

9 	Distributed Generation

Users in the category of (c) above are liable for the Cancellation Charge (or

where the Distributed Generation has a Bilateral Embedded Generation

Agreement, the Attributable Works Cancellation Charge ,(from the PCF Activation Date) the Progression Commitment Fee ,  and (from the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date) (where relevant to a project) the OTCF Project Floor components of the

Cancellation Charge) on a reduction in Developer Capacity (or in the case of

Distributed Generation with a Bilateral Embedded Generation Agreement)

Transmission Entry Capacity and/or termination of the Construction

Agreement between The Company and the User. Given this such Users will

have arrangements in place with the Distributed Generation for

reimbursement by the Distributed Generation of the Cancellation Charge

and recognising this there are specific payment arrangements between the

User and The Company provided for in the Construction Agreement

Between the User and The Company.

PART TWO	CALCULATION OF CANCELLATION CHARGE

1.1	The Cancellation Charge payable shall be calculated in accordance with this Part Two of Section 15.

1.2	Value Added Tax will be payable on any Cancellation Charge.

2	Completion Date and Trigger Date

2.1	In making an Offer to a User The Company will consider the Construction Works and Construction Programme associated with that Offer and taking into account the nature and programming of the Construction Works and the Consents associated with this will identify dates in the Construction Agreement as the Completion Date.

2.2	The Trigger Date will be (a) the 1 April which is three Financial Years prior to the start of the Financial Year in which the Charging Date occurs or (b) where the Charging Date is less than three Financial Years from the date of the Construction Agreement, the date of the Construction Agreement (in which case the Financial Year in which such date falls is the relevant Financial Year within the Cancellation Charge Profile working back from the Charging Date).

2.3	The Trigger Date is the date from which the Wider Cancellation Charge applies and the date from which, in the case of the Fixed Cancellation Charge, the Fixed Attributable Works Cancellation Charge rather than the Pre Trigger Amount applies. Prior to the Trigger Date, only the Attributable Works Cancellation Charge applies, or in case of the Fixed Cancellation Charge, the Pre Trigger Amount applies.

2.4	Changes to Construction Programme or Construction Works or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity

2.4.1	Where the Construction Programme or the Construction Works or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity subsequently changes from that in the original Construction Agreement the following principles will apply in respect of reassessing the Trigger Date and the Cancellation Charge.

2.4.2	Where such change is as a result of The Company’s exercise of its rights under the Construction Agreement then:

- Where there is a delay to the Completion Date and the Trigger Date has not passed, the Trigger Date will be revised by reference to the revised Completion Date. The period for which the Pre Trigger Amount applies, will be adjusted to reflect the new Trigger Date;

- Where there is a delay to the Completion Date and the Trigger Date has passed, the Trigger Date will be revised by reference to the revised Completion Date and the Cancellation Charge (including the Cancellation Charge Profile) will be adjusted to reflect the revised date.

- In the case of a Fixed Cancellation Charge, a change in the Attributable Works will not adjust the Cancellation Charge Profile unless the Completion Date has also changed in which case (ii) above will apply.

2.4.3	Where a change is as a result of the User’s request then,  notwithstanding any change in the Completion Date;

- Where there is a delay to the Completion Date and the Trigger Date has not passed, the Trigger Date will be revised by reference to the revised Completion Date. The period for which the Pre Trigger Amount applies, will be adjusted to reflect the new Trigger Date;

- Where there is a delay to the Completion Date and the Trigger Date has passed, the Trigger Date will not be revised by reference to the revised Completion Date and the Cancellation Charge will not be adjusted downwards but will be held at that level and will increase from that level in line with any new Construction Programme.

3	Calculation of Cancellation Charge

3.1	The Cancellation Charge is the charge due to The Company by a User on termination of a Construction Agreement, Disconnection or a reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity prior to the Charging Date and Disconnection or a reduction in Transmission Entry Capacity or Interconnector User Commitment Capacity on or after the Charging Date.

3.2	This calculation of the Cancellation Charge is different:

- where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced before the Trigger Date (the “Pre Trigger Amount” or “Actual Attributable Works Cancellation Charge”) (Paragraphs 3.6.1 and 3.7);

- where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date (the “Fixed Attributable Works Cancellation Charge” or “Actual Attributable Works Cancellation Charge” and the “Wider Cancellation Charge”) (Paragraphs 3.5 to 3.8);

- depending whether the Attributable Works Cancellation Charge is a Fixed Cancellation Charge or Actual Attributable Works Cancellation Charge (Paragraphs 3.5 to 3.7);

- where the Transmission Entry Capacity or Interconnector User Commitment Capacity is reduced or Disconnection occurs on or after the Charging Date (the “Wider Cancellation Charge”) (Paragraph 3.8);

- from the PCF Activation Date, depending on the value of the Progression Commitment Fee calculated in accordance with Part Five of this Section 15.

- from the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date, depending on the value of the OTCF Project Floor calculated in accordance with Part Six of this Section 15.

3.3	Where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced before the Trigger Date

Where a Construction Agreement is terminated or Transmission Entry Capacity is reduced or Developer Capacity is reduced or Interconnector User Commitment Capacity is reduced before the Trigger Date the Cancellation Charge shall be calculated as follows:

(a) 	Before the PCF Activation Date or where the PCF Activation Date has not been set:

Cancellation Charge =max(Attributable Works Cancellation Charge , OTCF Project Floor)

(b) 	From the PCF Activation Date:

Cancellation Charge = max(Attributable Works Cancellation Charge plus Progression Commitment Fee , OTCF Project Floor)

3.4	Where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date

Where a Construction Agreement is terminated or Transmission Entry Capacity is reduced or Developer Capacity is reduced or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date the Cancellation Charge shall be calculated as follows:

(a) 	Before the PCF Activation Date or where the PCF Activation Date has not been set:

Cancellation Charge = max(Attributable Works Cancellation Charge plus Wider Cancellation Charge , OTCF Project Floor)

(b)	From the PCF Activation Date:

Cancellation Charge = max(Attributable Works Cancellation Charge plus Wider Cancellation Charge plus Progression Commitment Fee , OTCF Project Floor)

The following Paragraphs set out in detail the Attributable Works Cancellation Charge and Wider Cancellation Charge and Paragraph 3.7 sets out the above calculation by formula.

3.5	Attributable Works Cancellation Charge

The Attributable Works Cancellation Charge can be either the Fixed Cancellation Charge or Actual Attributable Works Cancellation Charge.

3.6	Fixed Cancellation Charge

The calculation of the Fixed Cancellation Charge is different where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced before (“Pre Trigger Amount”) or on or after the Trigger Date (“Fixed Attributable Works Cancellation Charge”).

    - Pre Trigger Amount

Should a Construction Agreement be terminated, or Transmission Entry Capacity be reduced or Developer Capacity be reduced or Interconnector User Commitment Capacity be reduced before the Trigger Date the Fixed Cancellation Charge is the Pre Trigger Amount calculated as a £/MW figure by reference to the Cancellation Charge Profile and derived in accordance with the formula at Paragraph 3.9 and set out in the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 7:

    - Fixed Attributable Works Cancellation Charge

Where a Construction Agreement is terminated or Transmission Entry Capacity is reduced or Developer Capacity is reduced or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date the Fixed Cancellation Charge is the Fixed Attributable Works Cancellation Charge calculated as follows:

Fixed Attributable Works Cancellation Charge = (Attributable Works Cancellation Amount x MW Reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity)  x Cancellation Charge Profile

Where the Attributable Works Cancellation Amount results in a £/MW figure calculated as follows:

(Estimated Attributable Works Capital Cost x (1 – Local Asset Reuse Factor) x Strategic Investment Factor x Distance Factor) / Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity

Where the Estimated Attributable Works Capital Cost is the fair and reasonable estimate of the Attributable Works Capital Cost for each component within the Attributable Works and which is as set out in the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 6.

Where the Attributable Works are as specified in Appendix MM of the Construction Agreement at the time of the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 6.

Where the Local Asset Reuse Factor is the factor representing the potential for reuse of each component within the Attributable Works as set out in the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 6.

Where the Strategic Investment Factor is a factor calculated for each component within the Attributable Works as a ratio of the Transmission Entry Capacity and/or Developer Capacity and/or Interconnector User Commitment Capacity sharing those Attributable Works against the secured capability of the Transmission assets and set out in the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 6.

Where the Distance Factor is a factor calculated for each component within the Attributable Works as a ratio of distance to the nearest suitable MITS substation and distance to the MITS substation where the Attributable Works connect as set out in the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 6. This factor is only valid for components where distance is relevant i.e. cables and overhead lines.

Where the Cancellation Charge Profile is the profile derived in accordance with the formula at Paragraph 3.10 and set out in the Notification of Fixed Cancellation Charge by reference to which an election is made in accordance with Paragraph 6.

3.6.3	The Pre Trigger Amount and the Attributable Works Cancellation Amount (and the factors used in deriving this) and the Cancellation Charge Profile are fixed at the time an election is made in accordance with Paragraph 7 and the Pre Trigger Amount and Attributable Works Cancellation Amount are not subject to any further specific adjustment, reconciliation or credit should any of the Transmission assets resulting from the Attributable Works be reused or of benefit to other Users.

3.7	Actual Attributable Works Cancellation Charge

3.7.1	The Actual Attributable Works Cancellation Charge is the Attributable Works Capital Cost in respect of each component within the Attributable Works at the time at which the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced including (a) fees, expenses and costs properly payable by The Company in respect of, or arising from the termination by The Company or any third party of any contract for or relating to the carrying out of any of the Attributable Works provided it is negotiated on an arms length basis (including any such arising under the STC) and (b) a sum equal to the reasonable costs of removing any Transmission Connection Assets and of making good the remaining Plant and Apparatus following such removal and (c) proper and reasonable expenses incurred and or paid or which The Company is legally bound to incur of pay in seeking Consents for the Attributable Works and (d) interest on any such amounts from the date they were paid by The Company to the date of The Company’s invoice at 2% over Base Rate from time to time and for the time being provided that in each case The Company shall take into account the Local Asset Reuse Factor, the Strategic Investment Factor and the Distance Factor as calculated in paragraph 3.6.2, of the Attributable Works and any of the resulting Transmission assets.

3.7.2	In the case of the Actual Attributable Works Cancellation Charge, on termination of the Construction Agreement or reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity prior to the Charging Date, The Company shall be entitled to invoice the User for a sum equal to The Company’s fair and reasonable estimate of the Actual Attributable Works Cancellation Charge and so (a) in the case of termination, the User shall pay to The Company on account of the Actual Attributable Works Cancellation Charge a sum equal to the estimate of Actual Attributable Works Cancellation Charge as shown in the Cancellation Charge Statement for the period in which the termination occurs and (b) in the case of a reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity, a sum by reference to the MW reduction based on the £/MW figure derived from  the estimate of Actual Attributable Works Cancellation Charge as shown in the Cancellation Charge Statement for the period in which the termination occurs. These will then be subject to reconciliation in accordance with this Section 15 Part Four.

3.8	Wider Cancellation Charge

The Wider Cancellation Charge results in a £/MW charge calculated as follows:

Zonal Unit Amount x (MW of reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity) x Cancellation Charge Profile

The Zonal Unit Amount is a £/MW figure calculated by reference to the Generation Zone in which the Power Station or Interconnector is to be located as set out in the Cancellation Charge Statement. It is calculated by reference to the Annual Wider Cancellation Charge Statement for the Financial Year in which notice of reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is given and/or notice of Disconnection is given or, where in the case of an Event of Default where notice is not given, the Financial Year in which the reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity or Disconnection occurs.

Where the Zonal Unit Amount = Load Related Boundary Capex apportioned to Boundaries by Boundary (LR) Level and Non Load Related Boundary Capex apportioned to Boundaries by Boundary (NLR) Level, summated and multiplied by Boundary Non Compliance Factors and then mapped to Generation Zones and divided by the Wider User Commitment Liability Base, excluding those Power Stations or Interconnectors in respect of which a Construction Agreement has terminated or The Company has been notified of a reduction in the Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity or Disconnection within the period in question.

Where Load Related Boundary Capex is the capex required to increase capability in the network as determined by The Company for a given Financial Year, excluding any Attributable Works Capital Cost, multiplied by the User Risk Factor and the Global Asset Reuse Factor, as set out in the Annual Wider Cancellation Charge Statement.

Where Non Load Related Boundary Capex is the capex required to maintain capability in the network as determined by The Company for a given Financial Year, excluding any Attributable Works Capital Cost, multiplied by the User Risk Factor and the Global Asset Reuse Factor, as set out in the Annual Wider Cancellation Charge Statement.

Where the User Risk Factor is the share of total risk between generation and consumers, set at 0.5.

Where the Global Asset Reuse Factor for a given Financial Year is as set out in the Annual Wider Cancellation Charge Statement.

Where the Boundaries are as detailed in Section 8 of the Electricity Ten Year Statement (ETYS).

Where Boundary (LR) Level is the depth of each Boundary as determined by The Company multiplied by the increase in required capability on that Boundary over the forthcoming four year period, as set out in the Electricity Ten Year Statement (ETYS).

Where Boundary (NLR) Level is the depth of each Boundary as determined by The Company multiplied by the available capability on that Boundary in the year in question, as set out in the Electricity Ten Year Statement (ETYS).

Where Boundary Non Compliance Factors are the ratio between the available capability and required capability on each Boundary as detailed in Section 8 of the Electricity Ten Year Statement (ETYS), capped at 100%.

Where Generation Zones are (a) as defined in the Electricity Ten Year Statement (ETYS) for the Financial Year in which the termination or reduction in Transmission Entry Capacity or reduction in Developer Capacity or reduction in Interconnector User Commitment Capacity occurs prior to the Charging Date (or where not so defined as set out in the relevant Cancellation Charge Statement) or (b) as defined in the Electricity Ten Year Statement (ETYS) for the Financial Year in which the notice of Disconnection or reduction in Transmission Entry Capacity occurs on or after the Charging Date.

Where the Wider User Commitment Liability Base is the total amount of generation and Interconnector User Commitment Capacity in MW liable for the Wider Cancellation Charge in the year in question and the total amount of generation and Interconnector User Commitment Capacity in MW which will become liable for the Wider Cancellation Charge in the year in question and set out in the Annual Wider Cancellation Charge Statement.

Where the Cancellation Charge Profile is the profile derived in accordance with the formula at Paragraph 3.10 or 3.11, as appropriate.

3.9	Where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced before the Trigger Date

Should a Construction Agreement be terminated, or Transmission Entry Capacity be reduced or Developer Capacity be reduced or Interconnector User Commitment Capacity be reduced before the Trigger Date, before the PCF Activation Date or where the PCF Activation Date has not been set and where the OTCF Technology Activation Date is not set, the Cancellation Charge shall be calculated as follows:

Cancellation Charge = Either the Actual Attributable Works Charge or, where on the Fixed Attributable Works Cancellation Charge, a charge calculated as follows:

Reduction in Transmission Entry Capacity or Reduction in Developer Capacity or Reduction in Interconnector User Commitment Capacity x Pre Trigger Amountt

Where:

- Transmission Entry Capacity /Developer Capacity /Interconnector User Commitment Capacity  expressed in MW.

- Termination of Construction Agreement equates to a reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity to zero

- Pre Trigger Amountt which varies according to the number of Financial Years from the date of the Construction Agreement to the Trigger Date:

  - up to the end of the first Financial Year (i.e. t =1), the lower of either (a) Pre Trigger Amountt = (£1000/MW) or (b) a sum equivalent to the Cancellation Charge (and if not known an estimate of this) which would apply in the Financial Year which is 3 Financial Years prior to the Financial Year in which the Charging Date occurs.

  - Where t = 2, the lower of either (a) Pre Trigger Amountt = (£2000/MW) or (b) a sum equivalent to the Cancellation Charge (and if not known an estimate of this) which would apply in the Financial Year which is 3 Financial Years prior to the Financial Year in which the Charging Date occurs.

  - Where t ≥ 3 up to Trigger Date,the lower of either (a) Pre Trigger Amountt = (£3000/MW) or (b) a sum equivalent to the Cancellation Charge (and if not known an estimate of this) which would apply in the Financial Year which is 3 Financial Years prior to the Financial Year in which the Charging Date occurs.

3.9A	From the PCF Activation Date, should a Construction Agreement be terminated, or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity be reduced before the Trigger Date, the Cancellation Charge shall be the amount calculated using the formula in Paragraph 3.9 plus the Progression Commitment Fee.

3.9B	From the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date, should a Construction Agreement be terminated, or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity be reduced before the Trigger Date, the Cancellation Charge shall be the higher of the OTCF Project Floor and the amount calculated using the formula in Paragraph 3.9 or where the PCF applies the higher of the OTCF Project Floor and the amount calculated using the formula in Paragraph 3.9A.

3.10	Where the Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date

Where a Construction Agreement is terminated or Transmission Entry Capacity is reduced or Developer Capacity is reduced or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date, before the PCF Activation Date or where the PCF Activation Date has not been set, a User shall pay the Cancellation Charge calculated as follows:

Cancellation Charge = the sum of (a) Fixed Attributable Works Cancellation Charge or Actual Attributable Works Cancellation Charge and (b) Wider Cancellation Charge

  - Either the Actual Attributable Works Charge or, where on the Fixed Attributable Works Cancellation Charge, a charge calculated as follows:

Where:

- Termination of Construction Agreement equates to reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity to zero

- Fixed Attributable Works Cancellation Charge = Attributable Works Cancellation Amount x MW reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity x Cancellation Charge Profile t

- Cancellation Charge Profilet which varies according to the number of Financial Years working back from the Charging Date to the Trigger Date:

  - In the Financial Year in which the Charging Date occurs (t=0), Cancellation Charge Profile = 1.0,

  - In the Financial Year which is 1 Financial Year prior to the Financial Year in which the Charging Date occurs (t=1), Cancellation Charge Profile = 0.75;

  - In the Financial Year which is 2 Financial Years prior to the Financial Year in which the Charging Date occurs (t=2), Cancellation Charge Profile = 0.5; and

  - In the Financial Year which is 3 Financial Years prior to the Financial Year in which the Charging Date occurs (t=3), Cancellation Charge Profile, = 0. 25.

AND

(b) Wider Cancellation Charge

Where:

- Termination of Construction Agreement equates to reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity to zero

- Wider Cancellation Charge = Zonal Unit Amount x reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity x Cancellation Charge Profile t

- Cancellation Charge Profilet which varies according to the number of Financial Years working back from the Charging Date to the Trigger Date:

  - In the Financial Year in which the Charging Date occurs (t=0), Cancellation Charge Profile = 1.0,

  - In the Financial Year which is 1 Financial Year prior to the Financial Year in which the Charging Date occurs (t=1), Cancellation Charge Profile = 0.75;

  - In the Financial Year which is 2 Financial Years prior to the Financial Year in which the Charging Date occurs (t=2), Cancellation Charge Profile = 0.5; and

  - In the Financial Year which is 3 Financial Years prior to the Financial Year in which the Charging Date occurs (t=3), Cancellation Charge Profile = 0.25.

3.10A	From the PCF Activation Date, where a Construction Agreement is terminated or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced on or after the Trigger Date but prior to the Charging Date, the Cancellation Charge shall be the amount calculated using the formula in Paragraph 3.10 plus the Progression Commitment Fee.

3.10B	From the OTCF Technology Activation Date and until the OTCF Technology Deactivation Date, should a Construction Agreement be terminated, or Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity be reduced on or after the Trigger Date but prior to the Charging Date, the Cancellation Charge shall be the higher of the OTCF Project Floor and the amount calculated using the formula in Paragraph 3.10 or where the PCF applies the higher of the OTCF Project Floor and the formula in Paragraph 3.10A.

3.11	Where the Transmission Entry Capacity or Interconnector User Commitment Capacity is reduced or Notice of Disconnection is given on or after the Charging Date

The Cancellation Charge payable on notice of Disconnection and/or a reduction in Transmission Entry Capacity or Interconnector User Commitment Capacity on or after the Charging Date is calculated on a £/MW basis as follows by reference to the Zonal Unit Amount for the Financial Year in which the notice is given:

Cancellation Charge = Wider Cancellation Charge

Where:

- Disconnection equates to reduction in Transmission Entry Capacity or Interconnector User Commitment Capacity to zero

- Wider Cancellation Charge = Zonal Unit Amount for year in which notice of disconnection or reduction is given x reduction in Transmission Entry Capacity or Interconnector User Commitment Capacity x Cancellation Charge Profile t.

- Cancellation Charge Profilet which varies according to the number of Financial Years notice given from the date of notification to Disconnection or reduction in Transmission Entry Capacity or Interconnector User Commitment Capacity:

  - where notice is given in the Financial Year in which such notice is to take effect (t=0) Cancellation Charge Profile = 1,

  - except as provided below where notice is given in the Financial Year prior to the Financial Year in which such notice is to take effect (t=1), Cancellation Charge Profile = 0.75,

  - where notice of reduction of Transmission Entry Capacity is given in the CMP 213 Judicial Review Period which is within a Financial Year prior to the CMP213 Financial Year in which such notice is to take effect (t=1), for the purposes of the Cancellation Charge such notice shall be deemed to have been given in timescales such that the Cancellation Charge Profile = zero where;

    - the “CMP213 Judicial Review Period” means the period of 20 Business Days (inclusive) from the day on which (having exhausted all appeals) the Judicial Review proceedings against the Authority’s decision to approve Approved CUSC Modification 213 are concluded

    - The « CMP213 Financial Year » means the Financial Year in which Approved CUSC Modification 213 is directed by the Authority to take effect,

  - where notice is given in the Financial Year which is two Financial Years prior to the Financial Year in which such notice is to take effect (t=2), Wider Cancellation Charge = zero.

4	Annual Wider Cancellation Charge Statement

4.1	By not later than 31 January prior to the start of each Financial Year The Company will publish a statement showing:

- the Zonal Unit Amount by Generation Zone for that Financial Year;

- the Wider User Commitment Liability Base for that Financial Year;

- the Total TO Capex for that Financial Year (where the Total TO Capex is the forecast of the Load Related Boundary Capex and Non Load Related Boundary Capex for a given Financial Year, excluding the total Attributable Works Capital Cost);

- a forecast of the Total TO Capex for the following three Financial Years;

- the Global Asset Reuse Factor for that Financial Year;

- the Boundary Non Compliance Factors for that Financial Year;

- a forecast of the Zonal Unit Amount by Generation Zone for the following three Financial Years;

- the proportion of the Cancellation Charge that is required to be secured prior to (and including) and after the Key Consents in Place Date.

4.2	In the event that for any Financial Year it is proposed to change the Global Asset Reuse Factor or the proportion of the Cancellation Charge that is required to be secured prior to (and including) and after the Key Consents in Place Date from that set out in the Annual Wider Cancellation Charge Statement for the previous Financial Year, The Company shall not make such change without first consulting on the change (and its provision in electronic form on the Website and in electronic mails to CUSC Parties and such other persons who have supplied relevant details shall meet this requirement).

5.	Statement of Cancellation Charge

5.1	With an Offer The Company shall provide each User with an indicative profile of the estimated spend in respect of the Attributable Works and a Notification of Fixed Cancellation Charge.

5.2       Cancellation Charge Statement

5.2.1	The Company shall issue a Cancellation Charge Statement to a User showing the amount of the payment required or which may be required to be made by the User to The Company in respect of the Cancellation Charge prior to the Charging Date at the following times and in respect of the following periods:-

- Forthwith on and with effect from the signing of the Construction Agreement, in respect of the period from and including the day of signing of the Construction Agreement until the next following 30 September or 31 March, whichever is the earlier; and thereafter

- not less than 75 (seventy five) days (or if such day is not a Business Day the next following Business Day) prior to each 30 September and 31 March thereafter in respect of the period of six calendar months commencing on the immediately following 1 October or 1 April (as the case may be), until the earlier of either the termination of the relevant Construction Agreement or the Charging Date.

5.2.2 	From the PCF Activation Date, The Company may also issue a Cancellation Charge Statement to a User showing the amount of the payment required or which may be required to be made by the User to The Company in respect of the Cancellation Charge prior to the Charging Date where:

(i)   	there is a change in the payable Progression Commitment Fee during a Security Period: or

(ii) 	The Company has otherwise received updated information from the owner/operator of a Distribution System in relation to the payable Progression Commitment Fee,

and the Cancellation Charge Statement shall be in respect of the period from the Cancellation Charge Statement being issued until the next following 30 September or 31 March, whichever is earlier.

5.3	If a User does not elect for the Fixed Cancellation Charge (unless and until a User subsequently elects for a Fixed Cancellation Charge as provided for at Paragraph 7 or advises The Company that it does not wish to receive this) The Company shall provide a Notification of Fixed Cancellation Charge and an estimate of the Actual Attributable Works Cancellation Charge with each Cancellation Charge Statement.

5.4	The Actual Attributable Works Cancellation Charge shall apply unless and until a User elects for a Fixed Cancellation Charge in accordance with Paragraph 7.

5.5	Estimating the Actual Attributable Works Cancellation Charge

In the case of the Actual Attributable Works Cancellation Charge, the Cancellation Charge Statement shall set out a fair and reasonable estimate of the Actual Attributable Works Cancellation Charge for the 6 month period and, for the project generally. In addition the 6 month estimate of the Actual Attributable Works Cancellation Charge shall, for the purposes of assessing the Cancellation Charge Secured Amount, be prorated on a MW basis between those Users who share a component within the Attributable Works.

6	Electing for the Fixed Cancellation Charge

6.1	To elect for a the Fixed Cancellation Charge, a User must notify The Company to this effect by (a) returning a signed copy of the Notification of Fixed Cancellation Charge with its acceptance of the Construction Agreement or (b) , where a User does not elect at that time, it can elect 45 days (or if such day is not a Business Day the next following Business Day) prior to each 30 September or 31 March thereafter by returning a signed copy of the Notification of Fixed Cancellation Charge as provided with the relevant Cancellation Charge Statement.

6.2	Once a User has elected for the Fixed Cancellation Charge, the Pre Trigger Amount, Fixed Attributable Works Cancellation Charge and Cancellation Charge Profile will then be fixed as that set out in the Notification of Fixed Cancellation Charge by reference to which such election was made and a User cannot revert to the Actual Attributable Works Cancellation Charge. For the avoidance of doubt, where the User has elected for the Fixed Attributable Works Cancellation Charge and Construction Works relating to that charge are subsequently designated as Excepted Works an adjustment will be made to the Fixed Attributable Works Cancellation Charge to remove the cost of the Excepted Works from the Fixed Attributable Works Cancellation Charge.

6.3	If the User becomes aware that the bank or insurance company issuing the Performance Bond or Letter of Credit ceases to be a Qualified Bank or that the company giving the Performance Bond ceases to be a Qualified Company, the User shall so notify The Company in writing as soon as it becomes so aware. If The Company becomes aware that the bank or insurance company issuing the Performance Bond or Letter of Credit ceases to be a Qualified Bank or that the company giving the Performance Bond ceases to be a Qualified Company, The Company may notify the User to that effect in writing. Where the bank, insurance company or the company so ceases to be either a Qualified Bank or a Qualified Company (as the case may be) as a consequence of The Company having reasonable cause to doubt the continued rating of the said bank, insurance company or company, such notice shall be accompanied by a statement setting out The Company’s reasons for having such doubt. The User shall within 21 days of the giving of such notice by The Company or the User whichever is the earlier provide a replacement Performance Bond and/or Letter of Credit from a Qualified Bank or Qualified Company, as the case may be, and/or provide a cash deposit in the required amount in a Bank Account. From the date the replacement Performance Bond or Letter of Credit or Bank Account cash deposit is effectively and unconditionally provided and Valid, The Company will consent in writing to the security which it replaces being released.

7	Cancellation Charge Secured Amount Statement

7.1	Where a User has to provide security in accordance with Part Three of this Section 15 the Cancellation Charge Statement shall be accompanied by the Cancellation Charge Secured Amount Statement.

7.2	The Cancellation Charge Secured Amount shall be based on the highest level of Cancellation Charge due within the period covered by the Cancellation Charge Secured Amount Statement.

8	Interconnector Transition to Cancellation Charge

8.1	This provision only applies in respect of Users who are Interconnectors.

8.2	The provisions of this Section 15 shall apply in respect of the first Security Period which is not less than 6 months after the Implementation Date for CUSC Modification Proposal 222. In the period prior to that Security Period and as soon as practicable after the Implementation Date for CUSC Modification Proposal  222

8.2.1 The Company shall

8.2.1.1             offer to amend each User’s Construction Agreement such that it will be substantially in the form of that set out Schedule 2, Exhibit 3 Part 1 (as it relates to the Cancellation Charge arrangements);

8.2.1.2             send to each User in respect of each Construction Agreement a Cancellation Charge Statement for that Security Period

8.2.2      the User shall put Security Arrangements in place in respect of its Construction Agreement in accordance with CUSC Section 15 to be effective from the start of that Security Period to the next following 31 March or 30 September (whichever is the earlier).

8.3	If The Company and a User fail to agree changes to the Construction Agreement either such person may refer the matter to the Authority under condition E13.5 of the ESO Licence.

PART THREE

1.	CALCULATION OF CANCELLATION CHARGE SECURED AMOUNT AND CREDIT REQUIREMENTS

2.	Each User which has a Construction Agreement shall provide security in respect of each of its Construction Agreements for the Cancellation Charge Secured Amount as applied and calculated in accordance with this Part Three of Section 15:

2.1	in the case of a User which meets The Company Credit Rating at the date of the Construction Agreement in accordance with Paragraph 4; and

2.2	in the case of a User which does not meet The Company Credit Rating at the date of the Construction Agreement or thereafter ceases to meet it, in accordance with Paragraph 5.

3.	CALCULATION OF CANCELLATION CHARGE SECURED AMOUNT

3.1	Prior to the Trigger Date the Cancellation Charge Secured Amount is the Cancellation Charge as set out in the Cancellation Charge Statement for the relevant Security Period.

3.2	Before the PCF Activation Date or where the PCF Activation Date has not been set, on or after the Trigger Date until the Charging Date the Cancellation Charge Secured Amount is the higher of the OTCF Project Floor or that percentage of the figure shown as the Cancellation Charge in the Cancellation Charge Statement for the relevant Security Period determined as follows:

| For Users in category (a) as per Section 15 Part One Paragraph 2 |  |
| --- | --- |
| Prior to (and including) the Key Consents In Place Date | the % for that Financial Year as set out in the Annual Wider Cancellation Charge Statement. |
| From the Key Consents In Place Date | the % for that Financial Year as set out in the Annual Wider Cancellation Charge Statement. |
| For Users in categories (b) and (c) as per Section 15 Part One Paragraph 2 |  |
| Prior to (and including) the Key Consents In Place Date | the % for that Financial Year for Distributed Generation as set out in the Annual Wider Cancellation Charge Statement. |
| From the Key Consents In Place Date | the % for that Financial Year for Distributed Generation as set out in the Annual Wider Cancellation Charge Statement. |

3.2A	From the PCF Activation Date, on or after the Trigger Date until the Charging Date the Cancellation Charge Secured Amount shall be calculated as:

Max(KC% of (Cancellation Charge minus Progression Commitment Fee)

plus Progression Commitment Fee , OTCF Project Floor)

where:

a) 	KC% is the % as determined for different categories of User in accordance with Paragraph 3.2, and

b) 	the Cancellation Charge and the Progression Commitment Fee are as set out in the Cancellation Charge Statement for the relevant Security Period.

c)	OTCF Project Floor is calculated in accordance with Part 6 of this Section 15

3.3	The User shall notify The Company once it considers that it has been granted the Key Consents. The Company shall respond as soon as practicable after such notification confirming that it is satisfied that this is the case or giving reasons why it is not so satisfied.

3.4 	The Cancellation Charge Secured Amount shall be calculated using the Cancellation Charge inclusive of any applicable Value Added Tax that would be due.

4.	PROVISION OF SECURITY WHERE USER MEETS THE COMPANY CREDIT RATING

4.1	The User shall as soon as possible after entering into a Construction Agreement and/or Bilateral Connection Agreement or Bilateral Embedded Generation Agreement and in any event no later than one (1) month after the date of the same confirm to The Company whether it meets The Company Credit Rating. Thereafter not less than 75 days before the 1 April and 1 October each year until 30 days after the Charging Date the User shall confirm to The Company whether it meets The Company Credit Rating (which in the case of a long term private credit rating shall be confirmed by Standard and Poor’s or Moody’s within a period of 45 days prior to the date of confirmation). The User shall inform The Company in writing forthwith if it becomes aware of no longer meeting The Company Credit Rating or if it is or is likely to be put on credit watch or any similar credit surveillance procedure which may give The Company reasonable cause to believe that the User may not be able to sustain meeting The Company Credit Rating for at least 12 months.

4.2	In the event that the User has elected to provide The Company with an indicative credit rating and The Company is of the reasonable opinion that the User has ceased to comply with the requirements of Paragraph 4.1 then The Company may require the User forthwith:

(i)	to apply to Standard and Poor’s and/or Moody’s for a further indicative long term private credit rating; or

(ii)	to confirm to The Company that it shall provide the security referred to in Paragraph 4.4 below.

4.3	In the event of the User:

(i)	not meeting The Company Credit Rating; or

(ii)	having a credit rating below The Company Credit Rating; or

(iii)	not having obtained from Standard and Poor’s or Moody’s within 30 days of the written notification under Paragraph 4.2(i) above an indicative long term private credit rating,

or if The Company becomes aware that:

(iv)	the User ceases to meet The Company Credit Rating; or

(v)	the User is put on credit watch or other similar credit surveillance procedure as specified above which may give The Company reasonable cause to believe that the User may not be able to maintain The Company Credit Rating for at least 12 months; or

(vi)	the User has not obtained from Standard and Poor’s within 30 days of the written notification by The Company under Paragraph 4.2(i) above a further indicative long term private credit rating,

the User shall (where appropriate on receipt of written notification from The Company) comply with the terms of Paragraph 4.4.

4.4	The User shall within 21 days of the giving of a notice under Paragraph 4.3 or within 30 days of the User confirming to The Company under Paragraph 4.2(ii) that it will provide the security specified below (whichever is the earlier), provide The Company with the security specified below to cover the Cancellation Charge Secured Amount for the relevant Security Period as notified by The Company to the User.

4.5	The form of security provided shall be of a type set out in Paragraph 6.

4.6	If the facts of circumstances giving rise to the obligation of the User to provide the security have ceased, then The Company shall release the security.

5.	PROVISION OF SECURITY WHERE USER DOES NOT MEET OR CEASES TO MEET THE COMPANY CREDIT RATING

5.1	Each User hereby agrees that it shall at the date of the relevant Construction Agreement and/or Bilateral Connection Agreement or Bilateral Embedded Generation Agreement provide to The Company or procure the provision to The Company of, and the User shall until 28 days after the Charging Date maintain or procure that there is maintained in full force and effect (including by renewal or replacement) a security arrangement from time to time and for the time being as set out in Paragraph 6 to provide security for the Cancellation Charge Secured Amount.

5.2	If there shall be any dispute between the User and The Company as to:-

- the fairness and reasonableness of the estimate of the Attributable Works Capital Charge; or

- the calculation of the Cancellation Charge, or

- whether there has been an Event of Default as provided in CUSC Section 5; or

- the lawfulness or otherwise of any termination or purported termination of the Construction Agreement,

such dispute shall not affect the ability of The Company to make demands pursuant to the security arrangement to be provided pursuant to this CUSC Section 15 and to recover the amount or amounts payable thereunder, it being acknowledged by the User that but for such being the case The Company’s security would be illusory by reason of the period of validity of the relevant security being likely to expire or capable of expiring before the final resolution of such dispute.  The User accordingly covenants with The Company that it will not take any action, whether by way of proceedings or otherwise, designed or calculated to prevent, restrict or interfere with the payment to The Company of any amount secured under the security arrangement nor seek nor permit nor assist others to do so.

6.	TYPES OF SECURITY

6.1	The User shall from time to time and for the time being as set out in Paragraph 5 provide security for the Cancellation Charge Secured Amount by any one of the following:-

6.1.1	A Performance Bond or Letter of Credit from a Qualified Bank for Cancellation Charge Secured Amount for a given Security Period, such Performance Bond or Letter of Credit to be Valid for at least that given Security Period and to be renewed periodically where applicable in the manner stated in paragraph 6.2.3; or

6.1.2	A cash deposit in a Bank Account at least for the amount of the Cancellation Charge Secured Amount to be secured for a given Security Period, such cash deposit to be increased or reduced periodically where applicable in the manner stated in paragraph 6.2.4; or

6.1.3	A Performance Bond from a Qualified Company for the amount of the Cancellation Charge Secured Amount to be secured for a given Security Period, such Performance Bond to be Valid for at least that Security Period and to be renewed periodically where applicable in the manner stated in paragraph 6.2.3.

6.2	General Provisions regarding Security

6.2.1	Any Notice of Drawing to be delivered to Barclays Bank PLC or any other bank at which the Bank Account shall have been opened or a Qualified Bank or a Qualified Company may be delivered by hand, by post or by other agreed communication method.

6.2.2	If the User becomes aware that the bank issuing the Performance Bond or Letter of Credit ceases to be a Qualified Bank or that the company giving the Performance Bond ceases to be a Qualified Company, the User shall so notify The Company in writing as soon as it becomes so aware.  If The Company becomes aware that the bank issuing the Performance Bond or Letter of Credit ceases to be a Qualified Bank or that the company giving the Performance Bond ceases to be a Qualified Company, The Company may notify the User to that effect in writing.  Where the bank or the company so ceases to be either a Qualified Bank or a Qualified Company (as the case may be) as a consequence of The Company having reasonable cause to doubt the continued rating of the said bank or company, such notice shall be accompanied by a statement setting out The Company’s reasons for having such doubt.  The User shall within 21 days of the giving of such notice by The Company or the User whichever is the earlier provide a replacement Performance Bond and/or Letter of Credit from a Qualified Bank or Qualified Company, as the case may be, and/or provide a cash deposit in the required amount in a Bank Account.  From the date the replacement Performance Bond or Letter of Credit or Bank Account cash deposit is effectively and unconditionally provided and Valid, The Company will consent in writing to the security which it replaces being released.

6.2.3	The following provisions shall govern the issuance, renewal and release of the Performance Bond or Letter of Credit:-

6.2.3.1 	The Performance Bond or Letter of Credit shall be Valid initially for the First Security Period.  Such Performance Bond or Letter of Credit shall be for an amount not less than the Cancellation Charge Secured Amount for that First Security Period.

6.2.3.2	On a date which is at least 45 days (or if such day is not a Business Day then on the immediately preceding Business Day) before the start of each following Security Period such Performance Bond or Letter of Credit shall be renewed so as to be Valid for not less than such Security Period and in the case of the last Security Period to be Valid, unless The Company agrees otherwise, for 45 days after the last day of such Security Period.  Such renewed Performance Bond or Letter of Credit shall be for an amount not less than the Cancellation Charge Secured Amount to be secured during that Security Period.

6.2.4	The following provisions shall govern the maintenance of cash deposits in the Bank Account:-

6.2.4.1	The amount of the User’s cash deposit to be maintained in the Bank Account shall be maintained by the User from the date of the Construction Agreement at least to the end of the First Security Period.  Such cash deposit shall be in the amount of the Cancellation Charge Secured Amount to be secured during that First Security Period.

6.2.4.2	If the amount of the Cancellation Charge Secured Amount to be secured from the start of each Security Period is an amount greater than the amount then secured, the User’s cash deposit in the Bank Account in respect of the Security Amount shall be increased by the User to such greater amount on the date which is 21 calendar days before the start of the given Security Period.

6.2.4.2a The value of any cash deposit to be provided by the User under 6.2.4.2 shall be notified to The Company in writing on or before 45 calendar days before the start of the given Security Period.

6.2.4.3	If the Cancellation Charge Secured Amount for a given Security Period is smaller than the amount then secured, the User’s cash deposit in the Bank Account in respect of the Security Amount shall not be reduced to the amount so stated until the expiry of 7 days after the start of that given Security Period (“the Release Date”).

6.2.4.4	The sum equal to the amount of reduction in the User’s cash deposit in the Bank Account in respect of the Security Amount shall be paid by The Company to the User from the Bank Account on the Release Date.

6.2.4.5	Any interest accruing in respect of the User’s cash deposit in the Bank Account in respect of the Security Amount shall be for the account of and belong to the User absolutely, and The Company agrees to take any steps required to be taken by it for the release from the Bank Account  (or any other bank account in the name of The Company in which such interest is held) and payment to the User of such interest as soon as The Company shall have received notice from the User requesting such payment.

6.2.4.6	For the avoidance of doubt, the User’s cash deposit in the Bank Account shall remain the sole property and entitlement of the User until such time when (and to such extent as) the Company exercises its right of set off against the User’s cash deposit in accordance with the terms of the CUSC, and the User shall have no right to have the cash deposit returned to it for so long as it is under any prospective or contingent liability to the Company.

6.3	Notwithstanding any provision aforesaid:-

6.3.1	The User may provide different securities to The Company at any one time, each securing a different amount, provided that the aggregate amount secured by such securities shall be not less than the amount of the Cancellation Charge Secured Amount required to be secured for that Security Period.

6.3.2	The User may upon the expiry of at least 14 days prior written notice to The Company, substitute one type of security for another provided that unless The Company shall otherwise agree in writing such substituted security must be Valid from the first day of the relevant Security Period and committed at least 45 days before this in the following manner:-

(a)	where a Performance Bond or a Letter of Credit is to substitute for other securities, it  must be issued or given at least 45 days before the start of the Security Period to which it relates.

(b)	where a cash deposit in a Bank Account is to substitute for other securities, it must be deposited into the Bank Account at least 45 days before the start of the Security Period to which it relates.

6.3.3	Upon request by the User to The Company, securities substituted in the aforesaid manner shall, providing the substitute security shall be Valid, be released on the first day of the Security Period which the substitute security is securing.  However, where the Cancellation Charge Secured Amount to be secured for any Security Period is less than the amount required to be secured in the preceding Security Period, the substituted security shall not be released until 7 days after the start of the Security Period that that substitute security is securing.

6.3.4   Where the User provides securities to The Company in multiple types as per paragraph 6.1, the provisions of paragraph 6.2.3 and 6.2.4 shall apply respectively to each type of security.

6.4	From the PCF Activation Date, where Milestone 1 is met in relation to a Construction Agreement, The Company must as soon as reasonably practicable release the security held in respect of any amount of the Progression Commitment Fee which (in accordance with Part Five) has been reduced to £0, provided that the security is not required to be released until any substitute security required under this Section 15 is in place.

PART FOUR	RECONCILIATION OF ACTUAL ATTRIBUTABLE WORKS CANCELLATION CHARGE

1.	As soon as practicable and in any event within 60 days of the date, as appropriate, of termination of the Construction Agreement or reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity The Company shall:

(a)	furnish the User with a statement showing a revised estimate of the Actual Attributable Works Cancellation Charge and will provide as soon as practicable evidence of such having been incurred; and

(b)	furnish the User with justification of and supporting information in respect of its assessment of the actual or potential for reuse and any strategic benefits of the Attributable Works and any of the resulting Transmission assets.

2.	As soon as reasonably practicable after termination of this Construction Agreement or reduction in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity and in any event within 12 months of such event The Company shall provide the User with a final statement of the Actual Attributable Works Cancellation Charge. If the Actual Attributable Works Cancellation Charge is greater than the payments made by the User in respect of The Company’s estimate(s) of the Actual Attributable Works Cancellation Charge the User shall within 28 days of the said statement and invoice prepared by The Company pay to The Company the additional payments due by the User together with interest calculated thereon on a daily basis at Base Rate for the time being and from time to time from the date of previous payment(s) to the date of the final statement of the Actual Attributable Works Cancellation Charge and final invoice for the Attributable Works Cancellation Charge.  If the Actual Attributable Works Cancellation Charge is less than the payments made by the User in respect of The Company’s estimate(s) of the Actual Attributable Works Cancellation Charge The Company shall forthwith pay to the User the excess paid together with interest on a daily basis at Base Rate for the time being and from time to time from the date of payment of the fair and reasonable estimate of the Actual Attributable Works Cancellation Charge to the date of reimbursement by The Company of the said excess paid.

PART FIVE 	ACTIVATION AND ADMINISTRATION OF THE PROGRESSION COMMITMENT FEE

1.1	The Progression Commitment Fee shall become payable in accordance with, and shall be calculated in accordance with, this Part Five. For the avoidance of doubt, the Progression Commitment Fee is only payable (in accordance with this Section 15) from the PCF Activation Date, which shall not be set until the PCF Activation Metric has reached the PCF Activation Threshold.

2	Activation of the Progression Commitment Fee

2.1	Subject to Paragraph 2.2, twice each Financial Year, The Company must use the data it holds to calculate and publish on its web-site the PCF Activation Metric. The Company must publish the PCF Activation Metric:

2.1.1	on or before 1 August (or, where 1 August is not a Business Day, the following Business Day) in each Financial Year for the period from the start of the current PCF Metric Period until the end of the immediately preceding month of June; and

2.1.2.	on or before 1 February (or, where 1 February is not a Business Day, the following Business Day) each Financial Year for the period from the start of the current PCF Metric Period until the end of the immediately preceding month of December.

2.2	Paragraph 2.1 shall not apply:

2.2.1	for the period from the date the PCF Activation Metric published in accordance with Paragraph 2.1 has reached the PCF Activation Threshold to the end of the PCF Metric Period; or

2.2.2	from the point The Company has set out the PCF Activation Date in a PCF Determination Notice.

2.3	Where the PCF Activation Metric calculated and published in accordance with Paragraph 2.1 exceeds the PCF Activation Threshold, The Company must within one month of that publication determine whether or not, in its view, the Progression Commitment Fee should become payable (in accordance with this Section 15), notify the Authority of its determination and publish this determination on its web-site.

2.4	Within two months of a notification by The Company, having regard to The Company’s determination under Paragraph 2.3, the Authority may determine whether or not, in its view, the Progression Commitment Fee should become payable (in accordance with this Section 15).

2.5	Within five Business Days of a determination by the Authority under Paragraph 2.4 or, where there is no such determination, within five Business Days following the end of the period set out in Paragraph 2.4, The Company must publish on its web-site a PCF Determination Notice setting out any determination made.

2.6	The Company must include a PCF Activation Date in the PCF Determination Notice where either:

2.6.1	the Authority has determined under Paragraph 2.4 that the Progression Commitment Fee should become payable; or

2.6.2	The Company has determined under Paragraph 2.3 that the Progression Commitment Fee should become payable and the Authority has not, within the period set out in Paragraph 2.4, determined that the Progression Commitment Fee should not become payable.

2.7	Other than as provided for in Paragraph 2.6, The Company may not include the PCF Activation Date in a PCF Determination Notice.

2.8	For the avoidance of doubt, the Progression Commitment Fee shall not become payable in the remainder of the PCF Metric Period where in the PCF Metric Period either:

2.8.1	the Authority has determined under Paragraph 2.4 that the Progression Commitment Fee should not become payable; or

2.8.2	The Company has determined under Paragraph 2.3 that the Progression Commitment Fee should not become payable and the Authority has not, within the period set out in Paragraph 2.4, determined that the Progression Commitment Fee should become payable.

2.9	Where the Progression Commitment Fee has not become payable during a PCF Metric Period, The Company must consider whether or not, in its view, the PCF Activation Threshold is appropriate and publish this view on its web-site, together with any change The Company would recommend, within three months following the end of the PCF Metric Period.  (For the avoidance of doubt, The Company giving this view will not itself change the PCF Activation Threshold.)

3	Information exchange to support calculation of the PCF Activation Metric

3.1	Subject to Paragraph 3.3, twice each Financial Year each owner/operator of a Distribution System must notify to The Company the cumulative total of Developer Capacity (in MW) where Relevant Construction Agreements between it and The Company:

3.1.1 	were terminated as a result of termination (by the owner/operator of the Distribution System) of a related Distribution Connection Agreement due to a failure by the developer to meet Milestone 1; or

3.1.2 	had Developer Capacity reduced as a result of termination or reduction of capacity (by the owner/operator of the Distribution System) of a related Distribution Connection Agreement due to a failure by the developer to meet Milestone 1.

3.2	The owner/operator of a Distribution System must provide the notification in Paragraph 3.1:

3.2.1	on or before 14 July (or, where 14 July is not a Business Day, the following Business Day) in each Financial Year for the period from the start of the current PCF Metric Period until the end of the immediately preceding month of June; and

3.2.2	on or before 14 January (or, where 14 January is not a Business Day, the following Business Day) each Financial Year for the period from the start of the current PCF Metric Period until the end of the immediately preceding month of December.

3.3	Paragraph 3.1 shall cease to apply from the point The Company has set out the PCF Activation Date in a PCF Determination Notice.

3.4	Each owner/operator of a Distribution System must provide the information set out in Paragraph 3.1 in such form, and promptly provide such further relevant information, as The Company may reasonably request from time to time.

4	Calculation of the Progression Commitment Fee

4.1	The following Paragraphs set out in detail how the Progression Commitment Fee shall be calculated.

4.2	The Progression Commitment Fee shall be calculated as follows:

4.2.1 where a Construction Agreement is terminated, the Progression Commitment Fee shall be equal to the Applicable PCF, and

4.2.2	where Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity is reduced:

Progression Commitment Fee = Applicable PCF × C- RC C,

where:

Applicable PCF 	is calculated in accordance with Paragraphs 4.3 to 4.6;

C 	is the Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity;

RC 	is the reduced capacity being Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity under the Construction Agreement as reduced.

4.3	Subject to Paragraphs 4.4 to 4.6, the Applicable PCF shall be calculated as follows for the time periods set out below:

| Time Period | Applicable PCF calculation |
| --- | --- |
| Where the Construction Agreement is entered into before or on the PCF Activation Date, the period from the PCF Activation Date to the end of the PCF Period, OR where the Construction Agreement is entered into after the PCF Activation Date, the period from the Construction Agreement being entered into to the end of the PCF Period (in either case being the first PCF Period) | £2,500/MW × Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity (in MW) |
| Second PCF Period | £5,000/MW × Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity (in MW) |
| Third PCF Period | £7,500/MW × Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity (in MW) |
| Fourth PCF Period and any subsequent PCF Periods | £10,000/MW × Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity (in MW) |

4.4	Notwithstanding Paragraph 4.3 above and subject to paragraphs 4.5 and 4.6, the Progression Commitment Fee shall be £0 in relation to a Construction Agreement:

4.4.1	where the Construction Agreement was entered into on or before the PCF Activation Date and there is six months or less between the PCF Activation Date and the date for Milestone 1 being met; or

4.4.2	where the Construction Agreement is entered into after the PCF Activation Date and there is six months or less remaining until the date for Milestone 1 being met; or

4.4.3	where the Construction Agreement is entered into without Milestone 1 being determined and, once determined, there is six months or less between the date the Construction Agreement was entered into and the date for Milestone 1 being met;  or

4.4.4	for so long as there is no determined Milestone 1; or

4.4.5	where Milestone 1 has been met.

4.5	Where the Construction Agreement is between an owner/operator of a Distribution System and relates to more than one Distribution Connection Agreement, the Progression Commitment Fee shall be £0 only in relation to Developer Capacity where the relevant subparagraph in paragraph 4.4 applies. The reference to Developer Capacity in paragraph 4.3 shall be construed accordingly.

4.6	Where there is otherwise more than one Milestone 1 in respect of a Construction Agreement, the Progression Commitment Fee shall be £0 only in relation to the Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity where the relevant subparagraph in paragraph 4.4 applies. The reference to Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity in paragraph 4.3 shall be construed accordingly.

5	Information exchange to support application of the Progression Commitment Fee

5.1	Within one month of a PCF Determination Notice which sets out the PCF Activation Date, each owner/operator of a Distribution System must notify The Company for each Construction Agreement entered into between it and The Company whether or not Paragraph 4.4 applies to the Construction Agreement and, if it applies, the relevant sub-paragraph on which this is based.

5.2	From the PCF Activation Date the owner/operator of a Distribution System must, on or before the date it provides The Company with a signed Construction Agreement, notify The Company of whether or not it reasonably expects Paragraph 4.4 to apply to the Construction Agreement once entered into and, if it will apply, the relevant sub-paragraph on which this is based.

5.3	Where, in accordance with Paragraph 5.2, the owner/operator of a Distribution System has notified The Company that Paragraph 4.4 is expected to apply to a Construction Agreement once entered into on the basis that Milestone 1 has not been determined, the owner/operator of a Distribution System must, within three months of a Construction Agreement being entered into, notify The Company of whether or not Paragraph 4.4 applies to the Construction Agreement and, if it applies, the relevant sub-paragraph on which this is based.

5.4	Where an owner/operator of a Distribution System has notified to The Company:

5.4.1	in accordance with Paragraph 5.2 that it reasonably expects Paragraph 4.4 to apply to the Construction Agreement (other than on the basis that Milestone 1 has not been determined); or

5.4.2 	in accordance with Paragraphs 5.1 or 5.3 that Paragraph 4.4 does apply to the Construction Agreement,

it must use best endeavours to notify The Company promptly if it becomes aware that circumstances have changed such that Paragraph 4.4 does not apply.

5.5	From the PCF Activation Date, each owner/operator of a Distribution System must by the 14th day of each month (or, where the 14th day is not a Business Day, the next Business Day) notify The Company of the following in respect of the PCF Distribution Notice Period:

5.5.1	the details of Construction Agreements entered into between it and The Company where Milestone 1 has been met; and

5.5.2	the details of Construction Agreements entered into between it and The Company which have been terminated or where Developer Capacity has been reduced without Milestone 1 having been met.

5.6	Where the Construction Agreement relevant to any notification provided under Paragraphs 5.1 to 5.5 relates to more than one Distribution Connection Agreement the owner/operator of a Distribution System must provide details for each Distribution Connection Agreement.

5.7	Each owner/operator of a Distribution System must promptly provide such further information to The Company as The Company may reasonably request from time to time to enable it to calculate the Progression Commitment Fee which may be payable (or the Cancellation Charge Secured Amount) in relation to a Construction Agreement.

5.8	Each owner/operator of a Distribution System must provide the information set out in Paragraphs 5.1 to 5.7 in such form, and promptly provide such further relevant information, as The Company may reasonably request from time to time.

PART SIX 	ACTIVATION AND ADMINISTRATION OF THE OVERSUBSCRIBED TECHNOLOGIES COMMITMENT FEE

  - The OTCF Project Floor shall be calculated in accordance with this Part Six.

- Activation of the OTCF Technology Floor

  - The OTCF Technology Floor for all technologies shall be £0k/MW until both:

      - The Offer Acceptance Period for all Gate 2 Modification Offers issued following the EA Request Window has ended; and

      - All Gate 2 Applications made to the First Gated Application Window and Offer Run have been assessed in accordance with the Gate 2 Criteria Methodology and have been notified of the outcome by The Company.

2.2	Each Financial Year, The Company must calculate and publish on its Website the OTCF Technology Oversubscription Value and the OTCF Technology Oversubscription Change for every technology where a Technology Maximum Allowed Capacity is prescribed:

2.2.1	on or before 8 May (or, where 8 May is not a Business Day, the following Business Day) in each Financial Year.

2.2.2.	on or before 8 November (or, where 8 November is not a Business Day, the following Business Day) each Financial Year.

2.3 	In respect of the first publication made pursuant to paragraph 2.2, only the OTCF Technology Oversubscription Value for every technology where a Technology Maximum Allowed Capacity is prescribed will be published. For the avoidance of doubt, in respect of this first publication made pursuant to paragraph 2.2, The Company shall not calculate and publish on its Website the OTCF Technology Oversubscription Change

2.4 	The OTCF Technology Oversubscription Value is calculated as:

(OTCF Technology Queue – Technology Maximum Allowed Capacity) ÷ Technology Maximum Allowed Capacity

2.5 	The OTCF Technology Oversubscription Change is calculated as:

((current OTCF Technology Queue – current Technology Maximum Allowed Capacity)  - (previous OTCF Technology Queue – previous Technology Maximum Allowed Capacity)) ÷ (previous OTCF Technology Queue – previous Technology Maximum Allowed Capacity)

Where:

The current OTCF Technology Queue and current Technology Maximum Allowed Capacity is in relation to the publication being made under paragraph 2.2 and;

The previous OTCF Technology Queue and previous Technology Maximum Allowed Capacity is in relation to the publication made six months previously under paragraph 2.2

2.6	Where the OTCF Technology Oversubscription Value is greater than 0.5  and the Technology Maximum Allowed Capacity is greater than 5GW, as calculated and published in accordance with Paragraph 2.2 and the OTCF Technology Activation Date is not already set, The Company must within ten Business Days publish its decision whether or not the initial level of the OTCF Technology Floor determined in accordance with paragraph 5.1 should apply to that technology in accordance with this Section 15, and notify the Authority of its determination and  publish this determination on the Website.

2.7	Within one month of a notification by The Company, and having regard to The Company’s determination under Paragraph 2.6, the Authority may determine whether or not, an OTCF Technology Floor should apply (in accordance with this Section 15).

2.8	Within five Business Days of a determination by the Authority under Paragraph 2.7 or, where there is no such determination, within five Business Days following the end of the period set out in Paragraph 2.7, The Company must publish on its Website an OTCF Technology Determination Notice setting out any determination made which will include the determination made by the Authority (where this is available).

2.9	The Company must include an OTCF Technology Activation Date in the OTCF Technology Determination Notice where either:

2.9.1	the Authority has determined under Paragraph 2.7 that an OTCF Technology Floor should apply; or

2.9.2	The Company has determined under Paragraph 2.6 that an OTCF Technology Floor should apply and the Authority has not, within the period set out in Paragraph 2.7, made a determination whether or not an OTCF Technology Floor should apply.

2.10	Other than as provided for in Paragraph 2.9, The Company may not include the OTCF Technology Activation Date in an OTCF Technology Determination Notice.

3	Deactivation of the OTCF Technology Floor

3.1	Where the OTCF Technology Oversubscription Value is less than 0.25 as calculated and published in accordance with Paragraph 2.2, and the OTCF Technology Activation Date is already set, The Company must within ten Business Days of that event notify the Authority and publish this outcome in an OTCF Technology Determination on its Website.

3.2	The Company must include an OTCF Technology Deactivation Date and unset the OTCF Technology Activation Date in the OTCF Technology Determination Notice published under Paragraph 3.1.

3.3	Other than as provided for in Paragraph 3.1, The Company may not include the OTCF Technology Deactivation Date in an OTCF Technology Determination Notice.

4	Increasing the OTCF Technology Floor

4.1	Where the OTCF Technology Activation Date is set and until the OTCF Technology Deactivation Date, and where the OTCF Technology Oversubscription Change is greater than  -0.25 in a publication under paragraph 2.2, The Company must within ten Business Days of that publication determine whether or not, in its view, the OTCF Technology Floor should increase (in accordance with this Section 15), and notify the Authority of its determination and publish this determination on its Website. Any such increase will be in accordance with the values in paragraph 5.3.

4.2	Within one month of a notification by The Company, having regard to The Company’s determination under Paragraph 4.1, the Authority may determine whether or not, the OTCF Technology Floor shall increase (in accordance with this Section 15).

4.3	Within five Business Days of a determination by the Authority under Paragraph 4.2 or, where there is no such determination, within five Business Days following the end of the period set out in Paragraph 4.2, The Company must publish on its Website a OTCF Technology Determination Notice setting out any determination made and the level of the OTCF Technology Floor which will apply to each technology.

4.4	For avoidance of doubt, where the OTCF Technology Activation Date is set and until the OTCF Technology Deactivation Date, and where the OTCF Technology Oversubscription Change is less than or equal to -0.25 in a publication under paragraph 2.2, the OTCF Technology Floor remains unchanged.

5	Calculating the OTCF Technology Floor

5.1	The following Paragraphs set out in detail how the OTCF Technology Floor shall be calculated.

5.2	Where the OTCF Technology Activation Date is set in an OTCF Technology Determination Notice the OTCF Technology Floor shall be £3,000/MW.

5.3	Where an OTCF Technology Floor increase is required in an OTCF Technology Determination Notice under paragraph 4.3 then:

5.3.1	If the OTCF Technology Floor is set at £3,000/MW, the OTCF Technology Floor shall increase to £5,000/MW;

5.3.2	If the OTCF Technology Floor is set at £5,000/MW, the OTCF Technology Floor shall increase to £10,000/MW;

5.3.3	If the OTCF Technology Floor is set at £10,000/MW, the OTCF Technology Floor shall increase to £15,000/MW;

5.3.4	If the OTCF Technology Floor is set at £15,000/MW, the OTCF Technology Floor shall increase to £20,000/MW;

5.3.5	If the OTCF Technology Floor is set at £20,000/MW, the OTCF Technology Floor shall increase to £25,000/MW;

5.3.6	If the OTCF Technology Floor is set at £25,000/MW, the OTCF Technology Floor shall remain £25,000/MW.

5.4	Where the OTCF Technology Activation Date is not set, the OTCF Technology Floor shall be £0/MW.

6. Calculating the value of the OTCF Project Floor

6.1 	Where a project has Installed Capacity of a single technology type only, the OTCF Project Floor shall be calculated as follows:

OTCF Project Floor = OTCF Technology Floor x Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity where the Charging Date

for the relevant capacity has not yet passed.

6.2	Where a project includes more than one technology type with different Charging Dates for different technology types:

6.2.1 	Where technology type(s) for which the OTCF Technology Activation Date has been set is included in a project with other technology types for which the OTCF Technology Activation Date has not been set, the OTCF Project Floor shall be zero if:

6.2.1a	The technology type(s) for which the OTCF Technology Activation Date has been set has a Charging Date after other technology types included in the project; and

6.2.1b	the addition of the technology type(s) for which the OTCF Technology Activation Date has been set has no associated increase in Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity; and

6.2.1c	the addition of the technology type(s) for which the OTCF Technology Activation Date has been set has sum of Attributable Works and One Off Charge less than £250k.

6.3	Where any of paragraph 6.2.1 does not apply and where a project has Installed Capacity of more than one technology type:

6.3.1 	Where the OTCF Technology Activation Date has been set for precisely one of the technology types included in the project where the Charging Date has not yet passed, the OTCF Project Floor shall be calculated as follows:

OTCF Project Floor = OTCF Technology Floor x Min(Installed Capacity of the technology type for which the OTCF Technology Activation Date has been set , Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity)

6.3.2	Where the OTCF Technology Activation Date has been set for more than one of the technology types included in the project for which the Charging Date has not yet passed and the OTCF Technology Floor is the same for all technology types included in the project for which the OTCF Technology Activation Date has been set and for which the Charging Date has not yet passed:

OTCF Project Floor = OTCF Technology Floor x Min (sum of Installed Capacity for technology types for which the OTCF Technology Activation Date has been set for which Charging Date has not yet passed, Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity)

6.3.3	Where the OTCF Technology Activation Date has been set for more than one of the technology types included in the project for which the Charging Date has not yet passed and the OTCF Technology Floor differs between technology types included in the project for which the OTCF Technology Activation Date has been set and for which the Charging Date has not yet passed, the OTCF Project Floor shall be based on the technology type(s) included in the project for which the Charging Date has not yet passed with the highest OTCF Technology Floor:

OTCF Project Floor = OTCF Technology Floor x Min (sum of Installed Capacity for technology types included in the project for which the Charging Date has not yet passed with the highest OTCF Technology Floor, Transmission Entry Capacity or Developer Capacity or Interconnector User Commitment Capacity)

7 	Information exchange to support application of the Oversubscribed Technologies Commitment Fee

7.1 	Each owner/operator of a Distribution System must notify The Company of all Relevant Embedded Small Power Stations and Relevant Embedded Medium Power Stations and Embedded Power Stations with a Bilateral Embedded Generation Agreement or BELLA that have Energised since the previous notification provided under this paragraph 7.1.

7.2 	The owner/operator of a Distribution System must provide the notification in Paragraph 7.1:

7.2.1 	on or before 8 April (or, where 8 April is not a Business Day, the following Business Day) in each Financial Year for the period since the previous notification provided under paragraph 7.1.

7.2.2 	on or before 8 October (or, where 8 October is not a Business Day, the following Business Day) in each Financial Year for the period since the previous notification provided under paragraph 7.1.

7.3 	Each owner/operator of a Distribution System must provide the information set out in Paragraph 7.1 in such form, and promptly provide such further relevant information, as The Company may reasonably request from time to time.