# CUSC - SECTION 11

INTERPRETATION AND DEFINITIONS

# CONTENTS

11.1	Introduction

11.2	Interpretation and Construction

11.3	Definitions

# SECTION 11

INTERPRETATION AND DEFINITIONS

### 11.1	INTRODUCTION

This Section sets out general rules to be applied in interpreting the CUSC, Bilateral Agreements, Construction Agreements and Mandatory Services Agreements.  It also sets out the defined terms used by the CUSC (other than those defined elsewhere in the CUSC) and other agreements.  Those other agreements may, in accordance with Paragraph 11.2.2, have their own further interpretation rules and defined terms which apply only to the individual agreements.

### 11.2	INTERPRETATION AND CONSTRUCTION:

#### 11.2.1	In the CUSC and in each Bilateral Agreement and in each Mandatory Services Agreement and each Construction Agreement:

##### the interpretation rules in this Paragraph 11.2; and

##### the words and expressions defined in Paragraph 11.3,

shall, unless the subject matter or context otherwise requires or is inconsistent therewith, apply.

#### Save as otherwise expressly provided in the CUSC, in the event of any inconsistency between the provisions of any Bilateral Agreement, Mandatory Services Agreement or Construction Agreement and the CUSC, the provisions of the Bilateral Agreement or Mandatory Services Agreement or Construction Agreement shall prevail in relation to the Connection Site which is the subject thereof to the extent that the rights and obligations of Users not party to that Bilateral Agreement, Mandatory Services Agreement or Construction Agreement are not affected.

#### If in order to comply with any obligation in the CUSC, any Bilateral Agreement or any Construction Agreement any CUSC Party is under a duty to obtain the consent or approval (including any statutory licence or permission) ("the Consent") of a third party (or the Consent of another CUSC Party) such obligation shall be deemed to be subject to the obtaining of such Consent which the CUSC Party requiring the Consent shall use its reasonable endeavours to obtain including (if there are reasonable grounds therefor) pursuing any appeal in order to obtain such Consent.

#### If such Consent is required from any CUSC Party then such CUSC Party shall grant such Consent unless it is unable to do so or it would be unlawful for it to do so provided that such grant by such CUSC Party may be made subject to such reasonable conditions as such CUSC Party shall reasonably determine.

#### For the avoidance of doubt if the CUSC Party who is under a duty to obtain such Consent fails to obtain such Consent having complied with this Paragraph 11.2 the obligation on that CUSC Party (in relation to which such Consent is required) shall cease.

#### In the CUSC and in each Bilateral Agreement and in each Mandatory Services Agreement and each Construction Agreement:

##### unless the context otherwise requires all references to a particular Paragraph, Part, Section, Schedule or Exhibit shall be a reference to that Paragraph, Part, Section, Schedule or Exhibit in or to the CUSC and all references to a particular Appendix shall be a reference to that Appendix to a Bilateral Agreement or Mandatory Services Agreement or Construction Agreement (as the case may be);

##### a table of contents and headings are inserted for convenience only and shall be ignored in construing the CUSC or a Bilateral Agreement, Construction Agreement or Mandatory Services Agreement as the case may be;

##### references to the words "include" or "including" are to be construed without limitation to the generality of the preceding words;

##### unless the context otherwise requires any reference to an Act of Parliament or any part or section or other provision of or schedule to an Act of Parliament shall be construed, at the particular time, as including a reference to any modification, extension or re-enactment thereof then in force and to all instruments, orders or regulations then in force and made under or deriving validity from the relevant Act of Parliament; and

##### references to the masculine shall include the feminine and references in the singular shall include the plural and vice versa and words denoting persons shall include any individual, partnership, firm, company, corporation, joint venture, trust, association, organisation or other entity, in each case whether or not having separate legal personality.

#### In the case of OTSDUW Build, if the Transmission Interface Site is Operational prior to the OTSUA Transfer Time the User’s Equipment will be connected to the National Electricity Transmission System through the connection of the OTSUA to the National Electricity Transmission System at the Transmission Interface Point until the OTSUA Transfer Time. In such case and until the OTSUA Transfer Time, where provisions of the CUSC apply in relation to (a) User’s Equipment; such provisions and references to User’s Equipment shall be construed where the context requires as being instead references to or including (as the context requires) OTSUA unless the context otherwise requires; and (b) User’s Equipment by reference to the Connection Site; such provisions and references to User’s Equipment and Connection Site in the CUSC shall be construed as being instead references to or including (as the context requires) OTSUA and Transmission Interface Site respectively unless the context otherwise requires;

#### Obligations on The Company shall be interpreted as obligations to procure that the Relevant Transmission Licensee fulfils such obligations, where relevant.

### 11.3	DEFINITIONS

The following terms shall have the following meanings:

| “5 Business Days Period” |  | in the context of Section 17, the 5 Business Days after closure of a Gate 2 Application Window; |  |
| --- | --- | --- | --- |
| “10 Clear Days” |  | defined as 10 complete periods of 24 hours from 00:00hrs to 24:00hrs; |  |
| “15 Business Days Period” |  | in the context of Section 17, the 15 Business Days after closure of a Gate 2 Application Window; |  |
| "ABSVD Methodology Statement" |  | the document entitled "Applicable Balancing Services Volume Data Methodology Statement", as published by The Company as the same may be amended from time to time; |  |
| "Accession Agreement" |  | an agreement in or substantially in the form of Exhibit A to the CUSC whereby an applicant accedes to the CUSC Framework Agreement; |  |
| "Acceptance Volume" |  | as defined in the Balancing and Settlement Code; |  |
| "Act" |  | the Electricity Act 1989; |  |
| "Active Power" |  | the product of voltage and the in-phase component of alternating current measured in units of watts and standard multiples thereof i.e. 1000 watts = 1kW 1000 kW = 1MW 1000 MW = 1GW 1000 GW = 1TW; |  |
| "Actual Amount" |  | as defined in Paragraph 3.13; |  |
| “Actual Attributable Works Cancellation Charge” |  | where the Attributable Works Cancellation Charge is calculated in accordance with Paragraph 3.5.2 of Part Two of the User Commitment Methodology; |  |
| “Additional Load” |  | Site Load other than Station Load and importing Generating Units for processes other than the production of electricity; |  |
| "Additional Scheduling Data" |  | as defined in the Grid Code on the day prior to the NETA Go-live Date; |  |
| "Adjusted LDTEC Profile" |  | the LDTEC Profile as adjusted by the MW cap specified by the User in its acceptance of the LDTEC Block Offer in accordance with CUSC Paragraph 6.32.6.4; |  |
| “Adjustment Revenue” |  | a positive or negative adjustment to overall Generator TNUoS charges to ensure compliance with the Limiting Regulation; |  |
| “Adjustment Tariff” |  | the non locational £/kW tariff that applies Adjustment Revenue to Generators liable for TNUoS charges to ensure compliance with the Limiting Regulation; |  |
| “Advancement” |  | advancement of the Construction Programme to enable an earlier Completion Date for connection to or use of the National Electricity Transmission System or Energisation in the case of Embedded Power Stations; |  |
| “Advancement Request” |  | a request for Advancement in the form set out in the Gate 2 Criteria Methodology; |  |
| "Affected User" |  | a User: - with Transmission Entry Capacity for the Connection Site against which the affected Export BM Unit or Associated Export BM Unit BM Unit is registered and who is paying or in receipt of generator Transmission Network Use of System Charges by reference to such Transmission Entry Capacity; or b) an Interconnector Owner; |  |
| "Affiliate" |  | in relation to The Company (and in relation to Paragraphs 3.6.9.8, 6.14, 8A.3.1.2 and 8A.4.2.2, any User) means any holding company or subsidiary of The Company (or the User as the case may be) or any subsidiary of a holding company of The Company (or the User as the case may be), in each case within the meaning of sections 736, 736A and 736B of the Companies Act 1985 as substituted by section 144 of the Companies Act 1989; |  |
| “AF Rules” |  | has the meaning given to “allocation framework” in section 13(2) of the Energy Act 2013; |  |
| “Agency” |  | the Agency for the Cooperation of the Energy Regulators established under 2009/713/EC of the European Parliament and of the Council of the 13 July 2009 establishing an Agency for the Cooperation of Energy Regulators as amended from time to time; |  |
| "Agency Business" |  | any business of The Company or any Affiliate or Related Undertaking in the purchase or other acquisition or sale or other disposal of electricity as agent for any other Authorised Electricity Operator; |  |
| "Agreed Ancillary Services" |  | Part 2 System Ancillary Services and Commercial Ancillary Services; |  |
| "Agreed Value" |  | the value attributed by The Company to the form of security provided that if The Company and the User cannot agree on such value then the value will be determined by an expert appointed by The Company and the User or, failing their agreement as to the expert, the expert nominated by the Director General of The Institute of Credit Management; |  |
| "Alternate Election Process" |  | as defined in Paragraph 8A.4.4.2; |  |
| "Alternate Member(s)" |  | persons appointed as such pursuant to Paragraph 8.7.2; |  |
| "Alternate Member Interim Vacancies" |  | as defined in Paragraph 8A.4.3.3; |  |
| "Allowed Interruption" |  | shall mean an Interruption as a result of any of the following: - an Event other than an Event on the National Electricity Transmission System; - an event of Force Majeure pursuant to Paragraph 6.19 of the CUSC; - (i) a Total Shutdown (ii) a Partial Shutdown, but only for any period of Interruption which coincides with a Market Suspension Period; - action taken under the Fuel Security Code; - Disconnection or Deenergisation by or at the request of The Company under Section 5 of the CUSC, except in the case of an Emergency Deenergisation Instruction; - the result of a direction of the Authority or Secretary of State; - tripping of the User’s Circuit Breaker(s) following receipt of a signal from a System to Generator Operational Intertripping Scheme which has been armed in accordance with Paragraph 4.2A.2.1(b). or if provided for in a Bilateral Agreement with the affected User; |  |
| "Ancillary Services" |  | System Ancillary Services and/or Commercial Ancillary Services as the case may be; |  |
| "Ancillary Services Agreement" |  | an agreement between The Company and a User or other person to govern the provision of and payment for one or more Ancillary Services, which term shall include without limitation a Mandatory Services Agreement; |  |
| "Annual Average Cold Spell (ACS) Conditions" |  | a particular combination of weather elements which gives rise to a level of peak Demand within an The Company Financial Year which has a 50% chance of being exceeded as a result of weather variation alone; |  |
| “Annual Wider Cancellation Amount Statement” |  | the statement published by The Company each Financial Year in accordance with the User Commitment Methodology; |  |
| "Apparatus" |  | all equipment in which electrical conductors are used, supported or of which they may form a part; |  |
| “Apparent Power” |  | as defined in the Grid Code; |  |
| Applicant" |  | a person applying for connection and/or use of system under the CUSC; |  |
| "Applicable CUSC Objectives" |  | as defined in the ESO Licence; |  |
| "Applicable PCF" |  | the amount calculated in accordance with Paragraphs 4.3 to 4.6 of Part Five of the User Commitment Methodology; |  |
| “Applicable Value” |  | the highest contractual Transmission Entry Capacity figure for year “t” provided to The Company up to and including 31 October in year “t-1” for publication in the October update of the Electricity Ten Year Statement; |  |
| "Application for a STTEC" |  | an application made by a User in accordance with the Offer"` Paragraph 6.31 for Short Term Capacity for a STTEC Period; |  |
| "Approved Agency" |  | the panel of three independent assessment agencies appointed by The Company and other network operators from time to time for the purpose of providing Independent Credit Assessments details of such agencies to be published on the The Company Website; |  |
| "Approved CUSC Modification" |  | as defined in Paragraph 8.23.7; |  |
| “Approved CUSC Modification Fast Track Proposal” |  | as defined in Paragraph 8.29.7,provided that no objection is received pursuant to Paragraph 8.29.12; |  |
| “Approved CUSC Modification Self-Governance Proposal” |  | as defined in Paragraph 8.25.10; |  |
| "Applicable Balancing Services Volume Data" |  | has the meaning given in the Balancing and Settlement Code; |  |
| "Approved Credit Rating" |  | a long term debt rating of not less than BB- by Standard and Poor’s Corporation or a rating not less than Ba3 by Moody’s Investor Services, or a short term rating which correlates to those long term ratings, or an equivalent rating from any other reputable credit agency approved by The Company; or such other lower rating as may be reasonably approved by The Company from time to time; |  |
| Assimilated Law |  | has the same meaning as that given by section 6(7) of the European Union (Withdrawal) Act 2018; |  |
| “Associated DNO Construction Agreement” |  | a Construction Agreement between The Company and a User in the category of a Distribution System directly connected to the National Electricity Transmission System in respect of works required on the National Electricity Transmission System as a consequence of the connection of Distributed Generation to the Distribution System; |  |
| “Associated Export BM Unit” |  | an Export BM Unit where: (i) that Export BM Unit and an Import BM Unit are comprised in the User’s Equipment are both registered as being associated with each other by being listed in Appendix C of the same Bilateral Connection Agreement; and the Import BM Unit is Deenergised and as a direct consequence of the Deenergisation of the Import BM Unit the Export BM Unit is also Deenergised; |  |
| “Attributable Works” |  | those components of the Construction Works which are required (a) to connect a Power Station or Interconnector which is to be connected at a Connection Site to the nearest suitable MITS Node; or (b) in respect of an Embedded Power Station from the relevant Grid Supply Point to the nearest suitable MITS Node; (and in any case above where the Construction Works include a Transmission substation that once constructed will become the MITS Node, the Attributable Works will include such Transmission substation) but excluding in each case (a) and (b) any Excepted Works, and which in relation to a particular User are as specified in its Construction Agreement; |  |
| “Attributable Works Cancellation Charge” |  | the component of the Cancellation Charge which applies on and after the Trigger Date and prior to the Charging Date as more particularly described in Part Two of the User Commitment Methodology; |  |
| “Attributable Works Capital Cost” |  | the fees, expenses and costs of whatever nature reasonably and properly incurred or due in respect of each component within the Attributable Works; |  |
| "Authorised Recipient" |  | in relation to any Protected Information, means any Business Person who, before the Protected Information had been divulged to them by The Company or any Subsidiary of The Company, had been informed of the nature and effect of Paragraph 6.15.1 and who requires access to such Protected Information for the proper performance of their duties as a Business Person in the course of Permitted Activities; |  |
| "Authority" |  | the Director General of Electricity Supply appointed for the time being pursuant to section 1 of the Act or, after the coming into force of section 1 of the Utilities Act 2000, the Gas and Electricity Markets Authority established by that section; |  |
| "Available LDTEC" |  | is the level of MW for an LDTEC Week as notified by The Company to a User in (in the case of the first seven LDTEC Weeks) the LDTEC Indicative Block Offer and for subsequent LDTEC Weeks in an LDTEC Availability Notification; |  |
| "Back Stop Date" |  | in relation to an item of Derogated Plant, the date by which it is to attain its Required Standard, as specified in or pursuant to the relevant Derogation; |  |
| "Balancing and Settlement Code" or "BSC" |  | as defined in the ESO Licence; |  |
| "Balancing Code" or "BC" |  | as defined in the Grid Code; |  |
| "Balancing Mechanism" |  | as defined in the ESO Licence; |  |
| "Balancing Services" |  | as defined in the ESO Licence; |  |
| "Balancing Services Activity" |  | as defined in the ESO Licence; |  |
| "Balancing Services Agreement" |  | an agreement between The Company and a User or other person governing the provision of and payment for one or more Balancing Services; |  |
| "Balancing Services Use of System Charges" |  | the element of Use of System Charges payable in respect of the Balancing Services Activity; |  |
| "Balancing Services Use of System Charges Forecast Information" |  | The Company’s estimate of the average expected Balancing Services Use of System Charges for each month in the Current Financial Year and each month of the following Financial Year. |  |
| "Balancing Services Use of System Reconciliation Statement" |  | as defined in Paragraph 3.15.1; |  |
| “Balancing Services Use of System Working Capital Facility” |  | the component of the working capital facility, which is capped to a level as agreed between The Company and The Authority, available to The Company which is ringfenced for the purposes of BSUoS Charges; |  |
| "Bank Account" |  | a bank account in the name of The Company at such branch of Barclays Bank PLC, or such branch of any other bank, in the City of London as is notified by The Company to the User in which deposits of principal sums from the User shall be ascertainable, bearing interest from (and including) the date of deposit of principal sums to (but excluding) the date of withdrawal of principal sums from such account, mandated for withdrawal of principal solely by The Company against delivery of a Notice of Drawing for the amount demanded therein and mandated for the transfer of any interest accrued to the Bank Account to such account to: a) an associated bank account in the name of The Company in which the interest accruing in respect of the principal sums deposited by the User shall be ascertainable; or b) such bank account as the User may specify; |  |
| "Base Rate" |  | in respect of any day, the rate per annum which is equal to the base lending rate from time to time of Barclays Bank PLC as at the close of business on the immediately preceding Business Day; |  |
| "Base Value at Risk" |  | the sum of HH Base Value at Risk, NHH Base Value at Risk, FDSC Base Value at Risk and the UMS Base Value at Risk; |  |
| "BELLA Application" |  | an application for a BELLA in the form or substantially in the form set out in Exhibit Q; |  |
| "BELLA Offer" |  | an offer for a BELLA in the form or substantially the form set out in Exhibit R including any revision or extension of such offer; |  |
| "Bi-annual Estimate" |  | an estimate pursuant to Paragraph 2.21.2 of all payments to be made or which may be required to be made by the User in any relevant period, such estimate to be substantially in the form set out in Exhibit L to the CUSC; |  |
| “Bid” |  | as defined in the Balancing and Settlement Code; |  |
| "Bid-Offer Acceptance" |  | as defined in the Balancing and Settlement Code; |  |
| "Bid-Offer Volume" |  | as defined in the Balancing and Settlement Code; |  |
| "Bilateral Agreement" |  | in relation to a User, a Bilateral Connection Agreement or a Bilateral Embedded Generation Agreement, or a BELLA or a Virtual Lead Party Agreement between The Company and the User; |  |
| "Bilateral Connection Agreement" |  | an agreement entered into pursuant to Paragraph 1.3.1 a form of which is set out in Exhibit 1 to Schedule 2; |  |
| "Bilateral Embedded Generation Agreement" |  | an agreement entered into pursuant to Paragraph 1.3.1, a form of which is set out in Exhibit 2 to Schedule 2; |  |
| "Bilateral Embedded Licence exemptable Large power station Agreement" or "BELLA" |  | an agreement in respect of an Embedded Exemptable Large Power Station entered into pursuant to Paragraph 1.3.1, a form of which is set out in Exhibit 5 to Schedule 2; |  |
| "Bilateral Insurance Policy" |  | a policy of insurance taken out by the User with a company in the business of providing insurance who meets the Requirements for the benefit of The Company and upon which The Company can claim if the circumstances set out in CUSC Paragraph 5.3.1(b) (i) to (v) arise in respect of such User and which shall provide security for the Agreed Value. In addition The Company may accept such a policy from such a company who does not meet the Requirements up to an Agreed Value where The Company agrees or where The Company does not agree as determined by an expert appointed by The Company and the User or failing their agreement as to the expert the expert nominated by the Director General of The Institute of Credit Management; |  |
| "Block LDTEC" |  | is at any given time the lower of the MW figure in the LDTEC Profile or Adjusted LDTEC Profile for an LDTEC Period; |  |
| "BM Unit" |  | as defined in the Balancing and Settlement Code; |  |
| "BM Unit Identifiers" |  | the identifiers (as defined in the Balancing and Settlement Code) of the BM Units; |  |
| "BM Unit Metered Volume" |  | as defined in the Balancing and Settlement Code; |  |
| "Boundary Point Metering System" |  | as defined in the Balancing and Settlement Code; |  |
| "British Grid Systems Agreement" |  | the agreement made on 30 March 1990 of that name between The Company, Scottish Hydro Electric plc, and Scottish Power plc; |  |
| "BSC Agent" |  | as defined in the Balancing and Settlement Code; |  |
| "BSC Framework Agreement" |  | as defined in the ESO Licence; |  |
| "BSC Panel" |  | the Panel as defined in the Balancing and Settlement Code; |  |
| "BSC Party" |  | a person who is for the time being bound by the Balancing and Settlement Code by virtue of being a party to the BSC Framework Agreement; |  |
| "Business Day" |  | any week-day other than a Saturday on which banks are open for domestic business in the City of London; |  |
| "Business Person" |  | any person who is a Main Business Person or a Corporate Functions Person and "Business Personnel" shall be construed accordingly; |  |
| “Cancellation Charge” |  | the charge payable by certain Users in the event of termination of a Bilateral Connection Agreement or Bilateral Embedded Generation Agreement or Construction Agreement or a reduction in Transmission Entry Capacity or a reduction in Interconnector User Commitment Capacity or a reduction in Developer Capacity as calculated in accordance with the User Commitment Methodology; |  |
| “Cancellation Charge Profile” |  | the profile as applied to the Fixed Attributable Works Cancellation Charge and Wider Cancellation Charge in accordance with Part Two of the User Commitment Methodology; |  |
| “Cancellation Charge Secured Amount” |  | the amount to be secured by a User from the start of and during a Security Period as such amount is applied and calculated in accordance with Part Three of the User Commitment Methodology; |  |
| “Cancellation Charge Secured Amount Statement” |  | the statement issued by The Company to a User in accordance with Part Two of the User Commitment Methodology showing the Cancellation Charge Secured Amount for a given Security Period such statement to be in substantially the form set out in Exhibit MM2 to the CUSC; |  |
| “Cancellation Charge Shortfall” |  | the difference between (a) the Cancellation Charge Secured Amount (or such higher sum as paid by the Developer to the User in respect of the Cancellation Charge) and (b) the Cancellation Charge payable by the User; |  |
| “Cancellation Charge Statement” |  | the statement issued by The Company to a User in accordance with Part Two of the User Commitment Methodology such statement to be in substantially the form set out in Exhibit MM1 to the CUSC; |  |
| "CAP 179 Implementation Date" |  | shall mean the date specified as the Implementation Date in the direction issued by the Authority approving CUSC Amendment Proposal 179 (Prevention of Timing Out of Authority Decisions on Amendment Proposals); |  |
| "Capability Payment" |  | as defined in Paragraph 4.2A.4(a)(i); |  |
| “Capacity Market Documents” |  | the Capacity Market Rules, The Electricity Capacity Regulations 2014 and any other Regulations made under Chapter 3 of Part 2 of the Energy Act 2013 which are in force from time to time; |  |
| “Capacity Market Rules” |  | the rules made under section 34 of the Energy Act 2013 as modified from time to time in accordance with that section and The Electricity Capacity Regulations 2014; |  |
| "Category 1 Intertripping Scheme" |  | as defined in the Grid Code; |  |
| "Category 2 Intertripping Scheme" |  | as defined in the Grid Code; |  |
| "Category 3 Intertripping Scheme" |  | as defined in the Grid Code; |  |
| "Category 4 Intertripping Scheme" |  | as defined in the Grid Code; |  |
| "CCGT Unit" |  | a Generating Unit within a CCGT Module; |  |
| “Central Volume Allocation” |  | as defined in the Balancing and Settlement Code; |  |
| “CfD Administrative Parties” |  | The Secretary of State, a CfD Counterparty and any CfD Settlement Services Provider; |  |
| “CfD Counterparty” |  | a person designated as a “CfD counterparty” under section 7(1) of the Energy Act 2013; |  |
| “CfD Documents” |  | the AF Rules, The Contracts for Difference (Allocation) Regulations 2014, The Contracts for Difference (Definition of Eligible Generator) Regulations 2014 and The Contracts for Difference (Electricity Supplier Obligations) Regulations 2014 and any other regulations made under Chapter 2 of Part 2 of the Energy Act 2013 which are in force from time to time; |  |
| “CfD Settlement Services Provider” |  | means any person: - appointed for the time being and from time to time by a CfD Counterparty; or - who is designated by virtue of Section C1.2.1B of the Balancing and Settlement Code, in either case to carry out any of the CFD settlement activities (or any successor entity performing CFD settlement activities); |  |
| “Charges for Physical Assets Required for Connection” |  | shall mean charges paid by producers for physical assets required for connection to the system or the upgrade of the connection; |  |
| “Charging Band” |  | a band containing sites from one of the Residual Charging Groups created for the purpose of Transmission Demand Residual charging in accordance with 14.15.137 of the Connection and Use of System Code; |  |
| “Charging Date” |  | as defined in the Construction Agreement; |  |
| "Charging Dispute" |  | as defined in Paragraph 7.2.1; |  |
| “Charging Methodologies” |  | (a) the Use of System Charging Methodology; and/or (b) the Connection Charging Methodology; |  |
| "Charging Statements" |  | the Statement of the Connection Charging Methodology, the Statement of the Use of System Charging Methodology, and the Statement of Use of System Charges; |  |
| "Circuit Breaker" |  | a mechanical switching device, capable of making, carrying and breaking currents under normal circuit conditions and also of making, carrying for a specified time and breaking currents under specified abnormal circuit conditions, such as those of short circuit; |  |
| “Citizens Advice” |  | the National Association of Citizens Advice Bureaux; |  |
| “Citizens Advice Scotland” |  | the Scottish Association of Citizens Advice Bureaux; |  |
| “CM Administrative Parties” |  | the Secretary of State, the CM Settlement Body, and any CM Settlement Services Provider; |  |
| “CMP434” |  | CUSC Modification Proposal 434: Implementing Connections Reform; |  |
| “CMP434 Implementation Date" |  | shall mean the date specified as the Implementation Date for CMP434 in the direction issued by the Authority approving CMP434; |  |
| "CMP434 Gate 1 Agreement” |  | the form of Gate 1 Agreement introduced through CMP434; |  |
| “CMP434 Gate 2 Agreement” |  | the form of Gate 2 Agreement introduced through CMP434; |  |
| “CMP435” |  | CUSC Modification Proposal 435: Application of Gate 2 Criteria to existing contracted background; |  |
| “CMP435 Implementation Date" |  | the date specified as the Implementation Date for CMP435 in the direction issued by the Authority approving CMP435; |  |
| "CMRS" |  | as defined in the Balancing and Settlement Code; |  |
| “CM Settlement Body” |  | the Electricity Settlements Company Ltd or such other person as may from time to time be appointed as Settlement Body under regulation 80 of the Electricity Capacity Regulations 2014; |  |
| “CM Settlement Services Provider” |  | any person with whom the CM Settlement Body has entered into a contract to provide services to it in relation to the performance of its functions under the Capacity Market Documents; |  |
| “Code Administration Code of Practice” |  | the code of practice approved by the Authority and: (a) developed and maintained by the code administrators in existence from time to time; (b) amended subject to the Authority’s approval from time to time; and (c) re-published from time to time; |  |
| “Code Administrator” |  | The Company carrying out the role of Code Administrator pursuant to Section 8; |  |
| "Code of Practice" |  | as defined in the Balancing and Settlement Code; |  |
| "Combined Cycle Gas Turbine Module" or "CCGT Module" |  | a collection of Generating Units (registered under the Grid Code PC) comprising one or more Gas Turbine Units (or other gas based engine units) and one or more Steam Units where, in normal operation, the waste heat from the Gas Turbine Units is passed to the water/steam system of the associated Steam Units and where the component units within the CCGT Module are directly connected by steam or hot gas lines to enable those units to contribute to the efficiency of the combined cycle operation of the CCGT Module; |  |
| "Commercial Ancillary Services" |  | as defined in the Grid Code; |  |
| "Commercial Boundary" |  | (unless otherwise defined in the relevant Mandatory Services Agreements), the commercial boundary between either The Company or a Public Distribution System Operator (as the case may be) and the User at the higher voltage terminal of the generator step-up transformer; |  |
| "Commercial Services Agreement" |  | an agreement between The Company and a User or other person to govern the provision of and payment for one or more Agreed Ancillary Services; |  |
| "Commissioned" |  | in respect of Plant and Apparatus commissioned before the Transfer Date means Plant and Apparatus recognised as having been commissioned according to the commissioning procedures current at the time of commissioning and in respect of Plant and Apparatus commissioned after the Transfer Date means Plant and/or Apparatus certified by the Independent Engineer as having been commissioned in accordance with the relevant Commissioning Programme; |  |
| "Commissioning Programme" |  | in relation to a particular user, as defined in its Construction Agreement; |  |
| "Commissioning Programme Commencement Date" |  | as defined in relation to a particular User in the Construction Agreement; |  |
| “Competent” |  | a Gate 1 Application or Gate 2 Application is competent when in the opinion of The Company acting reasonably the Gate 1 Application or Gate 2 Application form has been completed as required, the required data has been provided and the application fee paid to The Company; |  |
| "Competent Authority" |  | the Secretary of State, the Authority and any local or national agency, authority, department, inspectorate, minister (including Scottish ministers), ministry, official or public or statutory person (whether autonomous or not) of, or of the government of, the United Kingdom; |  |
| “Competitively Appointed Transmission Owner (CATO)” |  | such person who has been awarded a Transmission Licence on the basis of an Onshore Tender Process and in relation to whose Transmission Licence the Standard Conditions in Section D (transmission owner standard conditions) have been given effect; |  |
| "Completion Date" |  | in relation to a particular User, as defined in its Construction Agreement; |  |
| "Composite Demand Charges" |  | in respect of a User its Demand related Transmission Network Use of System Charges for each Transmission Network Use of System Demand Zone; |  |
| “Conditional Progression Milestones” |  | those User Progression Milestones categorised as such in CUSC Section 16; |  |
| "Confidential Information" |  | all data and other information supplied to a User by another CUSC Party under the provisions of the CUSC or any Bilateral Agreement, Construction Agreement or Mandatory Services Agreement; |  |
| “Connect and Manage Arrangements” |  | the arrangements whereby pursuant to Standard Condition C11 of the ESO Licence and Standard Condition D16 of a Relevant Transmission Licensee’s transmission licence connection to and or use of the National Electricity Transmission System is permitted by virtue of a Connect and Manage Derogation on completion of the Enabling Works but prior to completion of the Wider Transmission Reinforcement Works; |  |
| “Connect and Manage Derogation” |  | the temporary derogation from the NETS SQSS available to The Company pursuant to Standard Condition E7 of the ESO Licence and/or a Relevant Transmission Licensee pursuant to Standard Condition D3 of its transmission licence; |  |
| “Connect and Manage Derogation Criteria” |  | the criteria detailed as such in CUSC Section 13.2.4; |  |
| “Connect and Manage Derogation Report” |  | the report required to be prepared by The Company and/or a Relevant Transmission Licensee in respect of a Connect and Manage Derogation; |  |
| “Connect and Manage Implementation Date” |  | the date which the Secretary of State determines shall be the connect and manage implementation date; |  |
| “Connect and Manage Power Station” |  | a Power Station which is directly connected to the National Electricity Transmission System or which is Distributed Generation; |  |
| “Connect and Manage Transition Period” |  | the period ending 6 months after the Connect and Manage Implementation Date; |  |
| "Connected Planning Data" |  | in relation to a particular user, as defined in its Construction Agreement; |  |
| "Connection" |  | a direct connection to the National Electricity Transmission System by a User; |  |
| "Connection Application" |  | an application for a New Connection Site in the form or substantially in the form set out in Exhibit B to the Cusc; |  |
| “Connection Boundary” |  | shall be the boundary defined by Paragraph 14.2.6 of the Statement of the Connection Charging Methodology; |  |
| "Connection Charges" |  | charges made or levied or to be made or levied for the carrying out (whether before or after the date on which the ESO Licence comes into force) of works and provision and installation of electrical plant, electric lines and ancillary meters in constructing entry and exit points on the National Electricity Transmission System, together with charges in respect of maintenance and repair of such items in so far as not otherwise recoverable as Use of System Charges, all as more fully described in the ESO Licence, whether or not such charges are annualised, including all charges provided for in the statement of Connection Charging Methodology (such as Termination Amounts and One-off Charges); |  |
| "Connection Charging Methodology" |  | as defined in the ESO Licence and set out in Section 14; |  |
| "Connection Conditions" or "CC" |  | that portion of the Grid Code which is identified as the Connection Conditions; |  |
| "Connection Entry Capacity" |  | the figure specified as such for the Connection Site and each Generating Units as set out in Appendix C of the relevant Bilateral Connection Agreement; |  |
| "Connection Offer" |  | an offer or (where appropriate) the offers for a New Connection Site in the form or substantially in the form set out in Exhibit C including any revision or extension of such offer or offers; |  |
| "Connection Site" |  | each location more particularly described in the relevant Bilateral Agreement at which a User's Equipment and Transmission Connection Assets required to connect that User to the National Electricity Transmission System are situated (or, in the case of OTSDUW Build, each location that will become such from the OTSUA Transfer Time and, until the OTSUA Transfer Time, is the location where the User’s Equipment connects to the OTSUA). If two or more Users own or operate Plant and Apparatus which is connected at any particular location that location shall constitute two (or the appropriate number of) Connection Sites; |  |
| "Connection Site Demand Capability" |  | the capability of a Connection Site to take power to the maximum level forecast by the User from time to time and forming part of the Forecast Data supplied to The Company pursuant to the Grid Code together with such margin as The Company shall in its reasonable opinion consider necessary having regard to The Company’s duties under the ESO Licence; |  |
| “Connections Network Design Methodology” |  | the methodology developed or to be developed in accordance with the ESO Licence and Transmission Licences as approved by the Authority and published on The Company’s Website as such methodology may be revised from time to time; |  |
| "Consents" |  | in relation to a particular User, as defined in its Construction Agreement; In relation to any Works:- - all such planning and other statutory consents; and - all wayleaves, easements, rights over or interests in land or any other consent; or for commencement and carrying on of any activity proposed to be undertaken at or from such Works when completed - permission of any kind as shall be necessary for the construction of the Works; |  |
| "Construction Agreement" |  | an agreement entered into pursuant to Paragraph 1.3.2; |  |
| "Construction Programme" |  | in relation to a particular User, as defined in its Construction Agreement; |  |
| “Construction Progression Milestones” |  | those User Progression Milestones categorised as such in CUSC Section 16; |  |
| "Construction Works" |  | In relation to a particular User, as defined in its Construction Agreement; |  |
| “Consumer Representative” |  | the person appointed by the Citizens Advice or the Citizens Advice Scotland (or any successor body) representing all categories of customers, appointed in accordance with Paragraph 8.4.2(b); |  |
| “Consumption” |  | as defined in the Balancing and Settlement Code in relation to a Consumption BM Unit; |  |
| "Control Telephony" |  | as defined in the Grid Code; |  |
| "Contract Test" |  | a test (not being a Reactive Test) described in a Market Agreement; |  |
| "Contract Start Days" |  | as defined in Paragraph 3.3 of Schedule 3, Part I; |  |
| "Core Industry Documents" |  | as defined in the Transmission Licence; |  |
| "Core Industry Document Owner" |  | in relation to a Core Industry Document, the body(ies) or entity(ies) responsible for the management and operation of procedures for making changes to such document; |  |
| "Corporate Functions Person" |  | any person who is: (a) a director of The Company; or (b) an employee of The Company or any of its subsidiaries carrying out any administrative, finance or other corporate services of any kind which in part relate to the Main Business; or (c) engaged as an agent of or adviser to or performs work in relation to or services for the Main Business; |  |
| “Cost Adjustment” |  | a payment whose value and timing has been approved by the Authority and which is made by a Licensed Distribution Network Operator as a contribution to the cost of a Transmission infrastructure investment made by a Licensed Transmission Owner that recognises the shared value to the different parties; |  |
| "Cost Statement" |  | as defined in Paragraph 2.14.3; |  |
| "Credit Assessment Score" |  | a score between zero and ten given by an Approved Agency in the Independent Credit Assessment; |  |
| "Credit Assessment Sum" |  | the proportion of the Unsecured Credit Cover extended by The Company to a User who does not meet the Approved Credit Rating and calculated in accordance with Paragraph 3.26.6; |  |
| "Credit Rating" |  | the credit requirements set by The Company from time to time in relation to Termination Amounts; |  |
| "CUSC" |  | this Connection and Use of System Code; |  |
| "CUSC Framework Agreement" |  | as defined in the Transmission Licence; |  |
| "CUSC Implementation Date" |  | 00.01 on the 18 September 2001; |  |
| "CUSC Modification Fast Track Proposal" |  | a proposal to modify the CUSC which is raised pursuant to Paragraph 8.29 and has not yet been approved or rejected by the CUSC Modifications Panel; |  |
| “CUSC Modification Fast Track Report” |  | a report prepared pursuant to Paragraph 8.29; |  |
| "CUSC Modification Procedures" |  | the procedures for the modification of the CUSC (including the implementation of Approved CUSC Modifications) as set out in Section 8; |  |
| "CUSC Modification Process" |  | the part of the CUSC Modification Procedures relating to consideration by the CUSC Modifications Panel and Workgroups, consultation by the Workgroups and The Company and preparation of a CUSC Modification Report by the CUSC Modifications Panel; |  |
| "CUSC Modification Proposal" |  | a proposal to modify the CUSC which is not rejected pursuant to Paragraphs 8.16.5 or 8.16.6 and has not yet been implemented; |  |
| "CUSC Modification Register" |  | as defined in Paragraph 8.13.1; |  |
| "CUSC Modification Report" |  | a report prepared pursuant to Paragraph 8.23; |  |
| “CUSC Modification Self-Governance Report” |  | a report prepared pursuant to Paragraph 8.25; |  |
| "CUSC Modifications Panel" |  | the body established and maintained pursuant to Paragraph 8.3; |  |
| "CUSC Modifications Panel Recommendation Vote" |  | the vote of Panel Members undertaken by the Panel Chairperson in accordance with Paragraph 8.23.4 as to whether in their view they believe each CUSC Modification Proposal, or Workgroup Alternative CUSC Modification would better facilitate achievement of the Applicable CUSC Objective(s) and so should be made; |  |
| "CUSC Modifications Panel Self-Governance Vote" |  | the vote of Panel Members undertaken by the Panel Chairperson in accordance with Paragraph 8.25.9 as to whether they believe each CUSC Modification Proposal, as compared with the then existing provisions of the CUSC and any Workgroup Alternative CUSC Modification set out in the CUSC Modification Self-Governance Report, would better facilitate achievement of the Applicable CUSC Objective(s); |  |
| "CUSC Party" |  | as defined in the ESO Licence; |  |
| "Customer" |  | a person to whom electrical power is provided (whether or not they are the provider of such electrical power) other than power to meet Station Demand of that person; |  |
| “Customer Services Team” |  | the customer services team identified within The Company which manages the commercial interface with parties connected to the transmission network, as identified on the Website; |  |
| “CVA Storage Facility” |  | is an Electricity Storage Facility that: - performs Electricity Storage as its sole function; - is operated by a Storage Facility Operator - has its imports and exports measured only by Half Hourly Metering Systems which are registered in the Central Meter Registration Service (CMRS), and as a BM Unit within the Central Registration Service (CRS) and where those Half Hourly Metering Systems only measure activities necessary for performing Electricity Storage; - comprises plant and apparatus registered as part of a BM Unit or BM Units which only perform activities necessary for Electricity Storage, and the BM Units are listed within a bi-lateral agreement; and - is the subject of a valid Declaration |  |
| “DC Converter” |  | as defined in the Grid Code; |  |
| "Data Registration Code" or "DRC" |  | the portion of the Grid Code which is identified as the Data Registration Code; |  |
| “DCLF” |  | Direct Current Load Flow; |  |
| “Declaration” |  | is a statement to be submitted by the Registrant of the relevant BM Unit(s) or Single Site; |  |
| "Deemed HH Forecasting Performance" |  | the sum calculated in accordance with Section 3, Appendix 2 Paragraph 3 as it may be revised in accordance with paragraph 3.22.7; |  |
| "Deemed NHH Forecasting Performance" |  | the sum calculated in accordance with Section 3, Appendix 2 Paragraph 6 as it may be revised pursuant to Paragraph 3.22.8; |  |
| "Deenergisation" or "Deenergise(d)" |  | the movement of any isolator, breaker or switch or the removal of any fuse whereby no electricity can flow to or from the relevant System through the User's Equipment; |  |
| "Defaulting Party" |  | as defined in Paragraph 4.3.2.11; |  |
| "Defendant Party" |  | as defined in Paragraph 7.5.1; |  |
| “Delivering” |  | as defined in the Balancing and Settlement Code; |  |
| “Delivery Body” |  | the person designated as the delivery body pursuant to regulations made under section 6BB of the Act; |  |
| "De-Load" |  | the difference (expressed in MW) between the Maximum Export Limit and Final Physical Notification Data as adjusted by the Acceptance Volume in respect of a Bid-Offer Acceptance (if any), and “De-Loaded” shall be construed accordingly; except in the case of a Power Park Module, where De-Load is the difference (expressed in MW) between Power Available and the Final Physical Notification Data as adjusted by the Acceptance Volume in respect of a Bid-Offer Acceptance (if any), and “De-Loaded” shall be construed accordingly; |  |
| "Demand" |  | the demand of MW and Mvar of electricity (i.e. both Active Power and Reactive Power), unless otherwise stated; |  |
| "Demand Forecast" |  | a User’s forecast, in accordance with paragraph 14.17.19. of its Demand submitted to The Company in accordance with paragraphs 3.10, 3.11 and 3.12; |  |
| “Depreciation Period” |  | in relation to a Transmission Connection Asset for a particular User, the period which commences on the asset’s initial effective charging date, and which expires after the appropriate duration, which unless otherwise agreed upon connection is 40 years excluding FMS metering electronics that are agreed between the User and The Company; |  |
| "Derogation" |  | (a) a direction issued by the Authority relieving a CUSC Party from the obligation under its Licence to comply with such parts of the Grid Code or any Distribution Code or in the case of The Company the ESO Licence as may be specified in such direction and/or (b) a Connect and Manage Derogation as the context requires and “Derogated” shall be construed accordingly; |  |
| "Derogated Plant" |  | Plant or Apparatus which is the subject of a Derogation; |  |
| "Design Variation" |  | is a connection design (which provides for connection to the National Electricity Transmission System) which fails to satisfy the relevant deterministic criteria detailed for an Onshore Connection in paragraphs 2.5 to 2.13 and for an Offshore Connection in 7.7 to 7.19, as appropriate, of the NETS SQSS; |  |
| “Designated Information Exchange System” |  | as defined in the Grid Code; |  |
| “Designated Sum” |  | such sum as shall be directed by the Authority as soon as practicable after the determination of an approved Use of System Charging Methodology; |  |
| “Designated sum” |  | as defined in Standard Condition C13 of the Transmission Licence; |  |
| "De-synchronisation" |  | the act of taking a BM Unit off a System to which it has been Synchronised, by opening any connecting circuit breaker, and "De-synchronised" shall be construed accordingly; |  |
| "Detailed Planning Data" |  | detailed additional data which The Company requires under the PC in support of Standard Planning Data; |  |
| “Developer” |  | in the context of the connection agreements between The Company and the owner/operator of a Distribution System where those agreements or Modifications to those agreements are triggered by Embedded Power Stations means the developer of the Embedded Power Station as more particularly described in those agreements; |  |
| “Developer Capacity” |  | the MW figure as specified as such by a User in a BELLA or in a Construction Agreement entered into between The Company and a User in the category of a Distribution System directly connected to the National Electricity Transmission System as a consequence of a Request for a Statement of Works; |  |
| "Directive" |  | includes any present or future directive, requirement, instruction, direction or rule of any Competent Authority, (but only, if not having the force of law, if compliance with the Directive is in accordance with the general practice of persons to whom the Directive is addressed) and includes any modification, extension or replacement thereof then in force; |  |
| “Directly-Connected User” or “Directly-Connected Customer” |  | A large, usually industrial, consumer of electricity who is directly connected to the National Electricity Transmission System; |  |
| "Disconnect" or "Disconnection" |  | without prejudice to the interpretation of the terms "Disconnect" or "Disconnection" to Users acting in capacities other than those detailed, the following definitions shall apply: (a) for Users acting in their capacity as Generators with Embedded Large Power Stations or Embedded Medium Power Stations, passing power on to a Distribution System through a connection to a Distribution System which had not been commissioned as at the Transfer Date, means permanent physical disconnection of the User's Equipment at the site of connection to the Distribution System; (b) for Users who are Trading Parties (as defined in the Balancing and Settlement Code) acting in their capacity as responsible for Small Power Stations which are Embedded, means, permanent physical disconnection of the User’s Equipment or Equipment for which the User is responsible (as defined in Section K of the Balancing and Settlement Code) at the site of connection to the Distribution System; (c) for Users acting in a capacity other than those detailed in (a) or (b), means permanent physical disconnection of a User's Equipment at any given Connection Site which permits removal thereof from the Connection Site or removal of all Transmission Connection Assets there from (as the case may be); |  |
| "Dispute Resolution Procedure" |  | the procedures set out in Section 7; |  |
| "Dispute Statement" |  | as defined in Paragraph 3.17.4; |  |
| “Distributed Generation” |  | for the purposes of the Connect and Manage Arrangements, Section 6 and Section 15 of the CUSC: - (a) an Embedded Power Station which is the subject of a Bilateral Embedded Generation Agreement; - (b) an Embedded Power Station which is the subject of a Bilateral Embedded Licence Exemptable Large Power Station Agreement; - (c) a Relevant Embedded Medium Power Station; - a Relevant Embedded Small Power Station. |  |
| "Distribution Agreement" |  | an agreement entered into by a User with the owner/operator of the Distribution System for the connection of the User’s Equipment (or equipment for which the User is responsible (as defined in Section K of the Balancing and Settlement Code) to and use of such Distribution System; |  |
| "Distribution Code(s)" |  | the Distribution Code(s) drawn up by Public Distribution System Operators pursuant to the terms of their respective Licence(s) as from time to time revised in accordance with those Licences; |  |
| "Distribution Connection Agreement" |  | in the context of the Distribution Queue Management Process and the User Commitment Methodology means, as appropriate, the agreements between the owner/operator of a Distribution System and (a) a User for the connection of a User’s project to that Distribution System or (b) a developer for the connection of it’s project to the Distribution System; |  |
| “Distribution Connection and Use of System Agreement or “DCUSA” |  | the Distribution Connection and Use of System Agreement established pursuant to the Distribution Licence as revised from time to time; |  |
| “Distribution EG Related Application” |  | a Connection Application or Modification Application made by the owner/operator of a Distribution System where triggered by Embedded Power Stations (and including in this context a Transmission Evaluation Application); |  |
| "Distribution Interconnector" |  | as defined in the Balancing and Settlement Code; |  |
| "Distribution Interconnector Owner" |  | the Owner of a Distribution Interconnector or of that part of a Distribution Interconnector directly connected to a Distribution System; |  |
| "Distribution Licence" |  | a licence issued under section 6(1)(c) of the Act; |  |
| “Distribution Queue Management Process” |  | the queue management process adopted by the owner/operator of a Distribution System in respect of connections to the Distribution System; |  |
| "Distribution System" |  | the system consisting (wholly or mainly) of electric lines owned or operated by any Authorised Electricity Operator and used for the distribution of electricity from Grid Supply Points or generation sets or other entry points to the point of delivery to Customers or Authorised Electricity Operators, and includes any Remote Transmission Assets operated by such Authorised Electricity Operator and any electrical plant and meters owned or operated by the Authorised Electricity Operator in connection with the distribution of electricity, but shall not include any part of the National Electricity Transmission System; |  |
| “Distribution Voltage” |  | a voltage of 132kV or below in England & Wales. A voltage of below 132kV in Scotland. Generally taken to be voltages lower than those defined as transmission voltages; |  |
| “Demand Voting Sub- Group” |  | all User(s) in a Voting Group who fall within any one or more of the following categories: - Directly Connected Users with a Bilateral Agreement; and - a User with a Bilateral Agreement in respect of a Distribution System; |  |
| "Dormant CUSC Party" |  | a CUSC Party which does not enjoy any ongoing rights and/or obligations for the period of its dormancy under the CUSC, as provided for in Section 5; |  |
| “Downstream Party” |  | a third party connected to a Non-Embedded Customer’s System; |  |
| “EA Cut Off Date” |  | 23:59 on the date before the CMP435 Implementation Date being the date which determines what are categorised as Existing Agreements for a Project for the purposes of this Section 18; |  |
| "EA Gated Design Process” |  | the one off design process run by The Company in accordance with the Gated Process for Projects with Existing Agreements starting and finishing on the dates for this as set out in the EA Timetable; |  |
| “EA Request” |  | a request by a User under Paragraph 18.8 for Existing Agreements for a Project to be given the status of Gate 2 Existing Agreements; |  |
| “EA Request Window” |  | the period of time determined by The Company in accordance with the Gated Process for Projects with Existing Agreements starting and finishing on the dates for this as set out in the EA Timetable with the start date not being less than 4 weeks from the CMP435 Implementation Date and the duration being not less 2 weeks; |  |
| "EA Timetable” |  | the timetable setting out the timings (start and end dates and durations) of the various stages of the Gated Process for Projects with Existing Agreements; |  |
| "Earthing" |  | as defined in the Grid Code; |  |
| “EBR Amendment” |  | (a) any amendment to contractual arrangements for the provision of and payment for Balancing Services referred to in Section 4.2B5 or (b) any amendment to CUSC which amends the EBR Article 18 Terms or Conditions in, as the case may be, such contractual arrangements or CUSC including to introduce a new provision for the purposes of Article 18 into, as the case may be, such contractual arrangements or CUSC; |  |
| “EBR Article 18 Terms and Conditions |  | terms and conditions which have been approved by the Authority pursuant to and for the purposes of Article 18 of the Electricity Balancing Regulation. In the context of CUSC these terms and conditions are identified for convenience in CUSC Exhibit Y as such Exhibit Y is amended from time to time; |  |
| "EdF Documents" |  | as defined in the Balancing and Settlement Code; |  |
| “Effective” |  | an EA Request is effective when in the opinion of The Company acting reasonably the EA Request meets the requirements at Paragraph 18.8; |  |
| "Election Timetable" |  | as defined in Paragraph 8A.1.2.1; |  |
| "Election Year" |  | as defined in Paragraph 8A.1.1.2; |  |
| “Electricity Balancing Regulation” |  | the English version of Commission Regulation (EU) 2017/2195 as converted into Assimilated Law; |  |
| “Electricity Generation” |  | the process of generating electricity by a Generator; |  |
| “Electricity Generation Facility” |  | is a facility where Electricity Generation occurs as its sole function. |  |
| “Electricity Regulation” |  | the English version of Commission Regulation (EU) 2019/943 (being the recast of (EU) 714/2009) as converted into Assimilated Law; |  |
| “Electricity Storage” |  | is the conversion of electrical energy into a form of energy which can be stored, the storing of that energy, and the subsequent reconversion of that energy back into electrical energy; |  |
| “Electricity Storage Facility” |  | is a facility where Electricity Storage occurs; |  |
| “Electricity System Operator Licence” or “ESO Licence” |  | a licence granted or treated as granted under section 6(1)(da) of the Electricity Act 1989; |  |
| “Electricity Ten Year Statement (ETYS)” |  | as defined in the Grid Code; |  |
| “Electricity Transmission System Operation Regulation” |  | the English version of Commission Regulation (EU) 2017/1485 as converted into Assimilated Law; |  |
| “Electronic Communication Platform” |  | as defined in the Grid Code; |  |
| “Eligible Services” |  | any Balancing Service or Ancillary Service which imports or exports Reactive Energy but does not result in the production or export of any Active Power to the NETS; |  |
| “Eligible Services Facility” |  | for the purposes of CUSC Section 14 shall mean a Single Site that can only and solely provide Eligible Services to The Company and does not undertake Electricity Storage or Electricity Generation or consume any Active Power other than for the provision of the Eligible Services; |  |
| "Embedded" |  | a direct connection to a Distribution System or the System of any other User to which Customers and/or Power Stations are connected; in the context of the Charging Methodologies it shall mean a direct connection to a Distribution System or the System of any other User to which Customers and/or Power Stations are connected, such connection being either a direct connection or a connection via a busbar of another User or of a Relevant Transmission Licensee (but with no other connection to the National Electricity Transmission System); |  |
| "Embedded Generator MW Register" |  | the Register set up by The Company pursuant to Paragraph 6.35; |  |
| "Emergency Deenergisation Instruction" |  | an instruction issued by The Company to a User to either: (a) Deenergise that User’s Equipment, or (b) request the owner of the Distribution System to which the User’s Equipment or equipment for which that User is responsible (as defined in Section K of the Balancing and Settlement Code) is connected to Deenergise that User’s Equipment or equipment for which that User is responsible (as defined in Section K of the Balancing and Settlement Code or ; - declare its Maximum Export Limit in respect of the BM Unit(s) associated with such User’s Equipment to zero and to maintain it at that level during the Interruption Period, where in The Company’s reasonable opinion: (i) the condition or manner of operation of any Transmission Plant and/or Apparatus is such that it may cause damage or injury to any person or to the National Electricity Transmission System; and (ii) if the User’s Equipment connected to such Transmission Plant and/or Apparatus was not Deeenergised and/or the Maximum Export Limit of such User’s Equipment connected to such Transmission Plant and/or Apparatus was not reduced to zero then it is likely that the Transmission Plant and/or Apparatus would automatically trip; and (iii) if such Transmission Plant and/or Apparatus had tripped automatically, then (I) the BM Unit comprised in such User’s Equipment (other than an Interconnector Owner); or (II) an Interconnector of an Affected User who is an Interconnector Owner, would, solely as a result of Deenergisation of Plant and Apparatus forming part of the National Electricity Transmission System, have been Deenergised; |  |
| "Emergency Instruction" |  | as defined in the Grid Code; |  |
| “EMR Documents” |  | The Energy Act 2013, The Electricity Capacity Regulations 2014, the Capacity Market Rules, The Contracts for Difference (Allocation) Regulations 2014, The Contracts for Difference (Definition of Eligible Generator) Regulations 2014, The Contracts for Difference (Electricity Supplier Obligations) Regulations 2014, The Electricity Market Reform (General) Regulations 2014, the AF Rules and any other regulations or instruments made under Chapter 2 (contracts for difference), Chapter 3 (capacity market) or Chapter 4 (investment contracts) of Part 2 of the Energy Act 2013 which are in force from time to time; |  |
| “EMR Functions” |  | has the meaning given to “EMR functions” in Chapter 5 of Part 2 of the Energy Act 2013; |  |
| “Enabling Works” |  | those elements of the Transmission Reinforcement Works identified as such in accordance with CUSC Section 13 and which in relation to a particular User are as specified and by its acceptance of the Offer or Modification Offer, agreed by the User in the relevant Construction Agreement; |  |
| "End Date" |  | shall mean 5.00pm on the date 12 months from (and not including) the Security Amendment Implementation Date; |  |
| "Energisation" or "Energise(d)" |  | the movement of any isolator, breaker or switch or the insertion of any fuse so as to enable Energy to flow from and to the relevant System through the User's Equipment (and in the case of OTSDUW Build, the OTSUA prior to the OTSUA Transfer Time); |  |
| "Energy" |  | the electrical energy produced, flowing or supplied by an electric circuit during a time interval, being the integral with respect to time of the power, measured in units of watt-hours or standard multiples thereof i.e. 1000 Wh = 1KWh 1000 KWh = 1MWh 1000 MWh = 1GWh 1000 GWh = 1TWh; |  |
| “Energy Density Tables” |  | the tables of this name set out in the section of the LoA Guidance dealing with Connection Applications for a New Connection Site Onshore as such tables may be updated by The Company from time to time but where any changes will not be made without prior engagement with industry; |  |
| "Energy Metering Equipment" |  | as the phrase "Metering Equipment" is defined in the Balancing and Settlement Code; |  |
| "Energy Metering System" |  | as the phrase "Metering System" is defined in the Balancing and Settlement Code; |  |
| "Enforceable" |  | The Company (acting reasonably) is satisfied that the security is legally enforceable and in this respect the User shall obtain such legal opinion at its expense as The Company (acting reasonably shall require); |  |
| “Engineering Charge” |  | as set out in the Statement of Use of System Charges from time to time; |  |
| "Enhanced Reactive Power Service" |  | as defined in Paragraph 1.2 of Schedule 3, Part I; |  |
| "Enhanced Rate" |  | in respect of any day the rate per annum which is 4% per annum above the Base Rate; |  |
| “Equivalent Unmetered Supply” |  | as defined in the Balancing and Settlement Code; |  |
| "Escrow Account" |  | a bank account in the name of The Company at such branch of Barclays Bank PLC or such branch of any other bank, in the City of London as is notified by The Company to the User in which deposits of principal sums from the User shall be ascertainable, bearing interest from (and including) the date of deposit of principal sums to (but excluding) the date of withdrawal of principal sums from such account, mandated for withdrawal of any sums solely by The Company and mandated for the transfer of any interest accrued to such account to: a) an associated bank account in the name of The Company in which the interest accruing in respect of the principal sums deposited by the User shall be ascertainable; or b) such bank account as the User may specify; |  |
| "Estimated Demand" |  | the forecast Demand (Active Power) data filed with The Company pursuant to the Charging Statements; |  |
| "ET Interface Operator" |  | the operator of the Onshore Distribution System to which an ET Offshore Transmission System connects; |  |
| “ET Interface Point” |  | the electrical point of connection between an Offshore Transmission System and an Onshore Distribution System and in relation to a particular User as defined in its Bilateral Connection Agreement; |  |
| “ET Offshore Transmission System” |  | an Offshore Transmission System connected at an ET Interface Point; |  |
| "ET Restrictions on Availability" |  | is in the context of an ET Offshore Transmission System the reduction in capability as set out in the relevant Notification of ET Restrictions on Availability; |  |
| "ET Use of System Charges" |  | the element of Use of System Charges consisting of charges payable by The Company to the ET Interface Operator in respect of the connection to a Distribution System by an Offshore Transmission System and use of such Distribution System by means of such Offshore Transmission System; |  |
| “European Commission” |  | the institution of that name established under The Treaty on European Union as amended from time to time; |  |
| “Evaluation of Transmission Impact” |  | The process undertaken by The Company to understand the effect of a Relevant Embedded Power Station on the National Electricity Transmission System; |  |
| "Event" |  | as defined in the Grid Code; |  |
| "Event of Default" |  | any of the events set out in Section 5 as constituting an event of default; |  |
| “Excepted Works” |  | any Construction Works which have been designated as “onshore transmission (reinforcement)” by the Authority, either in its decision of 19 October 2022 titled ‘Offshore Transmission Network Review: Decision on asset classification’ included in The Company’s ‘Pathway to 2030 (Holistic Network Design)’ report published in July 2022 or in any decisions by the Authority on the classification of assets included in The Company’s ‘Beyond 2030’ report published in March 2024, or otherwise so designated by the Authority; |  |
| "Exchange Rate" |  | the Transmission Entry Capacity available to a specific party as a direct result of a specific reduction in the Transmission Entry Capacity available to another party; |  |
| "Exchange Rate Request" |  | a joint request from a User and another User to calculate the Exchange Rate that would apply were they to agree to a TEC Trade; |  |
| "Excitation System" |  | the equipment providing the field current of a machine, including all regulating and control elements as well as field discharge or suppression equipment and protective devices; |  |
| "Exemptable" |  | where the person generating electricity at the relevant Power Station is, or would be (if it generated electricity at no other Power Station and/or did not hold a Generation Licence) exempt from the requirement to hold a Generation Licence under the Act; |  |
| “Exempt Export BM Unit” |  | as defined in the Balancing and Settlement Code; |  |
| “Exempt Generator” |  | any generator who, under the terms of the Electricity (Class Exemptions from the Requirement for a Licence) Order 2001, is not obliged to hold a generation licence; |  |
| “Exemptible Generation” |  | generating plant where the party generating electricity at that generating plant is, or would (if it generated electricity at no other generating plant and/or did not hold a generation licence) be, exempt from the requirement to hold a generation licence (including Scottish generation that export between 50 and 100MW that was connected on or before 30 September 2000); |  |
| "Exempt Power Station" |  | a Power Station where the person generating electricity at that Power Station is exempt from the requirement to hold a Generation Licence under the Act; |  |
| “Existing Agreements” |  | the agreements of the type determined according to Paragraph 18.5; |  |
| “Existing ICM Construction Agreement” |  | a Construction Agreement entered into between The Company and a User prior to the Connect and Manage Implementation Date and which is on the basis of the Interim Connect and Manage Arrangements; |  |
| “Existing Offshore Agreement” |  | any Bilateral Connection Agreement and Construction Agreement entered into under the OTSDUW Arrangements and where the User is undertaking OTSDUW Build on or before the OTSUA Commissioning Period Effective Date; |  |
| “Existing Offshore Generator” |  | as defined in the Transmission Licence; |  |
| "Existing Security Cover" |  | the Security Cover held by The Company in respect of a User pursuant to CUSC Section 3 Part III immediately prior to the Security Amendment Implementation Date; |  |
| “Export” |  | as defined in the Balancing and Settlement Code; |  |
| “Export BM Unit” |  | a BM Unit registered in accordance with Section K of the BSC in respect of Export; |  |
| “Export Capacity” |  | for the purpose of paragraph 6.5.1(f) Export Capacity is the maximum continuous Active Power expressed in MW which is permitted to flow from a Power Station to a Distribution System; |  |
| “Ex-Post Reconciliation” |  | the charge or credit to Demand and Generator Users in respect of TNUoS charges in the event of a breach of the Limiting Regulation; |  |
| "External Interconnection" |  | as defined in the Grid Code; |  |
| "Externally Interconnected System Operator" |  | as defined in the Grid Code; |  |
| “Fast Track Criteria” |  | a CUSC Modification Proposal that, if implemented, (a) would meet the Self-Governance Criteria; and (b) is properly a housekeeping modification required as a result of some error or factual change, including but not limited to: (i) updating names or addresses listed in the CUSC; (ii) correcting any minor typographical errors; (iii) correcting formatting and consistency errors, such as paragraph numbering; or (iv) updating out of date references to other documents or paragraphs. |  |
| “FDSC” |  | shall mean the same as Final Demand Site Count; |  |
| “FDSC Base Percentage” |  | the % value for the relevant Security Period as specified in the table in paragraph 2A of Section 3, Appendix 2; |  |
| “FDSC Base Value at Risk” |  | the sum as calculated in accordance with Paragraph 3.23.4a; |  |
| “FDSC Charges” |  | that element of Transmission Network Use of System Demand Charges relating to Final Demand Site Count; |  |
| “FDSC Forecast” |  | the forecast, produced by The Company, of the FDSC; |  |
| "Final Adjustments Statement” |  | as defined in Paragraph 4.3.2.6(b); |  |
| “Final Demand” |  | electricity which is consumed other than for the purposes of generation or export onto the electricity network; |  |
| "Final Demand Reconciliation Statement" |  | as defined in Paragraph 3.13.7(a); |  |
| “Final Demand Site” |  | Shall mean; - For Users with a Bilateral Connection Agreement, a Single Site which has associated Final Demand, except Single Sites which are for; - Users who own or operate a Distribution System, or - Interconnector Users, or - Users of a Non-Final Demand Site with a valid Declaration - For Users with a Bilateral Embedded Generation Agreement or BELLA, as defined as ‘Final Demand Site’ in the DCUSA except Non-Final Demand Site with a valid Declaration For all other parties, as defined as ‘Final Demand Site’ in the DCUSA; |  |
| “Final Demand Site Count or FDSC” |  | a count of individual Final Demand Sites for each Charging Band; |  |
| "Final Monthly Statement" |  | as defined in Paragraph 4.3.2.6; |  |
| "Final Reconciliation Settlement Run" |  | as defined in the Balancing and Settlement Code; |  |
| "Final Reconciliation Volume Allocation Run" |  | as defined in the Balancing and Settlement Code; |  |
| "Final Physical Notification Data" |  | as defined in the Balancing and Settlement Code; |  |
| "Final Statement" |  | as defined in Paragraph 4.3.2.6(a); |  |
| "Final Sums" |  | in relation to a particular User, as defined in its Construction Agreement; |  |
| "Financial Year" |  | the period of 12 months ending on 31st March in each calendar year; |  |
| “First Gated Application Window and Offer Run” |  | the first run of the Gated Application Window and Offer Process following the CMP434 Implementation Date; |  |
| "First Offer" |  | as defined in Paragraph 6.10.4; |  |
| “First Security Period” |  | from the date of Construction Agreement to the 31 March or 30 September, whichever is the first to occur; |  |
| "First User" |  | as defined in Paragraph 6.10.3; |  |
| “Fixed Attributable Works Cancellation Charge” |  | where the Attributable Works Cancellation Charge is calculated in accordance with Paragraph 3.5.1 of Part TWO of the User Commitment Methodology; |  |
| “Fixed BSUoS Price” |  | the volumetric fixed price (in £/MWh) for BSUoS Charges calculated and published by The Company for each Fixed Price Period; |  |
| “Fixed Price Period” |  | the period of time during which the Fixed BSUoS Price applies. Each Fixed Price Period shall apply for 12 months, from 1st April to 31st March, comprising: (a) the Spring Summer Tariff (1st April to 30th September); and (b) the Autumn Winter Tariff (1st October to 31st March). |  |
| “Fixed Proposed Implementation Date” |  | the proposed date(s) for the implementation of a CUSC Modification Proposal or Workgroup Alternative CUSC Modification such date to be a specific date by reference to an assumed date by which a direction from the Authority approving the CUSC Modification Proposal or Workgroup Alternative CUSC Modification is required in order for the CUSC Modification Proposal or any Workgroup Alternative CUSC Modification, if it were approved, to be implemented by the proposed date; |  |
| "FMS Date" |  | 1st April 1993; |  |
| "Force Majeure" |  | in relation to any CUSC Party any event or circumstance which is beyond the reasonable control of such CUSC Party and which results in or causes the failure of that CUSC Party to perform any of its obligations under the CUSC including act of God, strike, lockout or other industrial disturbance, act of the public enemy, war declared or undeclared, threat of war, terrorist act, blockade, revolution, riot, insurrection, civil commotion, public demonstration, sabotage, act of vandalism, lightning, fire, storm, flood, earthquake, accumulation of snow or ice, lack of water arising from weather or environmental problems, explosion, fault or failure of Plant and Apparatus (which could not have been prevented by Good Industry Practice), governmental restraint, Act of Parliament, other legislation, bye law and Directive (not being any order, regulation or direction under section 32, 33, 34 and 35 of the Act) provided that lack of funds shall not be interpreted as a cause beyond the reasonable control of that CUSC Party and provided, for the avoidance of doubt, that weather conditions which are reasonably to be expected at the location of the event or circumstance are also excluded as not being beyond the reasonable control of that CUSC Party; |  |
| “Forecast Lifetime Cancellation Charge Secured Amount Profile” |  | the profile as provided by The Company in accordance with Paragraph 8.3 of Part 6 of Section 15 in relation to a project; |  |
| "Forecasting Performance Related VAR " |  | the sum of HH Forecasting Performance Related VAR and NHH Forecasting Performance Related VAR; |  |
| "Frequency" |  | the number of alternating current cycles per second (expressed in Hertz) at which a System is running; |  |
| "Frequency Deviation" |  | a positive or negative deviation from Target Frequency; |  |
| "Frequency Response" |  | an automatic response by a BM Unit or CCGT Unit to a change in Frequency with the aim of containing System Frequency within the limits provided for under the Grid Code; |  |
| "Frequency Sensitive Mode" |  | as defined in the Grid Code; |  |
| "Fuel Security Code" |  | the document of that title designated as such by the Secretary of State as from time to time amended; |  |
| "Full TEC Reduction Notice Period" |  | - one Financial Year and 5 Business Days prior to the beginning of the Financial Year from which the decrease in Transmission Entry Capacity or Disconnection (as appropriate) is to take effect; |  |
| “Gas Insulated Switchgear” or “GIS” |  | SF6 switchgear where the substation busbars (and the interfacing switchgear between those busbars and any connecting circuits) are of an integrated metal enclosed, gas insulated construction; |  |
| "Gas Turbine Unit" |  | a Generating Unit driven by a gas turbine (for instance an aero-engine); |  |
| “Gas System Planner Licence” or “GSP Licence” |  | a licence granted or treated as granted under section 7AA(1) of the Gas Act 1986; |  |
| “Gate 1 Agreements” |  | the (a) agreements (including, as required, the Bilateral Agreement) entered into between the Gated Applicant and The Company on acceptance of a Gate 1 Offer and (b) the Gate 1 Existing Agreements; |  |
| “Gate 1 Application” |  | an application for a Gate 1 Offer; |  |
| “Gate 1 ATV” |  | the Agreement to Vary issued by The Company to the User in respect of Existing Agreements for a Project in accordance with Paragraph 18.13; |  |
| “Gate 1 Conditional Clause” |  | the clause included in a Gate 1 Offer making the Gate 1 Agreements conditional until a Gate 2 Offer is accepted and in the Gate 1 ATV making the Gate 1 Existing Agreements conditional until a Gate 2 Offer is accepted; |  |
| “Gate 1 Existing Agreements” |  | the Existing Agreements for a Project (as amended by the Gate 1 ATV) on the execution of the Gate 1 ATV; |  |
| “Gate 1 Offer” |  | the offer made by The Company to a Gated Applicant in response to a Gate 1 Application; |  |
| “Gate 1 Notification” |  | a notification in writing by a User to The Company that it does not intend to submit an EA Request in respect of Existing Agreements for a Project; |  |
| “Gate 2 Agreements” |  | the (a) agreements (including, as required, the Bilateral Agreement) entered into between the Gated Applicant and The Company on acceptance of a Gate 2 Offer ; and (b) the Gate 2 Existing Agreements; |  |
| “Gate 2 Application” |  | an application for a Gate 2 Offer; |  |
| “Gate 2 Criteria” |  | the criteria which a Gate 2 Application and EA Request has to meet as set out in the Gate 2 Criteria Methodology; |  |
| “Gate 2 Criteria Methodology” |  | the methodology developed or to be developed by The Company in accordance with the ESO Licence and approved by the Authority and published by The Company on the Website as such methodology may be revised from time to time; |  |
| “Gate 2 Existing Agreements” |  | the Existing Agreements for a Project (as amended by the Gate 2 Modification Offer) on the acceptance of the Gate 2 Modification Offer; |  |
| “Gate 2 Offer” |  | the offer made by The Company to a Gated Applicant in response to a Gate 2 Application; |  |
| “Gate 2 Modification Offer” |  | the Modification Offer made by The Company to the User in respect of Existing Agreements for a Project in accordance with Paragraph 18.14 above; |  |
| “Gated Agreements” |  | the Gate 1 Agreements or Gate 2 Agreements as appropriate; |  |
| “Gated Applicant” |  | an applicant for a Gated Application; |  |
| “Gated Application” |  | an application of a type referred to as such in Section 17; |  |
| “Gated Application and Offer Process” |  | the process as set out in Section 17; |  |
| “Gated Application Window” |  | as generally defined in the Gated Application and Offer Process with the specific timing for such specified in the relevant Gated Application Window and Offer Run; |  |
| “Gated Application Window and Offer Run” |  | the First Gated Application Window and Offer Run and each subsequent run of the Gated Application Window and Offer Process opened by The Company; |  |
| “Gated Design Process” |  | as generally defined in the Gated Application and Offer Process with the specific timing for such specified in the relevant Gated Application Window and Offer Run; |  |
| “Gated Modification” |  | a Modification of a type specified as such in the Gated Modification Guidance; |  |
| “Gated Modification Application” |  | a Modification Application for a Gated Modification; |  |
| “Gated Modification Guidance” |  | the guidance (as it may be amended from time to time) published by The Company on the type of Modifications that The Company will treat as being Gated Modification Applications; |  |
| “Gated Modification Offer” |  | a Modification Offer made by The Company in response to a Gated Modification Application; |  |
| “Gated Offers” |  | offers made by The Company in response to a Gated Application; |  |
| “Gated Process for Projects with Existing Agreements” |  | the process as set out in CUSC Section 18; |  |
| “Gated Timetable” |  | the timetable for each Gated Application Window and Offer Run setting out the timings (start and end dates and durations) of the various stages in the Gated Application Window and Offer Run as published by The Company on the Website. In each Gated Application Window and Offer Run, the Gated Application Window shall open no earlier than 4 weeks after the publication of the timetable (and in the case of the First Gated Application Window and Offer Run, with publication being no earlier than 4 weeks after the CMP434 Implementation Date) and shall be of a duration not less than 4 weeks; |  |
| “GB Transmission System” or “GBTS” |  | for the purposes of Section 12 means the system consisting (wholly or mainly) of high voltage electric wires owned or operated by transmission licensees within Great Britain and used for the transmission of electricity from one Power Station to a sub-station or to another Power Station or between sub-stations or to or from any External Interconnection and includes any Plant and Apparatus or meters owned or operated by any transmission licensee within Great Britain in connection with the transmission of electricity but shall not include Remote Transmission Assets; |  |
| "Generating Plant" |  | a Large Power Station; |  |
| "Generating Unit" |  | unless otherwise provided in the Grid Code any Apparatus which produces electricity; |  |
| "Generation Capacity" |  | the normal full load capacity of a Generating Unit as declared by the Generator, less the MW consumed by the Generating Unit through the Generating Unit’s unit transformer when producing the same; |  |
| "Generation Licence" |  | the licence granted to a Generator pursuant to section 6(1)(a) of the Act; |  |
| “Generation Licensee” |  | A User who holds a Generation Licence |  |
| "Generation Reconciliation Statement" |  | as defined in Paragraph 3.12.2; |  |
| “Generation Voting Sub-Group” |  | all User(s) in a Voting Group who fall within any one or more of the following categories: - a User with a Bilateral Agreement in respect of a Directly Connected Power Station; - a User with a Bilateral Agreement in respect of an Embedded Exemptable Large Power Station; and - a User with a Bilateral Agreement in respect of an Embedded Power Station; |  |
| "Generator" |  | a person who generates electricity under licence or exemption under the Act; |  |
| “Generator” |  | As defined in the Grid Code |  |
| "Genset" |  | as defined in the Grid Code; |  |
| “GIS Asset Outage |  | as defined in the relevant Bilateral connection Agreement; |  |
| "Good Industry Practice" |  | in relation to any undertaking and any circumstances, the exercise of that degree of skill, diligence, prudence and foresight which would reasonably and ordinarily be expected from a skilled and experienced operator engaged in the same type of undertaking under the same or similar circumstances; |  |
| "Great Britain" |  | the landmass of England and Wales and Scotland, including internal waters; |  |
| "Grid Code" |  | the Grid Code drawn up pursuant to the ESO Licence, as from time to time revised; |  |
| "Grid Supply Point" (“GSP”) |  | a point of delivery from the National Electricity Transmission System to a Distribution System or a Non-Embedded Customer; |  |
| "Gross Asset Value" |  | the value calculated by The Company in accordance with recognised accounting principles and procedures as published by The Company from time to time; |  |
| "Group" |  | as defined in the Grid Code; |  |
| “GSP Group” |  | as defined in the Balancing and Settlement Code; |  |
| "HH Base Percentage" |  | the % value for the relevant Security Period as specified in the table in paragraph 1 of Section 3, Appendix 2; |  |
| "HH Base Value at Risk" |  | the sum as calculated in accordance with Paragraph 3.22.3; |  |
| "HH Charges" |  | that element of Transmission Network Use of System Demand Charges relating to half-hourly metered Demand; |  |
| "HH Forecasting Performance Related VAR " |  | the amount resulting from multiplying the Deemed HH Forecasting Performance and the Indicative Annual HH TNUoS Charge calculated on the basis of the latest Demand Forecast received by The Company; |  |
| "High Frequency Response" |  | as defined in the Grid Code; |  |
| "High Voltage" or "HV" |  | a voltage exceeding 650 volts; |  |
| "Holding Payment" |  | that component of the payment for Mode A Frequency Response calculated in accordance with Paragraph 4.1.3.9; |  |
| “ICRP” |  | Investment Cost Related Pricing; |  |
| “Identified Onshore Circuit” |  | a single transmission HVDC subsea circuit or a single transmission AC subsea circuit between two MITS Nodes where there is only one route for the power to flow between the two MITS Nodes; |  |
| "Implementation Date" |  | is the date and time for implementation of an Approved CUSC Modification as specified in accordance with Paragraph 8.28.3; |  |
| “Import” |  | as defined in the Balancing and Settlement Code; |  |
| “Import BM Unit” |  | a BM Unit registered in accordance with Section K of the BSC in respect of Import; |  |
| "Indemnified Persons" |  | as defined in Paragraph 8.12.1; |  |
| "Independent Engineer" |  | in relation to a particular User, as defined in its Construction Agreement; |  |
| "Independent Credit Assessment" |  | an assessment of the creditworthiness of a User or entity by an Approved Agency as nominated by the User or entity obtained in accordance with Paragraph 3.26.7, 3.26.8 and 3.26.9; |  |
| "Independent Security Arrangement" |  | a guarantee in favour of The Company in a form satisfactory to The Company and which is provided by an entity which meets the Requirements. In addition The Company may accept such a policy from an entity who does not meet the Requirements up to an Agreed Value where The Company agrees or where The Company does not agree as determined by an expert appointed by The Company and the User or failing their agreement as to the expert the expert nominated by the Director General of The Institute of Credit Management; |  |
| “Indicative Annual FDSC TNUoS charge |  | The Company’s forecast of the User’s total FDSC Charges relating to a Financial Year; |  |
| "Indicative Annual HH TNUoS charge" |  | The Company’s forecast of the User’s total HH Charges relating to a Financial Year; |  |
| "Indicative Annual NHH TNUoS charge" |  | The Company’s forecast of the User’s total NHH Charges relating to a Financial Year; |  |
| “Indicative Annual UMS TNUoS charge” |  | The Company’s forecast of the User’s total UMS Charges relating to a Financial Year; |  |
| "Indicative Block LDTEC" |  | is the Available LDTEC; |  |
| "Indicative Maximum Generation Capability" |  | has the meaning attributed to it in Paragraph 4.2.3.2; |  |
| “Industry Code” |  | a multilateral code or agreement created and maintained pursuant to a licence granted by the Authority under section 6 of the Act or under sections 7, 7ZA or 7A of the Gas Act 1986; |  |
| “Information Request Notice” |  | a notice that will be issued by The Company to a relevant party setting out The Company’s reasonable requirements for relevant information in accordance with section 172 of the Energy Act 2023. This will be prepared in accordance with The Company's published Information Request Statement; |  |
| “Information Request Statement” |  | a statement prepared and published by The Company, in accordance with section 172 of the Energy Act 2023 and condition D2.5 of the ESO Licence and GSP Licence, setting out the process that The Company will follow when requesting information from relevant parties by the issue of an Information Request Notice; |  |
| "Initial Charge" |  | as defined in Paragraph 3.16.2; |  |
| "Initial Demand Reconciliation Statement" |  | as defined in Paragraph 3.13.4; |  |
| "Initial Volume Allocation Run" |  | as defined in the Balancing and Settlement Code; |  |
| “Initial Settlement Run” |  | as defined in the Balancing and Settlement Code; |  |
| “Insolvency Proceedings” |  | shall mean any action or step taken: - for the administration, winding up, dissolution or bankruptcy of the Developer; or - for the appointment of a receiver or administrative receiver in respect of any of the Developer’s assets; or - for making a proposal to any of the Developer’s creditors with a view to avoiding insolvency; or - for the taking of possession by anyone with an interest in any asset of the Developer; or - any analogous procedure or step is taken in any jurisdiction in relation to any matter referred to in clause (a) to (d) (inclusive) above; |  |
| “Installed Capacity” |  | the figure, in the context of the Original Red Line Boundary only, being the intended maximum amount of Active Power that the, as appropriate, User’s Equipment or Developer’s Equipment sited within the Original Red Line Boundary would be capable of exporting and/or importing (independent of the Connection Entry Capacity and/or Transmission Entry Capacity and/or Developer Capacity, and any limitations to the maximum amount of Active Power related to such capacities) expressed in whole MW, or in MW to one decimal place as declared (for each technology type, if more than one) by the User on the Original Red Line Boundary; |  |
| "Insurance Performance Bond" |  | a Performance Bond provided by a company in the business of providing insurance which meets the Requirements. In addition The Company may accept such a policy from such a company who does not meet the Requirements up to an Agreed Value where The Company agrees or where The Company does not agree as determined by an expert appointed by The Company and the User or failing their agreement as to the expert the expert nominated by the Director General of The Institute of Credit Management; |  |
| "Intellectual Property" or "IPRs" |  | patents, trade marks, service marks, rights in designs, trade names, copyrights and topography rights (whether or not any of the same are registered and including applications for registration of any of the same) and rights under licences and consents in relation to any of the same and all rights or forms of protection of a similar nature or having equivalent or similar effect to any of the same which may subsist anywhere in the world; |  |
| “Interactivity” |  | where there are two or more applications for connection and/or use of system which would be using or connecting to the same part of the Total System which comprises the existing or future NETS and/or Distribution System where not all the applicants can be connected, Interactivity is the process that determines the queue position of the applications that can be connected with or without further changes to the network; |  |
| “Interactivity Policy” |  | the policy adopted by The Company for the purposes of managing Interactivity and published on its website as it may be amended from time to time; |  |
| "Interconnected System Operator" |  | as defined in the Balancing and Settlement Code; |  |
| "Interconnector" |  | as defined in the Balancing and Settlement Code; |  |
| “Interconnector Adjustment Payments” |  | the payments (whether positive or negative) as notified by the Interconnectors to The Company pursuant to the conditions in their respective licences for the purposes of the ESO Licence condition F3 Part C Pass-through (PTt); |  |
| “Interconnector Asset Owner” |  | the owner of an Interconnector; |  |
| "Interconnector Error Administrator" |  | as defined in the Balancing and Settlement Code; |  |
| "Interconnector Owner" |  | the owner of an Interconnector, or of that part of an Interconnector, directly connected to the National Electricity Transmission System; |  |
| "Interconnector User" |  | (a) in relation to an Interconnector connected to the National Electricity Transmission System, as defined in the Balancing and Settlement Code; and (b) in relation to a Distribution Interconnector, a Lead Party (as defined in the Balancing and Settlement Code) in respect of a single BM Unit where under Section K5 of the Balancing and Settlement Code the BM Unit has been allocated in relation to that Distribution Interconnector or if there is no such allocation, as defined in the Balancing and Settlement Code; |  |
| “Interconnector User Commitment Capacity” |  | (a) for Interconnectors whose Connection Site is below the B11 boundary as set out in the annual Electricity Ten Year Statement, this is the figure for the purposes of CUSC Paragraph 9.5 as specified in Appendix C of the User’s Bilateral Connection Agreement; and (b) for Interconnectors whose Connection Site is above the B11 boundary as set out in the annual Electricity Ten Year Statement, this is the figure for the purposes of CUSC Paragraph 9.4 as specified in Appendix C of the User’s Bilateral Connection Agreement; |  |
| “Interconnector Voting Sub-Group” |  | all User(s) in a Voting Group who fall within any one or more of the following categories: - Interconnector Owners with a Bilateral Agreement; and - Interconnector Users |  |
| "Interface Agreement" |  | the agreement(s) entered into pursuant to Paragraph 2.11 and Paragraph 9.13 based substantially on the forms set out in Exhibit O to the CUSC; |  |
| “Interim Connect and Manage Arrangements” |  | the arrangements in place between 8 May 2009 and the Connect and Manage Implementation Date whereby Offers were made by The Company on the basis that a Derogation would be obtained from the Authority such that identified Transmission Reinforcement Works did not need to completed prior to connection and/or use of system; |  |
| “Interim Operational Notification” or “ION” |  | as defined in the Grid Code; |  |
| “Interim Operational Notification Part A” or “ION Part A” |  | as defined in the Grid Code; |  |
| “Interim Operational Notification Part B” or “ION Part B” |  | as defined in the Grid Code; |  |
| "Interim Panel and Alternate Election process" |  | As defined in Paragraph 8A.4.3.2 |  |
| “Interruption” |  | where either:- (i) solely as a result of Deenergisation of Plant and Apparatus forming part of the National Electricity Transmission System; or (ii) in accordance with an Emergency Deenergisation Instruction; or (iii) solely as a result of an User Emergency Deenergisation; - An Export BM Unit comprised in the User’s Equipment of an Affected User (other than an Interconnector Owner) is Deenergised; or - an Associated Export BM Unit of an Affected User is (other than an Interconnector Owner) Deenergised from the National Electricity Transmission System; or c) an Interconnector of an Affected User who is an Interconnector Owner is Deenergised.; or d) The Maximum Export Limit in respect of the BM Unit(s) associated with such User’s Equipment is zero. |  |
| “Interruption Payment” | the payment for a Relevant Interruption calculated as follows: - In the case of a Relevant Interruption arising as a result of a Planned Outage; In the case of an Affected User other than an Interconnector Owner In the case of an Affected User who is an Interconnector Owner where: i = calendar days k = 1, representing the first calendar day associated with a Relevant Interruption. n = number of complete or part complete calendar days of a Relevant Interruption - In the case of a Relevant Interruption arising as a result of either an Emergency Deenergisation Instruction or a User Emergency Deenergisation In the case of an Affected User other than an Interconnector Owner Plus (if applicable) In the case of an Affected User who is an Interconnector Owner Plus (if applicable) where; j = Settlement Periods from the time when the Emergency Deenergisation Instruction was issued by The Company or commencement of the User Emergency Deenergisation (as applicable), with 1 representing the first Settlement Period. m = The duration of the Relevant Interruption (being the Interruption Period), in Settlement Periods for which Gate Closure has not yet occurred (which shall be greater than 3, up to a maximum value of 48) p = The duration of the Relevant Interruption in Settlement Periods for which Gate Closure has occurred (up to a maximum value of 3). and after the first 24 hours of a Relevant Interruption a sum calculated as 1 above save that k shall be equal to 2. - In the case of all other Relevant Interruptions: In the case of an Affected User other than an Interconnector Owner Plus (if applicable) In the case of an Affected User who is an Interconnector Owner Plus (if applicable) where; j = Settlement Periods from the start of the Relevant Interruption, with 1 representing the first Settlement Period. m = The duration of the Relevant Interruption (being the Interruption Period), in Settlement Periods for which Gate Closure has not yet occurred (which shall be greater than 3, up to a maximum value of 48) p = The duration of the Relevant Interruption in Settlement Periods for which Gate Closure has occurred (up to a maximum value of 3). and after the first 24 hours of a Relevant Interruption a sum calculated in accordance with paragraph 1 above save that k shall be equal to 2. Provided always that an Affected User shall not receive payment in respect of more than one Relevant Interruption for the same period. 4. In the event of the relevant Market Price being zero then for purpose of paragraphs 2 or 3 above the Market Price shall be deemed to be the most recent preceding positive price. Throughout this definition of Interruption Payment: Average daily £ per MW rate = (TNUoS income derived from generators/ total system Transmission Entry Capacity) / 365, calculated by reference in each case to figures for the Financial Year prior to that in which the Relevant Interruption occurs to give a daily £ per MW rate; Actual daily £ per MW rate = (Annual TNUoS charge of an Affected User for the Financial Year /Transmission Entry Capacity for the Connection Site) / 365 calculated by reference to the tariff in the Statement of Use of System Charges for the Financial Year in which the Relevant Interruption occurs; Affected MW = in the case of either Export BM Units or Associated Export BM Units , the MW arrived at after deducting from the Transmission Entry Capacity for the Connection Site the sum of the Connection Entry Capacity of the unaffected Export BM Units at the Connection Site; System Buy Price is as defined in the Balancing and Settlement Code; Market Price is as defined in the Balancing and Settlement Code. |  |  |
| “Interruption Period” |  | For a Planned Outage, shall mean the period in whole calendar days commencing with the notification of the Affected User by The Company of the start of Relevant Interruption and ending on the notification of the Affected User by The Company that the Relevant Interruption has ended; For a Relevant Interruption arising as a result of: - an Emergency Deenergisation Instruction, shall mean the period from the start of the Settlement Period in which The Company gave notification to the Affected User of the start of such Relevant Interruption; or - a User Emergency Deenergisation, shall mean the period from the start of the Settlement Period in which the User Emergency Deenergisation commenced, until the end of the Settlement Period in respect of which (i)The Company gave notification to the Affected User by The Company that the Relevant Interruption has ended or (ii), in the case of a User Emergency Deenergisation, means the earlier of (a) when the Export BM Unit is Reenergised or (b) when the issue on the National Electricity Transmission System giving rise to the User Emergency Denergisation is resolved, which shall be measured in: i) whole Settlement Periods for the first 24 hours from the time of either notification by The Company to the Affected User of the start of such Relevant Interruption or when the User Emergency Deenergisation commenced (as applicable); and ii) whole calendar days for any time after the first 24 hour period referred to in i) above. In the case of all other Relevant Interruptions the duration, shall mean the period from the start of such Relevant Interruption which shall be measured in: i) whole Settlement Periods for the first 24 hours from the start of such Relevant Interruption; and ii) whole calendar days for any time after the first 24 hour period referred to in i) above. |  |
| "Intertrip Contracted Unit" |  | (i) in the case of a Power Park Module, the collection of Non-Synchronous Generating Units which are registered as a Power Park Module under the Grid Code; and (ii) all other cases, a Generating Unit, unless, in either case, the Bilateral Agreement specifies otherwise. |  |
| "Intertrip Payment" |  | as defined in Paragraph 4.2A.4(c); |  |
| "Isolation" |  | as defined in the Grid Code; |  |
| “ISOP” |  | Independent System Operator and Planner, means a person designated by the Secretary of State under section 162 of the Energy Act 2023 as the holder of the ESO Licence, and the GSP Licence. For the time being that person is NESO; |  |
| "Joint System Incident" |  | Paragraphs (a) and (b) below are without prejudice to the application of Paragraph 6.4 to Users acting in capacities other than those detailed in Paragraphs (a) and (b), (a) for Users in respect of their Connection Sites which were not Commissioned as at the Transfer Date, shall have the meaning given to that term in the Grid Code; (b) for Users acting in their capacity as Generators with Embedded Large Power Stations or Embedded Medium Power Stations and who are passing power onto a Distribution System through a connection with a Distribution System which was not Commissioned as at the Transfer Date, means an event wherever occurring (other than on an Embedded Medium Power Station or Embedded Small Power Station) which, in the opinion of The Company or a User has or may have a serious and/or widespread effect, being (in the case of an event on a User(s) System(s)) (other than on an Embedded Medium Power Station or Embedded Small Power Station), on the National Electricity Transmission System , and (in the case of an event on the National Electricity Transmission System), on a User(s) System(s) (other than on an Embedded Independent Generating Plant); |  |
| "Joint Temporary TEC Exchange Users" |  | the Temporary TEC Exchange Donor User and the Temporary TEC Exchange Recipient User; |  |
| “Key Consents” |  | those Consents a User requires in respect of its Power Station project which are identified by The Company as key for the purposes of Part Three of the User Commitment Methodology and in relation to a particular User as defined in its Construction Agreement; |  |
| “Key Consents In Place Date” |  | the date that The Company confirms in writing to the User that The Company is satisfied, for the purposes of Part Three of the User Commitment Methodology, that the User has been granted the Key Consents; |  |
| "Land Charge" |  | the charge (if any) set out in Appendix B to a Bilateral Connection Agreement; |  |
| "Large Power Station" |  | as defined in the Grid Code; |  |
| "LDTEC" |  | Is, in the case of an accepted LDTEC Block Offer, Block LDTEC or, in the case of an accepted LDTEC Indicative Block Offer, Indicative Block LDTEC; |  |
| "LDTEC Availability Notification" |  | the form set out in Exhibit T to the CUSC; |  |
| "LDTEC Block Offer" |  | is an offer made by The Company for Short Term Capacity in accordance with the terms of Paragraphs 6.32.4.6 and 6.32.6.1 in response to an LDTEC Request; |  |
| "LDTEC Charge" |  | being a component of the Use of System Charges which is made or levied by The Company and to be paid by the User , in the case of an accepted LDTEC Block Offer, for Block LDTEC and in the case of an accepted LDTEC Indicative Block Offer for Requested LDTEC and in the case of an accepted Temporary TEC Exchange Rate Offer for Temporary Received TEC, in each case calculated in accordance with the Charging Statements; |  |
| "LDTEC Indicative Block Offer" |  | is an offer made by The Company for Short Term Capacity in accordance with the terms of Paragraphs 6.32.6.4 and 6.32.6.2 in response to an LDTEC Request; |  |
| "LDTEC Indicative Profile" |  | is a profile in MW that indicates The Company’s assessment of the MW capacity that may be available to a User for the LDTEC Period which has been prepared solely for the purpose of enabling a User to make its assessment of an LDTEC Indicative Block Offer; |  |
| "LDTEC Offer" |  | is an LDTEC Block Offer and\or an LDTEC Indicative Offer; |  |
| "LDTEC Period" |  | is, (a) a period of weeks or part thereof within a Financial Year as specified by the User in its LDTEC Request Form for a minimum period of seven weeks commencing on a Monday at 0.00 hours and finishing at 23.59 on any given day no later than the last day of such Financial Year, or (b) in the case of an accepted Temporary TEC Exchange Offer, the Temporary TEC Exchange Period; |  |
| "LDTEC Profile" |  | is a profile in MW of The Company’s assessment of the MW capacity that is available to a User for the LDTEC Period (not exceeding the maximum level in the LDTEC Request) in an LDTEC Block Offer; |  |
| "LDTEC Request" |  | is an application made by a user for an LDTEC Block Offer and\or an LDTEC Indicative Block Offer made using an LDTEC Request Form; |  |
| "LDTEC Request Fee" |  | the fee to be paid by the User to The Company for an LDTEC Request as detailed in the Charging Statements; |  |
| "LDTEC Request Form" |  | is the form set out in Exhibit S to the CUSC; |  |
| "LDTEC Week" |  | is a week or part thereof within an LDTEC Period commencing on Monday at 0.00 and finishing on 23:59 on the last day within such week; |  |
| "Leading" |  | in relation to Reactive Power, importing Mvar; |  |
| "Legal Challenge" |  | an appeal to the Competition Commission or a judicial review in respect of the Authority’s decision to approve or not to approve a CUSC Modification Proposal; |  |
| “Legally Binding Decisions of the European Commission and/or the Agency |  | any relevant legally binding decision or decisions of the European Commission and/or the Agency, but a binding decision does not include a decision that is not, or so much of a decision as is not, Assimilated Law; |  |
| “Less than 100MW” |  | Is defined as not having the capability to export 100MW to the Total System; |  |
| “Letter of Acknowledgement” |  | the letter to be provided with the Connection Application for a New Connection Site Offshore or New Connection Site for an Offshore Project and obtained from either The Crown Estate or Crown Estate Scotland; |  |
| “Letter of Authority” |  | the letter to be provided with the Connection Application, such letter to be in the appropriate format as found at Section 2 Schedule 2; |  |
| "Letter of Credit" |  | (a) in respect of Paragraph 2.22 shall mean an irrevocable standby letter of credit in a form reasonably satisfactory to The Company but in any case expressed to be governed by the Uniform Customs and Practice for Documentary Credits 1993 Revision ICC Publication No. 500 or such other form as may be reasonably satisfactory to The Company and allowing for partial drawings and providing for the payment to The Company on demand forthwith on and against The Company’s delivery to the issuer thereof of a Notice of Drawing of the amount demanded therein; (b) in all other cases shall mean an unconditional irrevocable standby letter of credit in such form as The Company may reasonably approve issued for the account of the User in sterling in favour of The Company, allowing for partial drawings and providing for the payment to The Company forthwith on demand by any United Kingdom clearing bank or any other bank which in each case has a long term debt rating of not less than single "A" by Standard and Poor’s Corporation or by Moody’s Investors Services, or such other bank as The Company may approve and which shall be available for payment at a branch of the issuing bank; |  |
| "Licence" |  | any licence granted pursuant to Section 6 of the Act; |  |
| "Licence Standards" |  | the standards to be met by The Company under condition E7 of the ESO Licence; |  |
| “Licensable Generation” |  | generating plant that is not Exemptible Generation; |  |
| Limited Membership Workgroup |  | a Workgroup having less than five (5) but more than two (2) persons that have nominated themselves for membership in addition to the Code Administrator representative and the chairperson of the Workgroup. Members of a Limited Membership Workgroup where employed by companies that are considered to be an Affiliate of each other will be considered to be a single workgroup member for the purposes of fulfilling this minimum requirement. |  |
| “Limiting Regulation” |  | European Commission Regulation 838/2010 in the context of setting limits on annual average transmission charges payable by Generators (or any subsequent UK law specifying such limits); |  |
| "Liquidated Damages" |  | in relation to a particular User, as defined in its Construction Agreement; |  |
| “LoA Guidance” |  | the guidance on the requirements for the Letter of Authority and Letter of Acknowledgment published by The Company on the Website (as it may be amended from time to time); |  |
| "Local Safety Instructions" |  | as defined in the Grid Code; |  |
| “London Court of International Arbitration” |  | the leading London-based arbitral institution and not-for-profit company limited by guarantee of that name with a registered company number of 0204767 providing for the resolution of commercial disputes in accordance with its arbitration rules; |  |
| “Loss of Transmission Access Compensation Claim Form” |  | a form amended from time to time by agreement between the CUSC Modification Panel and The Company, to be completed by a claimant for submission of Relevant Interruption claims and available on a website maintained by The Company; |  |
| "MCUSA" |  | the Master Connection and Use of System Agreement dated 30 March 1990 (now amended to become the CUSC Framework Agreement); |  |
| "Main Business" |  | any business of The Company or any of its subsidiaries which it is required to carry on under the ESO Licence; |  |
| "Main Business Person" |  | any employee of The Company or any director or employee of its subsidiaries who is engaged solely in the Main Business and "Main Business Personnel" shall be construed accordingly; |  |
| “Main System Circuits” |  | Transmission Circuits but excluding a Grid Supply Point transformer; |  |
| "Maintenance Reconciliation Statement" |  | the statement prepared in accordance with Paragraph 2.14.5 and Paragraph 9.9.5; |  |
| "Mandatory Ancillary Services" |  | Part 1 System Ancillary Services; |  |
| "Mandatory Services Agreement" |  | an agreement between The Company and a User to govern the provision of and payment for Mandatory Ancillary Services or to govern the payment by The Company to a User for Obligatory Reactive Power Service provided by an Offshore Transmission Licensee in accordance with the STC; |  |
| "Market Agreement" |  | as defined in Paragraph 3.1 of Schedule 3, Part I; |  |
| "Market Day" |  | as defined in Paragraph 3.3 of Schedule 3, Part I; |  |
| “Market Suspension Period” |  | as defined in the Balancing and Settlement Code; |  |
| "Material Effect" |  | an effect causing The Company or a Relevant Transmission Licensee to effect any works or to alter the manner of operation of Transmission Plant and/or Transmission Apparatus at the Connection Site or the site of connection or a User to effect any works or to alter the manner of operation of its Plant and/or Apparatus at the Connection Site or the site of connection which in either case involves that party in expenditure of more than £10,000; |  |
| “Materially Affected Party” |  | any person or class of persons designated by the Authority as such, in relation to the Charging Methodologies; |  |
| “Maximum Export Capacity” |  | as defined in the Grid Code and in relation to a particular User, as defined in its Bilateral Connection Agreement; |  |
| "Maximum Export Limit" |  | as defined in the Grid Code; |  |
| "Maximum Generation" |  | a Balancing Service provided from the Available BM Units by generating at a level above the MEL so as to increase the total export of Active Power from the Power Station to the National Electricity Transmission System, contributing towards The Company’s requirement for additional short-term generation output, all as more particularly described in Paragraph 4.2; |  |
| "Maximum Generation BM Unit" |  | as between The Company and a User, the BM Units, specified in the Maximum Generation Service Agreement; |  |
| "Maximum Generation Energy Fee" |  | the amount (£/MWh) set out in the Maximum Generation Service Agreement as the same may be revised from time to time in accordance with Paragraph 4.2.5; |  |
| "Maximum Generation Energy Payment" |  | has the meaning attributed to it in Paragraph 4.2.5.1; |  |
| "Maximum Generation Instruction" |  | has the meaning attributed to it in Paragraph 4.2.4.1; |  |
| "Maximum Generation Redeclaration" |  | has the meaning attributed to it in Paragraph 4.2.3.3; |  |
| "Maximum Generation Service Agreement" |  | an agreement between The Company and a User specifying, amongst other things, the BM Units and the Maximum Generation Energy Fee applicable to the provision of Maximum Generation; |  |
| “Maximum Import Capacity” |  | as defined in the Grid Code and in relation to a particular User, as defined in its Bilateral Connection Agreement in the context of the Charging Methodologies it shall mean as defined in the Distribution Connection and Use of System Agreement; |  |
| “Maximum Lifetime Cancellation Charge Secured Amount” |  | The highest value within the Forecast Lifetime Cancellation Charge Secured Amount Profile as determined by The Company in accordance with Paragraph 8.5 of Part 6 of Section 15; |  |
| "Medium Power Station" |  | as defined in the Grid Code; |  |
| "Meters" |  | as defined in the Balancing and Settlement Code; |  |
| "Metering Equipment" |  | as defined in the Balancing and Settlement Code; |  |
| "Meter Operator Agent" |  | as defined in the Balancing and Settlement Code; |  |
| "Metering System" |  | as defined in the Balancing and Settlement Code; |  |
| "Methodology" |  | the Statement of the Use of System Charging Methodology or the Statement of the Connection Charging Methodology (and "Methodologies" shall be construed accordingly); |  |
| “Milestone Default Notice” |  | the notice issued by The Company to a User for the purposes of Paragraph 16.4.4 of the Queue Management Process; |  |
| “Milestone 1” |  |  | the User Progression Milestone “Milestone 1 Initiated Statutory Consents and Planning Permission”, set out in the table in Paragraph 16.3 of Section 16 or, where the Distribution Queue Management Process applies, the equivalent milestone (relating to the initiation of statutory consents and planning permission) under the relevant Distribution Connection Agreement; |  |
| “Minister of the Crown” |  | as defined in the ESO Licence; |  |
| “MITS Connection Works” |  | those Transmission Reinforcement Works (inclusive of substation works) that are required from the Connection Site to connect to a MITS Substation (and in the context of an Embedded Power Station, “connection site” shall mean the associated Grid Supply Point identified as such in the relevant Bilateral Agreement); |  |
| “MITS Node”” |  | in the context of ascertaining the Attributable Works, a node with (i) more than four Transmission circuits or (ii) two or more Transmission circuits and a Grid Supply Point; |  |
| “MITS Substation” |  | - in the context of the definition of MITS Connection Works, a Transmission substation with more than 4 Main System Circuits connecting at that substation; |  |
| “Mixed Demand Site” |  | a Final Demand Site which also contains Electricity Generation and/or Electricity Storage and/or provides an Eligible Service; |  |
| "Mode A Frequency Response" |  | as defined in Paragraph 4.1.3.3; |  |
| "Modification" |  | any actual or proposed replacement, renovation, modification, alteration, or construction by or on behalf of a User or The Company to either the User’s Plant or Apparatus or the manner of its operation or Transmission Plant or Transmission Apparatus or the manner of its operation which in either case has or may have a Material Effect on another CUSC Party at a particular Connection Site; |  |
| "Modification Affected User" |  | as defined in Paragraph 6.9.3.2; |  |
| "Modification Application" |  | an application in the form or substantially in the form set out in Exhibit I to the CUSC; |  |
| "Modification Notification" |  | a notification in the form or substantially in the form set out in Exhibit K to the CUSC; |  |
| "Modification Offer" |  | an offer in the form or substantially in the form set out in Exhibit J to the CUSC, including any revision or extension of such offer; |  |
| “Multi-Purpose Interconnector” |  | as defined in the Energy Act 2023; |  |
| "National Electricity Transmission System" or “NETS” |  | the system consisting (wholly or mainly) of high voltage electric wires owned or operated by transmission licensees within Great Britain and Offshore and used for the transmission of electricity from one Power Station to a sub-station or to another Power Station or between sub-stations or to or from any External Interconnection and includes any Plant and Apparatus or meters owned or operated by any transmission licensee within Great Britain and Offshore in connection with the transmission of electricity but shall not include Remote Transmission Assets; |  |
| "National Electricity Transmission System SQSS" or "NETS SQSS" |  | is the National Electricity Transmission System Security and Quality of Supply Standards as referred to in condition E7 of the ESO Licence; |  |
| “National Energy System Operator or NESO” |  | The Company with registered number 11014226, as the designated ISOP and holder of the ESO Licence and the GSP Licence; |  |
| "Natural Demand" |  | the Demand (Active Power) which is necessary to meet the needs of Customers excluding that Demand (Active Power) met by Embedded Generating Units whose generation is not traded by Trading Parties through Energy Metering Systems registered under the Balancing and Settlement Code; |  |
| "Net Asset Value" |  | the Gross Asset Value of the Transmission Connection Asset in question less depreciation over the Replacement Period calculated in accordance with recognised accounting principles and procedures; |  |
| "New Connection Site" |  | a proposed Connection Site in relation to which there is no Bilateral Agreement in force between the CUSC Parties; |  |
| "New CUSC Party" |  | as defined in Paragraph 6.13; |  |
| “Net Demand” |  | Sum of the BM Unit Metered Volumes (QMij) of the Trading Unit during the three Settlement Periods of the Triad expressed as a positive number (i.e. ∑QMij.); |  |
| “NGET” |  | National Grid Electricity Transmission plc (No: 2366977) whose registered office is at 1-3 Strand, London, WC2N 5EH: |  |
| "NHH Base Percentage" |  | the % value for the relevant Security Period as specified in the table in paragraph 2 of Section 3, Appendix 2; |  |
| "NHH Charges" |  | that element of Transmission Network Use of System Demand Charges relating to non-half-hourly metered Demand; |  |
| "NHH Base Value at Risk" |  | the sum as calculated in accordance with Paragraph 3.22.4; |  |
| "NHH Forecasting Performance Related VAR " |  | the amount resulting from multiplying the Deemed NHH Forecasting Performance and the Indicative Annual HH TNUoS Charge calculated on the basis of the latest Demand Forecast received by The Company; |  |
| "Nominated Registered Capacity" |  | as defined in Appendix 5 of Schedule 3, Part I; |  |
| "Non-Embedded Customer" |  | a Customer except for a Public Distribution System Operator receiving electricity direct from the National Electricity Transmission System irrespective of from whom it is supplied; |  |
| “Non-Embedded User” |  | a User, except for a Public Distribution System Operator, receiving electricity direct from the National Electricity Transmission System irrespective of from whom it is supplied; |  |
| “Non-Final Demand Site” |  | a Single Site (whether commissioning, operating, maintaining or decommissioning) which is either a; - Electricity Storage Facility and/or an Electricity Generation Facility - Eligible Services Facility The Non-Final Demand Site shall have an export Metering System and an import Metering System with associated metering equipment which only measures export from Electricity Generation and/or Electricity Storage or Eligible Services and import for, or directly relating to Electricity Generation and/or Electricity Storage or Eligible Services (and not export from another source or import for another activity), which is subject to a Declaration. |  |
| "Non- Performing Party" |  | as defined in Paragraph 6.19; |  |
| "Non Standard Boundary" |  | where the division of ownership of Plant and Apparatus is contrary to the principles of ownership set out in CUSC Paragraph 2.12; |  |
| “Non-Standard Interconnector” |  | an Interconnector which is connected to an offshore converter station in the connecting jurisdiction and which does not subsist for the purposes of offshore transmission activities in Great Britain as such definition may evolve for regulatory purposes; |  |
| "Non-Synchronous Generating Unit" |  | as defined in the Grid Code; |  |
| "Notice of Drawing" |  | a notice of drawing signed by or on behalf of The Company substantially in the form set out in Exhibit N to the CUSC; |  |
| "Notification Date" |  | as defined in the Balancing and Settlement Code; |  |
| "Notification of Circuit Outage" |  | as defined in the relevant Bilateral Connection Agreement or Bilateral Embedded Generation Agreement; |  |
| "Notification of Circuit Restriction" |  | as defined in the relevant Bilateral Connection Agreement or Bilateral Embedded Generation Agreement; |  |
| “Notification of Fixed Attributable Works Cancellation Charge” |  | the notification issued by The Company to a User, in accordance with Part Two of the User Commitment Methodology showing the Fixed Attributable Works Cancellation Charge such statement to be in substantially the form set out in Exhibit MM3 to the CUSC; |  |
| "Notification of Restrictions on Availability" |  | as defined in the relevant Bilateral Connection Agreement or Bilateral Embedded Generation Agreement; |  |
| "Notification of ET Restrictions on Availability" |  | as defined in the relevant Bilateral Connection Agreement; |  |
| "Notional Amount" |  | as defined in Paragraph 3.13; |  |
| "Nuclear Generator" |  | as defined in Paragraph 6.11; |  |
| "Nuclear Site Licence Provisions Agreement" |  | shall mean each of the following agreements (as from time to time amended) (a) the agreement between NGET and Magnox Electric plc (formally called Nuclear Electric plc) dated 30 March 1990, (b) the agreement between NGET and British Energy Generation Limited dated 31 March 1996, (c) the agreement between SP Transmission Limited and British Energy Generation (UK) Limited dated 29 May 1991 in relation to Hunterston power station and Torness power station, and (d) the agreement between SP Transmission Limited and British Nuclear Fuels plc in relation to Chapelcross power station; |  |
| "Obligatory Reactive Power Service |  | as defined in Paragraph 1.1 of Schedule 3, Part I or provided by an Offshore Transmission Licensee in accordance with the STC; |  |
| "Offer" |  | an offer for connection to and/or use of the National Electricity Transmission System made by The Company in relation to the CUSC; In the context of the Charging Methodologies it shall have the meaning as defined in the BSC; |  |
| “Offer Acceptance Period” |  | the period for acceptance as set out in CUSC Paragraphs 1.7.3, 2.13.4, 3.7.4, 6.9.2.3 and 9.17.3; |  |
| "Offshore" |  | means wholly or partly in the Offshore Waters and when used in conjunction with another defined term and the terms together are not otherwise defined means that the associated term is to be read accordingly; |  |
| “Offshore Construction Works” |  | in relation to a particular User means those elements of the Construction Works to be undertaken by an Offshore Transmission Licensee on the Offshore Transmission System as defined in its Construction Agreement; |  |
| "Offshore Grid Entry Point" |  | as defined in the Grid Code; |  |
| "Offshore Platform" |  | a single structure comprising of Plant and Apparatus located Offshore which includes one or more Offshore Grid Entry Points; |  |
| “Offshore Project” |  | an Interconnector, Power Station located in Offshore Waters, Multi-Purpose Interconnector, Non-Standard Interconnector or other project which has leases awarded to it in Offshore Waters by the Crown Estate or Crown Estate Scotland or any other project which connects to the National Electricity Transmission System Onshore but has or involves assets outside of the jurisdiction of Great Britain and which is not caught by any of the aforementioned categories; |  |
| "Offshore Standard Design" |  | is a connection design (which provides for connection to the National Electricity Transmission System) of a Connection Site located Offshore which satisfies the minimum deterministic criteria detailed in paragraphs 7.7 to 7.19 of the NETS SQSS but does not satisfy the deterministic criteria detailed in paragraphs 2.5 to 2.13 of the NETS SQSS; |  |
| "Offshore Tender Process" |  | that process followed by the Authority to make, in prescribed cases, a determination on a competitive basis of the person to whom an offshore transmission licence is to be granted; |  |
| "Offshore Tender Regulations" |  | those regulations made by the Authority in accordance with section 6C of the Act to facilitate the determination on a competitive basis of the person to whom an offshore transmission licence is to be granted; |  |
| “Offshore Transmission” |  | as defined in the Energy Act 2004; |  |
| “Offshore Transmission Implementation Plan” |  | as defined in the Transmission Licence; |  |
| "Offshore Transmission Licensee" |  | such person in relation to whose Licence the standard conditions in Section E (offshore transmission owner standard conditions) of such Licence have been given effect or any person in that prospective role; |  |
| “Offshore Transmission Owner” |  | either (a) such person in relation to whose Licence the standard conditions in Section E (offshore transmission owner standard conditions) of such Licence have been given effect; or (b) a party who has acceded to the STC prior to the grant of a Licence referred to in (a) above as a requirement of the Offshore Tender Regulations; |  |
| “Offshore Transmission Reinforcement Works” |  | - in relation to a particular User, as defined in its Construction Agreement; |  |
| "Offshore Transmission System" |  | a System used (or to be used) for the purposes of Offshore Transmission and for which there is (or where the OTSDUW Arrangements apply, will be) an Offshore Transmission Licensee; |  |
| "Offshore Transmission System Development User Works" or "OTSDUW" |  | in relation to a particular User where the OTSDUW Arrangements apply means those activities and/or works to be undertaken by the User as identified in Part 2 of Appendix I of the relevant Construction Agreement; |  |
| "Offshore Transmission System User Assets" or "OTSUA" |  | in relation to a particular User, any Plant and Apparatus resulting from OTSDUW Build which form the Offshore Transmission System to which the User’s Equipment is to be or is connected, as identified in its Construction Agreement; |  |
| "Offshore Waters" |  | has the meaning given to "offshore waters" in Section 90(9) of the Energy Act 2004; |  |
| “Offtaking” |  | as defined in the Balancing and Settlement Code; |  |
| "One Off Charge" |  | the costs, including profits and overheads of carrying out the One Off Works, together with the Net Asset Value of any asset made redundant as a result of the Construction Works an estimate of which is specified in Appendix B1 to the relevant Construction Agreement and/or Bilateral Agreement; |  |
| "One Off Works" |  | the works described in Appendix B1 to the relevant Construction Agreement and/or Bilateral Agreement; |  |
| “Onshore” |  | within Great Britain and when used in conjunction with another defined term and the terms together are not otherwise defined means that the associated term is to be read accordingly; |  |
| “Onshore Tender Process” |  | the process followed by the Delivery Body to make, in prescribed cases, a determination on a competitive basis of the person to whom an onshore transmission licence is recommended to be granted by the Authority or a Relevant Contract is recommended to be awarded, as more particularly described in the Onshore Tender Regulations; |  |
| “Onshore Tender Regulations” |  | those regulations made by the Authority in accordance with section 6C of the Act to facilitate the determination on a competitive basis of the person to whom an onshore transmission licence is to be granted; |  |
| “Onshore Transmission Licensee” |  | NGET, Scottish Hydro Electric Transmission plc, SP Transmission plc, a Competitively Appointed Transmission Owner or such other person in relation to whose transmission licence the Standard Conditions in Section D (transmission owner standard conditions) have been given effect; |  |
| “Onshore Transmission System” |  | the part of the National Electricity Transmission System which is not an Offshore Transmission System; |  |
| “Onshore Construction Works” |  | in relation to a particular User, means those elements of the Construction Works to be undertaken other than on the Offshore Transmission System as defined in its Construction Agreement; |  |
| “Onshore Transmission Reinforcement Works” |  | - in relation to a particular User, as defined in its Construction Agreement; |  |
| "Operating Agreement(s)" |  | the operating agreements or arrangements identified in the Bilateral Connection Agreement between The Company and the Interconnector Owner of the relevant Interconnector and made between either The Company and the relevant Interconnector Owner and/or The Company and the relevant Interconnected System Operator; |  |
| "Operating Code" or "OC" |  | the portion of the Grid Code which is identified as the Operating Code; |  |
| "Operation Diagrams" |  | as defined in the Grid Code; |  |
| "Operational" |  | in relation to a Connection Site means that the same has been Commissioned (which for the avoidance of doubt does not necessarily include commissioning of Generating Units connected at the Connection Site) and that the User can use such User's Equipment to undertake those acts and things capable of being undertaken by BSC Parties and in relation to a Transmission Interface Site means, in the case of OTSDUW Build, that the same has been Commissioned and that the User can use the OTSUA; |  |
| "Operational Date" |  | the date on which The Company issues the Operational Notification; |  |
| "Operational Effect" |  | any effect on the operation of any System which causes that System to operate (or be at a materially increased risk of operating) differently to the way in which it would have normally operated in the absence of that effect; |  |
| "Operational Intertripping" |  | the automatic tripping of circuit breakers to prevent abnormal system conditions occurring, such as over voltage, overload, system instability etc. after the tripping of other circuit breakers following power system fault(s) which includes System to Power Station and System to Demand intertripping schemes; |  |
| "Operational Metering Equipment" |  | meters, instrument transformers (both voltage and current), transducers, metering protection equipment including alarms circuitry and their associated outstations as may be necessary for the purpose of CC.6.5.6 of the Grid Code and the corresponding provision of the relevant Distribution Code; |  |
| "Operational Notification" |  | the notice of that name given to the User by The Company under Paragraphs 1.5.5 or 3.2.6 as appropriate; |  |
| "Original Party" |  | as defined in the CUSC Framework Agreement; |  |
| “Original Red Line Boundary” |  | the red line boundary provided (a) with a Gate 2 Application or (b) EA Request in accordance with the Gate 2 Criteria Methodology; |  |
| “Original Red Line Boundary Reduction Clause” |  | the clause introduced to Schedule 2 Exhibit 3 and 3A under CMP434 and in the context of directly connected parties only to address the consequences of non-compliance with the ongoing obligations in respect of the Original Red Line Boundary under the Queue Management Process; |  |
| “OTCF Project Floor” |  | the £ value calculated in Part Six of the User Commitment Methodology for each project applied as both a floor to the Cancellation Charge and as a floor to the Cancellation Charge Secured Amount where the OTCF Technology Floor has been activated. |  |
| “OTCF Technology Activation Date” |  | the date set out by The Company in an OTCF Technology Determination Notice. When the OTCF Technology Activation Date is set, then the OTCF Technology Deactivation Date will be unset; |  |
| “OTCF Technology Deactivation Date” |  | the date set out by The Company in an OTCF Technology Determination Notice, When the OTCF Technology Deactivation Date is set the OTCF Technology Activation Date will be unset; |  |
| “OTCF Technology Determination Notice” |  | the notice issued by The Company in accordance with Part Six of the User Commitment Methodology; |  |
| “OTCF Technology Floor” |  | the value calculated in Part Six of the User Commitment Methodology; for each technology from which the OTCF Project Floor is calculated. |  |
| “OTCF Technology Oversubscription Change” |  | the percentage difference between the OTCF Technology Oversubscription Value in two consecutive periods calculated in accordance with Part Six of the User Commitment Methodology. |  |
| “OTCF Technology Oversubscription Value” |  | calculated in accordance with Part Six of the User Commitment Methodology; |  |
| “OTCF Technology Queue” |  | the aggregated Transmission Entry Capacity, Developer Capacity and Interconnector User Commitment Capacity connected or waiting to connect to the Distribution System and National Electricity Transmission System for a given technology. This is the sum of such capacity which is Operational, within the Gate 2 Agreements, Gate 2 Offers which are still within the Offer Acceptance Period, and all for projects which have met the Gate 2 Criteria following a Gated Application Window but in respect of which an Offer has not yet been issued. |  |
| "Other Dispute" |  | as defined in Paragraph 7.2.3; |  |
| "Other Party" |  | as defined in Paragraph 7.5.1; |  |
| "Other User" |  | as defined in Paragraph 6.10.3; |  |
| "OTSDUW Arrangements" |  | the arrangements whereby (a) OTSDUW Build or (b) the design, planning and consenting of assets that are to comprise an Offshore Transmission System are capable of being undertaken by a User; |  |
| “OTSDUW Build” |  | the design, planning, consenting, construction, installation and commissioning by (or on behalf of) a User of OTSUA which forms an Offshore Transmission System which at the OTSUA Transfer Time will be owned by an Offshore Transmission Licensee; |  |
| “OTSDUW Staged Build” |  | OTSDUW Build that is to be undertaken by the User in stages but which is part of a single Qualifying Project; |  |
| “OTSUA Commissioning Period” |  | has the meaning given to commissioning period in Section 6G(1) of the Act; |  |
| “OTSUA Commissioning Period Effective Date” |  | the date upon which, in accordance with the modification issued by the Authority to The Company pursuant to Section 6H of the Act, the amendments to the CUSC as provided for in such modification take effect; |  |
| “OTSUA Completion Notice” |  | the notice to be issued by The Company to the Authority in respect of OTSUA or OTSUA Operational at the OTSUA Commissioning Period Effective Date, in accordance with condition D4 of the ESO Licence and Section 6G of the Act; |  |
| “OTSUA Completion Notice Trigger Date” |  | means: ##### a) other than in the case of OTSDUW Staged Build, the date upon which The Company, having already issued the Energisation Operational Notification and Interim Operational Notification Part A, issues the Interim Operational Notification Part B to the User; and ##### in the case of OTSDUW Staged Build, the date upon which, by reference to the last stage of OTSDUW Build, The Company, having already issued the Energisation Operational Notification and Interim Operational Notification Part A, issues the Interim Operational Notification Part B for such stage to the User provided that all such documentation has already been issued in respect of all earlier stages of the OTSDUW Staged Build. |  |
| “OTSUA Operational at the OTSUA Commissioning Period Effective Date” |  | means OTSUA in respect of which: ##### a) other than in the case of OTSDUW Staged Build, The Company, has already issued the Energisation Operational Notification and Interim Operational Notification to the User (recognising that they may be in different form but where they achieve the same effect as the Interim Operational Part A and Interim Operation Notification Part B); and ##### b) in the case of OTSDUW Staged Build, the date, by reference to the last stage of OTSDUW Build, The Company, has already issued the Energisation Operational Notification and Interim Operational Notification to the User (recognising that they may be in different form but where they achieve the same effect as the Interim Operational Part A and Interim Operation Notification Part B) provided that such documentation has already been issued in respect of all earlier stages of the OTSDUW Staged Build, on or before the OTSUA Commissioning Period Effective Date and where the OTSUA Transfer Time has not occurred at the OTSUA Commissioning Period Effective Date; |  |
| "OTSUA Transfer Time" |  | the time and date at which the OTSUA are transferred by the relevant User to an Offshore Transmission Licensee; |  |
| "Output" |  | the actual Active Power or Reactive Power output achieved by a BM Unit; |  |
| "Output Useable" |  | shall have the meaning given to that term in the Grid Code; |  |
| “Oversubscribed Technologies Commitment Fee” or “OTCF” |  | the component of the Cancellation Charge and Cancellation Charge Secured Amount in respect of the OTCF Project Floor which applies from the OTCF Technology Activation Date as more particularly described in Parts One, Two and Six of the User Commitment Methodology; |  |
| "Panel Chairperson" |  | a person appointed as such in accordance with Paragraph 8.4.1; |  |
| "Panel Member" |  | any of the persons listed in Paragraph 8.3.1(b); |  |
| "Panel Member Interim Vacancies" |  | as defined in Paragraph 8A.4.3.3; |  |
| “Panel Members’ Recommendation” |  | the recommendation in accordance with the CUSC Modifications Panel Recommendation Vote; |  |
| "Panel Secretary" |  | a person appointed as such in accordance with Paragraph 8.3.1(c); |  |
| "Part 1 System Ancillary Services" |  | as defined in Grid Code CC 8.1; |  |
| "Part 2 System Ancillary Services" |  | as defined in Grid Code CC 8.1; |  |
| "Partial Shutdown " |  | as defined in the Grid Code; |  |
| "Party Liable" |  | as defined in Paragraph 6.12.1; |  |
| "Payment Date" |  | as defined in the Balancing and Settlement Code; |  |
| "Payment Record Sum" |  | the proportion of the Unsecured Credit Cover extended by The Company to a User who does meeting the Approved Credit Rating calculated in accordance with Paragraph 3.26.4 and 3.26.5; |  |
| “PCF Activation Date” |  | the date set out by The Company in a PCF Determination Notice, which must be not less than three months following a determination by the Authority under Paragraph 2.4 of Part Five of the User Commitment Methodology or, where there is no such determination, not less than three months following the end of the period set out in that Paragraph 2.4; |  |
| “PCF Activation Metric” |  | the cumulative total (in MW) of Transmission Entry Capacity, Developer Capacity and Interconnector User Commitment Capacity where Relevant Construction Agreements between it and The Company: (a) were terminated (by The Company) due to a failure by the User to meet Milestone 1; or (b) had Transmission Entry Capacity or Interconnector User Commitment Capacity reduced (by The Company) due to a failure by the User to meet Milestone 1; or (c) were terminated as a result of termination (by the owner/operator of a Distribution System) of a related Distribution Connection Agreement due to a failure by the developer to meet Milestone 1; or (d) had Developer Capacity reduced as a result of termination or reduction of capacity (by the owner/operator of a Distribution System) of a related Distribution Connection Agreement due to a failure by the developer to meet Milestone 1, during the PCF Metric Period in which the calculation is undertaken; |  |
| “PCF Activation Threshold” |  | 6,500MW; |  |
| “PCF Determination Notice” |  | the notice issued by The Company in accordance with Paragraph 2.5 of Part Five of the User Commitment Methodology; |  |
| “PCF Distribution Notice Period” |  | (a) in the case of the first notification provided in accordance with Paragraph 5.5 of Part Five of the User Commitment Methodology, the period from the date of the notification provided in accordance with Paragraph 5.1 of Part Five of the User Commitment Methodology to the 14th day of the month before the notification in accordance with Paragraph 5.5; and then (b) in the case of any subsequent such notifications, the period from the 15th day of the month two months before the notification to the 14th day of the month before the notification; |  |
| “PCF Metric Period” |  | (a) the period from the date Part Five of the User Commitment Methodology takes effect until 31 December 2030; and then (b) each subsequent period of five years commencing on 1 January and ending on 31 December; |  |
| “PCF Period” |  | each six month period commencing on the 1 April or 1 October; |  |
| "Pending CUSC Modification Proposal" |  | a CUSC Modification Proposal in respect of which, at the relevant time, the Authority has not yet made a decision as to whether to direct such Proposed CUSC Modification to be made pursuant to the ESO Licence (whether or not a CUSC Modification Report has been submitted in respect of such CUSC Modification Proposal); |  |
| "Performance Bond" |  | an on first demand without proof or conditions irrevocable performance bond or performance guarantee executed as a deed in a form reasonably satisfactory to The Company but in any case allowing for partial drawings and providing for the payment to The Company on demand forthwith on and against The Company’s delivery to the issuer thereof of a Notice of Drawing of the amount demanded therein; |  |
| "Permitted Activities" |  | activities carried on for the purposes of the Main Business; |  |
| "Physical Notification" |  | as defined in the Balancing and Settlement Code; |  |
| "Planned Outage" |  | as defined in the Grid Code; |  |
| "Planning Code" or PC |  | that portion of the Grid Code which is identified as the Planning Code; |  |
| "Plant" |  | fixed and moveable items used in the generation and/or supply and/or transmission of electricity other than Apparatus; |  |
| "Pool Member" |  | as defined in the Balancing and Settlement Code; |  |
| "Pooling and Settlement Agreement" |  | as defined in the Balancing and Settlement Code; |  |
| "Power Park Module" |  | as defined in the Grid Code; |  |
| “Power Park Unit” |  | as defined in the Grid Code; |  |
| "Power Station" |  | as defined in the Grid Code; |  |
| "Practical Completion Date" |  | in relation to a particular User, as defined in its Construction Agreement; |  |
| "Preference Votes" |  | as defined in Paragraph 8A.3.2.1; |  |
| "Prescribed Rate" |  | the rate of interest set for the relevant period as the statutory interest rate for the purposes of the Late Payment of Commercial Debts (interest) Act 1998; |  |
| “Pre Trigger Amount” |  | the component of the Cancellation Charge that applies before the Trigger Date and which is more particularly described in Part Two of the User Commitment Methodology; |  |
| "Primary Response" |  | as defined in the Grid Code; |  |
| "Proceedings" |  | as defined in Paragraph 6.23.1; |  |
| “Production” |  | as defined in the Balancing and Settlement Code in relation to a Production BM Unit; |  |
| “Profiled Unmetered Supply” |  | as defined in the Balancing and Settlement Code; |  |
| "Progress Report" |  | as defined in Paragraph 8.14; |  |
| “Progression Commitment Fee” or “PCF” |  | the component of the Cancellation Charge which applies from the PCF Activation Date as more particularly described in Parts One, Two and Five of the User Commitment Methodology; |  |
| “Project” |  | in the context of Section 18 this is the User’s (or as context requires Developer’s) project which is the subject of the existing Agreements (and in the case of existing Agreements which provide for more than one existing Project in respect of Embedded Power Stations, existing Project shall be construed accordingly by reference to each existing Project); |  |
| “Project Designation Methodology” |  | the methodology developed or to be developed by The Company in accordance with the ESO Licence and approved by the Authority and published by The Company on the Website as such methodology may be revised from time; |  |
| “Project Milestone Remedy Period” |  | the period starting on the date that the Milestone Default Notice is issued and ending on the date which is 60 days from the date of issue of this notice; |  |
| "Proposed Implementation Date" |  | the proposed date(s) for the implementation of a CUSC Modification Proposal or Workgroup Alternative CUSC Modification such date(s) to be either (i) described by reference to a specified period after a direction from the Authority approving the CUSC Modification Proposal or Workgroup Alternative CUSC Modification or (ii) a Fixed Proposed Implementation Date; |  |
| "Proposer" |  | in relation to a particular CUSC Modification Proposal, the person who makes such CUSC Modification Proposal; |  |
| "Protected Information" |  | any information relating to the affairs of a CUSC Party which is furnished to Business Personnel pursuant to the CUSC or a Bilateral Agreement or a Mandatory Services Agreement or a Construction Agreement or pursuant to a direction under section 34 of the Act or pursuant to the provisions of the Fuel Security Code unless, prior to such information being furnished, such CUSC Party has informed the recipient thereof by notice in writing or by endorsement on such information, that the said information is not to be regarded as Protected Information; |  |
| "Provisional Statement" |  | as defined in Paragraph 4.3.2.1(a); |  |
| "Provisional Monthly Statement" |  | as defined in Paragraph 4.3.2.1; |  |
| "Provisional Adjustments Statement" |  | as defined in Paragraph 4.3.2.1(b); |  |
| "Public Distribution System Operator" |  | a holder of a Distribution Licence who was the holder, or is a successor to a company which was the holder of a Public Electricity Supply Licence relating to distribution activities in Great Britain on the CUSC Implementation Date; |  |
| "Public Electricity Supply Licence" |  | a licence issued under section 6(1)(c) of the Act prior to the coming in force of section 30 of the Utilities Act 2000; |  |
| "Qualified Bank" or "Qualifying Bank" |  | means either: - a City of London branch of a bank, its successors and assigns, which has throughout the validity period of the Performance Bond or Letter of Credit it issues in favour of The Company, a rating of at least A- in Standard and Poor’s long term debt rating or A3 in Moody’s long term debt rating provided that such bank is not during such validity period put on any credit watch or any similar credit surveillance which gives The Company reasonable cause to doubt that such bank may not be able to maintain the aforesaid rating throughout the validity period and no other event has occurred which gives The Company reasonable cause to have such doubt; or - a branch in Great Britain of a regulated insurance company, its successors and assigns, which throughout the validity period of the Performance Bond or Letter of Credit it issues in favour of The Company, is authorised or licensed to provide arrangements of this type in the United Kingdom, and has a rating of at least A- in Standard and Poor’s long term debt rating or A3 in Moody’s long term debt rating provided that such regulated insurance company is not during such validity period put on any credit watch or any similar credit surveillance which gives The Company reasonable cause to doubt that such regulated insurance company may not be able to maintain the aforesaid rating throughout the validity period and no other event has occurred which gives The Company reasonable cause to have such doubt. |  |
| "Qualified Company" or "Qualifying Company" |  | a company which is a public company or a private company within the meaning of section 1(3) of the Companies Act 1985 and which is either : (a) a shareholder of the User or any holding company of such shareholder or (b) any subsidiary of any such holding company, but only where the subsidiary (i) demonstrates to The Company’s satisfaction that it has power under its constitution to give a Performance Bond other than in respect of its subsidiary; (ii) provides an extract of the minutes of a meeting of its directors recording that the directors have duly concluded that the giving of the Performance Bond is likely to promote the success of that subsidiary for the benefit of its members; (iii) provides certified copies of the authorisation by every holding company of the subsidiary up to and including the holding company of the User, of the giving of the Performance Bond, (the expressions "holding company" and "subsidiary" having the respective meanings assigned thereto by section 736, Companies Act 1985 as supplemented by section 144(3), Companies Act 1989) and which has throughout the validity period of the Performance Bond it gives in favour of The Company, a rating of at least A- in Standard and Poor’s long term debt rating or A3 in Moody’s long term debt rating or such lesser rating which The Company may in its absolute discretion allow by prior written notice given pursuant to a resolution of its board of directors for such period and on such terms as such resolution may specify provided that such company is not during such validity period put on any credit watch or any similar credit surveillance procedure which gives The Company reasonable cause to doubt that such company may not be able to maintain the aforesaid rating throughout the validity period of the Performance Bond and no other event has occurred which gives The Company reasonable cause to have such doubt; |  |
| "Qualifying Guarantee" |  | a guarantee in favour of The Company in a form proposed by the User and agreed by The Company (whose agreement shall not be unreasonably withheld or delayed) and which is provided by (i) an entity which holds an Approved Credit Rating provided that such guarantee cannot secure a sum greater than the level of User’s Allowed Credit that would be available to that entity in accordance with Paragraph 3.26.2 if it was a User; or (ii) an entity with an Independent Credit Assessment provided that such guarantee cannot secure a sum greater than the level of User’s Allowed Credit that would be available to that entity in accordance with Paragraph 3.26.6 if it was a User; and (iii) which in either case does not, when aggregated with all other Qualifying Guarantees provided by that entity, exceed (a) the level of User’s Allowed Credit that would be available to that entity in accordance with Paragraph 3.26 if it was a User or (b) if the entity is a User the level of User’s Allowed Credit available to it in accordance with Paragraph 3.26 less any amount relied on by the User in respect of its own requirements. |  |
| “Qualifying Project” |  | has the meaning ascribed to it in the Act; |  |
| “Queue Management Guidance” |  | the guidance on the Queue Management Process (as it may be amended from time to time) published by The Company on the Website; |  |
| “Queue Management Process” |  |  | the process as set out in CUSC Section 16 to measure and provide a status (“On Track” or “Termination” as set out within that process) of the progress of a User’s project against the User Progression Milestones; |
| "Rated MW" |  |  | as defined in the Grid Code; |
| "Reactive Despatch Instruction" |  |  | an instruction relating to Reactive Power given by The Company to a Generator in accordance with Grid Code BC2; |
| “Reactive Despatch to Zero Mvar Network Restriction” |  |  | as defined in the Grid Code; |
| "Reactive Energy" |  |  | as defined in the Balancing and Settlement Code; |
| "Reactive Power" |  |  | the product of voltage and current and the sine of the phase angle between them measured in units of voltamperes reactive and standard multiples thereof i.e.:- 1000 Var = 1Kvar 1000 Kvar = 1Mvar; |
| "Reactive Test" |  |  | a test conducted pursuant to Grid Code OC 5.5.1; |
| “Readiness Declaration” |  |  | the declaration provided with a Gate 2 Application or EA Request in the form and with the detail as required in accordance with the Gate 2 Criteria Methodology; |
| "Reasonable Charges" |  |  | reasonable cost reflective charges comparable to charges for similar services obtainable in the open market; |
| "Reconciled Charge" |  |  | as defined in Paragraph 3.15.1 and like terms shall be construed accordingly; |
| “Reconciliation Settlement Run” |  |  | as defined in the Balancing and Settlement Code; |
| "Reenergisation" or "Reenergised" |  |  | any Energisation after a Deenergisation; |
| "Registered Capacity" |  |  | has the meaning given in the Grid Code; |
| "Registered Data" |  |  | those items of Standard Planning Data and Detailed Planning Data which upon connection become fixed (subject to any subsequent changes); |
| "Registrant" |  |  | as defined in the Balancing and Settlement Code; |
| "Regulations" |  |  | the Electricity Supply Regulations 1988 or any amendment or re-enactment thereof; |
| "Rejected CUSC Modification Proposal" |  |  | a CUSC Modification Proposal in respect of which the Authority has decided not to direct The Company to modify the Code pursuant to the ESO Licence in the manner set out herein; |
| “Related Person” |  |  | in relation to an individual, any member of their immediate family, their employer (and any former employer of theirs within the previous 12 months), any partner with whom they are in partnership, and any company or Affiliate of a company in which they or any member of their immediate family controls more than 20% of the voting rights in respect of the shares of the company; |
| "Related Undertaking" |  |  | in relation to The Company (and for the purposes of Paragraph 6.15, a User) means any undertaking in which The Company has a participating interest as defined by section 260(1) of the Companies Act 1985 as substituted by section 22 of the Companies Act 1989; |
| "Release Date" |  |  | as defined in Paragraph 2.22.2; |
| “Relevant Construction Agreement” |  |  | a Construction Agreement in relation to which the Cancellation Charge is payable in accordance with the User Commitment Methodology; |
| “Relevant Contract” |  |  | has the meaning given to that term in section 6BA of the Act; |
| “Relevant Embedded Power Station” |  |  | a Relevant Embedded Small Power Station or a Relevant Embedded Medium Power Station; |
| "Relevant Embedded Medium Power Station" |  |  | an Embedded Medium Power Station which is an Exempt Power Station; |
| # "Relevant Embedded Small Power Station" |  |  | an Embedded Small Power Station that the User who owns or operates the Distribution System to which the Embedded Small Power Station intends to connect reasonably believes may have a significant system effect on the National Electricity Transmission System.; |
| "Relevant Interruption" |  |  | an Interruption other than an Allowed Interruption; |
| “Relevant Offshore Agreement” |  |  | as defined in the Transmission Licence; |
| “Relevant Party” |  |  | as defined in Paragraph 8.16.10(a); |
| "Relevant Transmission Licensee" |  |  | in respect of the Onshore Transmission System each Onshore Transmission Licensee in respect of its part of the Onshore Transmission System and in respect of each Offshore Transmission System the Offshore Transmission Licensee for that Offshore Transmission System; |
| "Remote Transmission Assets" |  |  | any Plant and Apparatus or meters owned by NGET which (a) are embedded in a Distribution System or a User System and which are not directly connected by Plant and/or Apparatus owned by NGET to a sub-station owned by NGET and (b) are by agreement between NGET and such Public Distribution System Operator or User under the direction and control of such Public Distribution System Operator or User; |
| "Replacement Period" |  |  | in relation to a Transmission Connection Asset, the period commencing on the date on which such Transmission Connection Asset is or was originally Commissioned, after which it is assumed for accounting purposes such Transmission Connection Asset will need to be replaced, which shall be 40 years except (a) in the case of Transmission Connection Assets located Offshore where it shall be 20 years, or (b) unless otherwise agreed between the CUSC Parties to a Bilateral Agreement and recorded in the relevant Bilateral Agreement; |
| "Reported Period(s) of Increase" |  |  | the period of time during which a User’s Demand and/or FDSC and/or Unmetered Supply Volume increased not being more than 20 Business Days, as notified to The Company under paragraph 3.23.7, paragraph 3.23.8 or paragraph 3.23.8A; |
| "Request for a STTEC Authorisation" |  |  | a request made by a User in accordance with the terms Paragraph 6.31 for Short Term Capacity for a STTEC Period; |
| "Requested LDTEC" |  |  | the figure in MW for the LDTEC Period (not exceeding the maximum level in the LDTEC Request) specified in the User’s acceptance of the LDTEC Indicative Block Offer in accordance with paragraph 6.32.6.5; |
| "Required Amount" |  |  | as defined in Paragraph 2.21.2(c); |
| "Required Sovereign Credit Rating" |  |  | a long term debt rating of not less than A by Standard and Poor’s Corporation or a rating not less than A2 by Moody’s Investor Services or a short term rating which correlates to those long term ratings or an equivalent rating from any other reputable credit agency approved by The Company in respect of non local currency obligations; |
| "Required Standard" |  |  | in relation to an item of Derogated Plant, the respective standard required of that item (which shall not exceed that required by the Grid Code or the Licence Standards, as the case may be) as specified in or pursuant to the relevant Derogation; |
| "Requirements" |  |  | shall mean an entity who throughout the validity period of the Bilateral Insurance Policy, Insurance Performance Bond or Independent Security Arrangement: - holds a rating of at least A- in Standard and Poor’s long term debt rating or A3 in Moody’s long term debt rating provided that such entity is not during such validity period put on any credit watch or any similar credit surveillance which gives The Company reasonable cause to doubt that such entity may not be able to retain the aforesaid rating throughout the validity period; and - the country of residence of such entity meets the Required Sovereign Credit Rating; and - the security provided is Enforceable; and - there are no material conditions preventing the exercise by The Company of its rights under the Bilateral Insurance Policy, Insurance Performance Bond or Independent Security Arrangement; |
| “Reservation” |  |  | where for the purposes of a Gate 1 Offer or Gate 1 ATV for a New Connection Site or new Large Embedded Power Station with a BEGA or BELLA as appropriate a connection point to and/or capacity on the National Electricity Transmission System and/or a completion date for that New Connection Site or new Large Embedded Power Station with a BEGA or BELLA is reserved by The Company (and reference to Reservation and Reserved in any Gate 1 Agreements shall be construed accordingly); |
| "Residual Charging Group” |  |  | a group of Final Demand Sites or Unmetered Supplies with similar connection characteristics for which Charging Bands may or may not be set for the purposes of recovering the revenue related to the Transmission Demand Residual. The list of Residual Charging Groups are; - Domestic, - Low Voltage No Maximum Import Capacity (LV No MIC), - Low Voltage with Maximum Import Capacity (LV MIC), - High Voltage (HV), - Extra High Voltage (EHV), - Transmission - Unmetered Supplies (UMS); |
| "Resigning Alternate Member" |  |  | as defined in Paragraph 8A.4.1.3; |
| "Resigning Panel Member" |  |  | as defined in Paragraph 8A.4.1; |
| "Response" |  |  | Primary Response, Secondary Response and High Frequency Response or any of them as the case may be; |
| "Response Energy Payment" |  |  | that component of the payment for Mode A Frequency Response calculated in accordance with Paragraph 4.1.3.9A; |
| "Restricted Export Level Payment" |  |  | in respect of each Restricted Export Level Period, the payment for each day comprised within the Restricted Export Level Period or (where the Restricted Export Level Period starts or ends during a day) part of a day calculated as follows: The higher of: A. the £ per MW calculated by reference to the total TNUoS income derived from generators divided by the total system Transmission Entry Capacity, in each case using figures for the Financial Year prior to that in which the System to Generator Operational Intertripping Scheme trips, this is then divided by 365 to give a daily £ per MW rate; or B. the actual £ per MW of the User (who requests in accordance with Clause 4.2A.4) by reference to the tariff in the Use of System Charging Statement for the Financial Year in which the System to Generator Operational Intertripping Scheme trips divided by 365 to give a daily £ per MW rate. A or B are then multiplied by: the MW arrived at after deducting from the Transmission Entry Capacity for the Connection Site the Restricted MW Export Level; |
| "Restricted Export Level Period" |  |  | as defined in Paragraph 4.2A.4(b)(ii); |
| "Restricted MW Export Level" |  |  | as defined in Paragraph 4.2A.2.1(c)(i); |
| "Restrictions on Availability" |  |  | is, in the context of a Design Variation or an Offshore Connection, the outage or reduction in capability as set out in the relevant Notification of Restrictions on Availability; |
| "Retail Price Index" |  |  | the general index of retail prices published by the Office for National Statistics each month in respect of all items or: (a) if the said index for any month in any year shall not have been published on or before the last day of the third month after such month such index for such month or months as the parties hereto agree produces as nearly as possible the same result shall be substituted or in default of the parties reaching agreement within six weeks after the last day of such three month period then as determined by a sole Chartered Accountant appointed by agreement by both parties or in the absence of agreement on the application of either party by the President of the London Court of International Arbitration who shall act as an expert and whose decision shall be final and binding on the parties; or (b) if there is a material change in the basis of the said index, such other index as the parties agree produces as nearly as possible the same result shall be substituted or in default of the parties reaching agreement within six weeks after the occurrence of the material change in the basis of the said index then as determined by the sole Chartered Accountant appointed by agreement by both parties or in the absence of agreement on the application of either party by the President of the London Court of International Arbitration who shall act as an expert and whose decision shall be final and binding on the parties; |
| "Revised Indicative Annual HH TNUoS charge" |  |  | the value calculated in accordance with Appendix 2 paragraph 5; |
| "Revised Indicative Annual NHH TNUoS charge" |  |  | the value calculated in accordance with Appendix 2 paragraph 8; |
| “Revised Proposed Implementation Date” |  |  | the revision to a Fixed Proposed Implementation Date recommended to the Authority by the CUSC Modifications Panel pursuant to CUSC Paragraph 8.23.9.4; |
| "Safety Coordinator(s)" |  |  | a person or persons nominated by the Relevant Transmission Licensee and each User in relation to Connection Points (or in the case of OTSUA operational prior to the OTSUA Transfer Time, Transmission Interface Points) to be responsible for the co-ordination of Safety Precautions (as defined in the Grid Code) at each Connection Point when work and/or testing is to be carried out on a system which necessitates the provision of Safety Precautions on HV Apparatus, pursuant to OC8; |
| "Safety Rules" |  |  | the rules of a Relevant Transmission Licensee or a User that seek to ensure that persons working on Plant and/or Apparatus to which the rules apply are safeguarded from hazards arising from the System; |
| "Second Offer" |  |  | as defined in Paragraph 6.10.4; |
| “Secondary BM Unit” |  |  | as defined in the Balancing and Settlement Code |
| "Secondary Response" |  |  | as defined in the Grid Code; |
| "Secretary of State" |  |  | has the meaning given to that term in the Act; |
| "Secured Amount Statement" |  |  | a statement accompanying the Bi-annual Estimate setting out the amount to be secured by the User under Paragraph 2.21 based on figures contained in the Bi-annual Estimate being the amount for which security shall be provided to The Company pursuant to that Paragraph such statement to be substantially in the form set out in Exhibit M to the CUSC; |
| "Secured Event" |  |  | as defined in the Grid Code; |
| "Security Amendment" |  |  | the Proposed Amendment in respect of Amendment Proposal 089\090\091; |
| "Security Amendment Implementation Date" |  |  | the Implementation Date of the Security Amendment; |
| "Security Amount" |  |  | in respect of the User the aggregate of available amounts of each outstanding (a) Letter of Credit, (b) Qualifying Guarantee and (c) the principal amount (if any) of cash that the User has paid to the credit of the Escrow Account (and which has not been repaid to the User); for the purpose of this definition, in relation to a Letter of Credit or Qualifying Guarantee "available amount" means the face amount thereof less (i) payments already made thereunder and (ii) claims made thereunder but not yet paid; |
| "Security Cover" |  |  | for each User, the User’s Security Requirement less the User’s Allowed Credit; |
| "Security Period" |  |  | the First Security Period and each 6 month period thereafter commencing on the 1 April or 1 October until 30 days after the relevant Charging Date; |
| "Security and Quality of Supply Standard" |  |  | as defined in the Grid Code; |
| "Security Requirement" |  |  | the aggregate amount for the time being which the User shall be required by The Company to provide and maintain by way of Security Cover and its User’s Allowed Credit in accordance with Paragraph 3.22; |
| “Security Standard” |  |  | the Security and Quality of Supply Standard; |
| “Self-Governance Criteria” |  |  | a CUSC Modification Proposal that, if implemented, (a) is unlikely to have a material effect on: (i) existing or future electricity consumers; and (ii) competition in the generation, distribution, or supply of electricity or any commercial activities connected with the generation, distribution or supply of electricity; and (iii) the operation of the National Electricity Transmission System; and (iv) matters relating to sustainable development, safety or security of supply, or the management of market or network emergencies; and (v) the CUSC’s governance procedures or the CUSC’s modification procedures, and (b) is unlikely to discriminate between different classes of CUSC Parties; c) other than where the modification meets the Fast Track Criteria will not constitute an EBR Amendment. |
| “Self-Governance Statement” |  |  | the statement made by the CUSC Modifications Panel and submitted to the Authority: (a) confirming that, in its opinion, the Self-Governance Criteria are met and the CUSC Modification Proposal is suitable for the self-governance route; and (b) providing a detailed explanation of the CUSC Modification Panel’s reasons for that opinion; |
| "Separate Business" |  |  | the Transmission Business taken separately from any other business of The Company, but so that where all or any part of such business is carried out by an Affiliate or Related Undertaking of The Company such part of the business as is carried out by that Affiliate or Related Undertaking shall be consolidated with any other such business of The Company (and of any other Affiliate or Related Undertaking) so as to form a single Separate Business; |
| "Settlement Administration Agent (SAA)" |  |  | as defined in the Balancing and Settlement Code; |
| "Settlement Day" |  |  | as defined in the Balancing and Settlement Code; |
| "Settlement Period" |  |  | as defined in the Balancing and Settlement Code; |
| "Settlement Run" |  |  | as defined in the Balancing and Settlement Code; |
| “Shortfall Action Threshold Amount” |  |  | the amount as notified by the Authority to The Company from time to time; |
| “Shortfall Application Date” |  |  | shall mean, as appropriate: (a) the date by which the User has issued and served court proceedings on the Developer for the recovery of the Cancellation Charge Shortfall; or (b) the date by which the User has instigated Insolvency Proceedings against the Developer for the recovery of the Cancellation Charge Shortfall; or (c) where the Developer is the subject of Insolvency Proceedings instigated other than by the User, the date by which the User has submitted its claim for the Cancellation Charge Shortfall under these; or 2. such date (being an alternative to the dates in 1 above) as approved by the Authority following a request from the User; or 3. where the Cancellation Charge Shortfall is less than the Shortfall Action Threshold Amount and the User has undertaken all preparatory steps necessary to undertake the activity in 1 above; the date which is 30 days (or the first Business Day following this) from the date of payment of the Cancellation Charge by the User; |
| "Short Term Capacity" |  |  | the right to export on to the National Electricity Transmission System power in accordance with the provisions of CUSC; |
| “Significant Code Review” |  |  | a review of one or more matters which the Authority considers is likely to: (a) relate to the CUSC (either on its own or in conjunction with other Industry Codes); and (b) be of particular significance in relation to its principal objective and/or general duties (under section 3A of the Act), statutory functions and/or relevant obligations arising under Assimilated Law, and concerning which the Authority has issued a notice to the CUSC Parties (among others, as appropriate) stating: (i) that the review will constitute a significant code review; (ii) the start date of the significant code review; and (iii) the matters that will fall within the scope of the review; |
| “Significant Code Review Phase” |  |  | the period commencing either: - on the start date of a Significant Code Review as stated in the noticed issued by the Authority; or - on the date the Authority makes a direction under Paragraph 8.17C (a “Backstop Direction”) and ending either: - (a) on the date on which the Authority issues a statement that no directions will be issued in relation to the CUSC; or - (b) If no statement is made under Paragraph 8.17.11 or 8.17.6A, on the date which The Company has made a CUSC Modification Proposal in accordance with Paragraph 8.17.6, or the Authority makes a modification proposal in respect of a Significant Code Review under Paragraph 8.17A.1: or (c) Immediately, if neither a statement, a modification proposal nor directions are made by the Authority up to and including twenty eight (28) days from the Authority’s publication of its Significant Code Review conclusions; or (d) if a statement has been made under Paragraph 8.17.6A or a direction has been made under Paragraph 8.17C (a “Backstop Direction”), on the date specified in accordance with Paragraph 8.17.6A. |
| “Single Site” |  |  | Shall mean either; - For Users with a Bilateral Connection Agreement, the Connection Site as defined in the Bilateral Connection Agreement, or - For all other parties, as defined as ‘Single Site’ in the DCUSA |
| "Site Common Drawings" |  |  | as defined in the Grid Code; |
| “Site Load” |  |  | the sum of the BM Unit Metered Volumes (QMij), expressed as a positive number, of BM Units within the Trading Unit with QMi less than zero during the three Settlement Periods of the Triad (i.e. ∑QMij where QMij<0), which may comprise Station Load and Additional Load; |
| "Site Responsibility Schedule" |  |  | a schedule containing the information and prepared on the basis of the provisions set out in Appendix 1 of the CC; |
| "Site Specific Maintenance Charge" |  |  | the element of the Connection Charges relating to maintenance and repair calculated in accordance with the Connection Charging Methodology; |
| "Site Specific Requirements" |  |  | those requirements reasonably required by The Company in accordance with the Grid Code at the site of connection of a Relevant Embedded Power Station; |
| "Small Independent Generating Plant" |  |  | a Medium Power Station; |
| “Small Participant” |  |  | (a) a generator, supplier, distributor, or new entrants to the electricity market in Great Britain that can demonstrate to the Code Administrator that it is resource-constrained and, therefore in particular need of assistance; (b) any other participant or class of participant that the Code Administrator considers to be in particular need of assistance; and (c) a participant or class of participant that the Authority has notified to the Code Administrator as being in particular need of assistance; |
| "Small Power Station" |  |  | as defined in the Grid Code; |
| "Small Power Station Trading Party" |  |  | a Trading Party trading on behalf of one or more Small Power Stations whether owned by the Trading Party or another person; |
| "SMRS" |  |  | as defined in the Balancing and Settlement Code; |
| “Sole Trading Unit” |  |  | as defined in the Balancing and Settlement Code; |
| “Standard CUSC Modification Proposal” |  |  | a CUSC Modification Proposal that does not fall within the scope of a Significant Code Review subject to any direction by the Authority pursuant to Paragraphs 8.17.3 and 8.17.4, nor meets the Self-Governance Criteria subject to any direction by the Authority pursuant to Paragraph 8.25.4 and in accordance with any direction under Paragraph 8.25.2; |
| "Statement of the Connection Charging Methodology" |  |  | the statement produced pursuant to and in accordance with condition E11 of the ESO Licence, as modified from time to time; |
| "Statement of Use of System Charges" |  |  | the statement produced pursuant to and in accordance with condition E10 of the ESO Licence, as modified from time to time; |
| "Statement of the Use of System Charging Methodology" |  |  | the statement produced pursuant to condition E10 of the ESO Licence, as modified from time to time; |
| "Station Demand" |  |  | in respect of any generating station and Generator, means that consumption of electricity (excluding any supply to any Customer of the relevant Generator who is neither such Generator nor a member of a qualifying group of which such Generator is a part) from the National Electricity Transmission System or a Distribution System at premises on the same site as such generating station, with premises being treated as on the same site as each other if they are: (i) the same premises; (ii) immediately adjoining each other; (iii) separated from each other only by road, railway or watercourse or by other premises (other than a pipe-line, electric line or similar structure) occupied by the consumer in question or by any other person who together with that consumer forms a qualifying group; and for the purpose of this definition "generating station" and "qualifying group" shall have the meanings given those expressions when used in the Electricity (Class Exemptions from the Requirement for a Licence) Order 1990; |
| “Station Load” |  |  | the Station Load is equal to the sum of the demand of BM Units solely comprising the Station Transformers within the Power Station. For the avoidance of doubt, Station Load excludes BM Units comprising Additional Load; |
| "Station Transformer" |  |  | has the meaning given in the Grid Code; |
| "Steam Unit" |  |  | a Generating Unit whose prime mover converts the heat energy in steam to mechanical energy; |
| "STC" |  |  | the System Operator - Transmission Owner Code entered into by The Company pursuant to the ESO Licence and by Transmission Licensees pursuant to the Transmission Licence respectively, and as from time to time revised in accordance with these Licences; |
| “Storage Facility Operator” |  |  | is a User or other entity who is responsible for the operation of an Electricity Storage Facility |
| “Storage Tariff” |  |  | the Transmission Network Use of System charge of that name as published by the Company in the Statement of Use of System Charges |
| "STTEC" |  |  | the figure in MW (if any) for the STTEC Period granted by The Company in accordance with Paragraph 6.31 of the CUSC and specified as such in Appendix C of the relevant Bilateral Connection Agreement or Bilateral Embedded Generation Agreement; |
| "STTEC Authorisation" |  |  | the authorisation notified by The Company for Short Term Capacity in accordance with the terms of Paragraph 6.3.1.6.1 in response to a Request for a STTEC Authorisation; |
| "STTEC Charge" |  |  | being a component of the Use of System Charges which is made or levied by The Company and to be paid by the User for STTEC calculated in accordance with the Charging Statements; |
| "STTEC Offer" |  |  | an offer made by The Company for Short Term Capacity in accordance with the terms of Paragraphs 6.31.6.2 and 6.31.6.3 in response to an Application for a STTEC Offer; |
| "STTEC Period" |  |  | in the case of a STTEC Authorisation, a period of 28 days commencing on a Monday at 00.00 hours and finishing at 23.59 on a Sunday. In the case of a STTEC Offer, a period of either 28, 35, or 42 days (as specified by the User in its STTEC Request Form) commencing on a Monday at 0.00 hours and finishing at 23.59 on a Sunday; |
| "STTEC Request" |  |  | either a Request for a STTEC Authorisation or an Application for a STTEC Offer; |
| "STTEC Request Fee" |  |  | the non-refundable fee to be paid by the User to The Company as detailed in the Charging Statements; |
| "STTEC Request Form" |  |  | the form set out in Exhibit P to the CUSC; |
| "Subsidiary" |  |  | has the meaning given to that term in section 736A of the Companies Act 1985; |
| "Supplemental Agreement" |  |  | an agreement entered into pursuant to clause 2 of the MCUSA; |
| "Supplier" |  |  | a person who holds a Supply Licence; |
| "Supply Agreement" |  |  | an agreement between a Non-Embedded Customer and a Supplier for the supply of electricity to the Non-Embedded Customer’s Connection Site; |
| “Supplier Half Hourly Demand” |  |  | BM Unit Metered Volumes (QMij) expressed as a positive number (i.e. ∑QMij) of the Trading Unit during the three Settlement Periods of the Triad due to half-hourly metered imports; |
| "Supply Licence" |  |  | a licence granted under section 6(1)(d) of the Act; |
| “Supplier Non Half-Hourly Demand” |  |  | BM Metered Volumes (QMij) expressed as a positive number (i.e.∑QMij) of the Trading Unit over the charging year between Settlement Periods 33 to 38 due to Non-half-hourly metered imports; |
| “Supplier Volume Allocation” |  |  | as defined in the Balancing and Settlement Code; |
| “Supplier Voting Sub-Group” |  |  | all User(s) in a Voting Group who are Suppliers; |
| “SVA Storage Facility” |  |  | is an Electricity Storage Facility that: - performs Electricity Storage as its sole function; - is operated by a Storage Facility Operator - has its imports and exports, measured only by Half Hourly Metering Systems which are registered in the Supplier Meter Registration Service (SMRS) as part of a Supplier BM Unit, and where those Half Hourly Metering Systems only measure activities necessary for performing Electricity Storage; and - is the subject of a valid Declaration. |
| "Synchronous Compensation" |  |  | the operation of rotating synchronous apparatus for the specific purpose of either generation or absorption of Reactive Power; |
| "Synchronised" |  |  | the condition where an incoming BM Unit or CCGT Unit or System is connected to the busbars of another System so that the Frequencies and phase relationships of that BM Unit or CCGT Unit or the System, as the case may be, and the System to which it is connected are identical; |
| "System Ancillary Services" |  |  | Mandatory Ancillary Services and Part 2 System Ancillary Services; |
| "System" |  |  | any User System or the National Electricity Transmission System as the case may be; |
| “System Restoration” |  |  | as defined in the Grid Code; |
| "System to Generator Operational Intertripping" |  |  | as defined in the Grid Code; |
| "System to Generator Operational Intertripping Scheme" |  |  | as defined in the Grid Code; |
| "Target Frequency" |  |  | the Frequency determined by The Company in its reasonable opinion as the desired operating Frequency of the Total System. This will normally be 50.00 Hz plus or minus 0.05 Hz, except in exceptional circumstances as determined by The Company in its reasonable opinion. An example of exceptional circumstances may be difficulties caused in operating the System during disputes affecting fuel supplies; |
| “Technology Maximum Allowed Capacity”; the total (MW) capacity of generation planned for a given technology (or interconnector (MW) capacity) nationally, based on the information contained in the CP30 Action Plan and / or the SSEP, as defined in the Connection Network Design Methodology, and as determined at the Companies discretion from time to time by The Company and published on its Website;. | the maximum of the relevant technology specific capacity range used for the purpose of calculating the Permitted Capacity as defined in the Connections Network Design Methodology |
| "TEC Increase Request" |  |  | a request for an increase in Transmission Entry Capacity pursuant to CUSC paragraph 6.30.2; |
| "TEC Register" |  |  | the register set up by The Company pursuant to Paragraph 6.30.3.1; |
| "TEC Trade" |  |  | a trade between parties of their respective Transmission Entry Capacity; |
| "Tendered Capability Breakpoints" |  |  | as defined in Paragraph 1.4 of Appendix 5 of Schedule 3, Part I; |
| "Temporary Donated TEC" |  |  | is the temporary MW reduction in the export rights of the Temporary TEC Exchange Donor User arising from acceptance of a Temporary TEC Exchange Offer; |
| "Temporary Received TEC" |  |  | is at any time the Temporary TEC Exchange Rate; |
| "Temporary TEC Exchange Donor User" |  |  | is a User that has jointly made a Temporary TEC Exchange Rate Request to reduce its rights to export for the duration of the Temporary TEC Exchange Period; |
| "Temporary TEC Exchange Notification of Interest Form" |  |  | is the form set out in Exhibit X to the CUSC; |
| "Temporary TEC Exchange Offer" |  |  | is an offer made by The Company for a Temporary TEC Exchange Rate in accordance with the terms of Paragraphs 6.34.4.6; |
| "Temporary TEC Exchange Period" |  |  | is a period within a Financial Year as specified in the Temporary TEC Exchange Rate Request Form being for a minimum of four weeks and commencing at 0.00 hours on a Monday and finishing at 23.59 on any given day no later than the last day of such Financial Year; |
| "Temporary TEC Exchange Rate Request Fee" |  |  | is the single fee to be paid to The Company for a Temporary TEC Exchange Rate Request as detailed in the Charging Statements; |
| "Temporary TEC Exchange Rate Request Form" |  |  | is the form set out in Exhibit W to the CUSC; |
| "Temporary TEC Exchange Rate Request" |  |  | is a joint application made by a Temporary TEC Exchange Donor User and a Temporary TEC Exchange Recipient User for a Temporary TEC Exchange Rate Offer; |
| "Temporary TEC Exchange Rate" |  |  | is a weekly profile of the additional export rights in MW available to the Temporary TEC Exchange Recipient User as a direct result of the temporary reduction in export rights in MW of the Temporary TEC Exchange Donor User; |
| "Temporary TEC Exchange Recipient User" |  |  | is a User that has jointly made a Temporary TEC Exchange Rate Request to increase its rights to export for the duration of the Temporary TEC Exchange Period; |
| "Temporary TEC Trade Exchange" |  |  | a trade made pursuant to CUSC Paragraph 6.34; |
| "Tenders" |  |  | as defined in Paragraph 3.3 of Schedule 3, Part I; |
| "Tenderers" |  |  | as defined in Paragraph 3.3 of Schedule 3, Part I; |
| "Tender Period" |  |  | as defined in Paragraph 3.3 of Schedule 3, Part I; |
| "Term" |  |  | without prejudice to the interpretation of Term in respect of Users acting in other capacities, for Users acting in respect of their Connection Sites which were not Commissioned at the Transfer Date, it means the term of the relevant Bilateral Connection Agreement commencing on the date of the Bilateral Connection Agreement and ending in accordance with Clause 9 of that agreement; |
| "Termination Amount" |  |  | in relation to a Connection Site, the amount calculated in accordance with the Charging Statements; |
| "The Company" |  |  | has the meaning given to NESO or National Energy System Operator; |
| "The Company Credit Rating" |  |  | any one of the following:- (a) a credit rating for long term debt of A- and A3 respectively as set by Standard and Poor’s or Moody’s respectively; (b) an indicative long term private credit rating of A- and A3 respectively as set by Standard and Poor’s or Moody’s as the basis of issuing senior unsecured debt; (c) a short term rating by Standard and Poor’s or Moody’s which correlates to a long term rating of A- and A3 respectively; or (d) where the User’s Licence issued under the Electricity Act 1989 requires that User to maintain a credit rating, the credit rating defined in that User’s Licence; |
| "The Company’s Engineering Charges" |  |  | the charges levied by The Company in relation to an application for connection and/or use of the National Electricity Transmission System; |
| "The Company Prescribed Level" |  |  | the forecast value of the regulatory asset value of NGET for a Financial Year as set out in the document published from time to time by Ofgem setting this out and currently know as "Ofgem’s Transmission Price Control Review of The Company – Transmission Owner Final Proposals" such values to be published on The Company Website by reference to The Company credit arrangements no later than 31 January prior to the beginning of the Financial Year to which such value relates; |
| "Third Party Claim" |  |  | as defined in Paragraph 7.5.3; |
| "Third Party Works" |  |  | in relation to a particular User those works, defined as such in its Construction Agreement; being works undertaken on assets belonging to someone other than a Relevant Transmission Licensee or the User where such works are required by The Company to enable it to provide the connection to and\or use of the National Electricity Transmission System by the User or required as a consequence of connection to and\or use of the National Electricity Transmission System by the User; |
| “TNUoS Tariff Forecast Timetable” |  |  | an annual timetable prepared and published by The Company by the end of January of each Financial Year (t) which sets out when The Company will publish updates in Financial Year (t+1) (being not less than quarterly) to the forecast of Transmission Network Use of System Charges for the Financial (t+2); |
| "Total System" |  |  | the National Electricity Transmission System and all User Systems in Great Britain and Offshore; |
| "Total System Chargeable HH Demand" |  |  | the total of all half-hourly metered Demands for which HH Charges are paid, taken over a period of time which may or may not be that to which HH Charges relate; |
| "Total System Chargeable NHH Demand" |  |  | the total of all half-hourly metered Demands for which NHH Charges are paid, taken over a period of time which may or may not be that to which NHH Charges relate; |
| "Trading Party" |  |  | as defined in the Balancing and Settlement Code; |
| "Trading Unit" |  |  | as defined in the Balancing and Settlement Code; |
| "Transfer Date" |  |  | "24.00" hours on 30th March 1990; |
| "Transfer Scheme" |  |  | schemes made under sections 65 and 66 of the Act and effected on the Transfer Date; |
| “Transitional Agreements” |  |  | those Existing Agreements which have been entered into following the Authority’s decision of 21 August 2024 on the transitional approach to offers provided for in the decision (and any subsequent extension to the time period for this approach) and which as a consequence have not been studied and so do not contain the usual detail and commitments regarding Construction Works and Construction Programme; |
| "Transmission" |  |  | when used in conjunction with another term relating to equipment, whether defined or not, that the associated term is to be read as being part of or directly associated with the National Electricity Transmission System and not of or with the User System; |
| "Transmission Business" |  |  | the authorised business of The Company or any Affiliate or Related Undertaking in the planning, development, construction and maintenance of the National Electricity Transmission System (whether or not pursuant to directions of the Secretary of State made under section 34 or 35 of the Act) and the operation of such system for the transmission of electricity, including any business in providing connections to the National Electricity Transmission System but shall not include (i) any other Separate Business or (ii) any other business (not being a Separate Business) of The Company or any Affiliate or Related Undertaking in the provision of services to or on behalf of any one or more persons; |
| “Transmission Charging Methodology Forum” |  |  | the charging methodology forum (and related arrangements) established to facilitate meetings between The Company and any other persons whose interests are materially affected by the applicable Charging Methodologies for the purpose of discussing the further development of the applicable Charging Methodologies; |
| “Transmission Circuits” |  |  | as defined in the NETS SQSS; |
| "Transmission Connection Assets" |  |  | the Transmission Plant and Transmission Apparatus necessary to connect the User's Equipment to the National Electricity Transmission System at any particular Connection Site in respect of which The Company charges Connection Charges (if any) as listed or identified in Appendix A to the Bilateral Connection Agreement relating to each such Connection Site; |
| “Transmission Demand Residual” |  |  | the total sum of annual Transmission Network Use of System revenue to be recovered through the Transmission Demand Residual Tariffs from Final Demand Sites and Unmetered Supplies only; |
| “Transmission Demand Residual Tariffs” |  |  | the £/site Transmission Network Use of System tariffs or £/kWh UMS Tariff that are levied on Final Demand Sites and Unmetered Supplies only; |
| "Transmission Connection Asset Works" |  |  | in relation to a particular User, as defined in its Construction Agreement; |
| "Transmission Entry Capacity" |  |  | the figure specified as such as set out in Appendix C of the relevant Bilateral Connection Agreement or Bilateral Embedded Generation Agreement; |
| “Transmission Evaluation” |  |  | where a Relevant Embedded Power Station with an agreement for connection to and/or for the use of a User’s Distribution System wants the User to make a Gate 2 Application in respect of its project; |
| “Transmission Evaluation Application” |  |  | an application by the owner/operator of a Distribution System for Transmission Evaluation (which application can be for one or more Relevant Embedded Power Stations) in the form or substantially the form set out in Appendix U; |
| “Transmission Impact Assessment” |  |  | a means of conducting an Evaluation of Transmission Impact as more fully described in the Bilateral Connection Agreement; |
| "Transmission Interface Point" |  |  | as defined in the Grid Code in the context of a Construction Agreement means the electrical point of connection between the Offshore Transmission System and an Onshore Transmission System as set out in the Offshore Works Assumptions; |
| "Transmission Interface Site" |  |  | the site at which the Transmission Interface Point is located; |
| “Transmission Licence(s)” |  |  | the transmission licence or licences granted to one or all of the Licensees: NGET, SP Transmission Limited, Scottish Hydro Electric Transmission Limited, any Competitively Appointed Transmission Owner and any Offshore Transmission Licensee under section 6(1)(b) of Act. References to “transmission licensee” and “transmission licensees” will be construed in the CUSC accordingly; |
| "Transmission Network Services" |  |  | as defined in the Transmission Licence; |
| “Transmission Licensees Assets” |  |  | the Plant and Apparatus owned by the Relevant Transmission Licensees necessary to connect the User's Equipment to the National Electricity Transmission System at any particular Connection Site in respect of which The Company charges Connection Charges (if any) as listed or identified in [Appendix A] to the Bilateral Agreement relating to each such Connection Site; |
| "Transmission Network Use of System Charges" |  |  | the element of Use of System Charges payable in respect of Transmission Network Services (including for the avoidance of doubt Transmission Network Use of System Demand Reconciliation Charges and ET Use of System Charges); |
| "Transmission Network Use of System Demand Charges" |  |  | that element of Transmission Network Use of System Charges relating to Demand, Final Demand Sites and Unmetered Supply; |
| "Transmission Network Use of System Demand Zone" |  |  | each of the zones identified by The Company in the Charging Statements for charging of Transmission Network Use of System Charges in relation to Demand; |
| "Transmission Network Use of System Demand Reconciliation Charges" |  |  | sums payable by the User to The Company under invoices issued to the User pursuant to Paragraph 3.12.7; |
| “Transmission Owner Activity” |  |  | the Function of the Relevant Transmission Licensees’ Transmission Business as defined in the Transmission Licences; |
| “Transmission Owner Price Index (TOPI)” |  |  | the price index adjustment method as described in Part F of Special Condition 2.1 of the Relevant Transmission Licensee’s Transmission Licence; |
| "Transmission Related Agreement" |  |  | an agreement between The Company and a User substantially in the form of Schedule 2 Exhibit 5; |
| "Transmission Services Activity" |  |  | as defined in the Transmission Licence; |
| "Transmission Services Use of System Charges" |  |  | the element of Use of System Charges payable in respect of the Transmission Services Activity; |
| "Transmission Reinforcement Works" |  |  | in relation to a particular User, as defined in its Construction Agreement or BELLA as appropriate; |
| “Transmission Voltage” |  |  | ### in Scotland voltages of 132kV and above; in England and Wales voltages above 132kV – usually 275kV and 400kV; |
| "Transmission Works Register" |  |  | ### the register set up by The Company pursuant to Paragraph 6.36.1; |
| "Transmission Works" |  |  | ### in relation to a particular User, those works which are specified in Appendix H or identified as OTSDUW in to the relevant Construction Agreement; |
| “Triad” |  |  | is used as a short hand way to describe the three Settlement Periods of highest transmission systems Demand, namely the half hour Settlement Period of system peak Demand and the two half hour Settlement Periods of next highest Demand, which are separated from the system peak Demand and from each other by at least 10 Clear Days, between November to February inclusive; |
| “Trigger Date” |  |  | as identified by The Company in accordance with Part Two of the User Commitment Methodology and in relation to a particular User as defined in its Construction Agreement; |
| “UMS Base Percentage” |  |  | the % value of the relevant Security Period as specified in the table in paragraph 2B Section 3, Appendix 2; |
| “UMS Charges” |  |  | that element of Transmission Network Use of System Demand Charges relating to Unmetered Supply; |
| “UMS Base Value at Risk” |  |  | the sum as calculated in accordance with Paragraph 3.23.4b; |
| “UMS Tariff” |  |  | a Transmission Demand Residual Tariff levied on Unmetered Supplies; |
| “Unmetered Supply Volume” |  |  | the amount of Energy associated with Unmetered Supply; |
| “Unmetered Supply Volume Forecast” |  |  | the forecast, produced by The Company, of the Unmetered Supply Volume; |
| Unacceptable Operating Condition |  |  | a failure of Plant and Apparatus forming part of the National Electricity System Transmission System that results in the following effect at the Connection Site: i) the loss of one or more phases causing an energy unbalance (Grid Code CC6.1.6); ii) frequency being outside the ranges listed in Grid Code CC6.1.3; iii) voltages being outside values stated in Grid Code CC6.1.4; iv) loss of synchronising signal to an Export BMU Unit; |
| "Undertaking" |  |  | as defined in section 259 of the Companies Act 1985; |
| “Unmetered Supply” |  |  | as defined in the Balancing and Settlement Code; |
| "Unsecured Credit Cover" |  |  | the maximum amount of unsecured credit available to each User for the purposes of Part III of Section 3 of the CUSC at any time which shall be a sum equal to 2% of the The Company Prescribed Level in the relevant Financial Year; |
| "Unusual Load Characteristics" |  |  | loads which have characteristics which are significantly different from those of the normal range of domestic, commercial and industrial loads (including loads which vary considerably in duration or magnitude); |
| "Urgent CUSC Modification Proposal" |  |  | an CUSC Modification Proposal treated or to be treated as an Urgent CUSC Modification Proposal in accordance with Paragraph 8.24; |
| "Use of System" |  |  | use of the National Electricity Transmission System for the transport of electricity by any Authorised Electricity Operator or Interconnector User or Interconnector Error Administrator; |
| "Use of System Application" |  |  | an application for a Bilateral Embedded Generation Agreement or for Use of System in the form or substantially in the form set out in Exhibit D or F to the CUSC as appropriate; |
| "Use of System Charges" |  |  | charges made or levied or to be made or levied by The Company for the provision of services as part of the Transmission Business to any Authorised Electricity Operator as more fully described at condition E10 of the ESO Licence and in the Bilateral Agreements and Section 3 and Section 9 Part II but which shall not include Connection Charges; |
| “Use of System Charging Methodology” |  |  | as defined in the Transmission Licence and set out in Section 14; |
| "Use of System Interconnector Confirmation Notice" |  |  | the part of the Use of System Interconnector Offer and Confirmation Notice by which The Company confirms the use of the National Electricity Transmission System by an Interconnector User or an Interconnector Error Administrator; |
| "Use of System Interconnector Offer and Confirmation Notice" |  |  | the notice which combines the offer and confirmation in relation to the use of the National Electricity Transmission System by an Interconnector User or an Interconnector Error Administrator, in the form set out in Exhibit H to the CUSC; |
| "Use of System Interconnector Offer Notice" |  |  | the part of the Use of System Interconnector Offer and Confirmation Notice by which The Company offers an Interconnector User or an Interconnector Error Administrator use of the National Electricity Transmission System; |
| "Use of System Offer" |  |  | an offer (or in the case of a use of system generation offer and where appropriate, offers) made by The Company to a User pursuant to Paragraph 3.7 or 9.19 substantially in the form of Exhibit G (Use of System Supply Offer) or Exhibit E (Use of System Generation Offer) or Exhibit H (Use of System Interconnector Offer) or Exhibit 7 Schedule 2 (Use of System Virtual Lead Party Offer) to the CUSC; |
| "Use of System Payment Date" |  |  | the date for payment of Use of System Charges; |
| "Use of System Supply Confirmation Notice" |  |  | the part of the Use of System Supply Offer and Confirmation Notice by which The Company confirms the use of the National Electricity Transmission System by a Supplier; |
| "Use of System Supply Offer and Confirmation Notice" |  |  | the notice which combines the offer and confirmation in relation to the use of the National Electricity Transmission System by a Supplier, in the form set out in Exhibit G to the CUSC; |
| "Use of System Supply Offer Notice" |  |  | the part of the Use of System Supply Offer and Confirmation Notice by which The Company offers a Supplier use of the National Electricity Transmission System; |
| "User" |  |  | a person who is a party to the CUSC Framework Agreement other than The Company; |
| “User Commitment Methodology” |  |  | the methodology and principles applied by The Company in the application and calculation of the Cancellation Charge and Cancellation Charge Secured Amount such principles being set out in CUSC Section 15; |
| "User Development" |  |  | shall have the meaning set out in the Connection Application or the Use of System Application as the case may be; |
| “User Progression Milestones” |  |  | the Conditional Progression Milestones and Construction Progression Milestones used for the purposes of the Queue Management Process to demonstrate that a User is progressing with that User’s project to the required timescales for that User’s project, the User Progression Milestones for a User (derived in accordance with CUSC Section 16) being set out in Appendix Q of the Construction Agreement relating to a specific User’s project; |
| "User’s Allowed Credit" |  |  | that proportion of the Unsecured Credit Cover extended to a User by The Company as calculated in accordance with Paragraph 3.26; |
| "User Emergency Deenergisation" |  |  | the Deenergisation of the User’s Equipment or equipment for which that User is responsible (as defined in Section K of the Balancing and Settlement Code) by a User pursuant to CUSC Paragraph 5.2.2 or by automatic means as a direct consequence of an Unacceptable Operating Condition; |
| "User's Equipment" |  |  | means; - the Plant and Apparatus owned by a User (ascertained in the absence of agreement to the contrary by reference to the rules set out in Paragraph 2.12) which: (a) is connected to (or in the case of OTSDUW Build will, at the OTSUA Transfer Time, be connected to) the Transmission Connection Assets forming part of the National Electricity Transmission System at any particular Connection Site to which that User wishes so to connect, or (b) is connected to a Distribution System to which that User wishes so to connect but excluding for the avoidance of doubt any OTSUA; - VLP Assets |
| "User's Licence" |  |  | a User's licence to carry on its business granted pursuant to Section 6 of the Act; |
| "User System" |  |  | any system owned or operated by a User comprising Generating Units and/or Distribution Systems (and/or other systems consisting (wholly or mainly) of electric lines which are owned or operated by a person other than a Public Distribution System Operator and Plant and/or Apparatus (including in the case of OTSDUW Build, any OTSUA prior to the OTSUA Transfer Time) connecting Generating Units, Distribution Systems (and/or other systems consisting wholly or mainly of electric lines which are owned or operated by a person other than a Public Distribution System Operator or Non-Embedded Customers to the National Electricity Transmission System or (except in the case of Non-Embedded Customers) to the relevant other User System, as the case may be, including any Remote Transmission Assets operated by such User or other person and any Plant and/or Apparatus and meters owned or operated by such User or other person in connection with the distribution of electricity but does not include any part of the National Electricity Transmission System; |
| “Utilities Act 2000” |  |  | Electricity Act 1989, as amended by the Utilities Act 2000; |
| "Valid" |  |  | valid for payment to be made thereunder against delivery of a Notice of Drawing given within the period stated therein; |
| "Value Added Tax" |  |  | United Kingdom value added tax or any tax supplementing or replacing the same; |
| "Value At Risk Amendment" |  |  | the Proposed Amendment in respect of Amendment Proposal 127; |
| "Value At Risk Amendment Implementation Date" |  |  | the Implementation Date of the Value At Risk Amendment; |
| "Value At Risk Amendment Implementation End Date" |  |  | the date one year following the Value At Risk Amendment Implementation Date; |
| “Variations Clause” |  |  | the clause in the Existing Agreements that requires The Company and the User to effect any amendment required to be made to those by the Authority as a result of a change in the CUSC, the ESO Licence or Transmission Licence, an order or direction made pursuant to the Act or a Licence or as a result of settling any of the terms thereof; |
| “Voting Group” |  |  | as defined in Paragraph 8A.3.1.2; |
| "Voting Sub-Group” |  |  | the Demand Voting Sub-Group, Generation Voting Sub-Group, Interconnector Voting Sub-Group and/or Supply Voting Sub-Group; |
| “Virtual Lead Party (VLP)” |  |  | as defined in the Balancing and Settlement Code |
| “Virtual Lead Party Agreement (VLPA)” |  |  | an agreement entered into pursuant to Paragraph 1.3.1 a form of which is set out in Exhibit 7 to Schedule 2; |
| “VLP Assets” |  |  | equipment owned or operated by a Virtual Lead Party which is part of a Secondary BM Unit; |
| "Website" |  |  | the site established by The Company on the World-Wide Web for the exchange of information among CUSC Parties and other interested persons in accordance with such restrictions on access as may be determined from time to time by The Company; |
| "Week" |  |  | a period of seven Calendar Days commencing at 05.00 hours on a Monday and terminating at 05.00 hours on the next following Monday; |
| "Weekly Maximum Generation Declaration" |  |  | has the meaning attributed to it in Paragraph 4.2.3.1; |
| “Wider Cancellation Charge” |  |  | a component of the Cancellation Charge that applies on and after the Trigger Date as more particularly described in Part Two of the User Commitment Methodology; |
| “Wider Transmission Reinforcement Works” |  |  | - in relation to a particular User means those Transmission Reinforcement Works other than the Enabling Works and which are specified in the relevant Construction Agreement; |
| "Workgroup" |  |  | a Workgroup established by the CUSC Modifications Panel pursuant to Paragraph 8.20.1; |
| "Workgroup Consultation" |  |  | as defined in Paragraph 8.20.13, and any further consultation which may be directed by the CUSC Modifications Panel pursuant to Paragraph 8.20.20; |
| "Workgroup Consultation Alternative Request" |  |  | any request from a CUSC Party, a BSC Party the Citizens Advice or the Citizens Advice Scotland for a Workgroup Alternative CUSC Modification to be developed by the Workgroup expressed as such and which contains the information referred to at Paragraph 8.20.16. For the avoidance of doubt any WG Consultation Alternative Request does not constitute either a CUSC Modification Proposal or a Workgroup Alternative CUSC Modification; |
| "Workgroup Alternative CUSC Modification" |  |  | an alternative modification to the CUSC Modification Proposal developed by the Workgroup under the Workgroup terms of reference (either as a result of a Workgroup Consultation or otherwise) and which is believed by a majority of the members of the Workgroup or by the chairperson of the Workgroup to better facilitate the Applicable CUSC Objectives than the CUSC Modification Proposal or the current version of the CUSC. |

ANNEX 1 – INTERPRETATION AND DEFINITIONS

Insert the following new definitions in alphabetical order:

| “Authority Led CUSC Modification” |  | a proposal to modify the CUSC which directly arises from a Significant Code Review and where the process of the modification is led by the Authority in accordance with its SCR Guidance; |
| --- | --- | --- |
| “Authority Led CUSC Modification Proposal” |  | a proposal for an Authority Led CUSC Modification which has been submitted pursuant to and in accordance with Section 8 Paragraph 8.17B; |
| “Authority Led CUSC Modification Report” |  | in relation to an Authority Led CUSC Modification Proposal, the report prepared pursuant to and in accordance with Section 8 Paragraph 8.17B.2; |
| “Backstop Direction” |  | has the meaning given to it in Section 8 Paragraph 8.17C; |
| “SCR Guidance” |  | any document of that title created, published as amended from time to time, by the Authority to provide guidance to interested parties on the conduct of a Significant Code Review by the Authority; |

END OF SECTION 11

The dates and names of parties with NSLPAs need to be updated in due course.