## Version
Date | Version | Details
2026-06-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for June 2026. This file will be updated in July 2026 to reflect the full data set.
2026-07-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for June 2026. This file is updated in July 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Sundon 400/132kV SGT8 | NGET | 2026-06-03 12:08
Kemsley 400/132kV SGT1/ 13/33kV T1 | NGET | 2026-06-05 02:37
Lock Buidhe - Dalchork 2 (DLB2) 132kV circuit | SHETL | 2026-06-06 06:52
Eaton Socon - Ryhall - Wymondley 400KV circuit | NGET | 2026-06-09 15:02
Black Hill 132/33kV T1 | SPT | 2026-06-11 09:30 |  | To be confirmed
Blyth 275kV Reserve Bus Section 1 | NGET | 2026-06-11 14:48
Aberthaw 132kV Reserve busbar 1/2 | NGET | 2026-06-12 10:00
Killingholme Sync Comp 2 | NGET | 2026-06-13 05:15
Walney Extension 400kV Onshore Filter 1 | OFTO | 2026-06-14 09:58 |  | To be confirmed
Sheringham Shoal Aux TX3 and Aux TX4 | OFTO | 2026-06-14 15:47 |  | To be confirmed
Galloper 132kV SVC3 | OFTO | 2026-06-16 16:53 |  | To be confirmed
Birkenhead - Lister Drive 275kV circuit | NGET | 2026-06-17 06:46 |  | To be confirmed
High Marnham - Low Marnham 275kV circuit | NGET | 2026-06-18 22:34 |  | To be confirmed
Coryton South - Rayleigh Main 400kV circuit | NGET | 2026-06-23 05:48
Rayleigh Main - Tilbury - Tilbury SGT6 400kV circuit | NGET | 2026-06-23 05:55
Finnieston - Partick -Windyhill 1 132kV circuit | SPT | 2026-06-24 08:08 |  | To be confirmed
Fort Augustus - Quoich Tee 132kV circuit | SHETL | 2026-06-25 20:11
Dunbeath - Mybster 132kV circuit | SHETL | 2026-06-25 20:21
Beauly - Knocknagael 132kV Bus Coupler 4 | SHETL | 2026-06-26 00:04
Fort Augustus - Quoich Tee 132kV circuit | SHETL | 2026-06-26 00:34
Rainhill 275kV Mesh corner 1 and SGT1 | NGET | 2026-06-26 01:44
Blyth-Eccles-Stella West 400kV circuit & Eccles 400kV SC1 | SPT | 2026-06-26 16:35 |  | To be confirmed
Killin - ST Fillans (LSS) 132kV circuit | SHETL | 2026-06-26 21:02
Harker 275kV SVC 7 | NGET | 2026-06-28 10:21 |  | To be confirmed
Charlotte Street 275/33kV SGT1 | SPT | 2026-06-30 00:09 |  | To be confirmed