## Data input
Workgroup Consultation Responses Summary
CMP414: CMP330/CMP374 Consequential Modification
Consultation date: 24 April 2026 - 18 May 2026
| Respondent Details |  |  | Standard Consultation Questions | [5 empty] | Specific Consultation Questions |  | Themes
Response Number | Organisation | Name | Organisation type | Q1 - Mark the Objectives which you believe the original solution better facilitates: | Q2 - Do you support the proposed implementation approach? | Q3 - Do you have any other comments? | Q4 - Any alternatives? | Q5 - Does the draft legal text satisfy the intent of the modification? | Q6 - Do you agree with the Workgroup’s assessment that the modification does not impact the Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code? | Q7 - Do you believe that the Workgroup met the questions and concerns raised by Ofgem in the send back letter of August 2024. If not, please would you provide further information or evidence on any of the points set out in the send back letter appearing in Annex 03 of this report | Q8 - To what extent does CMP414, consequential to CMP330/374, help achieve the objectives outlined in Ofgem's demand connections reform call for input, as well as providing benefits to generation and storage? What gaps do you believe there are and what would you recommend to address them? Please provide evidence for any comments | Key points
1 | Eclipse Power Networks | Charles Deacon | Demand | (i), (ii), (iv) | Yes | Yes | No | No Response | Yes | No Response | Contestability has been successfully used in distribution for ~20 years, delivering consumer value without compromising safety. Majority of new connections are delivered by ICPs, with up to 80% adopted by IDNOs. Strong support for expanding contestability at transmission, using distribution as a proven model. Transmission-level competition is currently limited and less effective. Industry should adopt distribution best practices rather than creating new frameworks. Removing the 2km rule and enabling self-build of sole-use assets should improve lead times and outcomes. Support for clearer conversion of offers to contestable and allowing private ownership of HV assets. Advocates new models such as Independent Transmission Owners and GridCo/private network solutions. Recommends extending contestability to higher voltages and shared infrastructure (e.g. substations). Calls for additional reforms including standardisation, expanded supplier lists, and a transmission competition code of practice. Distribution provides a wide evidence base that can be reviewed when forming decisions on competition at higher voltages. Competition at transmission is currently far less effective or widespread. We strongly believe that industry should look to distribution colleagues for best practice, rather than creating new frameworks from scratch. This will also help in efficient administration and understanding by networks and customers. We welcome the measures to increase contestability at transmission, particularly in removing the 2km rule and allow self-build of sole use H1 assets. This should help lead times and provide better outcomes for customers. However there is more that could be explored. Eclipse Power is a strong supporter of two mechanisms to increase competition at transmission, referenced in Ofgem’s Call for Input: 1) Ownership of HV assets, regulatory clarification to allow private ownership of HV assets to allow large demand to be fed at supergrid voltages (which is a sound engineering decision) 2) Implementation of an Independent Transmission Owner regime, akin to IDNOs for last mile transmission 3) Further facilitation of GridCo and private network solutions, or different ownership boundaries, to co-locate demand and generation and provide collector substations. All are essential to serve different customer needs. On contestability in general, there is a lot to be learnt from distribution – especially at common voltages such as 132 kV. As a key player in the independent space, we recommend the following CUSC enhancements: 1) Clear convertibility of offers to contestable without a Mod App (as at distribution) 2) Clearer guidance at what voltages contestability can be employed, extending to supergrid if possible 3) Extension of self-build to new shared infrastructure assets, such as new nodes or turn-ins. Developers are frequently asking if they can build substations to TO spec and hand to the TO for free. This would reduce lead times, personnel pressure and cost to consumers. 4) Allow customers to contribute towards capital costs of infrastructure works benefitting their connection, to speed up lead times and reduce cost to consumers And the following non-CUSC enhancements: 1) Increased approved supplier lists on TO registers, with open information such as in DNO G81 libraries 2) Augmentation of the NERS regime to supergrid voltages to give TOs comfort. 3) Standardisation of treatment of 132 kV assets in all GB nations in relation to contestability and ownership. 4) Establishment of a Competition in Connections Code of Practice at transmission.
|  |  | Other | [8 empty] | Supportive of solution(s) because..
well proven at distribution level for 20 years,
transmission level - this should help lead times and provide better outcomes for customers
2 | Scottish Power Renewables | Shannon Murray | Generator | None | No | No | No | Yes | Yes | No | CMP414 is trying to address similar defect as outlined in Ofgem’s call for input, to allow demand users to have greater ability to self-build and own connection assets. However, Ofgem’s rationale is similar to proposer’s in that self-build will allow works to be completed quicker, and therefore accelerate speed of connections. We consider there are still gaps in the evidence to support this, and it may be more useful to consider this defect as part of wider reforms e.g. connections rather than stand-alone modification. | Not supportive, they believe the mod adds unneccesary complexityand uncertainty when other major changes taking place e.g. RNP, connections reform. also question how this proposal aligns with wider reforms and alignment with SSEP/CSNP
they believe the proposal will be complex in instances where second comer connector may not want to be exposed to the risk of the initial generator-built asset
They consider there are still gaps in the evidence to support the rationale for the modification, and it may be more useful to consider this defect as part of wider reforms e.g.connections rather than stand-alone modification.
3 | Qair Scotland Ltd | Lamin Vulart | Demand | (i), (ii), (iv) | Yes | No Response | No | Yes | Yes | No Response | No Response | supportive as they believe that the modification would potentially add more user-led delivery of assets
|  |  | Generator | [8 empty] | users can obtain orconstruct more connection ssets instead of just the TO
Storage
4 | Statkraft UK Ltd | Kirsty Dawson | Generator | (i), (ii), (iii), (iv) | Yes | Yes | No | Yes | Yes | No There has been a missed opportunity here for NGET to have provided quantitative and qualitative analysis on contestable builds in their area of the network, which is much more commonplace. Though we recognise that contestable build in Scotland does not happen and will be different due to 132kV being distribution in England & Wales, and transmission in Scotland, this cannot be a blocker for it not being able to happen in the future. We are aware of a couple of projects either progressing in delivery with User contestable build or being proposed to be built contestably in SSEN Transmission’s area, and with consent of the relevant developers, these insights should be shared with the Working Group to provide richer detail and data | Ofgem’s recent letters on demand have stated: “We also note interest in enabling greater ownership and operation of high voltage assets. Any change to this will require careful assessments of consumer impacts, system risks, and regulatory implications. We are working to explore options and solutions for this.” We would want to be supportive of allowing ownership of transmission level assets, particularly to facilitate grid sharing – which gets the most out of limited grid connection opportunities, especially when they are at voltages that would be considered distribution in England (i.e. own 132kV assets in Scotland). Though CMP414 is mentioned in Ofgem’s letters, CMP414 alone would not ‘fix’ this – more pressure is needed on TOs to provide detailed contestability processes. They need to be more open to this as currently it’s a bit of a computer says no, i.e. they haven’t done it before, so don’t advise it. If TOs are not supportive of this CUSC mod, they need to widen their procurement frameworks as a big reason developers are driving this forward is due to the increase in costs being seen in grid agreements. Developers are asking about contestability as one of the very few options on the table to try and decrease the blow in comms from TOs on costs. Within the feedback of Ofgem’s End to End review consultation, it is noted that projects costs can increase between 50-200% from the original quote. We have live examples where this percentage increase is 300%, i.e. two projects currently in construction where costs have tripled. have had TOs quote to us that initial costs/estimates are classified with a range of -50% to +100%. In theory, if this range is implemented accurately, developers should be able to forecast a worst-case scenario cost (i.e. take initial offer costs +100%), but the reality is that we are receiving cost increases far outside this range. If TOs are using this range, we would welcome a GSoP capturing this range formally. If costs then increase outside of this, it should be for the TOs to pick up this cost. The issue is exacerbated by the lack of a detailed cost breakdown in connection offers making scrutiny and challenge more difficult to affirm. We are of the opinion that if this specific issue is addressed, the requests for contestable build will decrease. | supportive
disputes SSEN transmission - they believe that Users are not expecting their projects to be prioritised over larger network reinforcements, but we would like the same care, attention and resource as they are giving these ASTI reinforcements.
We raise this point as feel it is important to stress here that delivering ASTI with no focus on customer connections, will lead to stranded assets and not achieving UK NetZero goals.
response to question 8 Supporting transmission asset ownership (e.g. 132kV in Scotland) could improve grid sharing and maximise limited connection capacity. CMP414 alone is insufficient; stronger pressure is needed on Transmission Owners (TOs) to provide clear, detailed contestability processes. TOs are currently resistant (“computer says no”) due to lack of precedent and reluctance to advise on alternative approaches. Developers are pushing for contestability due to sharply rising grid connection costs and limited options to manage them. Ofgem consultation notes cost increases of 50–200%, but real examples show increases up to 300% on live projects. TO estimates often include wide uncertainty ranges (−50% to +100%), yet actual costs frequently exceed even these upper bounds. A formal Guaranteed Standard of Performance (GSoP) for cost ranges is suggested; TOs should absorb costs exceeding agreed thresholds. Lack of detailed cost breakdowns in connection offers limits transparency and makes it difficult to challenge or scrutinise pricing. Addressing cost transparency and control could reduce the need for developers to pursue contestable build options.
5 | SP Transmission plc | Neil Geddes | Transmission Owner | None | Yes | Yes | No | No | Yes | No SPT recognises that the Workgroup has made constructive progress in responding to Ofgem’s send back, particularly in CMP414 as a consequential modification and refining its scope in relation to longer Sole Use assets. However, consistent with SPT’s contributions throughout the Workgroup, it is important to recognise that the remaining uncertainties are not primarily due to shortcomings in the Workgroup process but instead reflect inherent limitations in the available evidence base. There are currently very limited real-world examples of contestable delivery at the scale and complexity envisaged under CMP414 within the GB transmission context. As a result: • The assessment of potential benefits is based largely on assumptions rather than demonstrable outcomes. • Key risks, including those relating to delivery failure, system integration, future asset sharing, and cost recovery, cannot yet be robustly evidenced. While there is relevant experience from distribution level contestability and from other jurisdictions (including Ireland, where cost and delivery benefits have been observed), these examples are not directly comparable to GB transmission arrangements. Differences in system scale, network complexity, regulatory framework, and the role of shared network reinforcement limit the extent to which such evidence can be relied upon to demonstrate outcomes under CMP414. This reflects the fact that, while the Workgroup has fully explored available evidence and stakeholder input, the underlying market experience required to substantiate the proposal is not yet sufficiently developed. Accordingly, while the Workgroup has responded appropriately within these constraints, SPT considers that several of Ofgem’s underlying concerns remain only partially resolved. This is particularly the case in relation to demonstrating tangible consumer benefits and establishing a clear and robust framework for risk allocation. | CMP414 provides a limited degree of flexibility… and may support Demand Connections Reform objectives in those specific cases by providing additional flexibility in the delivery of certain discrete Sole Use assets. However, for most projects, overall delivery timelines are driven by shared infrastructure, system reinforcements, outage coordination, and wider planning constraints. These factors were identified within the Workgroup as the primary determinants of delivery, meaning the potential impact of CMP414 on connection timelines and outcomes is limited. CMP414 should therefore be viewed as a supporting or enabling measure, rather than a comprehensive solution to the challenges addressed through Demand Connections Reform. Its contribution is likely to be confined to specific circumstances where Sole Use assets can be delivered independently of wider system dependencies. In addition, practical experience suggests that developer appetite for contestability may change once the implications for project risk and delivery are fully understood. In the context of fixed application windows, this could introduce delays in securing a final connection offer, potentially offsetting any anticipated benefits. | not supportive , there remains insufficient evidence that such savings would be realised consistently, or that they would not introduce additional risks or complexity in delivery
the evidence provided is limited in scope and largely case-specific
There remains a risk that introducing additional contestability could increase process complexity, with uncertain net efficiency benefits
Intervention risk & costs: Concerns remain about how intervention and adoption would work in practice if user-led delivery fails, especially late-stage or where assets become shared; low likelihood but high impact (cost, delays, impact on other Users). Unclear roles & responsibilities: Limited clarity between Users and Transmission Owners across the asset lifecycle; reliance on Adoption Agreements may lead to inconsistency, uncertainty, and potential disputes. Future system integration risks: Sole Use assets may later become shared or part of wider reinforcements, creating complexity in design, coordination, and cost allocation in a changing network environment. Limited delivery benefits: Contestability may not significantly speed up delivery, as timelines are largely driven by wider system constraints (e.g. reinforcement, outages, planning processes). RIIO-ET3 incentive misalignment: User-led elements introduce dependencies outside Transmission Owners’ control that aren’t reflected in the ODI framework, increasing delivery risk and potentially weakening existing incentives.
Intervention risk: Transmission Owners face potential unfunded or uncertain costs if user-led delivery fails; risks are low likelihood but high impact, especially for late-stage intervention or assets becoming shared. Roles & responsibilities: Lack of clear, consistent allocation of responsibilities across the asset lifecycle; reliance on Adoption Agreements may create uncertainty and disputes. Future network impacts: Sole Use assets may later become shared or part of reinforcement schemes, increasing complexity in design, coordination, and cost allocation. Deliverability constraints: Contestability offers limited acceleration benefits, as timelines are mainly driven by broader system factors (e.g. reinforcements, outages, planning). RIIO-ET3 incentive risks: User-led delivery introduces dependencies outside Transmission Owner control that are not reflected in ODI incentives, increasing risk and potentially weakening their effectiveness.
6 | National Grid Electricity Transmission plc | Matthew Paige Stimson | Transmission Owner | (i), (ii) | No | Yes | No | Yes | Yes | No | CMP414 aligns with Ofgem’s demand connections reform goals, but outcomes depend on the scope of contestability. Realisation of benefits and risk mitigation varies based on how widely contestability is applied. Safeguards are critical to manage change, complexity, and coordination between stakeholders. Greater system interdependency increases the need for strong coordination and whole-system optimisation. Contestability is more effective for discrete, less complex assets with limited system interactions. Clear scope and transparent criteria for contestability are essential. Lower voltage (e.g. 132kV) sole-use assets may be better suited to contestable delivery. Asset ownership clarity is important, as it affects incentives, cost control, and alignment with long-term performance. The safeguards outlined in Q1 will influence how effective contestability is in practice: helping to manage change events, support delivery complexity, and coordinate between customers and projects. This is especially relevant in more complex parts of the transmission system, where a higher degree of interdependency increases the importance of coordination and whole-system and whole-life optimisation. Conversely, there may be areas where network and asset characteristics are more conducive to contestable delivery. For example, where assets are more discrete, have limited wider system interactions, and are closely aligned to a single user’s requirements, the potential benefits of contestability may be more readily realised, subject to appropriate safeguards. This highlights the importance of clearly defining what is in scope for contestability, supported by agreed and transparent criteria. In this context, there may be merit in considering how contestability frameworks apply to sole-use demand assets at lower voltage transmission levels (e.g. 132kV). In such cases, the nature of the assets and their closer alignment to individual users may reduce system complexity and interdependency relative to wider shared infrastructure, while still enabling the benefits of competition and alternative delivery models. | supportive - Overall, NGET supports the intent of CMP414 to extend contestability, recognising its potential to enhance customer choice and enable more timely and flexible delivery of connections
CMP414 partially meets objectives; supports extending contestability but requires careful implementation. Benefits depend on clear scope, defined accountabilities, and strong safeguards. Can improve efficiency and competition if risks to coordination and system outcomes are managed. Contestability may accelerate delivery but could hinder whole-system optimisation without controls. Strong coordination is needed due to complex, interdependent transmission projects. Network needs evolve; TOs should retain design authority and oversight. Misaligned milestones and interdependencies can create cascading delays and risks. Robust processes are needed for change, delay, disputes, and intervention. Risk of user withdrawal or underperformance must be clearly managed and allocated. Tension exists between user-led optimisation and TO responsibility for whole-system outcomes. Safeguards required to protect long-term asset performance, cost, and reliability. Incentive misalignment may lead users to prioritise speed over efficiency. Effective competition requires clear scope, standards, coordination, and aligned incentives. Implementation needs ~6 months, not 10 days, to ensure governance and coordination frameworks. Contestability introduces risks to price controls and incentives, requiring regulatory adjustments to maintain efficiency and consumer value.
7 | Green Cat Renewables | Greg Stevenson | Other | (i), (ii), (iii), (iv) | Yes | No | No | Yes | Yes | Yes | Believe that this modification helps to achieve the objectives outlined in Demand Connection Reform call for input. It will allow Users to build assets quicker and ideally cheaper than the TO would. If a User has the funds and capabilities to build assets up to 400kV then this will be a support the objectives of Demand connections reform. | Supportive.
|  |  | Consultancy | [8 empty] | • Proposal enhances ability for Licensees to meet obligations by expanding contestability. • Makes transmission contestability easier for Users to navigate and apply. • Moving contestability rules to Section 2 of CUSC is expected to increase competition. • Removes limitations of the 2km TCA rule, which previously restricted user-built assets. • Particularly beneficial in regions like North Scotland with long connection distances. • Gives Users greater flexibility in asset delivery and design. • Expected to speed up connections and reduce delivery costs if implemented effectively. • Improves clarity by expanding legal text and reducing ambiguity in current interpretations.