## Data
Response ID | Company name | Legal Text (Exhibit, Schedule, Section) | Consulted Legal Text | Query | Code Provisionally Updated ahead of Panel approval | Provisional Response | Panel Discussion/ agreed action | Updated Post Panel
1 | NESO & Code Governance | Legal Text - Contents and whole document | Formatting: indents, font, font size, spacing, headings, hanging punctuation, underlining. font |  | Yes | Proposer accepted suggested the change
|  | Legal Text - Page 15 | 1.24.8 was removed as it should have been removed in accordance with GSR033, final legal text |  | Yes | Proposer accepted suggested the change
2 | Northern Powergrid | Front Page | To make sure the changes associated with 2.12 are incorporated | Version control: ensure the correct version is being used and changes incorporated into correct version. | Yes | Proposer accepted suggested the change
|  | Page 3 Introduction | Define Term - Italicise | "national electricity transmission system" | Yes | Proposer accepted suggested the change
|  | Page 4 Introduction | Main Interconnected Transmission System (MITS | I can see that when definitions relate to names of parties / people eg Authority / Licensee , they are capitalise, but should others all be in lower case? Eg main interconnected transmission system and grid supply point? | Yes | Proposer accepted suggested the change
|  | Legal Text - Page 4 | MITS | Where the acronym forms part of the defined term is there a need to include it in brackets after the full term is used? | Yes | Proposer accepted suggested the change
|  | Page 5 - Point 1.13 | "Section 5" | Should there be a similar introductory paragraph explaining what section 6 covers as sections 2-6 all relate to the onshore transmission system Suggest: The criteria | Yes | Proposer accepted suggested the change
|  | Page 5 - Point 1.15 | offshore transmission owner | Defined term - Should this be italicised | Yes | Proposer accepted suggested the change
|  | Page 5 - Point 1.16.2 | (OSP) | Delete | Yes | Proposer accepted suggested the change
|  | Page 7 - Point 1.17 | "offshore generator" | This isn’t a defined term in the definitions | Yes | Proposer accepted suggested the change
|  | Page 7 - Point 1.17 | Offshore GEP | Is this the correct definition - the acronym is OffGEP | Yes | Proposer accepted suggested the change
|  | Page 8 - Fig 1.2 and Fig 1.3 | DC Offshore transmission System | Fig 1.2 1 Offshore generator doesn’t seem to be a defined term. 2 Should GEP be OffGEP? 3 Inconsistent use of full terms together with the acronym and just the acronym. Use of full terms probably make the diagram easier to read. 4 Offshore Transmission Owner is a defined term - italics Fig 1.3 1 similar issues as Fig 1.2 2 TO and DO are not defined anywhere (that I could find) so would be better set out in full. | Yes | Proposer accepted suggested the change
|  | Page 8 - Point 1.18 | Offshore generation | if this a defined term | Yes | Proposer accepted suggested the change
|  | Page 8 - Point 1.20 | (OSP) | Delete | Yes | Proposer accepted suggested the change
|  | Page 9 - Point 1.22 | plannng operating | planning and operating | Yes | Proposer accepted suggested the change
|  | Page 9 - Point 1.23.3 | transmission licensee's | Is this a defined term? Licensee is, but transmission isn’t nor is transmission licensee. | Yes | Proposer accepted suggested the change
|  | Page 9 - Point 1.24 | Overlap criteria | Delete space | Yes | Proposer accepted suggested the change
|  | Page 10 - Point 1.24.8 |  | 1.24.8 was removed as it should have been removed in accordance with GSR033, final legal text | Yes | Proposer accepted suggested the change
|  | Page 10 - Point 1.25 - 1.25.3 | Font | Check the font used | Yes | Proposer accepted suggested the change
|  | Page 10 - Point 1.25.3 | Licence | Consistency - in the parag above licence has a lower case L | Yes | Proposer accepted suggested the change
|  | Page 11 - Point 2 Generation Connection Criteria ….... | 2.1 Onshore transmission system | Check consistency of indents with those in 1.25.3, Italics - part of the defined term | Yes | Proposer accepted suggested the change
|  | Page 11 - Point 2.1 | customer's network | Shouldn’t this be ..a user’s system? | Yes | Proposer accepted suggested the change
|  | Page 12 - Point 2.5 | Generating units | Defined term | Yes | Proposer accepted suggested the change
|  | Page 12 - Point 2.5 | secured event | Defined term | Yes | Proposer accepted suggested the change
|  | Page 12 - Point 2.6 | after the word follows: | deleted blank line for consistency | Yes | Proposer accepted suggested the change
|  | page 12 - Point 2.6.5 | risk; | Should there be an "and" here as all these criteria would apply | Yes | Proposer accepted suggested the change
|  | Page 12 - Point 2.6.6 | outage | defined term | Yes | Proposer accepted suggested the change
|  | Page 13 - Point 2.8.2 | after the word 'to | to its | Yes | Proposer accepted suggested the change
|  | Page 13 - Point 2.8.3 | afer the word 'to | to its | Yes | Proposer accepted suggested the change
|  | Page 14 - Point 2.10.5 | or | suggest delete because everything in this list is an 'or' | Yes | Proposer accepted suggested the change
|  | Page 14 - Point 2.10.6 | provide, or; | provide; or | Yes | Proposer accepted suggested the change
|  | Page 14 - Point 2.10.7 | circuit | suggest adding comma | Yes | Proposer accepted suggested the change
|  | Page 14 - Point 2.10.11 | sytem instability; | defined term | Yes | Proposer accepted suggested the change
|  | Page 15 - Point 2.14 | These guidelines | This guidance…..... Consistency with first sentence | Yes | Proposer accepted suggested the change
|  | Page 15 - Point 2.15 | 2.5 to 2.14 and to2 | 2.31 refers to the requirements in 2.5 to 2.13 rather than 2.14 - consistency to2 - missing space | Yes | Proposer accepted suggested the change
|  | Page 15 - Point 2.16.3 | licnsee's | Capital L | Yes | Proposer accepted suggested the change
|  | Page 15 - Point 2.18 | Appendix G | Suggest Sspace before the new section | Yes | Proposer accepted suggested the change
|  | Page 16 - Point 3.1 | demand group | Defined term | Yes | Proposer accepted suggested the change
|  | Page 16 - Point 3.5.1 | small | samll isn't a defined term - the defined term is a small power station | Yes | Proposer accepted suggested the change
|  | Page 16 - Point 3.5.2 | Network Operator's | in 3.5.1 network operator is not capitalised - consistency - perhaps it should be as person/entity? | Yes | Proposer accepted suggested the change
|  | Page 17 - Point 3.7.3 | small | small isn't a defined term - the defined term is small power station | Yes | Proposer accepted suggested the change
|  | Page 17 - Point 3.7.4 | customer's network | isn't the term 'users system'? | Yes | Proposer accepted suggested the change
|  | Page 17 - Point 3.7.5 | demand group | Defined term | Yes | Proposer accepted suggested the change
|  | Page 18 - Point 3.10.3 | circuit, | circuit, or | Yes | Proposer accepted suggested the change
|  | Page 19 - Table 3 point A | Group Demand | suggest put text on new line | Yes | Proposer accepted suggested the change
|  | Page 19 - Table 3 Point C | Small of (Group …...... | Check alignment within cell for consistency | Yes | Proposer accepted suggested the change
|  | Page 19 - Table 3 Point D | Group Demand | Suggest put text on a new line | Yes | Proposer accepted suggested the change
|  | Page 19 - Table 3 Point F | Group Demand | Suggest put text on a new line | Yes | Proposer accepted suggested the change
|  | Page 20 - Point 3.14 | small | small isn't a defined term - the defined term is small power station | Yes | Proposer accepted suggested the change
|  | Page 20 - Point 3.14.4 | capability; | capability; and this is a list of all the things that need to be considered | Yes | Proposer accepted suggested the change
|  | Page 20 - Table 3.2 | system | Check spacing of the title from the table and the previous text | Yes | Proposer accepted suggested the change
|  | Page 20 - Point 3.16 | These guidelines | This guidance…..... Consistency with first sentence | Yes | Proposer accepted suggested the change
|  | Page 21 - Point 3.17 | customers | customer's | Yes | Proposer accepted suggested the change
|  | Page 21 - Point 3.18.3 | licensee's | Capital L | Yes | Proposer accepted suggested the change
|  | Page 21 - Point 4.1 | Main Interconnected Transmission System (MITS | Uncapitalise - consistency and delete | Yes | Proposer accepted suggested the change
|  | Page 22 - Point 4.4.1 | Appendix C; | add 'and; | Yes | Proposer accepted suggested the change
|  | Page 22 - Point 4.4.3 | Appendix E; | add 'and; | Yes | Proposer accepted suggested the change
|  | Page 23 - Point 4.6.5 | mesh corner; | Isn’t mesh corner a defined term? Ican see that it isn’t in the current version, but I’m sure I’veseem one in the SQSS in the past. | Yes | Proposer accepted suggested the change
|  | Page 23 - Point 4.7.1 | power station | defined term | Yes | Proposer accepted suggested the change
|  | Page 24 - Point 4.8 | fault | Just wodered if this really meant fault outage? | Yes | Proposer accepted suggested the change
|  | Page 24 - Point 4.14 | These guidelines | This guidance…..... Consistency with first sentence | Yes | Proposer accepted suggested the change
|  | Page 25 - Point 5 | Onshore Transmission System | Defined term | Yes | Proposer accepted suggested the change
|  | Page 25 - Point 5.1.5 | mesh corner | Earlier in this document the term mess corner is italicised as though it is a defined term (which I thought it was) yet it doesn’t appear in the definitions section. Worth checking. | Yes | Proposer accepted suggested the change
|  | Page 26 - Table 5.1 | events | check for consistent spacing between title and table | Yes | Proposer accepted suggested the change
|  | Page 26 - Notes point 1 | time | the notes under table 3.1 are in font 11, not 10 - consistency | Yes | Proposer accepted suggested the change
|  | Page 27 - Point 5.5.2 and Point 5.5.3 | event of; 5.5.3 a fault outage…... | Should this text be part of a continuous sentence? | Yes | Proposer accepted suggested the change
|  | Page 27 - Point 5.6 | generator | I can see that generator is a defined term, but it means a person, where as in this context it is used to mean 'plant' | Yes | Proposer accepted suggested the change
|  | Page 27 - Point 5.7 | is.. | are met | Yes | Proposer accepted suggested the change
|  | Page 28 - Point 5.11.2 | the | …. the latest version of the…..... | Yes | Proposer accepted suggested the change
|  | Page 28 - Point 6.1.1 | there | Align the indent with that of 6.1.2 | Yes | Proposer accepted suggested the change
|  | Page 28 - Point 6.1.2 | if, … | Delete if because it is duplicated in clause 6.1 | Yes | Proposer accepted suggested the change
|  | Page 29 - Point 6.1.3 | if, … | Delete if because it is duplicated in clause 6.1 | Yes | Proposer accepted suggested the change
|  | Page 29 - Point 6.2 | Grid Supply Transformer | The term used earlier is GSP transformers | Yes | Proposer accepted suggested the change
|  | Page 30 - Table 6.1 | Title | check for consistent spacing between title and table | Yes | Proposer accepted suggested the change
|  | Page 30 - Table 6.1 Pont (a) | Voltage Limits on Transmission Networks | Fit on one line | Yes | Proposer accepted suggested the change
|  | Page 30 - Table 6.1 | Normal voltage, Greater than, Any normal voltage | Check alignment of text in cell | Yes | Proposer accepted suggested the change
|  | Page 30 - Table 6.1 | 2.5% | Greater thatn 300kv | Yes | Proposer accepted suggested the change
|  | Page 30 - Notes pemissble | permissible | Notes under table 1 are in font 11 - consistency | Yes | Proposer accepted suggested the change
|  | Page 30 - Table 6.2 | Title | Spaceing between title and table. Might it be possible to make the colums width in each table 6.1 and 6.2 etc the same | Yes | Proposer accepted suggested the change
|  | Page 30 - Table 6.2 | Positioning of words | Check the positioning of the text in each cell - one is at top and other in middle? | Yes | Proposer accepted suggested the change
|  | Page 31 - Notes | Check | 3. Font size, would it be better to be clear on the relaxation is from -5% to -10%? 4. 105% Wouldn’t it be better to be clear on the relations is from +2.5% to +5%? 5. Secure event - defined term, Grid Supply transformer - GSP is the term used earlier | Yes | Proposer accepted suggested the change
|  | Page 31 - Point 6.6.2 | if, … | The 'if is superflous | Yes | Proposer accepted suggested the change
|  | Page 31 - Point 6.6.2.3 | User System | uncapitalise | Yes | Proposer accepted suggested the change
|  | Page 32 - Notes | to 90% | 6. check font, Ditto the relaxation is to -10% | Yes | Proposer accepted suggested the change
|  | Page 32 - Table 6.4 | PU Value | Different heading alignment compared to the other tables | Yes | Proposer accepted suggested the change
|  | Page 33 - Notes | May be relaxed….. | 7. Check font, ditto the relaxation is to +10%? | Yes | Proposer accepted suggested the change
|  | Page 33 - Table 6.5 | Check spacing and points 1, 5, and 8 | Spaceing between title and table. 1. what is the internal = 8 minutes? 5. …..but the section is headed 'All Timescales? 8. ….but the section is headed 'All Timescales? | Yes | Proposer accepted suggested the change
|  | Page 34 - Table 6.5 Point 12 | Grid Supply Transformer | GSP transformer is a term used earlier | Yes | Proposer accepted suggested the change
|  | Page 34 - Notes | Points 8, 10, 11, 12 | 8. Inconsistent positioning of the notes section under table (indent) (i), (ii), (iii) check font, Unclear who a User is, Its in 1.25, but only for that sectiona nd probably not what's intended here. I don’t follow this. How can 'infrequent operational switching' occur on a regular basis and more often than two hourly?, The structure of this note is unclear to me. 10. Scotland - Do we mean on the SPT and SHTl transmission system (do NGET have any circuits crossing the geographical border?) 11. definded term, Elsewhere the reference is just to SQSS 12. Definded terms | Yes | Proposer accepted suggested the change
|  | Page 34 - Point 7 | Generation …... | Consistent space before new section | Yes | Proposer accepted suggested the change
|  | Page 34 - Point 7.1 | This section presents …..... | The reader only had time to review the document to Page 34, Appendix J and the section definitions. There would be merit in proof reading the rest of these sections as its likely that there are similar definitional type editorial issues. Happy to read through the rest of the document but would need more time. | Yes | Proposer accepted suggested the change
|  | Page 48 - 11. Terms and Definitions | Ancillary Services…. | Most definition don't start 'This means….. | Yes | Proposer accepted suggested the change
|  |  | Assimilated Law ….. | Authority' This should not be in italics as it then crates a circular definition. GEMA is a defined term | Yes | Proposer accepted suggested the change
|  |  | Balancing Services | Most definition don't start 'This means….. Licene - Should be capital L | Yes | Proposer accepted suggested the change
|  | Page 49 - Terms and Definitions | Electricity System Operator (ESO Licence) | Electricity System Operator Licence (ESO) closing bracket location | Yes | Proposer accepted suggested the change
|  | Page 50 - Terms and Definitions | Fault Outage - 'user equipment' | User system equipment | Yes | Proposer accepted suggested the change
|  |  | First Onshor Substation | This is far too long to be a definition and probably replicates text in the main body of the document. Offhsore GEP - The OffGEP 'Transmission owner' Defined term | Yes | Proposer accepted suggested the change
|  | Page 51 - Terms and Definitions | Generation point of connection and Grid Entry Point (GEP) | Capital L on licensees | Yes | Proposer accepted suggested the change
|  |  | Information Request Notice | in 1.25 the term used is 'user' and there is a note to confirm that this means Licensee. Alignment of terms would be good. | Yes | Proposer accepted suggested the change
|  | Page 52 - Terms and Definitions | Infrequent Infeed Loss Risk | Is this relevant now? | Yes | Proposer accepted suggested the change
|  |  | Insufficient Voltage Performance Margins Point iii) | Definde term for 'generating units' | Yes | Proposer accepted suggested the change
|  |  | Interface Point (IP) | Defined terms for 'ofshore transmission owner' | Yes | Proposer accepted suggested the change
|  | Page 54 - Terms and Definitions | Loss of Power Outfeed | Delete carriage return Defined term for 'secured event' | Yes | Proposer accepted suggested the change
|  |  | Loss of Supply Capacity | Uncapitalise - Grid Supply Point | Yes | Proposer accepted suggested the change
|  | Page 55 - Terms and Definitions | Major System Risk | A period of ….... The definisition is supposed to be 'major system risk' not a 'period of major system risk' | Yes | Proposer accepted suggested the change
|  |  | NETS SQSS or SQSS | National Electricity Transmission system securiyt and quality of supply standard (NETS SQSS or SQSS). A coordinated set of criteria and methodologies that the Licensses shall use in the planning and operation of the National Electricity Transmission System' | Yes | Proposer accepted suggested the change
|  |  | Normal Infeed Loss Risk | Until 31 March 2014…. Is this relevant now? | Yes | Proposer accepted suggested the change
|  | Page 56 - Terms and Definitions | Offshore Licensee | Defined term | Yes | Proposer accepted suggested the change
|  | Page 57 - Terms and Definitions | Onshore Interface Point | onshore transmission licensee' Is this a defined term? | Yes | Proposer accepted suggested the change
|  |  | Onshore Licensee | Transmission Licensee' is this a defiend term? | Yes | Proposer accepted suggested the change
|  | Page 58 - Terms and Definitions | Registered Capacity | Point (b) The font looks different | Yes | Proposer accepted suggested the change
|  | Page 59 - Terms and Definitions | Restoration Plan | Network operators, restoration contractors' defined terms, should they be capitalised asn they are 'people' | Yes | Proposer accepted suggested the change
|  | Page 60 - Terms and Definitions | i) poor damping ….... | Preced the text with; 'A condition on the transmission system arising due to: | Yes | Proposer accepted suggested the change
|  |  | Transmission Area | Transmission Licensee' is this a defiend term? | Yes | Proposer accepted suggested the change
|  | Page 61 - Terms and Definitions | Unacceptable Frequency Conditions | Transient frequency deviations…...... This text does not look like part of the definition. 'will define' defines | Yes | Proposer accepted suggested the change
|  | Page 62 - Terms and Definitions | User System | After 'system' delete carriage return | Yes | Proposer accepted suggested the change
|  |  | User System Interface Point (USIP) | Defined term for 'Offshore Transmission' 'distribution owner' change to read 'distribution network operator' | Yes | Proposer accepted suggested the change
|  | Page 86 - Appendix J | Introduction - Point J.5 | National Electricity Transmission System - Generally uncapitalised | Yes | Proposer accepted suggested the change
|  | Page 87 - Appendix J | Functions of the Panel - Point J.13 | secretary' capital S | Yes | Proposer accepted suggested the change
|  | Page 92 - Appendix J | Points J38, J.40, J.41, J.42 | J35-J83 should read J38-J83 J.40 delete 'sub' J.41 delete 'sub' J.41 point (a) delete space, lower case p on word Paragraph, J24-26 missing J, J.41 Point (b) Paragraph capital P, J.79 - 80 missing J J.42 J-38 - 43 missing J | Yes | Proposer accepted suggested the change
|  | Page 93 - Appendix J | J.44, J.45, J46, J.47,J.49 | J.44 delete 'sub' , Point (b) uncapitalise 'Proposed Modification' J.45 delete 'sub' J.46 J.50-64 missing J J.47 Industry Consultation - uncapitalise, delete 'sub' and J65-66 missing J J.49 delete 'sub'and point (b) J35-83 missing J | Yes | Proposer accepted suggested the change
|  | Page 94 - Appendix J | J.51, J.54 | J.51 delete words 'sub' J.54 'Secretary mentioned 3 times - is this the defined term Secretary as the person, wont be the same person as the 'Panel Secretary' - it would be the Workgroup Secretary | Yes | Proposer accepted suggested the change
|  | Page 95 - Appendix J | J.61, J.62, J.65 | J.61 'will' change to 'shall J.62 J24 -26 missing J J50-64 missing J | Yes | Proposer accepted suggested the change
|  | Page 96 - Appendix J | J.66, J.67, j.68, J69 | J.66 Proposal; check if section break is needed J.67 'sub' delete J.68 word Modificaiton uncapitalise J.69 'Each licensee member ….... Is this necessary? | Yes | Proposer accepted suggested the change
|  | Page 97 - Appendix J | J.70, J.73, J.74, J.75, J.76, J.78 | J.70 Word Modification uncapitalise, 'Those licensee members …. Is this required? J.72 Uncapitalise m on Modification J.74 J.72-78 missing J J.75 Uncapitalise m on Modification J.76 'sub' delete J.78 Uncapitalise m on Modificaiton, J38-83 missing J, 'sub' delete, J72-78 missing J. | Yes | Proposer accepted suggested the change
|  | Page 98 - Appendix J | J.80, J.82 | Uncapitalise M on word Modificaiton for both points | Yes | Proposer accepted suggested the change
|  | Page 99 - Appendix J, Annex 1 | J.A1.2 | Point (b) Missing J | Yes | Proposer accepted suggested the change
|  |  | J.A1.4 | Missing full stop at end of sentence | Yes | Proposer accepted suggested the change
|  |  | J.A1.5 | rocess - should be 'process@ | Yes | Proposer accepted suggested the change
|  |  | J.A1.6 | Word Website shoud have small w | Yes | Proposer accepted suggested the change
|  | Page 100 - Appendix J, Annex 1 | J.A1.13, J.A1.14, J.A1.15 | Capital p on word Paragraph uncapitalise | Yes | Proposer accepted suggested the change
|  | Page 101 - Appendix J, Annex 1 | J.A1.23 | Capital p on word Paragraph uncapitalise | Yes | Proposer accepted suggested the change
|  | Page 102 - Appendix J, Annex 1 | J.A1.28 point (d) where, J.A1.30 | add : J.A1.30 word Paragraph uncapitalise | Yes | Proposer accepted suggested the change
|  | Page 103 - Appendix J, Annex 1 | J.A1.30, Point c, J.A1.34, J.A1.35, J.A1.36, J.A1.39 | Captial p on word Paragraph uncapitalise | Yes | Proposer accepted suggested the change
|  | Page 104, Appendix J, Annex 1 | J.A1.41, J.A1.42, J.A1.45, J.A1.46, J.A1.47, | Captial p on word Paragraph uncapitalise | Yes | Proposer accepted suggested the change
|  | Page 107, Appendix J, Annex 3 | A copy of the modification proposal Form | Uncapitalise F on form | Yes | Proposer accepted suggested the change
3 | SP Energy Networks | Front Page | Version 2.11 | Need to update believe version will be 2.13. Also need to reflect the designated changed to V2.12 | Yes | Proposer accepted suggested the change
|  | Page 5 - Point 1.10 | Grid entry points | hy aren’t these shown in Fig 1.1 ina similar manner to GSPs? Is this not confusing as in 1.9 wetalk about generation points of connection then in thisparagraph (1.10_talk about covering ‘connections whichextend from the grid entry point and reach into the MITS’but we don’t actually show where the GEP is or that itincludes the generation points of connectio | Yes | Proposer accepted suggested the change
|  | Page 5 - Point 1.16.1 | the offshore grid entry point/s at which offshore power stations feed intoan offshore transmission s | Should this have been deleted? Theabbreviation is used in Fig 1.2 alongside the abbreviation for OSP which has been left in point 1.16.2 | Yes | Proposer accepted suggested the change
|  | Page 8 - Point 1.18 | Fig 1.3 | Has the DO of onshore DO been specified? (is it Distribution Owner or Distribution Operator or something else). In the definition of first onshore substation this entry is called an @onshoreuser system owner' | Yes | Proposer accepted suggested the change
|  | Page 8 - Point 1.19 | Interface Point (IP) and USIP | Is it clear that in the diagram above the abbreviation IP or USIP refer to these meanings? | Yes | Proposer accepted suggested the change
|  | Page 9 - Point 1.22 | planning operating' | Planning and Operating insert 'and' | Yes | Proposer accepted suggested the change
|  | Page 33 - Table 6.5 | Type of Event | Should the headings be centred or not | Yes | Proposer accepted suggested the change
|  |  | Point 8 (c ) As (a) and (b) plus | Should this be on a new line or if not a full stop after KV | Yes | Proposer accepted suggested the change
|  | Page 34 - Notes- point 8 | disconnection | is there an extra space or is it just that its fully justified in alignment | Yes | Proposer accepted suggested the change
|  | Page 43 - Point 8.7 | transmission circuit' | Remove additional space | Yes | Proposer accepted suggested the change
|  | Page 45 - point 9.1.3 | 9.14,9.15 and 9.16 | Should be separate bullet points | Yes | Proposer accepted suggested the change
|  | Page 49 - Terms and Definitions | Competitively Appointed Transmission Owner | Word transmission licence - Italicised - defined term | Yes | Proposer accepted suggested the change
|  | Page 50 - Terms and Definitions | Forecast Minimum Demand | Change word 'are'to is? | Yes | Proposer accepted suggested the change
|  | Page 54 - Terms and Definitions | Loss of Supply Capacity | Were these not changed to lowercase in earlier definitions (e.g. Demand Point of Connection) | Yes | Proposer accepted suggested the change
|  | Page 60 - Terms and Definitions | Transmission Area | Transmission Licence - defined term should be italicised Transmission Licensee - unitalicise transmission as this is not defined where as licensee is. | Yes | Proposer accepted suggested the change
|  |  | Transmission Licence | Transmission licence appears to be a circular reference | Yes | Proposer accepted suggested the change
|  |  | Transmission System | Italicise and defined term. | Yes | Proposer accepted suggested the change
|  | Page 62 - Terms and Definitions | and plant and / or apparatus connecting ….... | Increase spacing before/after this sentence to separate the two paragraphs to aid readability | Yes | Proposer accepted suggested the change
|  | Page 67 - Terms and Definitions - Appendix B | Point B.3.1 | Transmission Equipment - any reason these words are capitalised? | Yes | Proposer accepted suggested the change
|  | Page 83 - Terms and Definitions - Appendix H | Point H.19 | the ISOP remove additional space used twice in this point. | Yes | Proposer accepted suggested the change
|  | Page 84 - Terms of Definitions - Appendix H | Point H.21 | word Licenced should be spelt Licensed | Yes | Proposer accepted suggested the change
|  | Page 86 - Appendix J | Appendix J | This will need to be reviewed and aligned in light of V2.12 changes | Yes | Proposer accepted suggested the change
|  | Page 87 - Appendix J | Spelling | endeavor' to endeavour | Yes | Proposer accepted suggested the change
|  | Page 92 - Appendix J | Spelling | endeavor' to endeavour | Yes | Proposer accepted suggested the change