## Version
Date | Version | Details
2026-07-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for July 2026. This file will be updated in August 2026 to reflect the full data set.
2026-08-14 | 2 | This file only contains the indicative reporting associated with data for GC0151 for July 2026. This file is updated in August 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Craigiebuckler-Fiddes-Tarland 132kV (CF/CLS ) Circuit | SHETL | 2026-07-02 06:59
Greater Gabbard 132/66kV SVC3 | OFTO | 2026-07-06 11:36 |  | To be confirmed
Thurcroft 275kV MC3 | NGET | 2026-07-08 08:12
ST Fergus Mobil 132kV circuit | SHETL/User | 2026-07-07 10:24
ST Fergus Mobil 132kV circuit | SHETL/User | 2026-07-09 12:22
Walney Extension Onshore 400kV Filter 1 | OFTO | 2026-07-09 14:49 |  | To be confirmed
Walney Extension Onshore 220kV Filter 1 | OFTO | 2026-07-09 14:57 |  | To be confirmed
Devolmoor - Windyhill 400kV circuit | SPT | 2026-07-10 11:39 |  | To be confirmed
Walham 400kV - Port Ham 132kV SGT1 | NGET | 2026-07-10 16:40
Beauly - Nairn 132kV circuit | SHETL | 2026-07-10 20:29
Kergord HVDC Converter Station | SHETL | 2026-07-15 23:01
Auchencrosh-Mark Hill-Coylton 275kV circuit | SPT | 2026-07-20 04:45 |  | To be confirmed
Staythorpe B 132/25kV Grid Transformer 3 | NGET | 2026-07-21 22:22
Iver 400/275kV SGT5A and 13kV Shunt Reactor 5A | NGET | 2026-07-22 01:20
Berkswell Feckenham 275kV circuit | NGET | 2026-07-23 20:20
Seagreen One Onshore/Offshore Land-Sea Cable 3 220kV circuit | OFTO | 2026-07-24 05:04 |  | To be confirmed
Littlebrook 400/132kV SGT4B | NGET | 2026-07-24 18:07
Burbo Bank 400/220kV SGT1 and 13kV SVC1 | OFTO | 2026-07-26 06:32 |  | To be confirmed
Bicker Fen - Walpole 400kV circuit | NGET | 2026-07-26 09:38
Hagshaw Hill 3 repower phase 2 33kV circuit | OFTO | 2026-07-26 12:21 |  | To be confirmed