## Version
Date | Version | Details
2026-08-14 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for August 2026. This file will be updated in September 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Bicker Fen - West Burton 2 400kV circuit | NGET | 2026-08-03 14:25 |  | To be confirmed
East Claydon 400kV Shunt Reactor 2 | NGET | 2026-08-10 14:44 |  | To be confirmed
Blackhillock 400kV MBB2 | SHETL | 2026-08-12 12:32 |  | To be confirmed