## Version
Date | Version | Details
2026-08-14 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for August 2026. This file will be updated in September 2026 to reflect the full data set.
2026-09-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for August 2026. This file is updated in September 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Bicker Fen - West Burton 2 400kV circuit | NGET | 2026-08-03 14:25
East Claydon 13kV Shunt Reactor 2 | NGET | 2026-08-10 14:44 |  | To be confirmed
Blackhillock 400kV MBB2 | SHETL | 2026-08-12 12:32
Beddington-Rowdown-Kemsley-Littlebrook 1 400kV circuit | NGET | 2026-08-17 01:01
Beddington-Rowdown-Kemsley-Littlebrook 1 400kV circuit | NGET | 2026-08-17 01:02
Beddington-Rowdown-Kemsley-Littlebrook 1 400kV circuit | NGET | 2026-08-17 02:08
Chesterfield 275kV Mesh Corner 3 | NGET | 2026-08-21 18:07
Nechells/Nechells East 275/132kV SGT4 | NGET | 2026-08-23 06:59
Rassau - Walham 400 kV Circuit | NGET | 2026-08-24 06:11
Pembroke - Walham 400kV circuit | NGET | 2026-08-27 06:08
Blackhillock – Keith 2 (HKU2) 275kV & Keith 275/132kV SGT2 circuit | SHETL | 2026-08-29 14:13
Cottam - Eaton Socon - Ryhall 400KV circuit | NGET | 2026-08-30 20:22
Aberthaw - Tremorfa - Uskmouth - Whitson and Aberthaw - Cardiff East - Pyle 275kV Circuit | NGET | 2026-08-31 00:18