## Version
Date | Version | Details
2026-09-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for September 2026. This file will be updated in October 2026 to reflect the full data set.
2026-10-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for September 2026. This file is updated in October 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Dalmally – Inverarnan 275kV circuit | SPT | 2026-09-07 18:30
Inverarnan - Lambhill - Denny North 275kV circuit | SPT/SHETL | 2026-09-07 18:30
Greater Gabbard 132kV SVC3 | OFTO | 2026-09-08 19:22 |  | To be confirmed
IVER 132/275 kV SGT1A | NGET | 2026-09-11 13:29 |  | To be confirmed
Galloper Onshore 132kV Filter 1 | OFTO | 2026-09-15 19:11 |  | To be confirmed
Mybster – Dunbeath – Brora-Loch Buidhe 132kV circuit | SHETL | 2026-09-16 06:19
Grendon 400kV MSC4 | NGET | 2026-09-23 17:28 |  | To be confirmed
Walney Extension Onshore 220kV Filter 1 | OFTO | 2026-09-28 15:14 |  | To be confirmed
Pitsmoor - Templeborough 275kV circuit | NGET | 2026-09-29 22:36
Templeborough - Wincobank 275kV circuit | NGET | 2026-09-29 22:42