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Workgroup Consultation Response Proforma
[bookmark: _Hlk31877162]GC0181:  Enhance the Effectiveness of System Incidents Reporting
Industry parties are invited to respond to this consultation expressing their views and supplying the rationale for those views, particularly in respect of any specific questions detailed below.
Please send your responses to grid.code@neso.energy by 5pm on 22 October 
2026.  Please note that any responses received after the deadline or sent to a different email address may not receive due consideration.
If you have any queries on the content of this consultation, please contact grid.code@neso.energy
	Respondent details
	Please enter your details

	Respondent name:
	Click or tap here to enter text.
	Company name:
	Click or tap here to enter text.
	Email address:
	Click or tap here to enter text.
	Phone number:
	Click or tap here to enter text.
	Which best describes your organisation?
	☐Consumer body
☐Demand
☐Distribution Network Operator
☐Generator
☐Industry body
☐Interconnector
	☐Storage
☐Supplier
☐System Operator
☐Transmission Owner
☐Virtual Lead Party
☐Other






I wish my response to be:
	(Please mark the relevant box)

	☐ Non-Confidential (this will be shared with industry and the Panel for further consideration)

	
	☐ Confidential (this will be disclosed to the Authority in full but, unless specified, will not be shared with the Panel or the industry for further consideration)



For reference the Applicable Grid Code Objectives are: 
i. To permit the development, maintenance and operation of an efficient, coordinated and economical system for the transmission of electricity
ii. Facilitating effective competition in the generation and supply of electricity (and without limiting the foregoing, to facilitate the national electricity transmission system being made available to persons authorised to supply or generate electricity on terms which neither prevent nor restrict competition in the supply or generation of electricity);
iii. Subject to sub-paragraphs* (i) and (ii), to promote the security and efficiency of the electricity generation, transmission and distribution systems in the national electricity transmission system operator area taken as a whole; 
iv. To efficiently discharge the obligations imposed upon the licensee by this license* and to comply with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency; and  
v. To promote efficiency in the implementation and administration of the Grid Code arrangements
* See Electricity System Operator Licence

For reference, (for consultation questions 5 & 6) the Electricity Balancing Regulation (EBR) Article 3 Objectives and regulatory aspects are:
a) fostering effective competition, non-discrimination and transparency in balancing markets;
b) enhancing efficiency of balancing as well as efficiency of national balancing markets;
c) integrating balancing markets and promoting the possibilities for exchanges of balancing services while contributing to operational security;
d) contributing to the efficient long-term operation and development of the electricity transmission system and electricity sector while facilitating the efficient and consistent functioning of day-ahead, intraday and balancing markets;
e) ensuring that the procurement of balancing services is fair, objective, transparent and market-based, avoids undue barriers to entry for new entrants, fosters the liquidity of balancing markets while preventing undue market distortions;
f) facilitating the participation of demand response including aggregation facilities and energy storage while ensuring they compete with other balancing services at a level playing field and, where necessary, act independently when serving a single demand facility;
g) facilitating the participation of renewable energy sources and supporting the achievement of any target specified in an enactment for the share of energy from renewable sources.


	What is the EBR?

	The Electricity Balancing Regulation (EBR) is a European Network Code introduced by the Third Energy Package European legislation in late 2017.
The EBR regulation lays down the rules for the integration of balancing markets in Europe, with the objectives of enhancing Europe’s security of supply. The EBR aims to do this through harmonisation of electricity balancing rules and facilitating the exchange of balancing resources between European Transmission System Operators (TSOs). Article 18 of the EBR states that TSOs such as the NESO should have terms and conditions developed for balancing services, which are submitted and approved by Ofgem.



Please express your views in the right-hand side of the table below, including your rationale.

	Standard Workgroup Consultation questions

	1
	Do you believe that the Original Proposal better facilitate the Applicable Objectives versus the current baseline?
	Mark the Objectives which you believe the original solution better facilitates than the current baseline:

	
	
	Original
	☐i   ☐ii   ☐iii   ☐iv   ☐v   
☐None

	2
	Do you support the proposed implementation approach?
	☐Yes
☐No


	
	
	Click or tap here to enter text.
	3
	Do you have any other comments?
	Click or tap here to enter text.
	4
	Do you wish to raise a Workgroup Consultation Alternative Request for the Workgroup to consider?
	☐Yes (the request form can be found in the Workgroup Consultation Section)
☐No


	
	
	Click or tap here to enter text.
	5
	Does the draft legal text satisfy the intent of the modification?
	☐Yes
☐No


	
	
	Click or tap here to enter text.
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	Do you agree with the Workgroup’s assessment that the modification does not impact the Electricity Balancing Regulation (EBR) Article 18 terms and conditions held within the Code?   
	☐Yes
☐No


	
	
	Click or tap here to enter text.



	Specific Workgroup Consultation questions

	7
	Do you currently use data reported under OC3? Please provide further details.
	☐Yes
☐No


	
	
	Click or tap here to enter text.
	8
	If this modification results in faster, more frequent, more granular and wider-area System incidents reports, would your actions change? If so, please provide further information on how.
	☐Yes
☐No


	
	
	Click or tap here to enter text.
	9
	What industry and/or consumer benefits do you anticipate as a result of this modification?
	Click or tap here to enter text.


	10
	Based on your understanding of what information would be reported, do you see any conflicts in relation to commercially sensitive information or what may be classified as ‘confidential’ information?
	Click or tap here to enter text.
	11
	Will GC0181 impact your organisation in any way? Please provide a description of the impact(s).
	☐Yes
☐No

	
	
	Click or tap here to enter text.
	12
	With regard to Element 1, do you support the change from monthly to weekly reporting? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	13
	With regard to Element 2, do you support the change from reporting delay from 2-3 months to [5-10] working days? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.


	14
	With regard to Element 3, do you agree to allowing NESO extra time (more than 5 Business Days) to report in exceptional circumstances? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	15
	With regard to Element 4, do you agree that the data reporting formats, consistency and quality can be improved and refined? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	16
	What format would you like the revised System Incidents Reports to take?
	Click or tap here to enter text.


	17
	With regard to Element 5, do you agree that NESO should only be obliged to report on known data? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	18
	With regard to Element 6, do you agree that frequency data reported in Significant Events should be enhanced from 1 second data for the whole of GB, to 100ms data for 7 regions in GB? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	19
	With regard to Element 7, do you agree that OC3.4.4 publication of Historic Frequency Data should be changed from 1 second data, reported monthly, 11 working days in arears, for the whole of GB to publication of 100ms data, reported hourly, one hour in arrears, for 7 regions in GB? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	20
	With regard to Element 8, do you agree to including data from PMUs in Significant Event reports? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	21
	With regard to Element 9, do you agree that reporting requirements for transmission network faults under OC3.4.1(c) and OC3.5.1 should be rationalised? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	22
	With regard to Element 10, do you agree that the trigger for reporting voltage events should be changed, given that none have been reported and the voltage causation of the Iberian Blackout of April 2025? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	23
	With regard to Element 11, do you agree with adding the occurrence of a phase jump, with an angle >12degrees in 20ms, to the list of Significant Events - OC3.4.1(a)? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	24
	With regard to Element 12, do you agree with adding the occurrence of a ROCOF exceeding 0.25Hz/s to the list of Significant Events - OC3.4.1(a)? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	25
	With regard to Element 13, do you agree with adding sub or super synchronous oscillations between 0.1- 45Hz, with an amplitude of >=10mHz, a duration of >=10s, and a damping ratio of <3% for >=5s to the list of Significant Events - OC3.4.1(a)? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	26
	With regard to Element 14, do you agree with changing each Significant Event report to include 30seconds (not 1 minute) data before the event and 30s after the event (or longer if any frequency remains outside the band 49.80 to 50.20Hz)? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	27
	With regard to Element 15 do you agree with the increased reporting of inertia data to include inertia contributions from different sources of inertia? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	28
	With regard to Element 16, do you agree with the inclusion of DSM and PQM data from plant that trips in the Significant Events reports? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	29
	With regard to Element 17, do you agree that any trips of HVDC links in the NETS needs to be reported? Please provide further details. Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	30
	With regard to Element 18, do you agree that, in the event of two Significant Incidents occurring within a 12 second period, NESO should publish a bespoke report (Cascade System Incident Report). Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	31
	With regard to Element 19, do you agree that NESO should produce an annual report to review all Events and Reports over the last 12 months, to look for trends compared to previous years as detailed in the Draft Legal Text OC3.6.4? Please provide further details.
	☐Yes
☐No
☐Neither Yes nor No

	
	
	Click or tap here to enter text.
	32
	Do you agree that the proposed Legal Text preserves flexibility for future publication formatting changes?
	☐Yes
☐No

	
	
	Click or tap here to enter text.
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