## Version
Date | Version | Details
2026-10-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for October 2026. This file will be updated in November 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Kirkstall A 275/132kV SGT4 | NGET | 2026-10-04 08:34 |  | To be confirmed
Baglan Bay - Swansea North 400kV circuit | NGET | 2026-10-06 17:59 |  | To be confirmed
Greater Gabbard 132kV SVC1 | OFTO | 2026-10-07 17:02 |  | To be confirmed
Greater Gabbard 132kV SVC3 | OFTO | 2026-10-07 18:28 |  | To be confirmed
Dounreay 275kV Reserve Busbar 1 | SHETL | 2026-10-07 23:11 |  | To be confirmed
Smeaton 400/275kV SGT2 | SPT | 2026-10-08 10:02 |  | To be confirmed
East Claydon 400/132 SGT2 | NGET | 2026-10-09 11:38 |  | To be confirmed
Feckenham 400/275kV SGT4 circuit | NGET | 2026-10-13 22:11 |  | To be confirmed