## Index
Index
Residuals
Averages
Table 1 - Generation Wider Tariffs
Table 2 - Local Substation Tariffs
Table 3 - Local Circuit Tariffs
Table 4 - Offshore Local Tariffs
Table 5 - Demand Tariffs
Table 6 - Contracted and Modelled TEC
Table 7 - Allowed Revenues
Table 10 - Generation and Demand Revenue Proportions
Table 11 - Residual Calculation
Table 8 - Charging Bases
Table 9 - Interconectors
Table 12 - Variation in Generation Zonal Tariffs
Table 13 - Change in HH Demand Tariffs
Table 14 - NHH Demand Tariff Changes
Table 15 - Impact of change in allowed revenue
Table 16 - Impact of change to peak system demand
Table 17 - Impact of change to NHH demand
Table 18 - Impact of change to generation
App B NGET
App B SPT
App B SHET
App B OFTO
Table 23 - Generation TEC Changes
Table 24 - Week 24 Demand and Negative Generation
Figure 1 - Change in forecast net locational demand
Figure 2 - Generation Changes
Figure 3 - HH Demand Tariff Changes
Figure 4 - Change in NHH Tariff

## Residual
Residual | 2016/17 Jan Forecast | 2016/17 May Forecast | Change
Gen | 1.3086 | 1.5 | 0.19132
Dem | 43.6116 | 44.8857 | 1.2741
Average Tariff | 2016/17 Jan Forecast | 2016/17 May Forecast | Change
Gen (£/kW) | 7.6565 | 7.4026 | -0.2539 | Nb These generation average tariffs include local tariffs
Dem (£/kW) | 43.9625 | 45.311 | 1.3485
Dem (p/kWh) | 5.7351 | 6.2792 | 0.54407

## Tables 1 - 5
Table 1 - Generation Wider Tariffs
|  | System Peak | Shared Year Round | Not Shared Year Round | Residual | Conventional 70% | Intermittent 30%
Zone | Zone Name | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW)
1 | North Scotland | 3.0543 | 14.1128 | 7.7838 | 1.5 | 22.2169 | 13.5176
2 | East Aberdeenshire | 4.107 | 7.6746 | 7.7838 | 1.5 | 18.763 | 11.5861
3 | Western Highlands | 2.88 | 12.0328 | 7.4833 | 1.5 | 20.2862 | 12.5931
4 | Skye and Lochalsh | -2.8754 | 12.0328 | 7.2443 | 1.5 | 14.2918 | 12.3541
5 | Eastern Grampian and Tayside | 2.2939 | 11.0926 | 7.0497 | 1.5 | 18.6084 | 11.8775
6 | Central Grampian | 4.2827 | 10.9013 | 6.9171 | 1.5 | 20.3308 | 11.6875
7 | Argyll | 3.1653 | 8.7431 | 10.2416 | 1.5 | 21.0271 | 14.3646
8 | The Trossachs | 3.4705 | 8.7431 | 5.3234 | 1.5 | 16.4141 | 9.4463
9 | Stirlingshire and Fife | 3.7722 | 7.6933 | 4.9419 | 1.5 | 15.5994 | 8.7499
10 | South West Scotlands | 2.4473 | 8.87 | 4.9419 | 1.5 | 15.0982 | 9.1029
11 | Lothian and Borders | 2.8887 | 8.87 | 1.1107 | 1.5 | 11.7084 | 5.2717
12 | Solway and Cheviot | 1.4374 | 5.5523 | 3.296 | 1.5 | 10.12 | 6.4617
13 | North East England | 3.3376 | 3.0131 | 1.6454 | 1.5 | 8.5921 | 4.0493
14 | North Lancashire and The Lakes | 1.7052 | 3.0131 | 1.9208 | 1.5 | 7.2351 | 4.3246
15 | South Lancashire, Yorkshire and Humber | 3.7295 | 1.2808 | 0 | 1.5 | 6.126 | 1.8842
16 | North Midlands and North Wales | 3.2893 | 0.15734 | 0 | 1.5 | 4.8994 | 1.5472
17 | South Lincolnshire and North Norfolk | 1.5907 | -0.20923 | 0 | 1.5 | 2.9442 | 1.4372
18 | Mid Wales and The Midlands | 1.0866 | -0.14639 | 0 | 1.5 | 2.4841 | 1.456
19 | Anglesey and Snowdon | 4.3941 | 2.0804 | 0 | 1.5 | 7.3504 | 2.1241
20 | Pembrokeshire | 7.9515 | -4.2608 | 0 | 1.5 | 6.4689 | 0.22172
21 | South Wales & Gloucester | 5.0816 | -4.356 | 0 | 1.5 | 3.5324 | 0.19316
22 | Cotswold | 1.9594 | 2.5142 | -6.95 | 1.5 | -1.7307 | -4.6958
23 | Central London | -3.2855 | 2.5142 | -5.2179 | 1.5 | -5.2435 | -2.9637
24 | Essex and Kent | -4.2617 | 2.5142 | 0 | 1.5 | -1.0018 | 2.2542
25 | Oxfordshire, Surrey and Sussex | -1.5654 | -2.3767 | 0 | 1.5 | -1.7292 | 0.78695
26 | Somerset and Wessex | -2.1778 | -4.3167 | 0 | 1.5 | -3.6995 | 0.20496
27 | West Devon and Cornwall | -1.8853 | -6.6812 | 0 | 1.5 | -5.0621 | -0.50438
Table 2 - Local Substation Tariffs
[8 empty] | Substation Rating | Connection Type | Local Substation Tariff (£/kW)
[10 empty] | 132kV | 275kV | 400kV
[8 empty] | <1320 MW | No redundancy | 0.18586 | 0.10632 | 0.076608
[8 empty] | <1320 MW | Redundancy | 0.40943 | 0.25332 | 0.18424
[8 empty] | >=1320 MW | No redundancy |  | 0.33337 | 0.2411
[8 empty] | >=1320 MW | Redundancy |  | 0.54731 | 0.39949
Table 3 - Local Circuit Tariffs
[13 empty] | Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
[13 empty] | Achruach | 3.9718 | Dinorwig | 2.2254 | Kilmorack | 0.18282
[13 empty] | Aigas | 0.60544 | Dunlaw Extension | 1.3288 | Langage | 0.60867
[13 empty] | An Suidhe | 2.8249 | Brochloch | 1.1025 | Lochay | 0.33876
[13 empty] | Arecleoch | 3.2894 | Dumnaglass | 3.351 | Luichart | 1.0518
[13 empty] | Baglan Bay | 0.66939 | Edinbane | 6.3367 | Mark Hill | 0.81052
[13 empty] | Beinneun Wind Farm | 4.5407 | Ewe Hill | 4.8587 | Margee | 0.88038
[13 empty] | Afton | 2.1517 | Farr Windfarm | 0.0023481 | Marchwood | 0.069262
[13 empty] | Black Craig | 1.1344 | Fallago | 0.60739 | Millennium Wind | 1.2344e-16
[13 empty] | Blacklaw Extension | 2.0325 | Carraig Gheal | 4.0718 | Mossford | 0.70982
[13 empty] | Black Law | 0.92561 | Ffestiniogg | 0.23459 | Nant | -1.1369
[13 empty] | Bodelwyddan | 0.10287 | Finlarig | 0.29641 | Dudgeon Offshore Wind Farm | -0.34562
[13 empty] | Carrington | -0.0018758 | Foyers | 0.70737 | Neilston | -2.2077
[13 empty] | Clyde (North) | 0.10152 | Glendoe | 1.7028 | Newfield | 3.6096
[13 empty] | Clyde (South) | 0.1174 | Glenmoriston | 1.2232 | Rhigos | 0.11662
[13 empty] | Coalburn | 0.059839 | Ulzieside | 2.1517 | Rocksavage | 0.016344
[13 empty] | Corriegarth | 2.3465 | Gordonbush | 1.2023 | Saltend | 0.30842
[13 empty] | Corriemoillie | 2.5449 | Griffin Wind | 5.792 | South Humber Bank | 0.38274
[13 empty] | Coryton | 0.049955 | Hadyard Hill | 2.5623 | Spalding | 0.25284
[13 empty] | Cruachan | 1.6453 | Harestanes | 4.9125 | Kilbraur | 1.0707
[13 empty] | Crystal Rig | 0.20848 | Hartlepool | 0.55461 | Strathy Wind | 2.1977
[13 empty] | Culligran | 1.6044 | Hedon | 0.18125 | Aikengall II | 1.3499
[13 empty] | Deanie | 2.6359 | Hornsea | 0.13939 | Whitelee | 0.098245
[13 empty] | Dersalloch | 3.9487 | Invergarry | 1.3134 | Whitelee Extension | 0.27312
[13 empty] | Didcot | 0.47384 | Kilgallioch | 0.97427
Table 4 - Offshore Local Tariffs
[19 empty] | Offshore Generator | Tariff Component (£/kW)
[20 empty] | Substation | Circuit | ETUoS
[19 empty] | Barrow | 7.3298 | 38.3497 | 0.95228
[19 empty] | Greater Gabbard | 13.7426 | 31.5791 | 0
[19 empty] | Gunfleet | 15.8634 | 14.5638 | 2.7221
[19 empty] | Gwynt Y Mȏr | 16.7363 | 16.4873 | 0
[19 empty] | Lincs | 13.6983 | 54.919 | 0
[19 empty] | London Array | 9.3248 | 31.7596 | 0
[19 empty] | Ormonde | 22.6599 | 42.2133 | 0.33641
[19 empty] | Robin Rigg East | -0.41918 | 27.767 | 8.6063
[19 empty] | Robin Rigg West | -0.41918 | 27.767 | 8.6063
[19 empty] | Sheringham Shoal | 21.8934 | 25.6759 | 0.55812
[19 empty] | Walney 1 | 19.5566 | 38.9469 | 0
[19 empty] | Walney 2 | 19.4144 | 39.29 | 0
Table 5 - Demand Tariffs
[23 empty] | Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh)
[23 empty] | 1 | Northern Scotland | 29.3411 | 4.3387
[23 empty] | 2 | Southern Scotland | 31.4035 | 4.5705
[23 empty] | 3 | Northern | 37.3812 | 5.0541
[23 empty] | 4 | North West | 40.9189 | 5.7656
[23 empty] | 5 | Yorkshire | 41.6675 | 6.1025
[23 empty] | 6 | N Wales & Mersey | 41.2802 | 6.7873
[23 empty] | 7 | East Midlands | 44.8451 | 6.2255
[23 empty] | 8 | Midlands | 45.6237 | 6.5287
[23 empty] | 9 | Eastern | 46.9715 | 6.447
[23 empty] | 10 | South Wales | 44.0898 | 6.367
[23 empty] | 11 | South East | 49.6526 | 6.7242
[23 empty] | 12 | London | 51.9548 | 7.1205
[23 empty] | 13 | Southern | 51.0016 | 7.1572
[23 empty] | 14 | South Western | 51.3018 | 6.9185

## Tables 6 - 11
Table 6 - Contracted and Modelled TEC
(GW) | 2015/16 | 2016/17 Initial forecast | 2016/17 April Forecast
Contracted TEC | 78.7 | 77.9 | 81.7342
Modelled TEC | 78.7397 | 82.9117 | 79.0704
Table 7 - Allowed Revenues
|  |  |  | £m Nominal | 2015/16 TNUoS Revenue | 2016/17 TNUoS Revenue
[5 empty] | Jan 2015 Final | Jan 2015 Initial View | May 2015 Update
National Grid
|  |  |  | Price controlled revenue | 1780.6536 | 1953.7604 | 1936.9506
|  |  |  | Less income from connections | 44.9552 | 48.2883 | 44.9552
|  |  |  | Income from TNUoS | 1735.6984 | 1905.4722 | 1891.9954
Scottish Power Transmission
|  |  |  | Price controlled revenue | 306.41 | 320.9905 | 303.1342
|  |  |  | Less income from connections | 10.7454 | 10.4868 | 8.9237
|  |  |  | Income from TNUoS | 295.6646 | 310.5037 | 294.2105
SHE Transmission
|  |  |  | Price controlled revenue | 341.6798 | 343.0413 | 333.6129
|  |  |  | Less income from connections | 3.4725 | 3.565 | 3.5132
|  |  |  | Income from TNUoS | 338.2073 | 339.4763 | 330.0997
|  |  |  | Offshore | 248.357 | 269.0847 | 265.5844
|  |  |  | Network Innovation Competition | 18.7607 | 48.4439 | 40.5
|  |  |  | Total to Collect from TNUoS | 2636.6879 | 2872.9808 | 2822.3899
Table 8 - Charging Bases
[8 empty] | Charging Base | 2015/16 | 2016/17 Pre-P272 (For info) | 2016/17 Post-P272
[8 empty] | Generation (GW) | 71.5 | 74.0754 | 74.0754
[8 empty] | Total Average Triad (GW) | 52.4 | 50.8324 | 50.8324
[8 empty] | HH Demand Average Triad (GW) | 15 | 13.608 | 17.3346
[8 empty] | NHH Demand (4pm-7pm TWh) | 27.4 | 26.1575 | 23.7068
Table 9 - Interconectors
[12 empty] | Interconnector | Site | Interconnected System | Generation Zone | Transport Model (Generation MW) Peak | Transport Model (Generation MW) Year Round | Charging Base (Generation MW)
[12 empty] | IFA Interconnector | Sellindge 400kV | France | 24 | 0 | 2000 | 0
[12 empty] | ElecLink | Sellindge 400kV | France | 24 | 0 | 1000 | 0
[12 empty] | Britned | Grain 400kV | Netherlands | 24 | 0 | 1200 | 0
[12 empty] | East - West | Deesside 400kV | Republic of Ireland | 16 | 0 | 505 | 0
[12 empty] | Moyle | Auchencrosh 275kV | Northern Ireland | 10 | 0 | 295 | 0
Table 10 - Generation and Demand Revenue Proportions
[21 empty] | 2015/16 | 2016/17
[19 empty] | L | Limit on generation tariff (€/MWh) | 2.34 | 2.34
[19 empty] | X | Exchange Rate (€/£) | 1.22 | 1.36
[19 empty] | L | Limit on generation tariff (£/MWh) | 1.918 | 1.7206
[19 empty] | R | Total Revenue (£m) | 2636.6879 | 2822.3899
[19 empty] | E | Annual generation (TWh) | 319.6 | 318.7
[19 empty] | G | % of revenue from generation | 23.2% | 19.4%
[19 empty] | D | % of revenue from demand | 76.8% | 80.6%
[19 empty] | G.R | Revenue recovered from generation (£m) | 611.7116 | 547.544
[19 empty] | D.R | Revenue recovered from demand (£m) | 2024.9763 | 2274.8463
Table 11 - Residual Calculation
[25 empty] | 2015/16 | 2016/17
[23 empty] | RG | Generator residual tariff (£/kW) | 4.8075 | 1.4891
[23 empty] | RD | Demand residual tariff (£/kW) | 35.635 | 44.9016
[23 empty] | G | Proportion of revenue recovered from generation (%) | 0.232 | 0.194
[23 empty] | D | Proportion of revenue recovered from demand (%) | 0.768 | 0.806
[23 empty] | R | Total TNUoS revenue (£m) | 2636.6879 | 2822.3899
[23 empty] | ZG | Revenue recovered from the locational element of generator tariffs (£m) | 47.6399 | 225.489
[23 empty] | ZD | Revenue recovered from the locational element of demand tariffs (£m) | 157.7046 | -7.607
[23 empty] | O | Revenue recovered from offshore local tariffs (£m) | 186.581 | 175.8227
[23 empty] | LG | Revenue recovered from onshore local substation tariffs (£m) | 20.1298 | 20.0302
[23 empty] | SG | Revenue recovered from onshore local circuit tariffs (£m) | 13.7974 | 15.8991
[23 empty] | BG | Generator charging base (GW) | 71.4641 | 74.0754
[23 empty] | BD | Demand charging base (GW) | 52.4 | 50.8324

## Tables 12 - 14
Table 12 - Variation in Generation Zonal Tariffs
Wider Generation Tariffs (£/kW) | [8 empty] | Figure 2 - Generation Changes
|  | Conventional 70% |  |  | Intermittent 30% |  |  | Change in Residual (£/kW)
Zone | Zone Name | 2016/17 Jan forecast (£/kW) | 2016/17 May Forecast (£/kW) | Change (£/kW) | 2016/17 Jan forecast (£/kW) | 2016/17 May Forecast (£/kW) | Change (£/kW)
1 | North Scotland | 20.6299 | 22.2169 | 1.587 | 12.4811 | 13.5176 | 1.0365 | 0.19132
2 | East Aberdeenshire | 16.9994 | 18.763 | 1.7636 | 10.5542 | 11.5861 | 1.032 | 0.19132
3 | Western Highlands | 18.6537 | 20.2862 | 1.6325 | 11.5702 | 12.5931 | 1.0229 | 0.19132
4 | Skye and Lochalsh | 16.0974 | 14.2918 | -1.8056 | 13.0389 | 12.3541 | -0.68474 | 0.19132
5 | Eastern Grampian and Tayside | 16.9774 | 18.6084 | 1.631 | 10.7339 | 11.8775 | 1.1435 | 0.19132
6 | Central Grampian | 18.7095 | 20.3308 | 1.6213 | 10.6509 | 11.6875 | 1.0366 | 0.19132
7 | Argyll | 19.7233 | 21.0271 | 1.3038 | 13.4699 | 14.3646 | 0.8947 | 0.19132
8 | The Trossachs | 14.833 | 16.4141 | 1.581 | 8.4649 | 9.4463 | 0.98144 | 0.19132
9 | Stirlingshire and Fife | 14.3075 | 15.5994 | 1.2919 | 7.8481 | 8.7499 | 0.9018 | 0.19132
10 | South West Scotland | 12.9369 | 15.0982 | 2.1613 | 7.9628 | 9.1029 | 1.1401 | 0.19132
11 | Lothian and Borders | 12.5014 | 11.7084 | -0.79302 | 5.537 | 5.2717 | -0.2653 | 0.19132
12 | Solway and Cheviot | 9.3038 | 10.12 | 0.81623 | 5.7087 | 6.4617 | 0.75301 | 0.19132
13 | North East England | 8.5937 | 8.5921 | -0.0016173 | 3.8538 | 4.0493 | 0.19551 | 0.19132
14 | North Lancs and The Lakes | 6.6245 | 7.2351 | 0.61064 | 3.803 | 4.3246 | 0.52161 | 0.19132
15 | South Lancs, Yorks and Humber | 6.2117 | 6.126 | -0.085687 | 1.4556 | 1.8842 | 0.42854 | 0.19132
16 | North Midlands and North Wales | 4.8919 | 4.8994 | 0.0074817 | 1.3257 | 1.5472 | 0.22142 | 0.19132
17 | South Lincs and North Norfolk | 2.8637 | 2.9442 | 0.080494 | 1.2866 | 1.4372 | 0.15055 | 0.19132
18 | Mid Wales and The Midlands | 2.4357 | 2.4841 | 0.048346 | 1.2681 | 1.456 | 0.18794 | 0.19132
19 | Anglesey and Snowdon | 7.1957 | 7.3504 | 0.15465 | 1.7824 | 2.1241 | 0.34174 | 0.19132
20 | Pembrokeshire | 6.9742 | 6.4689 | -0.50531 | 0.27762 | 0.22172 | -0.055909 | 0.19132
21 | South Wales | 4.2326 | 3.5324 | -0.70017 | 0.24875 | 0.19316 | -0.05559 | 0.19132
22 | Cotswold | -0.70789 | -1.7307 | -1.0229 | -3.8829 | -4.6958 | -0.8129 | 0.19132
23 | Central London | -6.0434 | -5.2435 | 0.79991 | -3.221 | -2.9637 | 0.25728 | 0.19132
24 | Essex and Kent | -1.3829 | -1.0018 | 0.38113 | 2.0671 | 2.2542 | 0.18713 | 0.19132
25 | Oxfordshire, Surrey and Sussex | -1.9495 | -1.7292 | 0.22029 | 0.68338 | 0.78695 | 0.10356 | 0.19132
26 | Somerset and Wessex | -3.2519 | -3.6995 | -0.44754 | 0.268 | 0.20496 | -0.063039 | 0.19132
27 | West Devon and Cornwall | -4.2403 | -5.0621 | -0.82183 | -0.37445 | -0.50438 | -0.12994 | 0.19132
Figure 3 - HH Demand Tariff Changes
Table 13 - Change in HH Demand Tariffs
[9 empty] | Zone | Zone Name | 2016/17 Jan Forecast (£/kW) | 2016/17 May Forecast (£/kW) | Change (£/kW) | Change in Residual (£/kW)
[9 empty] | 1 | Northern Scotland | 29.7883 | 29.3411 | -0.44714 | 1.2741
[9 empty] | 2 | Southern Scotland | 31.8441 | 31.4035 | -0.44064 | 1.2741
[9 empty] | 3 | Northern | 36.288 | 37.3812 | 1.0932 | 1.2741
[9 empty] | 4 | North West | 40.0925 | 40.9189 | 0.82647 | 1.2741
[9 empty] | 5 | Yorkshire | 40.4795 | 41.6675 | 1.188 | 1.2741
[9 empty] | 6 | N Wales & Mersey | 39.9853 | 41.2802 | 1.2949 | 1.2741
[9 empty] | 7 | East Midlands | 43.3499 | 44.8451 | 1.4952 | 1.2741
[9 empty] | 8 | Midlands | 43.9642 | 45.6237 | 1.6595 | 1.2741
[9 empty] | 9 | Eastern | 45.6783 | 46.9715 | 1.2932 | 1.2741
[9 empty] | 10 | South Wales | 41.8156 | 44.0898 | 2.2742 | 1.2741
[9 empty] | 11 | South East | 48.4112 | 49.6526 | 1.2415 | 1.2741
[9 empty] | 12 | London | 51.2473 | 51.9548 | 0.70754 | 1.2741
[9 empty] | 13 | Southern | 49.1072 | 51.0016 | 1.8944 | 1.2741 | Table 14
[9 empty] | 14 | South Western | 48.3803 | 51.3018 | 2.9215 | 1.2741
[15 empty] | Table 14 - NHH Demand Tariff Changes |  |  |  |  | Figure 4 - Change in NHH Tariff
[15 empty] | Zone | Zone Name | 2016/17 Jan Forecast (p/kWh) | 2016/17 May Forecast (p/kWh) | Change (p/kWh)
[15 empty] | 1 | Northern Scotland | 4.2063 | 4.3387 | 0.13238
[15 empty] | 2 | Southern Scotland | 4.0956 | 4.5705 | 0.47485
[15 empty] | 3 | Northern | 4.6062 | 5.0541 | 0.44788
[15 empty] | 4 | North West | 5.3202 | 5.7656 | 0.44541
[15 empty] | 5 | Yorkshire | 5.6487 | 6.1025 | 0.45376
[15 empty] | 6 | N Wales & Mersey | 6.3005 | 6.7873 | 0.48679
[15 empty] | 7 | East Midlands | 5.6292 | 6.2255 | 0.59633
[15 empty] | 8 | Midlands | 5.9226 | 6.5287 | 0.60613
[15 empty] | 9 | Eastern | 5.9582 | 6.447 | 0.48879
[15 empty] | 10 | South Wales | 5.6792 | 6.367 | 0.68781
[15 empty] | 11 | South East | 6.2228 | 6.7242 | 0.50141
[15 empty] | 12 | London | 6.4322 | 7.1205 | 0.68833
[15 empty] | 13 | Southern | 6.4804 | 7.1572 | 0.67677
[15 empty] | 14 | South Western | 6.1796 | 6.9185 | 0.73882

## Tables 15 - 18
Table 15 - Impact of change in allowed revenue
£50m increase in revenue recovered from TNUoS tariffs
Change in Generation Tariffs (£/kW) | Nil
Change in HH Demand Tariffs (£/kW) | 0.98
Change in NHH Demand Tariffs (p/kWh) | 0.14
Table 16 - Impact of change to peak system demand
|  | Change to peak system demand and pro-rata change in HH demand | Change to HH Average Tariff (£/kW)
|  | -500MW | 0.44441
Table 17 - Impact of change to NHH demand
|  |  |  | Change to NHH demand with no change to peak system demand | Change to Average NHH Tariff (p/kWh)
|  |  |  | -0.5TWh | 0.13529
Table 18 - Impact of change to generation
[6 empty] | Change to generation charging base | Change to Average Generation Tariff (£/kW)
[6 empty] | -1000MW | 0.062182

## App B NG
Table 19 - National Grid Revenue Forecast
National Grid Revenue Forecast |  |  |  | Updated: | 2015-04-24
Description |  | Licence Term | Special Condition | Applicable to | Yr t-1 | Yr t | Yr t+1 | Notes
Regulatory Year |  |  |  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI | [6 empty] | 0 | April to March average
RPI Actual |  | RPIAt | 3A |  |  |  | 0 | Office of National Statistics
Assumed Interest Rate |  | It | 3A |  | 0.5% | 0.7% | 1.1% | Bank of England Base Rate
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 3A | ALL | 1443.829 | 1475.593 | 1571.387 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 3A | ALL | -5.5 | -114.4 | -100 | Determined by Ofgem/Licensee forecast
RPI True Up | A3 | TRUt | 3A | ALL | -0.52729 | 4.7019 | -20.6629 | Licensee Actual/Forecast
Prior Calendar Year RPI Forecast |  | GRPIFc-1 | 3A | ALL | 3.1% | 2.5% | 1.2% | HM Treasury Forecast then 2.8%
Current Calendar Year RPI Forecast |  | GRPIFc | 3A | ALL | 3.1% | 2.4% | 2.6% | HM Treasury Forecast then 2.8%
Next Calendar Year RPI forecast |  | GRPIFc+1 | 3A | ALL | 3% | 3.2% | 3.2% | HM Treasury Forecast then 2.8%
RPI Forecast | A4 | RPIFt | 3A | ALL | 1.2051 | 1.2267 | 1.2412 | Using HM Treasury Forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 3A | ALL | 1732.6948 | 1675.4788 | 1800.656
Pass-Through Business Rates | B1 | RBt | 3B | ALL |  | 1.2353 | 1.3537 | Licensee Actual/Forecast
Temporary Physical Disconnection | B2 | TPDt | 3B | ALL | 0.14395 | 0.012338 | 0 | Licensee Actual/Forecast
Licence Fee | B3 | LFt | 3B | NG |  | 2.0207 | 2.2759 | Licensee Actual/Forecast
Inter TSO Compensation | B4 | ITCt | 3B | NG |  | 3.8222 | 0 | Licensee Actual/Forecast
Termination of Bilateral Connection Agreements | B5 | TERMt | 3B | NG | 0 | 0 | 0 | Does not affect TNUoS
SP Transmission Pass-Through | B6 | TSPt | 3B | NG | 312.1791 | 295.6646 | 294.2105 | 14/15 & 15/16 Charge setting. Later from TSP Calculation.
SHE Transmission Pass-Through | B7 | TSHt | 3B | NG | 213.9595 | 338.2073 | 330.0997 | 14/15 & 15/16 Charge setting. Later from TSH Calculation.
Offshore Transmission Pass-Through | B8 | TOFTOt | 3B | NG | 218.3804 | 248.357 | 265.5844 | 14/15 & 15/16 Charge setting. Later from OFTO Calculation.
Embedded Offshore Pass-Through | B9 | OFETt | 3B | NG | 0.43734 | 0.64942 | 0.69597 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2+B3+B4+B5+B6+B7+B8+B9] | B | PTt | 3B | ALL | 745.1003 | 889.9689 | 894.2201
Reliability Incentive Adjustment | C1 | RIt | 3C | ALL |  | 2.3616 | 2.3264 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt | 3D | ALL |  | 8.6931 | 7.661 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 3E | ALL |  | 2.8092 | 2.8394 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt | 3F | ALL |  | 0 | 0 | Only includes EDR awarded to licensee to date
Outputs Incentive Revenue [C=C1+C2+C3+C4] | C | OIPt | 3A | ALL | 0 | 13.8638 | 12.8268
Network Innovation Allowance | D | NIAt | 3H | ALL | 10.916 | 10.5555 | 11.3441 | Licensee Actual/Forecast/Budget
Network Innovation Competition | E | NICFt | 3I | NG | 17.8492 | 18.7607 | 40.5 | Sum of NICF awards determined by Ofgem/Forecast by National Grid
Future Environmental Discretionary Rewards | F | EDRt | 3F | ALL |  |  | 3 | Sum of future EDR awards forecast by National Grid
Transmission Investment for Renewable Generation | G | TIRGt | 3J | ALL | 15.9973 | 15.699 | -0.50135 | Licensee Actual/Forecast
Scottish Site Specific Adjustment | H | DISt | 3A | NG | 1.9849 | 0.791 | 0 | Licensee Actual/Forecast
Scottish Terminations Adjustment | I | TSt | 3A | NG | -0.28187 | 0.10155 | 0 | Licensee Actual/Forecast
Correction Factor | K | -Kt | 3A | ALL |  | 56.4238 | 105.2995 | Calculated by Licensee
Maximum Revenue [M= A+B+C+D+E+F+G+H+I+K] | M | TOt |  | ALL | 2524.2607 | 2681.6431 | 2867.3451
Termination Charges | B5 |  |  | NG | 0 | 0 | 0
Pre-vesting connection charges | P |  |  | ALL | 46.9542 | 44.9552 | 44.9552 | Licensee Actual/Forecast
TNUoS Collected Revenue [T=M-B5-P] | T |  |  | NG | 2477.3066 | 2636.6879 | 2822.3899
Forecast percentage change to Maximum Revenue M |  |  |  | NG | 0% | 6.235% | 6.925%
Forecast percentage change to TNUoS Collected Revenue T |  |  |  | NG | 0% | 6.434% | 7.043%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments to all Transmission Owners are inlcuded in National Grid Maximum Revenue and are included here
2013/14 and 2014/15 pass through to other networks is based on forecast at time of tariff setting

## App B SPT
Table 20 - SP Transmission Revenue Forecast
Scottish Power Transmission Revenue Forecast |  |  |  | Updated: | 2015-04-07
Description |  | Licence Term | Special Condition | Applicable to | Yr t-1 | Yr t | Yr t+1 | Notes
Regulatory Year |  |  |  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI | [6 empty] | 0 | April to March average
RPI Actual |  | RPIAt |  |  |  |  | 0 | Office of National Statistics
Assumed Interest Rate |  | It |  |  | 0.5% | 0.5% | 0.5% | As forecast by National Grid
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 3A | ALL | 236.95 | 258.633 | 244.7 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 3A | ALL | 6.2 | -20.3 | -20.2 | Determined by Ofgem/Licensee forecast
RPI True Up | A3 | TRUt | 3A | ALL | -0.1 | 0.9 | -3.7 | Licensee Actual/Forecast
RPI Forecast | A4 | RPIFt | 3A | ALL | 1.2051 | 1.2266 | 1.2412 | National Grid forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 3A | ALL | 292.8996 | 293.4432 | 274.0596
Pass-Through Business Rates | B1 | RBt | 3B | ALL |  | -19.0694 | -4.279 | Licensee Actual/Forecast
Temporary Physical Disconnection | B2 | TPDt | 3B | ALL | 0 | 0 | 0 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2] | B | PTt | 3B | ALL | 0 | -19.0694 | -4.279
Reliability Incentive Adjustment | C1 | RIt | 3C | ALL |  | 2.5823 | 1.1655 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt | 3D | ALL |  | 1.8871 | 0.58277 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 3E | ALL |  | -0.19864 | 0 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt | 3F | ALL |  | 0 | 0 | Only includes EDR awarded to licensee to date
Financial Incentive for Timely Connections Output | C5 | -CONADJt | 3G | SP, SHE |  | 0 | 0 | Licensee Actual/Forecast/Budget
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 3A | ALL | 0 | 4.2708 | 1.7483
Network Innovation Allowance | D | NIAt | 3H | ALL | 1 | 1.1918 | 0.77703 | Licensee Actual/Forecast/Budget
Transmission Investment for Renewable Generation | G | TIRGt | 3J | ALL | 29.2 | 18 | 30.634 | Licensee Actual/Forecast
Correction Factor | K | -Kt | 3A | ALL |  | 8.6408 | 0.19426 | Calculated by Licensee
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt |  | ALL | 323.0996 | 306.4772 | 303.1342
Excluded Services | P | EXCt |  | SP, SHE | 7.7 | 8 | 9.7251 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt |  | SP, SHE | 18.5 | 18.8 | 18.6488 | Pre & Post BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSPt |  | NG | 312.2996 | 295.6772 | 294.2105 | General System Charge
Forecast percentage change to TNUoS Collected Revenue T |  |  |  | ALL | 0% | -5.323% | -0.4961%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SPT Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SPT offers this data without prejudice and cannot be held responsible for any loss that might be attributed to the use of this data. SPT does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; and we also include forecasts for anticipated future Ofgem determinations in respect of the Iteration adjustment reflecting our latest view of totex, changes to allowed totex and cost of debt.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.
Data taken from April 2015 submission under STCP24-1.

## App B SHETL
Table 21 - SHE Transmission Revenue Forecast
SHE Transmission Revenue Forecast |  |  |  | Updated: | 2014-12-16
Description |  | Licence Term | Special Condition | Applicable to | Yr t-1 | Yr t | Yr t+1 | Notes
Regulatory Year |  |  |  |  | 2014/15 | 2015/16 | 2016/17 | 0
Actual RPI | [6 empty] | 0 | April to March average
RPI Actual |  | RPIAt |  |  |  |  | 0 | Office of National Statistics
Assumed Interest Rate |  | It |  |  | 0.5% | 0.5% | 0.5% | As forecast by National Grid
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 3A | ALL | 111.5154 | 124.139 | 123.6345 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 3A | ALL | 8.7 | 88.89 | 88.96 | Forecast of cummulativce MOD impacts, excl non approved
RPI True Up | A3 | TRUt | 3A | ALL | 0 | 0.522 | -0.3 | Licensee Actual/Forecast
RPI Forecast | A4 | RPIFt | 3A | ALL | 1.2051 | 1.2266 | 1.2412 | Using HM Treasury Forecast - 2015/16 updated by SHET
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 3A | ALL | 144.8715 | 261.9522 | 263.5025
Pass-Through Business Rates | B1 | RBt | 3B | ALL | 0 | -0.7 | -15.7054 | RBt rebate received in 2014/15, pass through in 2016/17
Temporary Physical Disconnection | B2 | TPDt | 3B | ALL | 0 | 0.6 | 0 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2] | B | PTt | 3B | ALL | 0 | -0.1 | -15.7054
Reliability Incentive Adjustment | C1 | RIt | 3C | ALL |  | 1.18 | 0 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt | 3D | ALL |  | 1.6 | 0 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 3E | ALL |  | -0.1 | 0 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt | 3F | ALL |  | 0 | 0 | Only includes EDR awarded to licensee to date
Financial Incentive for Timely Connections Output | C5 | -CONADJt | 3G | SP, SHE |  | 0 | 0 | Licensee Actual/Forecast/Budget
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 3A | ALL | 0 | 2.68 | 0
Network Innovation Allowance | D | NIAt | 3H | ALL | 1.83 | 1.823 | 1.7741 | Licensee Actual/Forecast
Transmission Investment for Renewable Generation | G | TIRGt | 3J | ALL | 72.159 | 81.2655 | 82.6151 | Excludes Asset Adjusting Events impacts
Compensatory Payments Adjustment | J | SHCPt | 3C | SHE | 0 | 0.399 | 0 | Licensee Actual/Forecast/Budget
Correction Factor | K | -Kt | 3A | ALL |  | -1.5146 | 1.4266 | Latest Forecast
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt |  | ALL | 218.8605 | 346.5051 | 333.6129
Excluded Services | P | EXCt |  | SP, SHE | 0 | 0 | 0 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt |  | SP, SHE | 3.465 | 3.472 | 3.5132 | Post-Vesting, Pre-BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSHt |  | NG | 215.3955 | 343.0331 | 330.0997 | General System Charge
Forecast percentage change to TNUoS Collected Revenue T |  |  |  | ALL | 0% | 59.26% | -3.77%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SHET Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SHET offers these data without prejudice and cannot be held responsible for any loss that might be attributed to the use of these data. SHET does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; whilst those for which Ofgem determinations are expected are not.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.
Data taken from December 2014 submission under STCP24-1 adjusted for inflation.

## App B OFTO
Table 22 - Offshore Revenues
Offshore Transmission Revenue Forecast | 2015-04-24 |  |  | Notes
Description | Yr t-1 | Yr t | Yr t+1
Regulatory Year | 2014/15 | 2015/16 | 2016/17
Barrow | 5.4759 | 5.6051 | 5.6726 | Current revenues plus indexation
Gunfleet | 6.8532 | 7.0145 | 7.0999 | Current revenues plus indexation
Walney 1 | 12.4911 | 12.7864 | 12.9394 | Current revenues plus indexation
Robin Rigg | 7.7095 | 7.8914 | 7.9861 | Current revenues plus indexation
Walney 2 | 12.927 | 13.2322 | 13.3922 | Current revenues plus indexation
Sheringham Shoal | 18.9241 | 19.4989 | 19.735 | Current revenues plus indexation
Ormonde | 11.5705 | 11.8431 | 11.9878 | Current revenues plus indexation
Greater Gabbard | 25.9995 | 26.6193 | 26.9307 | Current revenues plus indexation
London Array | 37.573 | 39.2121 | 37.9275 | Current revenues plus indexation
Thanet | 78.8567 | 17.5171 | 17.6696 | Current revenues plus indexation
Lincs |  | 25.5634 | 25.4061 | Current revenues plus indexation
Gwynt y mor |  | 26.2836 | 25.6012 | Current revenues plus indexation
West of Duddon Sands |  | 35.29 | 53.2362 | National Grid Forecast
Humber Gateway |  |  |  | National Grid Forecast
Westermost Rough |  |  |  | National Grid Forecast
Offshore Transmission Pass-Through (B7) | 218.3804 | 248.357 | 265.5844
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of OFTO Maximum Revenue

## Table 23 - 24
Table 23 - Generation TEC Changes
Station | Agreement Type | Node | Zone | TEC Register 03/12/2014 | TEC Register 13/04/2015 | MW Change
Abernedd Power Station | BCA | BAGB20 | 21 | 500 | 0 | -500
Aikengall II Windfarm | BCA | WDOD10 | 11 | 108 | 140 | 32
Airies Wind Farm | BCA | GLLU1Q | 10 | 0 | 35 | 35
Barking | BCA | BARK20_LPN | 24 | 950 | 0 | -950
Barry Power Station | BEGA | ABTH20 | 21 | 235 | 0 | -235
Brigg | BEGA | KEAD40 | 16 | 155 | 0 | -155
C.Gen Killingholme North Power Station | BCA | KILL40 | 15 | 490 | 0 | -490
Clyde North | BCA | CLYN2Q | 11 | 331.8 | 374.5 | 42.7
Clyde South | BCA | CLYS2R | 11 | 179.8 | 128.8 | -51
Deeside | BCA | CONQ40 | 16 | 515 | 260 | -255
Ewe Hill | BCA | EWEH1Q | 11 | 18 | 39 | 21
Griffin Wind Farm | BCA | GRIF1S | 5 | 204 | 188.6 | -15.4
Gwynt Y Mor Offshore Wind Farm | BCA | BODE40 | 16 | 565 | 574 | 9
Hadyard Hill | BCA | HADH10 | 10 | 117 | 99.9 | -17.1
Harelaw | BCA | NEIW10 | 11 | 80 | 0 | -80
Ironbridge | BCA | IRON40 | 18 | 680 | 0 | -680
Killingholme | BCA | KILL40 | 15 | 900 | 0 | -900
Killingholme 2 | BCA | KILL40 | 15 | 665 | 0 | -665
Lynemouth Power Station | BEGA | BLYT20 | 13 | 376 | 0 | -376
Newfield Wind Farm | BCA | NEWF1Q | 11 | 52.5 | 0 | -52.5
Peterborough | BEGA | WALP40_EME | 17 | 245 | 0 | -245
Rampion Offshore Wind Farm | BCA | BOLN40 | 25 | 664 | 332 | -332
Rugeley | BCA | RUGE40 | 18 | 1018 | 980 | -38
Sizewell B | BCA | SIZE40 | 18 | 1212 | 1216 | 4
South Humber Bank | BCA | SHBA40 | 15 | 1285 | 540 | -745
Uskmouth | BCA | USKM20 | 21 | 0 | 115 | 115
Walney Extension Power Station A Offshore Wind Farm | BCA | HEYS40 | 14 | 330 | 0 | -330
Walney Extension Power Station B Offshore Wind Farm | BCA | HEYS40 | 14 | 330 | 0 | -330
Total |  |  |  | 12206.1 | 5022.8 | -7183.3
Note: Stations less than 100MW with Bilateral Embedded Generation Agreements are treated as zero.
[7 empty] | Table 24 - Week 24 Demand and Negative Generation | [5 empty] | Figure 1 - Change in forecast net locational demand
[7 empty] | Zone | Zone Name | 2016/17 Initial View Net Demand (GWh) | 2016/17 April Forecast Net Demand (GWh) | % Change | 2016/17 May Forecast Net Demand (GWh)
[7 empty] | 1 | Northern Scotland | 896.3918 | 848.0304 | -5.395% | 94.6%
[7 empty] | 2 | Southern Scotland | 3842.3566 | 3337.2586 | -13.15% | 86.85%
[7 empty] | 3 | Northern | 2936.9724 | 2635.6142 | -10.26% | 89.74%
[7 empty] | 4 | North West | 4151.5303 | 4009.2708 | -3.427% | 96.57%
[7 empty] | 5 | Yorkshire | 4889.1844 | 4581.5721 | -6.292% | 93.71%
[7 empty] | 6 | N Wales & Mersey | 2698.875 | 2091.7042 | -22.5% | 77.5%
[7 empty] | 7 | East Midlands | 5300.7 | 4966.07 | -6.313% | 93.69%
[7 empty] | 8 | Midlands | 4527.54 | 4414.44 | -2.498% | 97.5%
[7 empty] | 9 | Eastern | 6268.0108 | 5583.1586 | -10.93% | 89.07%
[7 empty] | 10 | South Wales | 1994.5778 | 1920.4772 | -3.715% | 96.28%
[7 empty] | 11 | South East | 3882.1947 | 3609.4278 | -7.026% | 92.97%
[7 empty] | 12 | London | 5514.6251 | 4660.6473 | -15.49% | 84.51%
[7 empty] | 13 | Southern | 6279.2091 | 5995.2158 | -4.523% | 95.48%
[7 empty] | 14 | South Western | 2934.6892 | 2517.6433 | -14.21% | 85.79%
[7 empty] | Total |  | 56116.8573 | 51170.5303 | -8.814%