## Article 2 - Definitions
Item No. | Name | TR or other source definition | Source | National Grid interpretation for GB | Already used in GB? | Same definition as TR or MoP? | Need to change GB definition and where? | Comments
1 | Balancing Reserves | (1) ‘balancing reserves’ mean all resources, if procured ex ante or in real time, or according to legal obligations, which are available to the TSO for balancing purposes | TR | We have interpreted the four categories of Balancing Reserve according to how we use them in National Grid in different timescales. See separate definitions below. | Not identical terms but mapped to TR definitions. | Different terminology for GB | No
2 | Balancing Time Unit | (2) ‘balancing time unit’ means the time period for which the price for balancing reserves is established | TR | The time period for which prices for balancing reserves are established. | Yes | For the GB electricity market, the balancing time unit is half an hour. Market settlement is on 30 minute settlement periods. | No
3 | Bidding Zone | (3) ‘bidding zone’ means the largest geographical area within which market participants are able to exchange energy without capacity allocation | TR | Largest geographical area within which energy can be exchanged without capacity allocation. | Yes - equivalent to the GB market area | For the GB electricity market, there is just a single bidding zone - "GB".. | No
4 | Capacity Allocation | (4) ‘capacity allocation’ means the attribution of cross zonal capacity | TR | Attribution of cross zonal capacity | Yes (this is carried out by the GB Interconnector TSOs as per their access rules) | Yes | No
5 | Consumption Unit | (5) ‘consumption unit’ means a resource which receives electrical energy for its own use, excluding TSOs and Distribution Systems Operators (DSOs) | TR | Same definition for GB | Yes | Yes | No
6 | Control Area | (6) ‘control area’ means a coherent part of the interconnected system, operated by a single system operator and shall include connected physical loads and/or generation units if any | TR | For National Grid this is GB | Yes | Yes | No
7 | Coordinated net transmission capacity | (7) ‘coordinated net transmission capacity’ means a capacity calculation method based on the principle of assessing and defining ex ante a maximum energy exchange between adjacent bidding zones | TR | NTC is applicable to GB. NTC is NGET’s preferred method for calculating capacities on the interconnectors. | No | Not currently applicable for GB | No
8 | Critical Network Element | (8) ‘critical network element’ means a network element either within a bidding zone or between bidding zones taken into account in the capacity calculation process, limiting the amount of power that can be exchanged | TR | A network element either within a bidding zone or between bidding zones taken into account in the capacity calculation process, limiting the amount of power that can be exchanged | No - this may be a term used when the CACM code is implemented in GB | Not used yet within GB. This term is related to the capacity calculation. It may become more relevant for GB depending on which capacity calculation methodology we agree upon. | No
9 | Cross-control Area Balancing | (9) ‘cross-control area balancing’ means a balancing scheme where a TSO can receive bids for activation coming from other TSOs’ areas. It does not include re-dispatching or the delivery of emergency energy | TR | A balancing scheme where a TSO can receive bids for activation coming from other TSOs’ areas. It does not include re-dispatching or the delivery of emergency energy | No - National Grid does not currently take part in this type of scheme (BALIT is strictly TSO-TSO). | Not currently applicable for GB. This may be a later development. Currently, Project TERRE (the Balancing Pilot Project that National Grid is involved in) is being discussed at a BSC Issue Group (60) and so work is ongoing in this area. Our current understanding is that Balancing will be delivered via the TSO-TSO model. | Not needed for GB
10 | Cross zonal Capacity | (10) ‘cross zonal capacity’ means the capability of the interconnected system to accommodate energy transfer between bidding zones | TR | The capability of the interconnected system to accommodate energy transfer between bidding zones | Yes - Interconnector capacity | In GB we use the term interconnector capacity which in practice means the same thing and as a result there is no additional reporting implications for TR. | No
11 | Currency | (11) ‘currency’ is euro if at least one part of the bidding zone(s) concerned is part of a country in which euro is a legal tender. In any other case it is the local currency | TR | Local GB currency is £ sterling. | Yes | Yes | No
12 | Cut-off time | (12) ‘cut-off time’ means the point in time where TSOs have to confirm all matched nominations to the market. The cutoff time refers not only to daily or intra daily markets but also to the different markets that cover imbalance adjustments and reserve allocation | TR | Gate Closure | Yes | Yes - one hour for GB market | No
13 | Countertrading | (13) ‘countertrading’ means a cross zonal exchange initiated by system operators between two bidding zones to relieve physical congestion | TR | Cross zonal exchange initiated by system operators between two bidding zones to relieve physical congestion | Yes | Yes | No
14 | Data Provider | (14) ‘data provider’ means the entity that is sending the data to the central information transparency platform | TR | For GB, current data providers are NGET and Interconnector parties. | Yes | Yes | No
15 | Explicit Allocation | (15) ‘explicit allocation’ means the allocation of cross zonal capacity only, without the energy transfer | TR | The allocation of cross zonal capacity only, without the energy transfer | Yes | Yes | No
16 | Flow based parameters | (16) ‘flow based parameters’ mean the available margins on critical network elements with associated power transfer distribution factors | TR | Not currently used within GB. | No - this may be a term used when the CACM code is implemented in GB | Not used yet within GB. This term is related to the capacity calculation. It may become more relevant for GB depending on which capacity calculation methodology we agree upon. | No
17 | Generation unit | (17) ‘generation unit’ means a single electricity generator belonging to a production unit | TR | A single electricity generator belonging to a Production unit | Yes | Yes | No
18 | Implicit Allocation | (18) ‘implicit allocation’ means a congestion management method in which energy is obtained at the same time as cross zonal capacity | TR | Same definition for GB where applicable. | Yes | Yes | No
19 | Market Time Unit | (19) ‘market time unit’ means the period for which the market price is established or the shortest possible common time period for the two bidding zones, if their market time units are different | TR | Same as settlement period and is 30 minutes for GB | Yes | Yes | No
20 | Offered Capacity | (20) ‘offered capacity’ means the cross zonal capacity offered by the transmission capacity allocator to the market | TR | Not currently used within GB. We use NTC. | No | Not applicable for GB | No
21 | Planned Event | (21) ‘planned’ means an event known ex ante by the primary owner of the data | TR | Same definition for GB | Yes | Yes | No
22 | Power transfer distribution factor | (22) ‘power transfer distribution factor’ means a representation of the physical flow on a critical network element induced by the variation of the net position of a bidding zone | TR | Not currently used. | No - this may be a term used when the CACM code is implemented in GB | Not used yet within GB. This term is related to the capacity calculation. It may become more relevant for GB depending on which capacity calculation methodology we agree upon. | No
23 | Primary Owner of the data | (23) ‘primary owner of the data’ means the entity which creates the data | TR | The entity which creates the data | Yes | Yes | No
24 | Production Unit | (24) ‘production unit’ means a facility for generation of electricity made up of a single generation unit or of an aggregation of generation units | TR | Production unit is a facility for generation of electricity made up of a single generation unit or of an aggregation of generation units | Yes | Yes | No
25 | Profile | (25) ‘profile’ means a geographical boundary between one bidding zone and several neighbouring bidding zones | TR | Not used within GB. | No | Not applicable for GB | Not needed for GB
26 | Re-dispatching | (26) ‘redispatching’ means a measure activated by one or several system operators by altering the generation and/or load pattern in order to change physical flows in the transmission system and relieve a physical congestion | TR | Same definition for GB | Yes | Yes | No
27 | Total load | (27) ‘total load’, including losses without power used for energy storage, means a load equal to generation and any imports deducting any exports and power used for energy storage | TR | We calculate this in GB as the sum of generation and any imports into GB less any exports from GB and Energy used for storage e.g pumping demand. This is similar to our existing National Demand but also includes forecasts for Industrial generation and unmetered wind and solar. | No | Defined in European Transparency Regulation. New term not currently used within GB but reported to EMFIP platform for TR. | Defined in European Transparency Regulation
28 | Transmission Capacity Allocator | (28) ‘transmission capacity allocator’ means the entity empowered by TSOs to manage the allocation of cross zonal capacities | TR | This is a term that is used in Continental Europe where entities such as CASC and CAO provide this role on behalf of TSOs. We don't have anything similar in GB as interconnectors just provide this information. This may well change in the future. | No | Not currently applicable for GB | No
29 | Vertical load | (29) ‘vertical load’ means the total amount of power flowing out of the transmission network to the distribution networks, to directly connected final customers or to the consuming part of generation | TR | This is the same as our National Demand, i.e. Total load without the additional components of Industrial generation and unmetered wind and solar. | No | Not used within GB | No
30 | Year-ahead Forecast Margin | (30) ‘year-ahead forecast margin’ means the difference between the yearly forecast of available generation capacity and the yearly forecast of maximum total load taking into account the forecast of total generation capacity, the forecast of availability of generation and the forecast of reserves contracted for system services | TR | Same definition for GB | Yes | Yes | No
31 | Time | (31) ‘time’ means the local time in Brussels | TR | In GB our local time is either GMT (UTC) or BST (British Summer Time). | Yes | Yes | No
32 | Frequency Containment Reserve (FCR) | The Operating reserves necessary for constant containment of frequency deviations (fluctuations) from nominal value in order to constantly maintain the power balance in the whole synchronously interconnected system. Activation of these reserves results in a restored power balance at a frequency deviating from nominal value. This category typically includes operating reserves with the activation time up to 30 seconds. Operating reserves of this category are usually activated automatically and locally. | NG | This includes GB terms "primary response", "secondary response" and "high frequency response". For reporting purposes, we are currently reporting the secondary and high response volumes and prices because these are the most onerous requirements for the Up and Down categories. | Yes | Yes | No
33 | Frequency Restoration Reserve (FRR) | The operating reserves used to restore frequency to the nominal value and power balance to the scheduled value after sudden system imbalance occurrence. This category includes operating reserves with an activation time typically up to 15 minutes (depending on the specific requirements of the synchronous area). Operating reserves of this category are typically activated centrally and can be activated automatically or manually. In these Framework Guidelines, automatically activated reserves refer to reserves activated by an automatic controller | NG | For restoration reserve, we are currently reporting Firm Fast Reserve as the equivalent GB term in the manually activated category (up and down). | Yes | Yes | No
34 | Impact on Interconnection Capacity | Impact is interpreted as a new value of net transfer capacity in case of NTC allocation method (MW) and may in generic way consist of multiple values (e.g. a time series) over the given outage period. | MoP | NTC is applicable to GB. NTC is NGET’s preferred method for calculating capacities on the interconnectors. We can therefore calculate any relevant impacts on NTC. | Yes | Yes | No
35 | Installed Gross Generation Capacity | Installed gross capacity is the maximum capacity measured at the generation unit output | MoP | Same definition for GB | Yes | Yes | No
36 | Installed Net Generation Capacity | The maximum output, expressed in megawatts (MW), that a generation unit would be able to supply to the system verified by the system operator | MoP | Same definition for GB | Yes | Yes | No
37 | Location | Location is interpreted as whether transmission asset is located between bidding zones or inside a bidding zone (cross-zonal/ intra-zonal) | MoP | We can apply this to whether assets are within the GB bidding zone or across zones. | Yes | Yes | No
38 | Net Transfer Capacity (NTC) | The maximum exchange between two bidding zones (including technical profiles) compatible with security standards applicable in both areas and taking into account the technical uncertainties on future network conditions | MoP | Same definition for GB | Yes | Yes | No
39 | Operating Period | The period of time when the delivery of energy is carried out. | MoP | This is equivalent to GB settlement period and is 30 minutes for GB. | Yes | Yes | No
40 | Remedial Actions | A measure activated by one or several System Operators, manually or automatically, that relieves or contributes to relieving Physical Congestions. They can be applied pre-fault or post-fault and may involve costs | MoP | These are called Constraint Actions within GB. | Yes | Yes | No
41 | Replacement Reserve (RR) | The operating reserves used to restore the required level of operating reserves to be prepared for a further system imbalance. This category includes operating reserves with activation time from 15 minutes up to hours | MoP | Within GB we are reporting STOR volumes and prices in the replacement reserve category. | Yes | Yes | No
42 | Resolution | The time difference between successive data values in a time series. For example, if the forecasted cross-zonal capacity is given as one value per month, the resolution of this time series is monthly. | MoP | Same definition for GB | Yes | Yes | No
43 | Scheduled Net Generation | Part of the installed net capacity set by owner of generation unit for a period of a trading day | MoP | This is normally represented within GB as the sum of Physical Notifications (PN's) received from generators. | Yes | Yes | No
44 | Status of Unavailability of Transmission Asset | The status of the information sent by the data provider, regarding the planning of transmission assets. Either planned, cancelled or updated. | MoP | We can use this status for GB transmission outages. | Yes | Yes | No
45 | Total Imbalance Volume | Aggregated volumes of imbalance. Called NIV in GB market. | MoP | NIV is GB term | Yes | Yes | No
46 | Type of asset | AC Link, DC Link, Transformer or substation | MoP | Same definition for GB | Yes | Yes | No
47 | Voltage Connection Level | A pre-defined list must be defined by TSO (400, 380, 225, 220, 110 kV) | MoP | Same definition for GB | Yes | Yes | No
48 | Energy Identification Code | Each person operating in the electricity market has a single identifying code assigned only to them – the EIC code | ENTSOe | Same definition for GB | Yes | Yes | No
49 | Coordinated Capacity Calculator | ‘coordinated capacity calculator’ means the entity or entities with the task of calculating transmission capacity, at regional level or above; | ENTSOe | Not currently used within GB | No | Not applicable for GB | No | It is likely that this entity will be CORESO for the FUIN region, but this has not been formally agreed yet.

## Article 6-17
Article | Data item | Currently reported in GB? | Data Owner? | Current reporting steps | Why is data available? | Number of actors affected? | Current timing as per Regulation? | Action to ensure reported according to Regulation timing | Implementation categories for individual article subsections
6 | Demand outturn and forecasts | Not according to the "total load" definition in the Regulation | National Grid | Not currently reported | Data for total load outturns and forecasts is not currently available for GB market | One (National Grid) | New item | Demand outturn and forecasts are currently reported by National Grid under its OC1 and BC1 Grid Code obligations according to the same timescales as required by the regulation, but not according to the total load definition. National Grid is modifying its processes to calculate forecasts and outturn for the new total load definition as well as for the existing definitions (National Demand and Transmission System Demand). National Grid will also need to report minimum demand forecasts under Article 6. | Article 6 all sub-sections - 6.1a, b, c, d & e are in implementation category A - New reports will be produced by National Grid as a direct effect of the Regulation.
7 | Unavailability of Consumption units | Not explicitly only changes of 100MW or more for all timescales required | Market Participants | Market Participant to National Grid to ELEXON (bm reports) | MIL data is reported under Grid Code for large consumption units, but not just changes of 100MW or more | Around 20 | Current MIL data is not submitted for longer timescales, and changes are not currently reported explicitly for just unavailabiliy changes above the threshold required in this category, and not within the required timescales. | New data will be reported for Consumption units whenever their availability changes by 100MW or more. The requirement to submit this new data will be formalised in the Grid Code change currently under consultation. Cuurently Consumption Units greater than 100MW capacity submit MIL data, but under ETR, they will explicitly report availability changes of 100MW or more under Article 7 in a similar way to generators under Article 15. | Article 7 - both sub-sections 7.1a and 7.1b are in implementation category B - New data from Market Participants implemented by Grid Code or SO-TO Code changes.
8 | Year ahead forecast margin | Yes as part of OC2 data published | National Grid | National Grid reports to ELEXON BMRS | Grid Code OC2 requirement | One | Yes | The Year Ahead margin required by the Regulation is expected to be the same as currently published, because the additional generation to be included for the total demand definition is expected to be the same on both sides of the equation for margin calculation, e.g. the generation and demand components will be the same. | Article 8.1 is in implementation category A - a new report will be produced by National Grid as a direct effect of the Regulation.
9 | Transmission Infrastructure Projects that affect interconnector capacity | Yes as part of National Grid's Ten Year Statement | National Grid | Not currently reported | Not currently available | One | Not currently reported | New business process created to capture any relevant changes from ETYS and report manually via new MODIS system. | Article 9 is in implementation category A - a new report will be produced by National Grid as a direct effect of the Regulation.
10 | Infrastructure availability changes that affect interconnector capacity | 10.1a/b reported by National Grid Interconnectors Ltd (NGIL), 10.1c not currently reported | National Grid | Not currently reported | Not currently available | One | Not currently reported | NGIL and National Grid are putting in place business processes to ensure this data is reported according to the required Regulation timescales. The STC code is being updated to reflect the obligations on OFTO's under 10.1c | Article 10.1a and 10.1b are in implementation categories A and D - National Grid together with National Grid Interconnectors Ltd and other Interconnector parties will be producing these new reports as a direct efffect of the new Regulation. Article 10.1c is in categories A and B - this will be reported by National Grid as a direct effect of the Regulation based on a combination of its own information and information supplied by OFTO's under an STC code modification.
11 | Forecast interconnector capacities | Reported by GB Interconnector TSO's | Interconnector operators | Not reported on a public platform | Not currently available | <10 | Not currently reported on a public platform | Interconnector operators are putting in place business processes to ensure this data is reported according to the required Regulation timescales. | Article 11.1a and 11.1b are in implementation category D - GB Interconnector TSO's will be producing these new reports as a direct effect of the new Regulation.
12 | Information relating to interconnector capacity | Reported by GB Interconnector TSO's | Interconnector operators | Not reported on a public platform | Not currently available | <10 | Not currently reported on a public platform | Interconnector operators are putting in place business processes to ensure this data is reported according to the required Regulation timescales. | Article 12 subsections 12.1a through 12.1g are in implementation category D - GB Interconnectors TSO's will be producing these new reports as a direct efffect of the new Regulation.
13 | Dispatch and Trading actions that affect interconnector capacity | Not currently reported | National Grid | Not currently reported | Not currently available | One | Not currently reported | National Grid are putting in place business processes to ensure this data is reported according to the required Regulation timescales. | Article 13 subsections 13.1a, b and c are in implementation category A - a new report will be produced by National Grid as a direct effect of Regulation.
14 | Generation Capacity and Forecast generation | Not currently reported | National Grid | Not currently reported | Not currently available | One | Not currently reported | National Grid are putting in place business processes to ensure this data is reported according to the required Regulation timescales. | Article 14 subsection 14.1a and 14.1b are in implementation categories A and B - this will be reported by National Grid as a direct effect of the Regulation based on a combination of its own information and information supplied by Distribution Network Operators under a Grid code and Distribution code modification. Subsection 14.1c and d are in implementation category A - new reports produced by National Grid as a direct effect of the Regulation.
15 | Unavailability of generation and production units | Not explicitly only changes of 100MW or more for all timescales required | Market Participants | Market Participant to National Grid to ELEXON (bm reports) | MEL data is reported under Grid Code for large generation units, but not just changes of 100MW or more | All market participants with large generators (30-50) | MEL and Output usable data is not currently reported explicitly for just changes in this category, and not within the required timescales. | New data will be reported for Generation units whenever their availability changes by 100MW or more. The requirement to submit this new data will be formalised in the Grid Code change currently under consultation. Cuurently Generation Units greater than 100MW capacity submit MEL data, but under ETR, they will explicitly report availability changes as consumption units will under Article 7. | Article 15 subsections 15.1a, b, c and d are in implementation category B - New data from Market Participants implemented by Grid Code or SO-TO Code changes.
16 | Actual Generation | Not currently reported | ELEXON and National Grid | Not currently reported in format required | Not currently available | Two | Not currently reported for individual BMU's and the Regulation requires additional fuel type categories. | National Grid and ELEXON are putting in place business processes to ensure this data is reported according to the required Regulation timescales. Item 16.1a will be published by ELEXON according to provisions in the Balancing and Settlement Code as a result of modification P295. ELEXON already has the metering information it needs to comply with this reporting obligation under the existing provisions of the Balancing and Settlement Code (BSC). Items 16.1b and 16.1c will be calculated and published by National Grid as a direct effect of the new Regulation Requirements. No additional external data will be required from Market Participants. National Grid already has the metering information for system operation that is required for 16.1b and already calculates estimates of the actual wind and solar generation for 16.1c based on its own internal forecasting models. Item 16.1d will not need to be reported for GB because the feed-in of hydro and water reservoir generation does not exceed the regulation threshold requirement. | Article 16 subsection 16.1a is in implementation category C - this will be reported by ELEXON according to provisions in the Balancing and Settlement Code as a result of modification P295. ELEXON already has the metering information it needs to comply with this reporting obligation under the existing provisions of the Balancing and Settlement Code (BSC). Items 16.1b and 16.1c are in implementation category A - this will be calculated and published by National Grid as a direct effect of the new Regulation Requirements. No additional external data will be required from Market Participants. National Grid already has the metering information for system operation that is required for 16.1b and already calculates estimates of the actual wind and solar generation for 16.1c based on its own internal forecasting models. Item 16.1d will not need to be reported for GB because the feed-in of hydro and water reservoir generation does not exceed the regulation threshold requirement.
17 | Balancing | Not currently reported (except 17.1g/h) | ELEXON and National Grid | Not currently reported (except 17.1g/h on BMRS) | Not currently available (except 17.1g/h under BSC) | Two | Some items published on BMRS or National Grid website. Others not currently reported. | ELEXON and National Grid are putting in place business processes to ensure this data is reported according to the required Regulation timescales. This information is already available from within National Grid's Balancing Mechanism systems because it is information required for operation of the Balancing Mechanism and for balancing the Transmission System in real-time according to its licence obligations. 17.1(g) and (h) - imbalance prices and volumes are already calculated and published by ELEXON on bmreports as required by the BSC based on information supplied by National Grid as above based on information from its Balancing Mechanism systems. | Article 17 information is already available from within National Grid's Balancing Mechanism systems because it is information required for operation of the Balancing Mechanism and for balancing the Transmission System in real-time according to its licence obligations. Subsections 17.1a - 17.1f and 17.1i, 17.1j are therefore in implementation category A - new information that National Grid will report as a direct effect of the Regulation. Items 17.1(g) and (h) - imbalance prices and volumes are in implementation category C - they are already calculated and published by ELEXON on bmreports as required by the BSC based on information supplied by National Grid as above based on information from its Balancing Mechanism systems.

## Implementation categories
Implementation categories for each Article and subsection
Implementation category
|  |  | A | B | C | D
Article Number | Description | Sub-sections | New reports produced by National Grid as a direct effect of the Regulation | New data from Market Participants implemented by Grid Code or SO-TO Code changes | Reports produced by ELEXON based on existing information already reported under the BSC | Reports produced by Interconnector parties and National Grid Interconnections business
6 | Demand outturn and forecasts | 6.1a; 6.1b; 6.1c; 6.1d; 6.1e | n
7 | Unavailability of Consumption units | 7.1a; 7.1b |  | n
8 | Year ahead forecast margin | 8.1 | n
9 | Transmission Infrastructure Projects that affect interconnector capacity | 9 | n
10 | Infrastructure availability changes that affect interconnector capacity | 10.1a | n |  |  | n
|  | 10.1b | n |  |  | n
|  | 10.1c | n | n
11 | Forecast interconnector capacities | 11.1a; 11.1b |  |  |  | n
12 | Information related to interconnector capacity | 12.1a; 12.1b; 12.1c; 12.1d; 12.1e; 12.1f; 12.1g; 12.1h |  |  |  | n
13 | Dispatch and Trading actions that affect interconnector capacity | 13.1a; 13.1b; 13.1c | n
14 | Generation Capacity and Forecast generation | 14.1a | n | n
|  | 14.1b | n | n
|  | 14.1c | n
|  | 14.1d | n
15 | Unavailability of generation and production units | 15.1a; 15.1b; 15.1c; 15.1d |  | n
16 | Actual Generation | 16.1a |  |  | n
|  | 16.1b | n
|  | 16.1c | n
|  | 16.1d | n/a | n/a | n/a | n/a
17 | Balancing | 17.1a | n |  | n
|  | 17.1b | n
|  | 17.1c | n
|  | 17.1d | n
|  | 17.1e | n
|  | 17.1f | n
|  | 17.1g | n |  | n
|  | 17.1h | n |  | n
|  | 17.1i | n
|  | 17.1j | n
Implementation categories::
A | Data to be provided from internal National Grid reports implemented as a direct effect of the new Transparency Regulation
B | New reports from external parties implemented by Grid Code changes GC0042 and GC0083.
C | Reports produced by ELEXON based on existing information already reported under the Balancing and Settlement Code (BSC).
D | Reports produced by Interconnector parties and National Grid Interconnections business.