## Welcome
Welcome to the 4th edition of the NBM cost and volume report covering the period 01/04/2016 to 31/03/2017.
The file contains all of the data and charts found in the main report.

## Total service NBM volumes
Product | DSR Volume
Frequency Response | 707MW
STOR | 1821MW
DSBR | 0MW
Fast Reserve | 180MW
Total | 2708MW

## Total Cost breakdown table
Cost £m | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
Response and Reserve | 209.9116 | 8.6045 | 0.71404 | 37.0568 | 2.0676 | 0 | 0 | 4.9695 | 263.3241
Black Start | 119.8041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119.8041
Reactive | 86.177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86.177
Constraints and Intertrip | 34.1619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.1619
BM Start Up | 6.8544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8544
SO-SO trading | 2.8405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8405
Interconnector Capability | 5.9616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9616
DEMAND Turnup/Gen Turndown | 0.87391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87391
Forecast of future liabilities | 2.3571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3571
SBR | 118.3406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.3406
Total | 587.2829 | 8.6045 | 0.71404 | 37.0568 | 2.0676 | 0 | 0 | 4.9695 | 640.6954
[11 empty] | Generation: Balancing Support (BM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/backup (NBM) | Load Response (NBM) | Other (NBM)
[10 empty] | Response and Reserve | 209.9116 | 0.71404 | 37.0568 | 2.0676 | 8.6045 | 4.9695
[11 empty] | Generation: Balancing Support (BM) | Total NBM
[10 empty] | Response and Reserve | 209.9116 | 53.4124
20.28%

## Total response volume
primary | BM FFR Dynamic Primary | BM Optional Dynamic Primary | CHP (NBM) FFR Dynamic Primary | Generation: Balancing Support (NBM) FFR Dynamic Primary | Generation: Standby/backup (NBM) FFR Dynamic Primary | Load Response (NBM) FFR Dynamic Primary | Load Response (NBM) Optional Dynamic Primary | Other (NBM) FFR Dynamic Primary | BM Optional Static Primary | CHP (NBM) FFR Static +FCDM | Generation: Balancing Support (NBM) FFR Static + FCDM | Generation: Standby/backup (NBM) FFR Static + FCDM | Load Response (NBM) FFR Static + FCDM | Other (NBM) FFR Static + FCDM
2016-04-01 | 296.651 | 303.6761 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-05-01 | 273.918 | 371.0096 | 0 | 0 | 0 | 18.414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-06-01 | 241.5763 | 342.7063 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-07-01 | 256.782 | 589.5653 | 0 | 0 | 0 | 18.414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-08-01 | 303.6803 | 426.3894 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-09-01 | 290.8868 | 657.0909 | 0 | 0 | 0 | 17.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-10-01 | 212.604 | 596.6274 | 0 | 0 | 0 | 18.4387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-11-01 | 202.1 | 478.8142 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-12-01 | 207.655 | 568.7597 | 0 | 0 | 0 | 16.632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017-01-01 | 207.888 | 594.1142 | 0 | 0 | 0 | 16.632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.384
2017-02-01 | 187.264 | 429.8858 | 0 | 0 | 0 | 14.256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.162
2017-03-01 | 168.028 | 319.5629 | 0 | 0 | 0 | 14.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.158
secondary | BM FFR Dynamic Secondary | BM Optional Dynamic Secondary | CHP (NBM) FFR Dynamic Secondary | Generation: Balancing Support (NBM) FFR Dynamic Secondary | Generation: Standby/backup (NBM) FFR Dynamic Secondary | Load Response (NBM) FFR Dynamic Secondary | Load Response (NBM) Optional Dynamic Secondary | Other (NBM) FFR Dynamic Secondary | BM Optional Static Secondary | CHP (NBM) FFR Static +FCDM | Generation: Balancing Support (NBM) FFR Static + FCDM | Generation: Standby/backup (NBM) FFR Static + FCDM | Load Response (NBM) FFR Static + FCDM | Other (NBM) FFR Static + FCDM
2016-04-01 | 289.3385 | 219.121 | 0 | 0 | 0 | 22.968 | 7.4445 | 0 | 393.1557 | 0 | 59.3615 | 0 | 66.0712 | 7.704
2016-05-01 | 239.985 | 296.4159 | 0 | 0 | 0 | 24.552 | 11.8252 | 0 | 425.1689 | 0 | 67.1015 | 0 | 65.495 | 7.0155
2016-06-01 | 213.4067 | 325.1792 | 0 | 0 | 0 | 22.968 | 11.3925 | 0 | 431.842 | 0 | 62.3355 | 0 | 68.2846 | 13.46
2016-07-01 | 230.7786 | 440.3735 | 0 | 0 | 0 | 24.552 | 16.07 | 0 | 461.7472 | 0 | 64.617 | 0 | 75.0371 | 14.2655
2016-08-01 | 276.2761 | 430.8325 | 0 | 0 | 0 | 22.968 | 6.765 | 0 | 462.6015 | 0 | 57.201 | 0 | 68.3818 | 6.998
2016-09-01 | 263.8289 | 445.7729 | 0 | 0 | 0 | 23.76 | 0.0725 | 0 | 445.89 | 0 | 64.447 | 0 | 63.1252 | 9.583
2016-10-01 | 151.0358 | 495.0255 | 0 | 0 | 0 | 24.585 | 0.8845 | 0 | 427.4485 | 0 | 56.118 | 0 | 70.3773 | 12.8
2016-11-01 | 141.872 | 528.8775 | 0 | 0 | 0 | 22.968 | 1.413 | 0 | 378.1741 | 0 | 35.052 | 0 | 78.8255 | 5.94
2016-12-01 | 145.8205 | 520.4635 | 0 | 0 | 0 | 22.176 | 0.821 | 0 | 395.3223 | 0 | 31.43 | 0 | 73.4548 | 9.5
2017-01-01 | 145.9968 | 358.7075 | 0 | 0 | 0 | 22.176 | 0.636 | 0 | 403.6083 | 0 | 29.9405 | 0 | 62.6 | 14.47
2017-02-01 | 131.1184 | 337.0431 | 0 | 0 | 0 | 19.008 | 1.8315 | 0 | 373.208 | 0 | 43.1215 | 0 | 72.4003 | 24.011
2017-03-01 | 105.7588 | 212.2914 | 0 | 0 | 0 | 19.767 | 2.883 | 0 | 322.8903 | 0 | 43.4575 | 0 | 76.6973 | 39.523
high | BM FFR Dynamic High | BM Optional Dynamic High | CHP (NBM) FFR Dynamic High | Generation: Balancing Support (NBM) FFR Dynamic High | Generation: Standby/backup (NBM) FFR Dynamic High | Load Response (NBM) FFR Dynamic High | Load Response (NBM) Optional Dynamic High | Other (NBM) FFR Dynamic High | BM Optional Static High | CHP (NBM) FFR Static +FCDM | Generation: Balancing Support (NBM) FFR Static + FCDM | Generation: Standby/backup (NBM) FFR Static + FCDM | Load Response (NBM) FFR Static + FCDM | Other (NBM) FFR Static + FCDM
2016-04-01 | 176.295 | 346.6059 | 0 | 0 | 0 | 0 | 7.5645 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-05-01 | 150.96 | 506.5651 | 0 | 0 | 0 | 0 | 8.054 | 0 | 2.3458 | 0 | 0 | 0 | 0 | 0
2016-06-01 | 124.0845 | 530.0065 | 0 | 0 | 0 | 0 | 7.6155 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-07-01 | 139.872 | 518.5202 | 0 | 0 | 0 | 0 | 7.8695 | 0 | 1.3313 | 0 | 0 | 0 | 0 | 0
2016-08-01 | 187.1377 | 515.4971 | 0 | 0 | 0 | 0 | 8.0935 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-09-01 | 177.6142 | 687.3639 | 0 | 0 | 0 | 0 | 2.64 | 0 | 1.1188 | 0 | 0 | 0 | 0 | 2.33
2016-10-01 | 49.4965 | 851.2041 | 0 | 0 | 0 | 0 | 0.405 | 0 | 0 | 0 | 0 | 0 | 0 | 2.49
2016-11-01 | 0 | 796.3936 | 0 | 0 | 0 | 0 | 0.512 | 0 | 0 | 0 | 0 | 0 | 0 | 7.13
2016-12-01 | 0 | 716.4293 | 0 | 0 | 0 | 0 | 0.552 | 0 | 0 | 0 | 0 | 0 | 0 | 6.72
2017-01-01 | 0 | 666.9293 | 0 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 12.12
2017-02-01 | 0 | 504.1253 | 0 | 0 | 0 | 0 | 8.2615 | 0 | 0 | 0 | 0 | 0 | 0 | 5.34
2017-03-01 | 0 | 420.4398 | 0 | 0 | 0 | 0 | 9.27 | 0 | 0 | 0 | 0 | 0 | 0 | 11.51
Total Holding volume | 6189.7094 | 17348.3856 | 0 | 0 | 0 | 476.784 |  | 0 | 4925.8526 | 0 | 614.183 | 0 | 840.7501 | 228.614
| BM | NBM
Response Holding GWh | 28463.9476 | 2160.3311

## Primary Response volume chart
primary | BM FFR Dynamic Primary | BM Optional Dynamic Primary | CHP (NBM) FFR Dynamic Primary | Generation: Balancing Support (NBM) FFR Dynamic Primary | Generation: Standby/backup (NBM) FFR Dynamic Primary | Load Response (NBM) FFR Dynamic Primary | Load Response (NBM) Optional Dynamic Primary | Other (NBM) FFR Dynamic Primary | BM Optional Static Primary | CHP (NBM) FFR Static +FCDM | Generation: Balancing Support (NBM) FFR Static + FCDM | Generation: Standby/backup (NBM) FFR Static + FCDM | Load Response (NBM) FFR Static + FCDM | Other (NBM) FFR Static + FCDM
2016-04-01 | 296.651 | 303.6761 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-05-01 | 273.918 | 371.0096 | 0 | 0 | 0 | 18.414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-06-01 | 241.5763 | 342.7063 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-07-01 | 256.782 | 589.5653 | 0 | 0 | 0 | 18.414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-08-01 | 303.6803 | 426.3894 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-09-01 | 290.8868 | 657.0909 | 0 | 0 | 0 | 17.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-10-01 | 212.604 | 596.6274 | 0 | 0 | 0 | 18.4387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-11-01 | 202.1 | 478.8142 | 0 | 0 | 0 | 17.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-12-01 | 207.655 | 568.7597 | 0 | 0 | 0 | 16.632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017-01-01 | 207.888 | 594.1142 | 0 | 0 | 0 | 16.632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.384
2017-02-01 | 187.264 | 429.8858 | 0 | 0 | 0 | 14.256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.162
2017-03-01 | 168.028 | 319.5629 | 0 | 0 | 0 | 14.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.158

## Secondary Response volume chart
secondary | BM FFR Dynamic Secondary | BM Optional Dynamic Secondary | CHP (NBM) FFR Dynamic Secondary | Generation: Balancing Support (NBM) FFR Dynamic Secondary | Generation: Standby/backup (NBM) FFR Dynamic Secondary | Load Response (NBM) FFR Dynamic Secondary | Load Response (NBM) Optional Dynamic Secondary | Other (NBM) FFR Dynamic Secondary | BM Optional Static Secondary | CHP (NBM) FFR Static +FCDM | Generation: Balancing Support (NBM) FFR Static + FCDM | Generation: Standby/backup (NBM) FFR Static + FCDM | Load Response (NBM) FFR Static + FCDM | Other (NBM) FFR Static + FCDM
2016-04-01 | 289.3385 | 219.121 | 0 | 0 | 0 | 22.968 | 7.4445 | 0 | 393.1557 | 0 | 59.3615 | 0 | 66.0712 | 7.704
2016-05-01 | 239.985 | 296.4159 | 0 | 0 | 0 | 24.552 | 11.8252 | 0 | 425.1689 | 0 | 67.1015 | 0 | 65.495 | 7.0155
2016-06-01 | 213.4067 | 325.1792 | 0 | 0 | 0 | 22.968 | 11.3925 | 0 | 431.842 | 0 | 62.3355 | 0 | 68.2846 | 13.46
2016-07-01 | 230.7786 | 440.3735 | 0 | 0 | 0 | 24.552 | 16.07 | 0 | 461.7472 | 0 | 64.617 | 0 | 75.0371 | 14.2655
2016-08-01 | 276.2761 | 430.8325 | 0 | 0 | 0 | 22.968 | 6.765 | 0 | 462.6015 | 0 | 57.201 | 0 | 68.3818 | 6.998
2016-09-01 | 263.8289 | 445.7729 | 0 | 0 | 0 | 23.76 | 0.0725 | 0 | 445.89 | 0 | 64.447 | 0 | 63.1252 | 9.583
2016-10-01 | 151.0358 | 495.0255 | 0 | 0 | 0 | 24.585 | 0.8845 | 0 | 427.4485 | 0 | 56.118 | 0 | 70.3773 | 12.8
2016-11-01 | 141.872 | 528.8775 | 0 | 0 | 0 | 22.968 | 1.413 | 0 | 378.1741 | 0 | 35.052 | 0 | 78.8255 | 5.94
2016-12-01 | 145.8205 | 520.4635 | 0 | 0 | 0 | 22.176 | 0.821 | 0 | 395.3223 | 0 | 31.43 | 0 | 73.4548 | 9.5
2017-01-01 | 145.9968 | 358.7075 | 0 | 0 | 0 | 22.176 | 0.636 | 0 | 403.6083 | 0 | 29.9405 | 0 | 62.6 | 14.47
2017-02-01 | 131.1184 | 337.0431 | 0 | 0 | 0 | 19.008 | 1.8315 | 0 | 373.208 | 0 | 43.1215 | 0 | 72.4003 | 24.011
2017-03-01 | 105.7588 | 212.2914 | 0 | 0 | 0 | 19.767 | 2.883 | 0 | 322.8903 | 0 | 43.4575 | 0 | 76.6973 | 39.523

## High Response volume chart
high | BM FFR Dynamic High | BM Optional Dynamic High | CHP (NBM) FFR Dynamic High | Generation: Balancing Support (NBM) FFR Dynamic High | Generation: Standby/backup (NBM) FFR Dynamic High | Load Response (NBM) FFR Dynamic High | Load Response (NBM) Optional Dynamic High | Other (NBM) FFR Dynamic High | BM Optional Static High | CHP (NBM) FFR Static +FCDM | Generation: Balancing Support (NBM) FFR Static + FCDM | Generation: Standby/backup (NBM) FFR Static + FCDM | Load Response (NBM) FFR Static + FCDM | Other (NBM) FFR Static + FCDM
2016-04-01 | 176.295 | 346.6059 | 0 | 0 | 0 | 0 | 7.5645 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-05-01 | 150.96 | 506.5651 | 0 | 0 | 0 | 0 | 8.054 | 0 | 2.3458 | 0 | 0 | 0 | 0 | 0
2016-06-01 | 124.0845 | 530.0065 | 0 | 0 | 0 | 0 | 7.6155 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-07-01 | 139.872 | 518.5202 | 0 | 0 | 0 | 0 | 7.8695 | 0 | 1.3313 | 0 | 0 | 0 | 0 | 0
2016-08-01 | 187.1377 | 515.4971 | 0 | 0 | 0 | 0 | 8.0935 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-09-01 | 177.6142 | 687.3639 | 0 | 0 | 0 | 0 | 2.64 | 0 | 1.1188 | 0 | 0 | 0 | 0 | 2.33
2016-10-01 | 49.4965 | 851.2041 | 0 | 0 | 0 | 0 | 0.405 | 0 | 0 | 0 | 0 | 0 | 0 | 2.49
2016-11-01 | 0 | 796.3936 | 0 | 0 | 0 | 0 | 0.512 | 0 | 0 | 0 | 0 | 0 | 0 | 7.13
2016-12-01 | 0 | 716.4293 | 0 | 0 | 0 | 0 | 0.552 | 0 | 0 | 0 | 0 | 0 | 0 | 6.72
2017-01-01 | 0 | 666.9293 | 0 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 12.12
2017-02-01 | 0 | 504.1253 | 0 | 0 | 0 | 0 | 8.2615 | 0 | 0 | 0 | 0 | 0 | 0 | 5.34
2017-03-01 | 0 | 420.4398 | 0 | 0 | 0 | 0 | 9.27 | 0 | 0 | 0 | 0 | 0 | 0 | 11.51

## Frequency Response cost chart
| BM Dynamic FFR | BM Dynamic FFR respons energy | CHP (NBM) Dynamic FFR | CHP (NBM) Static FFR | Generation: Balancing Support (NBM) Dynamic FFR | Generation: Balancing Support (NBM) Static FFR | Generation: Standby/backup (NBM) Dynamic FFR | Generation: Standby/backup (NBM) Static FFR | Load Response (NBM) Dynamic FFR | Load Response (NBM) Static FFR | Other (NBM) Dynamic FFR | Other (NBM) Static FFR | BM Optional Dynamic response services | BM Optional Static response services | CHP (NBM) FCDM | Generation: Balancing Support (NBM) FCDM | Generation: Standby/backup (NBM) FCDM | Load Response (NBM) FCDM + Bilateral Optional | Other (NBM) FCDM
2016-04-01 | 7.2273 | 0.55381 | 0 | 0 | 0 | 0.35638 | 0 | 0 | 0.11484 | 0 | 0 | 0.041652 | 2.3491 | 0.92304 | 0 | 0 | 0 | 0.50112 | 0
2016-05-01 | 6.4105 | 0.54743 | 0 | 0 | 0 | 0.38703 | 0 | 0 | 0.12276 | 0 | 0 | 0.03519 | 2.3428 | 0.81168 | 0 | 0 | 0 | 0.54545 | 0
2016-06-01 | 6.0151 | 0.60358 | 0 | 0 | 0 | 0.36582 | 0 | 0 | 0.16644 | 0 | 0 | 0.051119 | 2.5384 | 1.0734 | 0 | 0 | 0 | 0.55101 | 0
2016-07-01 | 6.2183 | 0.6221 | 0 | 0 | 0 | 0.3776 | 0 | 0 | 0.12276 | 0 | 0 | 0.053657 | 2.9595 | 1.371 | 0 | 0 | 0 | 0.58097 | 0
2016-08-01 | 7.0949 | 0.53953 | 0 | 0 | 0 | 0.34442 | 0 | 0 | 0.16632 | 0 | 0 | 0.018135 | 2.5992 | 1.0791 | 0 | 0 | 0 | 0.49373 | 0
2016-09-01 | 6.8319 | 0.68013 | 0 | 0 | 0 | 0.34969 | 0 | 0 | 0.16632 | 0 | 0 | 0.058561 | 3.3525 | 1.146 | 0 | 0 | 0 | 0.36405 | 0
2016-10-01 | 4.4872 | 0.75503 | 0 | 0 | 0 | 0.34464 | 0 | 0 | 0.17209 | 0 | 0 | 0.075699 | 3.5002 | 0.69202 | 0 | 0 | 0 | 0.52461 | 0
2016-11-01 | 4.2815 | 0.88314 | 0 | 0 | 0 | 0.16565 | 0 | 0 | 0.25613 | 0 | 0 | 0.092249 | 3.4326 | 0.74213 | 0 | 0 | 0 | 0.62611 | 0
2016-12-01 | 4.5151 | 0.76933 | 0 | 0 | 0 | 0.16918 | 0 | 0 | 0.27379 | 0 | 0 | 0.11453 | 3.5232 | 0.93046 | 0 | 0 | 0 | 0.56071 | 0
2017-01-01 | 4.5642 | 0.85581 | 0 | 0 | 0 | 0.17874 | 0 | 0 | 0.27379 | 0 | 0 | 0.26042 | 2.9375 | 1.2124 | 0 | 0 | 0 | 0.45531 | 0
2017-02-01 | 4.0999 | 0.80039 | 0 | 0 | 0 | 0.17062 | 0 | 0 | 0.2473 | 0 | 0 | 0.20054 | 2.6257 | 1.0302 | 0 | 0 | 0 | 0.56575 | 0
2017-03-01 | 3.4711 | 0.69376 | 0 | 0 | 0 | 0.18702 | 0 | 0 | 0.27342 | 0 | 0 | 0.30054 | 3.4203 | 0.66175 | 0 | 0 | 0 | 0.44953 | 0

## STOR average available capacity
STOR average MW capacity available
Month | Number_of_STOR_hours | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | 280.6891 | 798.6079 | 8.5681 | 29.8725 | 888.6424 | 112.0614 | 0 | 0 | 65.4957 | 1903.248
2016-05-01 | 334.2269 | 884.6699 | 0.28509 | 30.1177 | 755.3542 | 104.9487 | 0 | 0 | 67.1447 | 1842.5203
2016-06-01 | 323.4454 | 918.3221 | 0.22651 | 34.3992 | 881.7917 | 115.267 | 0 | 0 | 69.9673 | 2019.9738
2016-07-01 | 334.2269 | 839.2551 | 0.3597 | 40.4988 | 862.5778 | 116.0138 | 0 | 0 | 83.1814 | 1941.8867
2016-08-01 | 335.6975 | 891.7204 | 0.29444 | 34.6681 | 901.1075 | 112.9005 | 0 | 0 | 74.9825 | 2015.6735
2016-09-01 | 321 | 863.8733 | 0.29388 | 28.8521 | 861.7883 | 107.7109 | 0 | 0 | 63.6974 | 1926.2159
2016-10-01 | 321.511 | 1022.7539 | 0.18664 | 27.226 | 855.544 | 95.4222 | 0 | 0 | 44.1754 | 2045.308
2016-11-01 | 323.9011 | 1459.4693 | 1.3606 | 23.4769 | 608.9953 | 77.4408 | 0 | 0 | 58.073 | 2228.8161
2016-12-01 | 334.6978 | 1527.0535 | 0.31636 | 15.4651 | 613.0111 | 65.0539 | 0 | 0 | 78.2579 | 2299.158
2017-01-01 | 334.1864 | 1433.5333 | 0.24009 | 13.0181 | 561.3574 | 63.9508 | 0 | 0 | 74.1323 | 2146.232
2017-02-01 | 295.1475 | 1477.3024 | 0.011087 | 12.2894 | 560.2094 | 64.2908 | 0 | 0 | 82.8667 | 2196.9697
2017-03-01 | 326.7705 | 1505.9221 | 0.018743 | 7.766 | 602.6561 | 76.5024 | 0 | 0 | 99.9486 | 2292.8139

## STOR availability data
Month | Service | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | STOR - Availbility pay | 735748.16 | 4290.2352 | 14515.926 | 1708733.6814 | 74454.563 | 0 | 0 | 24749.5744 | 2562492.14
2016-05-01 | STOR - Availbility pay | 898821.13 | 235.3507 | 18148.5173 | 1866934.0648 | 86669.2377 | 0 | 0 | 29001.0395 | 2899809.34
2016-06-01 | STOR - Availbility pay | 898340.04 | 180.9638 | 18360.4417 | 1935858.3783 | 88902.145 | 0 | 0 | 30226.0513 | 2971868.02
2016-07-01 | STOR - Availbility pay | 875246.64 | 295.1273 | 23406.245 | 1954405.7929 | 90791.079 | 0 | 0 | 37227.3858 | 2981372.27
2016-08-01 | STOR - Availbility pay | 918120.8 | 243.3373 | 21199.5963 | 2009174.9115 | 90885.3375 | 0 | 0 | 31800.9174 | 3071424.9
2016-09-01 | STOR - Availbility pay | 879575.07 | 141.8708 | 14765.5271 | 2006700.36 | 83533.7214 | 0 | 0 | 26877.6208 | 3011594.17
2016-10-01 | STOR - Availbility pay | 1324036.56 | 146.0332 | 14152.604 | 1970685.5246 | 75039.2933 | 0 | 0 | 22716.9849 | 3406777
2016-11-01 | STOR - Availbility pay | 4415469.57 | 505.5888 | 10890.4758 | 1853769.8575 | 79691.25 | 0 | 0 | 165854.5178 | 6526181.26
2016-12-01 | STOR - Availbility pay | 4658758.22 | 92.3839 | 6208.5751 | 1911796.9754 | 63595.9852 | 0 | 0 | 237586.7105 | 6878038.85
2017-01-01 | STOR - Availbility pay | 4253000.24 | 69.0016 | 4833.9783 | 1784033.8886 | 63504.1 | 0 | 0 | 213943.4714 | 6319384.68
2017-02-01 | STOR - Availbility pay | 3975640.72 | 2.8141 | 3756.8026 | 1652377.5744 | 58923.7343 | 0 | 0 | 213993.1847 | 5904694.83
2017-03-01 | STOR - Availbility pay | 4507617.62 | 18.0064 | 2902.707 | 1885800.13 | 67278.0166 | 0 | 0 | 285916.03 | 6749532.51
Month | Service | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | STOR - Availbility Vol | 224160.5141 | 2404.963 | 8384.8876 | 249432.2176 | 31454.4204 | 0 | 0 | 18383.9257 | 534220.9282
2016-05-01 | STOR - Availbility Vol | 295680.4848 | 95.2837 | 10066.1456 | 252459.6824 | 35076.6767 | 0 | 0 | 22441.549 | 615819.8222
2016-06-01 | STOR - Availbility Vol | 297027.0267 | 73.2647 | 11126.2601 | 285211.4579 | 37282.5902 | 0 | 0 | 22630.6054 | 653351.2049
2016-07-01 | STOR - Availbility Vol | 280501.6377 | 120.2219 | 13535.7836 | 288296.7044 | 38774.946 | 0 | 0 | 27801.4628 | 649030.7563
2016-08-01 | STOR - Availbility Vol | 299348.304 | 98.8439 | 11637.9924 | 302499.4997 | 37900.4191 | 0 | 0 | 25171.4476 | 676656.5068
2016-09-01 | STOR - Availbility Vol | 277303.3408 | 94.3364 | 9261.5248 | 276634.0356 | 34575.2027 | 0 | 0 | 20446.8555 | 618315.2958
2016-10-01 | STOR - Availbility Vol | 328826.6028 | 60.0077 | 8753.4498 | 275066.7858 | 30679.2832 | 0 | 0 | 14202.8789 | 657589.0082
2016-11-01 | STOR - Availbility Vol | 472723.7262 | 440.7117 | 7604.2026 | 197254.2397 | 25083.1714 | 0 | 0 | 18809.9201 | 721915.9715
2016-12-01 | STOR - Availbility Vol | 511101.4622 | 105.884 | 5176.1467 | 205173.4811 | 21773.3998 | 0 | 0 | 26192.7434 | 769523.1171
2017-01-01 | STOR - Availbility Vol | 479067.2947 | 80.2345 | 4350.4581 | 187597.9884 | 21371.4934 | 0 | 0 | 24774.0091 | 717241.4782
2017-02-01 | STOR - Availbility Vol | 436022.1818 | 3.2722 | 3627.1805 | 165344.4242 | 18975.261 | 0 | 0 | 24457.8976 | 648430.2173
2017-03-01 | STOR - Availbility Vol | 492090.9145 | 6.1246 | 2537.695 | 196930.2234 | 24998.7221 | 0 | 0 | 32660.2447 | 749223.9244

## STOR availability Cost
Total STOR availability cost £m
Month | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | 0.73575 | 0.0042902 | 0.014516 | 1.7087 | 0.074455 | 0 | 0 | 0.02475 | 2.5625
2016-05-01 | 0.89882 | 0.00023535 | 0.018149 | 1.8669 | 0.086669 | 0 | 0 | 0.029001 | 2.8998
2016-06-01 | 0.89834 | 0.00018096 | 0.01836 | 1.9359 | 0.088902 | 0 | 0 | 0.030226 | 2.9719
2016-07-01 | 0.87525 | 0.00029513 | 0.023406 | 1.9544 | 0.090791 | 0 | 0 | 0.037227 | 2.9814
2016-08-01 | 0.91812 | 0.00024334 | 0.0212 | 2.0092 | 0.090885 | 0 | 0 | 0.031801 | 3.0714
2016-09-01 | 0.87958 | 0.00014187 | 0.014766 | 2.0067 | 0.083534 | 0 | 0 | 0.026878 | 3.0116
2016-10-01 | 1.324 | 0.00014603 | 0.014153 | 1.9707 | 0.075039 | 0 | 0 | 0.022717 | 3.4068
2016-11-01 | 4.4155 | 0.00050559 | 0.01089 | 1.8538 | 0.079691 | 0 | 0 | 0.16585 | 6.5262
2016-12-01 | 4.6588 | 9.2384e-05 | 0.0062086 | 1.9118 | 0.063596 | 0 | 0 | 0.23759 | 6.878
2017-01-01 | 4.253 | 6.9002e-05 | 0.004834 | 1.784 | 0.063504 | 0 | 0 | 0.21394 | 6.3194
2017-02-01 | 3.9756 | 2.8141e-06 | 0.0037568 | 1.6524 | 0.058924 | 0 | 0 | 0.21399 | 5.9047
2017-03-01 | 4.5076 | 1.8006e-05 | 0.0029027 | 1.8858 | 0.067278 | 0 | 0 | 0.28592 | 6.7495

## STOR utilisation data
Month | Service | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM)
2016-04-01 | STOR - Utilisation Pay | 232093.33 | 863.4707 | 34587.41 | 648468.6422 | 46388.1191 | 0 | 0 | 39730.438
2016-05-01 | STOR - Utilisation Pay | 263834.985 | 202.8946 | 15642.2757 | 404969.729 | 30337.7972 | 0 | 0 | 20061.2135
2016-06-01 | STOR - Utilisation Pay | 46657.115 | 1830.0808 | 58019.0139 | 884880.4439 | 69567.2278 | 0 | 0 | 80704.8035
2016-07-01 | STOR - Utilisation Pay | 181819.039 | 3512.3815 | 49385.6338 | 708443.7727 | 55204.0397 | 0 | 0 | 53816.3723
2016-08-01 | STOR - Utilisation Pay | 130401.08 | 590.2091 | 46540.8638 | 748747.3593 | 54334.055 | 0 | 0 | 61341.8128
2016-09-01 | STOR - Utilisation Pay | 707837.501 | 1451.4785 | 64268.7344 | 1478905.1047 | 140253.1538 | 0 | 0 | 125863.6287
2016-10-01 | STOR - Utilisation Pay | 844977.22 | 4800.9965 | 59598.3118 | 1452253.2357 | 138900.3754 | 0 | 0 | 189920.6407
2016-11-01 | STOR - Utilisation Pay | 1475907.306 | 4171.0517 | 59556.0097 | 729847.8115 | 146650.25 | 0 | 0 | 103477.3271
2016-12-01 | STOR - Utilisation Pay | 1105321.768 | 2371.4987 | 35388.1534 | 556658.2392 | 100742.838 | 0 | 0 | 115837.7006
2017-01-01 | STOR - Utilisation Pay | 1514476.547 | 3019.251 | 63470.5351 | 1211002.8495 | 139971.25 | 0 | 0 | 94146.3744
2017-02-01 | STOR - Utilisation Pay | 421439.01 | 316.9437 | 33103.1402 | 763045.4473 | 85323.8506 | 0 | 0 | 48457.6082
2017-03-01 | STOR - Utilisation Pay | 1390535.87 | 812.7948 | 41339.0311 | 1532559.59 | 136634.37 | 0 | 0 | 189004.1241
Month | Service | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM)
2016-04-01 | STOR - Utilisation volume | 1461.26 | 17.2347 | 656.6021 | 8658.2565 | 578.8298 | 0 | 0 | 703.787
2016-05-01 | STOR - Utilisation volume | 1665.44 | 4.1437 | 276.3272 | 5180.3746 | 321.8939 | 0 | 0 | 339.5006
2016-06-01 | STOR - Utilisation volume | 440.89 | 36.6149 | 1060.3998 | 11668.9386 | 781.0141 | 0 | 0 | 1218.4527
2016-07-01 | STOR - Utilisation volume | 1132.8 | 73.5776 | 801.2819 | 10536.0239 | 659.991 | 0 | 0 | 788.2555
2016-08-01 | STOR - Utilisation volume | 835.2 | 13.8518 | 899.9754 | 10291.9045 | 653.372 | 0 | 0 | 830.3464
2016-09-01 | STOR - Utilisation volume | 4629.06 | 33.8644 | 1069.751 | 18562.3911 | 1645.8807 | 0 | 0 | 1791.8627
2016-10-01 | STOR - Utilisation volume | 5496.16 | 68.7685 | 912.3985 | 19184.3839 | 1465.7345 | 0 | 0 | 2865.9546
2016-11-01 | STOR - Utilisation volume | 9332.92 | 71.5273 | 973.5522 | 9726.4752 | 1597.24 | 0 | 0 | 1572.9153
2016-12-01 | STOR - Utilisation volume | 7003.08 | 42.8601 | 553.368 | 8619.8273 | 1211.7683 | 0 | 0 | 1526.9562
2017-01-01 | STOR - Utilisation volume | 9497.92 | 50.6184 | 1050.648 | 17613.9219 | 1824.96 | 0 | 0 | 1344.6017
2017-02-01 | STOR - Utilisation volume | 2718.38 | 7.4369 | 596.8835 | 12035.6766 | 1178.0388 | 0 | 0 | 1342.3842
2017-03-01 | STOR - Utilisation volume | 8689.98 | 16.2718 | 672.8867 | 20804.96 | 1525.86 | 0 | 0 | 2856.6315

## STOR total utilisation volume
Total STOR utilisation volume MWh
Month | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | 1461.26 | 17.2347 | 656.6021 | 8658.2565 | 578.8298 | 0 | 0 | 703.787 | 12075.97
2016-05-01 | 1665.44 | 4.1437 | 276.3272 | 5180.3746 | 321.8939 | 0 | 0 | 339.5006 | 7787.68
2016-06-01 | 440.89 | 36.6149 | 1060.3998 | 11668.9386 | 781.0141 | 0 | 0 | 1218.4527 | 15206.31
2016-07-01 | 1132.8 | 73.5776 | 801.2819 | 10536.0239 | 659.991 | 0 | 0 | 788.2555 | 13991.93
2016-08-01 | 835.2 | 13.8518 | 899.9754 | 10291.9045 | 653.372 | 0 | 0 | 830.3464 | 13524.65
2016-09-01 | 4629.06 | 33.8644 | 1069.751 | 18562.3911 | 1645.8807 | 0 | 0 | 1791.8627 | 27732.81
2016-10-01 | 5496.16 | 68.7685 | 912.3985 | 19184.3839 | 1465.7345 | 0 | 0 | 2865.9546 | 29993.4
2016-11-01 | 9332.92 | 71.5273 | 973.5522 | 9726.4752 | 1597.24 | 0 | 0 | 1572.9153 | 23274.63
2016-12-01 | 7003.08 | 42.8601 | 553.368 | 8619.8273 | 1211.7683 | 0 | 0 | 1526.9562 | 18957.86
2017-01-01 | 9497.92 | 50.6184 | 1050.648 | 17613.9219 | 1824.96 | 0 | 0 | 1344.6017 | 31382.67
2017-02-01 | 2718.38 | 7.4369 | 596.8835 | 12035.6766 | 1178.0388 | 0 | 0 | 1342.3842 | 17878.8
2017-03-01 | 8689.98 | 16.2718 | 672.8867 | 20804.96 | 1525.86 | 0 | 0 | 2856.6315 | 34566.59

## STOR total utilisation cost
Total STOR Utilisation Cost £m
Month | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | 0.23209 | 0.00086347 | 0.034587 | 0.64847 | 0.046388 | 0 | 0 | 0.03973 | 1.0021
2016-05-01 | 0.26383 | 0.00020289 | 0.015642 | 0.40497 | 0.030338 | 0 | 0 | 0.020061 | 0.73505
2016-06-01 | 0.046657 | 0.0018301 | 0.058019 | 0.88488 | 0.069567 | 0 | 0 | 0.080705 | 1.1417
2016-07-01 | 0.18182 | 0.0035124 | 0.049386 | 0.70844 | 0.055204 | 0 | 0 | 0.053816 | 1.0522
2016-08-01 | 0.1304 | 0.00059021 | 0.046541 | 0.74875 | 0.054334 | 0 | 0 | 0.061342 | 1.042
2016-09-01 | 0.70784 | 0.0014515 | 0.064269 | 1.4789 | 0.14025 | 0 | 0 | 0.12586 | 2.5186
2016-10-01 | 0.84498 | 0.004801 | 0.059598 | 1.4523 | 0.1389 | 0 | 0 | 0.18992 | 2.6905
2016-11-01 | 1.4759 | 0.0041711 | 0.059556 | 0.72985 | 0.14665 | 0 | 0 | 0.10348 | 2.5196
2016-12-01 | 1.1053 | 0.0023715 | 0.035388 | 0.55666 | 0.10074 | 0 | 0 | 0.11584 | 1.9163
2017-01-01 | 1.5145 | 0.0030193 | 0.063471 | 1.211 | 0.13997 | 0 | 0 | 0.094146 | 3.0261
2017-02-01 | 0.42144 | 0.00031694 | 0.033103 | 0.76305 | 0.085324 | 0 | 0 | 0.048458 | 1.3517
2017-03-01 | 1.3905 | 0.00081279 | 0.041339 | 1.5326 | 0.13663 | 0 | 0 | 0.189 | 3.2909

## STOR total expenditure chart
Unit | Cost £m
Generation: Balancing Support (BM) Availability Cost | 28.3404
Load Response (NBM) Availability Cost | 0.0062207
CHP (NBM) Availability Cost | 0.15314
Generation: Balancing Support (NBM) Availability Cost | 22.5403
Generation: Standby/backup (NBM) Availability Cost | 0.92327
Other (NBM) Availability Cost | 1.3199
Generation: Balancing Support (BM) Utilisation Cost | 8.3153
Load Response (NBM) Utilisation Cost | 0.023943
CHP (NBM) Utilisation Cost | 0.5609
Generation: Balancing Support (NBM) Utilisation Cost | 11.1198
Generation: Standby/backup (NBM) Utilisation Cost | 1.1443
Other (NBM) Utilisation Cost | 1.1224

## FirmFastReserve Capability Cost
Firm Fast Reserve Capability Payments £m
Month | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | 1.0977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0977
2016-05-01 | 1.1273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1273
2016-06-01 | 0.93023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93023
2016-07-01 | 1.1226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1226
2016-08-01 | 1.1337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1337
2016-09-01 | 1.0928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0928
2016-10-01 | 1.133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.133
2016-11-01 | 1.0946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0946
2016-12-01 | 1.1148 | 0 | 0 | 0 | 0 | 0 | 0 | 0.089946 | 1.2047
2017-01-01 | 1.0921 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12059 | 1.2127
2017-02-01 | 0.99816 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27075 | 1.2689
2017-03-01 | 1.0662 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74366 | 1.8098

## OptionalFastRes capability cost
Optional fast reserve capability payments £m
Month | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Total
2016-04-01 | 5.383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.383
2016-05-01 | 4.1392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1392
2016-06-01 | 4.5108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5108
2016-07-01 | 4.683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.683
2016-08-01 | 3.8176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8176
2016-09-01 | 3.6091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6091
2016-10-01 | 3.7527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7527
2016-11-01 | 4.452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.452
2016-12-01 | 4.2588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2588
2017-01-01 | 4.0084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0084
2017-02-01 | 2.5871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5871
2017-03-01 | 2.5912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5912

## FastRes Capability Vol
Total Capability volumes procured GWh
|  | Firm Fast Reserve | [7 empty] | Optional Reserve
Month | Service | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM) | Generation: Balancing Support (BM) | Load Response (NBM) | CHP (NBM) | Generation: Balancing Support (NBM) | Generation: Standby/Backup](NBM) | Energy Storage: Balancing Support (NBM) | Energy Storage: Standby/backup (NBM) | Other (NBM)
2016-04-01 | Fast Reserve | 140.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262.3888 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-05-01 | Fast Reserve | 144.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.8999 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-06-01 | Fast Reserve | 140.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212.9131 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-07-01 | Fast Reserve | 143.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220.7902 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-08-01 | Fast Reserve | 145.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 173.3481 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-09-01 | Fast Reserve | 140.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 161.7492 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-10-01 | Fast Reserve | 140.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 166.5942 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-11-01 | Fast Reserve | 140.88 | 0 | 0 | 0 | 0 | 0 | 0 | 26.58 | 201.6838 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-12-01 | Fast Reserve | 144.78 | 0 | 0 | 0 | 0 | 0 | 0 | 26.82 | 198.8548 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017-01-01 | Fast Reserve | 144.88 | 0 | 0 | 0 | 0 | 0 | 0 | 27.21 | 184.6668 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017-02-01 | Fast Reserve | 131.27 | 0 | 0 | 0 | 0 | 0 | 0 | 24.78 | 123.5692 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017-03-01 | Fast Reserve | 145.64 | 0 | 0 | 0 | 0 | 0 | 0 | 64.17 | 123.0184 | 0 | 0 | 0 | 0 | 0 | 0 | 0