## Version
Date | Version | Details
2026-07-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for July 2026. This file will be updated in August 2026 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Greater Gabbard Offshore 132/33kV Grid T3 | OFTO | 2026-07-02 01:10 |  | To be confirmed
Craigiebuckler- Fiddes-Tarland 132kV (CF/CLS ) Circuit | SHETL | 2026-07-02 06:59 |  | To be confirmed
Landulph 400kV Shunt Reactor 3 | NGET | 2026-07-05 11:05 |  | To be confirmed
Greater Gabbard SVC3 | OFTO | 2026-07-06 11:36 |  | To be confirmed
High Marnham – Thurcroft - West Melton 275kV circuit | NGET | 2026-07-08 08:12 |  | To be confirmed